# Submission ID #: 69588

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=21224388

# Title: Automated Sample Preparation for the Multiplexed Analysis of Single-Cell Histone Post-Translational Modifications (sc-hPTM2)

# Authors and Affiliations:

# Giulia Barotti1, Ronald Cutler1, Joshua Cantlon2, Barbara Montanini3, Simone Sidoli1

# 1Albert Einstein College of Medicine

# 2SCIENION

# 3Department of Chemical, Life and Environmental Sustainability Sciences, University of Parma

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Simone Sidoli		(simone.sidoli@einsteinmed.edu)

# Email Addresses for All Authors:

Giulia Barotti		(giulia.barotti@einsteinmed.edu)

Ronald Cutler		(ronald.cutler@einsteinmed.edu)

Joshua Cantlon	(j.cantlon@scienion.com)

Barbara Montanini	(barbara.montanini@unipr.it)

Simone Sidoli		(simone.sidoli@einsteinmed.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21224388

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 17

Number of Shots: 33

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer up to 2 introduction and up to 3 conclusion questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Answer in full sentences, the questions will not be displayed in the video.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What questions will future research focus on?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Automated Single Cell Workflow for Quantitative Histone Post Translational Modification Analysis Using Nano Liquid Handling

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, reconstitute HepG2/C3A (Hep-G-Two-C-3-A) hepatocellular carcinoma cells at a final concentration of 200 to 500 cells per microliter [1]. Set each nozzle’s pulse width and drive voltage to the values provided by the manufacturer [2].

    - WIDE: Talent reconstituting cells in buffer to reach a concentration of 200 to 500 cells per microliter.

    - SCREEN: Talent adjusting the pulse width and drive voltage according to manufacturer specifications.

  - For maximal pick-up efficiency, ensure that the z-offset between the two nozzles differs by less than 50 micrometers [1]. Identify the optimal contact position for each nozzle and compare the Z-height readouts in the Nozzle Setup tab [2].
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21224388

    - Talent aligning both nozzles and adjusting their relative height.

    - SCREEN: Show the Nozzle Setup tab displaying Z-height readouts for both nozzles and the operator comparing the offset values.

  - For a two-plex multiplexing scheme, load a single slide with 320 cells [1].

    - Talent loading a slide with 320 cells into the instrument,

  - Using a pipette, aliquot 150 microliters of LC-MS-grade DMSO into a new polymerase chain reaction tube [1].  Place it into position 2 of the wash station with the tube cap facing the instrument door [2].

    - Talent pipetting 150 µL dimethyl sulfoxide into a PCR tube.

    - Talent placing it in position 2 with the cap facing the instrument door.

  - After dispensing, allow the instrument to automatically flush the nozzles and capture images across all slides for quality control [1]. Review these images to verify a uniform DMSO droplet on every slide and to check for missing or off-target droplets [2].

    - SCREEN: Instrument interface showing the automatic nozzle flush and image capture process.

    - SCREEN: The captured images are being reviewed.

  - In the Nozzle Setup tab, launch the cell-dispensing viewer and run the mapping routine to define the ejection zone [1]. Gate the objects based on size and elongation using the single-cell isolation parameters [2].

    - SCREEN: Show the cell-dispensing viewer with the mapping routine being executed.

    - SCREEN: Highlight the gating of single cells based on size and elongation.

  - Now, prepare a fresh digestion master mix in LC-MS-grade water [1-TXT]. Degas the solution with a vacuum pump for 10 minutes on ice [2].

    - Talent preparing reagents and combining them to make the digestion master mix. TXT: Digestion mix: ArgC Ultra 60 ng/µL, HEPES 6 mM, DDM 0.03%, DTT 10 mM

    - Talent degassing the prepared mix with a vacuum pump on ice for 10 minutes.

  - Dispense the digestion mix onto the slides [1]. The instrument will automatically flush the nozzles and photograph every slide [2]. Review the images to verify that each droplet received the digestion mix uniformly [3].

    - Talent operating the instrument to dispense the digestion mix.

    - SCREEN: Automated system flushing nozzles and imaging slides.

    - SCREEN: Talent reviewing captured images to confirm even droplet distribution.

  - Incubate the slides overnight to perform digestion [1-TXT].

    - Talent placing slides in the incubator for overnight digestion. TXT: Maintain 75% RH; Dew point : 1 - 2 °C below chamber temperature

  - Inspect the images after digestion [1]. If the droplets are sufficiently dry, stop the run [2]. If not, click Continue and dry for another 5 minutes [3].

    - SCREEN: Talent examining images of the droplets on screen.

    - SCREEN: Talent selecting the Stop Run command when droplets appear dry.

    - SCREEN: Talent clicking Continue to extend drying by 5 minutes.

  - For labelling, first prepare stock solutions for multiplexed histone derivatization [1].

    - Talent preparing the two labeling stock solutions in separate vials.
AND
TEXT ON PLAIN BACKGROUND:
Stock 1: 25% (v/v) propionic anhydride in DMSO

Stock 2: 25% (v/v) propionic anhydride-d₁₀ in DMSO
Video Editor: Please play both shots side by side in a split screen

  - After dispensing, allow the instrument to automatically flush the nozzles and photograph every slide [1]. Review the images to confirm even distribution and correct droplet placement across all slides [2]. Similarly, dispense hydroxylamine solution [3].

    - SCREEN: Automated nozzle flush and slide imaging in progress.

    - SCREEN: Talent verifying correct droplet placement of labels on the instrument monitor.

    - SCREEN: Talent verifying correct droplet placement  of HA solution on the instrument monitor.

  - To pick up the sample, execute the run by switching to the Run tab [1]. Click Start Run and follow the prompts  [2] as the instrument collects each droplet, flushes the nozzles, and captures slide images for review [3].

    - SCREEN: Talent  selecting the Run tab.

    - SCREEN: The Start Run option is being clicked and prompts are followed.

    - SCREEN: Instrument collecting droplets and displaying real-time image capture.

  - Once done, remove the foil from the slides [1]. Then dry the samples at low heat in a vacuum concentrator [2].

    - Talent removing foil seals .

    - Talent placing slides in a vacuum concentrator for drying.

  - For data acquisition, program the high-performance liquid chromatography method [1]. Set tandem mass spectrometry in the ion trap mass analyzer with sequential isolation windows of 50 mass to charge ratio, an automatic gain control target of 1000, and a higher-energy collisional dissociation energy of 27 [2].

    - SCREEN: Talent launching the HPLC software.

    - SCREEN: Talent configuring m/z, automatic gain control target, and higher-energy collisional dissociation energy settings.

  - Cover the plate with a rubber seal mat and place it inside the autosampler [1].

    - Talent sealing the plate with a rubber mat and loading it into the autosampler.

  - Run the raw data in EpiProfile version 2.1 (Epi-Profile-Version-Two-Point-one) to obtain peptidoform abundances for cells labeled with propionic anhydride [1].

    - SCREEN: EpiProfile 2.1 interface showing loaded raw data and resulting peptidoform abundance output.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 106

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - The first 20 histone H3 (H-Three) peptidoforms were quantified, displaying their relative abundances in control and sodium butyrate–treated conditions [1]. Both H3K9ac (H-Three-K-Nine-A-C) and H3K14ac (H-Three-K-Fourteen-A-C) displayed higher relative abundance upon sodium butyrate treatment [2], while H3K9acK14ac (H-Three-K-Nine-A-C-K-Fourteen-A-C) appeared even more enriched in treated cells [3].

    - LAB MEDIA: Figure 7A.

    - LAB MEDIA: Figure 7A. Video editor: Highlight the column showing H3K9ac and H3K14ac in the pink column.

    - LAB MEDIA: Figure 7A. Video editor: Highlight the entry for H3K9acK14ac in the pink column.

  - Total acetylation levels increased following sodium butyrate treatment, with treated cells showing a broader error distribution compared to controls [1]. The quantification of single and co-occurring histone modifications demonstrated that combinatorial acetylation states were most strongly affected by sodium butyrate [2].

    - LAB MEDIA: Figure 7B. Video editor: Highlight the pink bar labeled “NaBut 5 mM,”

    - LAB MEDIA: Figure 7C. Video editor: Highlight the pink bar corresponding to K9acK14ac in the sodium butyrate–treated condition.

  - The wider dispersion of sodium butyrate–treated cells indicated increased biological heterogeneity among individual cells within the spheroids [1].

    - LAB MEDIA: Figure 7D. Video editor: Please highlight the pink dots