# Submission ID #: 69589

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21224693

# Title: Intravital Two-Photon Imaging of Touch Sensory Axon Morphology in Mouse Skin

# Authors and Affiliations:

# Sydney Kong*, Emily Barnes*, Gautham Chelliah, Shan Meltzer

# Department of Pharmacology, Vanderbilt University

# *These authors contributed equally

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Shan Meltzer 		shan.meltzer@vanderbilt.edu

# Email Addresses for All Authors:

# Sydney Kong 		sydney.kong@vanderbilt.edu

# Emily Barnes 		emily.barnes@vanderbilt.edu

# Gautham Chelliah 	gautham.chelliah@vanderbilt.edu

# Shan Meltzer 		shan.meltzer@vanderbilt.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 19

Number of Shots: 42 (8 SC)

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer up to 2 introduction and up to 3 conclusion questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Answer in full sentences, the questions will not be displayed in the video.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What questions will future research focus on?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee at the Vanderbilt University

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Mouse Paw Preparation and Tattooing

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin, turn on the laser and allow sufficient time for it to warm up [1].

    - WIDE: Talent turning on the laser.

  - Then, turn on the two-photon microscope [1] and open the control and acquisition software on the connected computer [2].

    - Talent switching on the two-photon microscope.

    - Show the talent opening the control software.

  - Turn on the heating pad and set the temperature to 37 degrees Celsius to prevent hypothermia during anesthesia [1].

    - Talent switching on the heating pad and adjusting the temperature setting to 37 degrees Celsius.

  - Now, transfer the anesthetized mouse to the heating pad on the imaging platform [1-TXT].

    - Talent positioning the anesthetized mouse on the heating pad atop the imaging platform. TXT: Anesthesia: Isoflurane

Induction: 3.5% 
Maintenance: 1.5% for adult mouse and 2 - 4% for mice younger than P20

  - Align the mouse body on a platform adjacent to the imaging stage so that it does not touch the area where the paw is mounted, minimizing movement artifacts during imaging [1]. Now, apply ophthalmic ointment to both eyes of the mouse to prevent dryness during imaging [2].

    - Talent adjusting the mouse position so the body rests on a separate platform next to the imaging stage.

    - Talent applying ophthalmic ointment to the eyes using a sterile applicator.

  - Next, using a cotton swab, gently apply depilatory cream to the mouse paw to remove hair [1]. After one minute, remove the cream [2] and clean the paw using 70 percent ethanol followed by water [3].

    - Talent applying depilatory cream with a cotton swab to the mouse paw.

    - Talent removing the cream by wiping.

    - Talent wiping the paw with ethanol.

  - Then, with one hand, gently stretch the skin to stabilize the paw surface [1]. Using a sterile 30-gauge needle and black ink, pierce the skin and tattoo two adjacent dots on either side of the target imaging region, spaced approximately 2 millimeters apart [2]. After tattooing, dispose of the used needle in a sharps container [3].

    - Talent stabilizing the paw skin by stretching it gently with one hand.

    - Talent using a sterile 30 gauge needle dipped in black ink to tattoo two dots on the skin, spaced 2 millimeters apart.

    - Talent placing the used needle into a sharps disposal container.

- Slide Assembly and Paw Mounting for Imaging

Demonstrator: Click here to enter name of demonstrator(s)

  - Take a glass microscope slide [1] and place four dots of vacuum grease at the corners [2]. Then, position a 1-millimeter-thick piece of modeling clay at the center of the slide [3]. Place the slide under the objective lens and center the mouse’s paw directly on top of the clay [3].

    - Talent placing a glas slide on the work surface.

    - Talent applying four small dots of vacuum grease at the corners of the microscope slide.

    - Talent placing a thin, flat piece of modeling clay approximately 1 millimeter thick in the center of the slide.

    - Talent positioning the slide under the objective lens and aligning the mouse’s paw over the clay.

  - Gently roll the mouse’s paw on the slide to flatten it and press it into the clay [1]. Then, carefully place a 22 by 60-millimeter coverslip over the paw to secure it [2]. Adjust the angle of the mouse skin by applying light pressure on each corner of the coverslip until the skin surface is parallel to the imaging plane [3-TXT].

    - Talent rolling the mouse’s paw gently to flatten and embed it into the clay.

    - Talent placing a 22 by 60 millimeter coverslip on top of the paw.

    - Talent pressing lightly on each corner of the coverslip to align the skin surface parallel to the imaging plane. TXT: Perform this step gently to avoid injury

  - To image the glabrous skin, place the slide under the objective lens and center the paw on the slide as described earlier [1]. Using tweezers, rotate the paw so the glabrous skin faces upward [2] and then use the flat end of the tweezers to gently press the paw into the clay [3]. Once flattened, place the coverslip on top and press down carefully [4].

    - SCOPE: View of the aligned paw through the lens. Authors: Is it possible to film this?

    - Talent using tweezers to rotate the paw until the glabrous skin is facing up.

    - Talent pressing the paw into the clay with the flat end of the tweezers.

    - Talent placing the coverslip over the paw and gently pressing down.

- Two-Photon Microscope Imaging of Low-Threshold Mechanoreceptor (LTMR) Morphology

Demonstrator: Click here to enter name of demonstrator(s)

  - Place a drop of distilled water on the coverslip directly above the mouse paw [1].

    - Talent using a pipette to carefully place a drop of distilled water on the coverslip, directly over the mouse paw.

  - Lower the objective lens until a water column forms between the lens and the coverslip [1].

    - Close-up of slowly lowering the objective lens.

  - Once the objective lens is centered over the mouse paw, close the microscope box [1] and use the LED screen to focus on the sample by adjusting the X, Y, and Z controllers [2]. The LED screen will show a live image illuminated by the microscope’s built-in LED [3].

    - Talent closing the microscope enclosure.

    - Talent adjusting the X, Y, and Z knobs while watching the screen to focus on the sample.

    - Show the LED screen displaying the live illuminated image of the sample as the talent fine-tunes the focus.

  - After locating the sample, turn off the LED screen [1]. To begin two-photon imaging, flip the lever on the upper-right side of the microscope to switch from the mirror setting to the dichroic setting [2].

    - Talent turning off the LED screen using the designated button.

    - Talent flipping the lever on the microscope to switch from mirror to dichroic setting.

  - Then, close the blackout curtains [1] and switch on the detector to visualize yellow fluorescent protein or YFP [2].

    - Talent pulling blackout curtains shut around the imaging area.

    - Talent activating the detector for YFP visualization.

  - In Prairie View, open the shutter and switch the software to imaging mode [1]. For imaging Thy1-YFP (thai-1-Y-F-P), turn on the tunable laser and set the wavelength to 960 nanometers with a gain between 700 and 800 [2]. For green fluorescent protein or GFP imaging, adjust the laser to 920 nanometers [3].

    - SCREEN: Show Prairie View software as the talent selects Shutter > Open and switches to Imaging Mode.

    - SCREEN: Show the tunable laser settings being adjusted to 960 nanometers and gain set between 700 and 800.

    - SCREEN: For GFP imaging, show laser wavelength changed to 920 nanometers.

Authors: Please create screen capture videos of the shots labeled as SCREEN, write a screenshot summary, and upload the files to your project page as soon as possible (download the guidelines from the link given in the email): https://review.jove.com/account/file-uploader?src=21224693

Please let me know if your institute’s system does not allow you to install the SCREEN recording software

  - For mice aged postnatal day 10 or younger, set the initial laser power to 50 [1] and gradually increase the power until the desired signal intensity is achieved [2]. This minimizes light penetration and reduces the risk of photodamage. Once the laser wavelength, gain, and power are set, begin scanning the tissue [3].

    - SCREEN: Show laser power being initially set to 50 for a P10 mouse.

    - SCREEN: Show the laser power being increased incrementally with signal intensity feedback.

    - SCREEN: Show the finalized view and click the Scan button to begin tissue imaging.

  - Now, use the X, Y, and Z controllers to locate the imaging field and adjust the zoom as necessary [1]. Start image acquisition at a position approximately 10 to 20 micrometers beneath the skin surface [2].

    - Talent adjusting the X, Y, and Z knobs to identify the appropriate field and modify zoom settings.

    - SCREEN: Show the software interface as image acquisition is initiated at a depth of about 10 to 20 micrometers under the skin.

  - Finally, remove the mouse paw from the glass slide after imaging [1] and return the mouse to a recovery cage for postoperative care [2].

    - Talent gently lifting the mouse paw from the glass slide.

    - Talent transferring the mouse to a recovery cage and observing its condition.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 205.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - In the hairy skin of adult mice, the overall axonal terminal organization in the forepaw was revealed through a maximum intensity projection, showing fully developed lanceolate endings surrounding hair follicles [1]. The average density of lanceolate endings surrounding hair follicles in these mice was 15.8 endings per square millimeter [2].

    - LAB MEDIA: Figure 2A.  Authors: What would you like to highlight in this image? Can you draw a box in the image and show us for reference?

    - LAB MEDIA: Figure 2B.

  - A sparse, crescent-shaped Aδ (A-delta) -LTMR lanceolate ending was observed innervating a hair follicle at postnatal day 4 [1-TXT].

    - LAB MEDIA: Figure 2C. Video editor: Highlight the crescent-shaped ending near the red arrowhead. TXT: LTMR: Low-Threshold Mechanoreceptor

  - A longitudinal lanceolate complex in hairy skin was imaged in an adult mouse at postnatal day 39 [1] and high-resolution z-plane (zee-plane) images showed individual Aβ (A-beta) rapidly adapting-LTMR lanceolate endings, each separated by 3 micrometers [2].

    - LAB MEDIA: Figure 2D. Video editor: Show the close-up image labeled P39 showing the structure of the lanceolate complex.

    - LAB MEDIA: Figure 2E. Video editor: Highlight each of the three sequential z-plane images labeled P39 and highlight the “3 µm” separation between images.

  - Immature lanceolate complexes were observed in the hairy skin at postnatal day 10, with fewer Aβ-LTMR axons [1] and individual z-planes revealed sparse nascent lanceolate endings [2].

    - LAB MEDIA: Figure 2F.

    - LAB MEDIA: Figure 2G.

  - In the adult mouse fingertip, Aβ RA-LTMR axons were visualized innervating Meissner corpuscles as ellipsoid structures beneath the epidermis [1] and individual optical sections highlight discrete axon terminals at different depths within the skin [2].

    - LAB MEDIA: Figure 2H. Video editor: Show the wide field image of the fingertip labeled P52 with Meissner corpuscle structures.

    - LAB MEDIA: Figure 2I. Video editor: Highlight the three separate z-stack frames sequentially.

  - Across three consecutive days, the same nerve bundles in adult mouse hairy skin were identified, with slight shape variations likely due to paw positioning [1].

    - LAB MEDIA: Figure 3A B C. Video editor: Highlight the red arrows pointing to nerve bundles in all 3 images.

  - The same axonal morphologies around hair follicles in the hairy skin were consistently imaged over 3 days [1].

    - LAB MEDIA: Figure 3D E F.

NOTE to the Authors:

You have two options for filming and submitting the SCREEN footage:

Option 1: Uploading Separate Clips (Recommended)

Please upload a separate video file for each SCREEN shot (tagged as SCREEN), naming the file according to the shot number (e.g., 2.4.3, 1.5.1, 3.2.1, 3.1.3, etc.).

- Each clip must be a maximum of 20 to 25 seconds to match the voice narration.

- If an action takes longer, provide only the best, most representative 20-25 second segment.

Option 2: Uploading a Single Continuous Video

If you prefer to record all steps together and upload a single video file, that is acceptable. In this case, you must write the precise timestamp for each shot within the script.

For example, if the action described in shot 2.1.2 is present in the file xxx.mp4 and occurs between timestamps 00:30 and 00:45 , then write the following in the script after each shot description or as a comment bubble.

(write the file name and timestamp after each shot): [File name] [Start Time]-[End Time]

- Example 	2.1.2  SCREEN: performing ...........action. xxx.mp4 00:30-00:45

    - SCREEN: cutting the…..........action. xxx.mp4 01:10-01:20

- The duration between the start and end times for each shot must be limited to 20 to 25 seconds.

- If a shot is longer than 25 seconds, choose two short segments (one at the beginning and one at the end) that collectively do not exceed 25 seconds.

- Example: 3.1.1 SCREEN: inserting a needle... xxx.mp4 00:00-00:10 and 02:30-02:40