# Submission ID #: 69621

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21234453

# Title: Estimate the Cognitive Load Using Electrocardiographic Measure: A Human-AI Collaborative Task

# Authors and Affiliations:

# Xiangyi Lyu1, Jun Wu1, Zhigang Ma2, Ying Su1, Shinan Zhao1, Tao Liu3, Xiaotian Liu4, Jialu Qin5

# 1School of Economics and Management, Jiangsu University of Science and Technology

# 2Wuhan Marine Machinery Plant Co., Ltd.

# 3School of Management, Shanghai University

# 4School of Business, The University of Queensland

# 5School of Artificial Intelligence, Xi'an Jiaotong University

# Corresponding Authors:

# Jun Wu		wujunergo@just.edu.cn

# Email Addresses for All Authors:

Xiangyi Lyu		xylyu@stu.just.edu.cn

Zhigang Ma		Mazhig@163.com

Ying Su		             morasuying@163.com

Shinan Zhao		shinan89@just.edu.cn

Tao Liu			liu_tao@shu.edu.cn

Xiaotian Liu		xiaotian.liu@uq.edu.au

# Jialu Qin		jlqin@stu.xjtu.edu.cn

# Jun Wu		wujunergo@just.edu.cn

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar? No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   No

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. NO

Current Protocol Length

Number of Steps: 22

Number of Shots: 48 (28 SC)

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Xiangyi Lyu: We study how people’s cognitive load changes when working with AI in a delegation setting.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

What significant findings have you established in your field?

  - Xiangyi Lyu: We found that people adjust their cognitive load by delegating tasks when working with AI.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

What questions will future research focus on?

  - Xiangyi Lyu: In future, we will look at how different co-learning approaches affect outcomes when humans and AI learn together.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card

This research has been approved by the Institutional Review Board of Jiangsu University of Science and Technology

# Protocol

- Patient Preparation and Instrument Setup

Demonstrators: Xiangyi Lyu, Kangjie Xu

  - To begin, introduce the experimental procedure to the participant and ensure they are fully informed about the study [1-TXT].

    - WIDE: Talent explaining the experimental procedure to the participant using printed study materials. TXT: Obtain written informed consent from the participant

  - Prepare the electrocardiogram data acquisition system and gather all necessary materials, including the pre-gelled disposable electrocardiogram electrodes [1].

    - Talent arranging all required materials on the workstation, including electrocardiogram electrodes and cables.

  - Using the male-to-female ribbon cable, establish a connection between the data acquisition system and the computer used for stimulus presentation [1].

    - Talent connecting the ribbon cable between the data acquisition system and the computer.

  - Connect the data acquisition system to the electrocardiogram data receiver module [1] and plug the system into a stable power supply [2].

    - Talent attaching the receiver module to the data acquisition unit using the expansion slot on the right side of the system.

    - Talent connecting the power cable to the data acquisition system and plugging it into a power outlet.

  - Now, clean the participant's skin with alcohol wipes at three sites: below the left rib, below the right clavicle, and on the right abdomen [1]. Attach one disposable electrocardiogram electrode patch to each cleaned site [2].

    - Talent cleaning the designated skin areas with alcohol wipes.

    - Talent placing an electrode patch at each of the cleaned skin sites.

  - Then, attach the lead-wire connector securely to the electrocardiogram transmitter [1] and connect the metal clip of the lead wire to the corresponding electrode [2].

    - Talent plugging the lead-wire connector into the electrocardiogram transmitter and ensuring a secure fit.

    - Talent clipping the lead wire’s metal clip to the designated electrode.

  - Secure the electrocardiogram transmitter to the participant’s body using stretchy hook-and-loop fastener straps [1] and adjust the strap tension to ensure the transmitter stays in place and remains comfortable for the participant [2].

    - Talent wrapping and fastening the hook-and-loop strap around the participant's torso to secure the transmitter.

    - Talent adjusting the strap to stabilize the transmitter while checking for participant comfort.

- Data Acquisition and Processing

  - Turn on the switch of the electrocardiogram transmitter and power on the electrocardiogram data acquisition system [1]. Establish a wireless connection between the transmitter and the receiver module of the data acquisition system [2].

    - Talent switching on the electrocardiogram transmitter and powering up the data acquisition system.

    - Talent checking the wireless connection between the transmitter and the receiver on the interface.

  - Now, launch the electrocardiogram data acquisition software [1]. Create a new graph file [2], select the electrocardiogram receiver module from the device list [3], choose the appropriate electrocardiogram recording channel [4], and click OK in the newly displayed transmitter connection status window [5].

    - SCREEN: Show the software icon being double-clicked to launch the program.

    - SCREEN: Show the user selecting Create/Record a new experiment, Create empty graph and click OK.

    - SCREEN: Show the device list and highlight selection of the electrocardiogram receiver module and click Add.

    - SCREEN: Show the newly displayed menu where the correct recording channel is selected. Videographer: Please record the computer screen for the shots labeled as SCREEN as back-up

    - SCREEN: Show the newly displayed window and click OK.

Authors: Please create screen capture videos of the shots labeled as SCREEN, write a screenshot summary, and upload the files to your project page as soon as possible (download the guidelines from the link given in the email): https://review.jove.com/account/file-uploader?src=21234453

  - Click Start in the data acquisition software interface to begin electrocardiogram data collection [1]. Verify that the electrocardiogram waveform appears stable on the screen [2].

    - SCREEN: Cursor clicking on Start in the software interface.

    - SCREEN: Display of a steady electrocardiogram waveform on the monitor.

  - Now, instruct the participant to begin the experimental task [1].

    - Talent giving verbal instructions to the participant to begin the task.

  - After the task is completed, click Stop in the data acquisition software to end the recording session [1].

    - SCREEN: Cursor clicking Stop in the software interface.

  - Detach the lead-wire clips from the electrode patches [1]. Then, loosen the stretchy hook-and-loop fastener straps and remove the electrocardiogram transmitter from the participant's body [2].

    - Talent unclipping the red, white, and black lead-wire clips from the electrode patches.

    - Talent unfastening and removing the electrocardiogram transmitter from the participant.

  - Instruct and assist the participant in gently removing the disposable electrode patches by hand [1].

    - Talent guiding the participant to peel off each electrode patch carefully.

  - Next, open the recorded electrocardiogram data file in the data analysis software [1].

    - SCREEN: Show the software being opened.

  - Select the electrocardiogram channel and apply digital filtering. In the menu bar, navigate to Transform followed by Digital Filters and Comb Band Stop [1]. Then, in the dialog box, select Fixed at under Base Frequency, enter 50 hertz, and click OK to apply the filter [2].

    - SCREEN: Show selection of the electrocardiogram channel from the list and opening of the Transform > Digital Filters > Comb Band Stop menu.

    - SCREEN: In the filter dialog box, Fixed at is selected, 50 hertz is entered, and the OK button is clicked.

  - Next, click Transform in the menu bar, select Digital Filters, then FIR, followed by Band Pass [1]. In the dialog box, under Low Frequency cutoff, select Fixed at and enter 1 hertz, under High Frequency cutoff, select Fixed at and enter 35 hertz [2].

    - SCREEN: Navigate through Transform > Digital Filters > FIR > Band Pass options.

    - SCREEN: Show Low Frequency cutoff set to Fixed at with 1 hertz entered, and High Frequency cutoff set to Fixed at with 35 hertz entered.

  - Now, create Focus Areas based on the experimental design [1].

    - SCREEN: Show software interface where regions of interest or focus areas are being defined and labeled according to the task design.

- Heart Rate Data Analysis

Demonstrator: Xiangyi Lyu

  - Generate and export heart rate data by selecting Analysis followed by Hemodynamics and ECG Interval Extraction from the menu bar [1]. In the Analyze option, choose Focus Areas Only , and in the Display results as option, select Excel Spreadsheet Only [2]. Click OK to confirm and complete the export [3].

    - SCREEN: Show the cursor navigating to Analysis > Hemodynamics > ECG Interval Extraction.

    - SCREEN: In the Analyze option, show the Focus Areas Only option being selected. In the Display results as option, show selection of Excel Spreadsheet Only.

    - SCREEN: Cursor clicking OK and the system processing the export.

  - To generate heart rate variability data, open Analysis and select HRV and RSA followed by Multi-epoch HRV – Statistical [1]. In the ECG Channel field, select the preprocessed electrocardiogram channel [2] and under Extract HRV statistics for, choose Focus Areas. Go to Output results to, select Spreadsheet and click OK to generate and export the time-domain results [3].

    - SCREEN: Cursor selecting Analysis > HRV and RSA > Multi-epoch HRV – Statistical.

    - SCREEN: Preprocessed electrocardiogram channel being selected in the ECG Channel field.

    - SCREEN: Focus Areas option selected under Extract HRV statistics for. Spreadsheet chosen in Output results to, followed by clicking OK.

  - Finally, open Analysis again and select HRV and RSA followed by Multi-epoch HRV and RSA – Spectral [1]. In the ECG Channel field, select the preprocessed electrocardiogram channel [2]. Under Extract HRV and RSA for, choose Focus Areas. In Output type, select Excel Spreadsheet Only and click OK to export the frequency-domain results [3].

    - SCREEN: Cursor selecting Analysis > HRV and RSA > Multi-epoch HRV and RSA – Spectral.

    - SCREEN: Preprocessed electrocardiogram channel selected in the ECG Channel field.

    - SCREEN: Focus Areas selected under Extract HRV and RSA for. Excel Spreadsheet Only selected in Output type, and OK clicked to confirm export.

# Results

- Results

  - Mean heart rate was significantly lower under the difficult image condition [1] compared to the easy image condition [2].

    - LAB MEDIA: Figure 3A. Video editor: Highlight the bar labelled “Hard”

    - LAB MEDIA: Figure 3A. Video editor: Highlight the bar labelled  “Easy”

  - High frequency heart rate variability was significantly higher during the difficult image condition [1] compared to the easy image condition [2].

    - LAB MEDIA: Figure 3C. Video editor: Highlight the bars labelled “Hard”

    - LAB MEDIA: Figure 3C. Video editor: Highlight the bars labelled “Easy” .

  - Root mean square of successive differences followed a similar trend and was significantly higher during the difficult image condition [1].

    - LAB MEDIA: Figure 3D. Video editor: Highlight the bar labelled “Hard”

  - Participants delegated significantly more frequently under the difficult image condition [1] than the easy image condition [2].

    - LAB MEDIA: Figure 4. Video editor: Highlight the bar or data point labelled “Hard”

    - LAB MEDIA: Figure 4. Video editor: Highlight the bar or data point labelled  “Easy”

NOTE to the Authors:

You have two options for filming and submitting the SCREEN footage:

Option 1: Uploading Separate Clips (Recommended)

Please upload a separate video file for each SCREEN shot (tagged as SCREEN), naming the file according to the shot number (e.g., 2.4.3, 1.5.1, 3.2.1, 3.1.3, etc.).

- Each clip must be a maximum of 20 to 25 seconds to match the voice narration.

- If an action takes longer, provide only the best, most representative 20-25 second segment.

Option 2: Uploading a Single Continuous Video

If you prefer to record all steps together and upload a single video file, that is acceptable. In this case, you must write the precise timestamp for each shot within the script.

For example, if the action described in shot 2.1.2 is present in the file xxx.mp4 and occurs between timestamps 00:30 and 00:45 , then write the following in the script after each shot description or as a comment bubble.

(write the file name and timestamp after each shot): [File name] [Start Time]-[End Time]

- Example 	2.1.2  SCREEN: performing ...........action. xxx.mp4 00:30-00:45

    - SCREEN: cutting the…..........action. xxx.mp4 01:10-01:20

- The duration between the start and end times for each shot must be limited to 20 to 25 seconds.

- If a shot is longer than 25 seconds, choose two short segments (one at the beginning and one at the end) that collectively do not exceed 25 seconds.

- Example: 3.1.1 SCREEN: inserting a needle... xxx.mp4 00:00-00:10 and 02:30-02:40