# Submission ID #: 69628

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21236588

# Title: Procedures for the Identification of SARS-CoV-2 Entry Inhibitors as Potential Antivirals using MLV-Based Pseudoviruses

# Authors and Affiliations:

# Andreina Ayala1, Lissett Avecilla2, Natalia Samuel1, Adaelén Ruiz1, Carolina de la Guardia1, Ricardo Lleonart1,3

# 1Centro de Biología Celular y Molecular de enfermedades. Instituto de Investigaciones Científicas y Servicios de Alta Tecnología (INDICASAT AIP)

# 2Maestría en Ciencias Biomédicas, Universidad de Panama

# 3Sistema Nacional de Investigación (SNI), SENACYT

# Corresponding Authors:

# Ricardo Lleonart		rlleonart@indicasat.org.pa

# Email Addresses for All Authors:

Andreina Ayala		aayala@indicasat.org.pa

Lissett Avecilla			lissettavecilla54@gmail.com

Natalia Samuel		nataliamsamuel97@gmail.com

Adaelen Ruiz			adaeleniveth@gmail.com

# Carolina de la Guardia		cidelagd@yahoo.com

# Ricardo Lleonart		rlleonart@indicasat.org.pa

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

√ Correct

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: 03/23/26

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

Current Protocol Length

Number of Steps:  25

Number of Shots:  57

# Interviews

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Ricardo Lleonart: Our research focuses on identifying inhibitors that block SARS-CoV-2 entry using pseudovirus systems.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Ricardo Lleonart: Studying SARS-CoV-2 entry often requires high biosafety containment laboratories, typically BSL-3; this protocol enables safe antiviral screening using pseudoviruses in standard BSL-2 laboratories.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Andreina Ayala: This protocol enables the production of high-titer pseudoviruses through optimized conditions. This allows researchers to measure pseudoviral entry and identify compounds that inhibit SARS-CoV-2 spike-mediated infection.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Describe the most important consideration or challenge when performing this protocol.

  - Andreina Ayala: High transfection efficiency is critical to generate high-titer pseudoviruses and obtain reliable infection signals in downstream assays.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Andreina Ayala: This system supports high-throughput antiviral screening and evaluation of entry inhibitors against emerging SARS-CoV-2 variants, and can be readily adapted to generate pseudoviruses displaying envelope proteins from other viruses.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Protocol

- High Efficiency Transfection of HEK293T-Derived Cells Using Branched Polyethyleneimine (PEI)

Demonstrator: Andreina Ayala

  - To begin, place a 6-well tissue culture plate in the biosafety cabinet [1] and seed 7.5 × 105 HEK293 (H-E-K-two ninety-three)-derived cells per well in 2 milliliters of complete medium [2]. Incubate the plate at 37 degrees Celsius with 5 percent carbon dioxide overnight [3]. The following day, confirm that the cells have reached approximately 50 to 60 percent confluency [4].

    - WIDE: Talent placing a 6-well plate in the biosafety hood.

    - Talent seeding HEK293-derived cells into a 6-well tissue culture plate with complete medium.

    - Talent placing the 6-well plate into a carbon dioxide incubator.

    - Talent viewing the cells under a microscope.

  - On the next day, prepare the polyethyleneimine or PEI (P-E-I) solution by adding 5 microliters of 1 milligram per milliliter PEI stock to 50 microliters of reduced serum medium in a 1.5 milliliter microcentrifuge tube [1]. In a separate 1.5-milliliter microcentrifuge tube, prepare the DNA solution by adding 2.5 micrograms of GFP (G-F-P)-expressing plasmid to 50 microliters of the same medium [2].

    - Talent pipetting polyethyleneimine stock and reduced serum medium into a 1.5 milliliter microcentrifuge tube.

    - Talent pipetting the plasmid and reduced serum medium into a separate 1.5 milliliter microcentrifuge tube.

  - Mix each tube briefly by vortexing, then spin down for 5 seconds and incubate at room temperature [1].

    - Talent vortexing each tube and immediately spinning them down.

  - During the 10-minute incubation period, carefully remove the medium from each well of the 6-well plate without disrupting the cell monolayer [1] and add 1 milliliter of complete transfection medium devoid of antibiotics to each well [2].

    - Talent aspirating medium from a well while maintaining the cell monolayer intact.

    - Talent gently adding complete transfection medium to each well of the plate.

  - After the incubation, add 50 microliters of the DNA solution to the tube containing PEI  solution [1]. Mix quickly by pipetting 6 times and incubate at room temperature for exactly 3 minutes [2]. Then, quickly add the PEI-DNA (P-E-I-D-N-A) complex dropwise to the corresponding well [3].

    - Talent transferring the deoxyribonucleic acid solution into the polyethyleneimine solution tube.

    - Talent pipetting the mixture up and down 6 times to mix.

    - Talent adding the transfection complex dropwise to the cells in a well.

  - Now, seal the borders of the plate with parafilm [1] and centrifuge at 1,000 g for 30 minutes at room temperature without brake using a swing rotor and a plate bucket [2].

    - Talent sealing the edges of the 6-well plate with parafilm.

    - Talent placing the sealed plate into the centrifuge.

  - After centrifugation, gently remove the parafilm [1] and incubate the plate at 37 degrees Celsius with 5 percent carbon dioxide for 3 hours [2].

    - Talent removing parafilm from the 6-well plate.

    - Talent placing the plate into a carbon dioxide incubator.

  - Then, gently replace the transfection medium in each well with 2 milliliters of pre-warmed complete DMEM medium [1].

    - Talent slowly adding pre-warmed DMEM-C to each well.

  - Incubate the transfected cells at 37 degrees Celsius with 5 percent carbon dioxide for 48 hours [1] and assess the transfection efficiency by evaluating GFP expression using fluorescence microscopy [2].

    - Talent placing the 6-well plate into the carbon dioxide incubator for the final incubation.

Added shot: LAB MEDIA: Figure 1

- Generation of SARS-CoV-2 Spike- and VSV-G Pseudotyped Pseudoviral Particles

  - Seed HEK293T-derived cells into two 6-well plates as demonstrated earlier [1]. Designate one plate for SARS-CoV-2 (sars-kov-2) spike pseudovirus generation and the other for VSV-G pseudoviruses [2-TXT].

    - Talent adding HEK293T-derived cells into two 6-well plates.

    - Talent labeling one plate as spike pseudoviruses and the other as vesicular stomatitis virus glycoprotein pseudoviruses.  TXT: SARS-CoV-2: Severe Acute Respiratory Syndrome Coronavirus 2; VSV-G: Vesicular Stomatitis Virus Glycoprotein

  - Prepare the transfection mix and PEI-DNA complexes [1] on the day of the experiment and incubate for 10 minutes at room temperature [2]. During the incubation, carefully remove the medium from each well of the 6-well plates without disrupting the cell monolayer [3]. Slowly add 1 milliliter of pre-warmed complete transfection medium without antibiotics to each well, allowing the medium to run down the wall of the well [4]. Add the prepared transfection complexes to the cells to transfect them as demonstrated previously [5].

Added shot: Reuse 2.2.2.

Added shot: LAB MEDIA: Table 1

    - Talent aspirating medium from a well while maintaining the cell monolayer intact.

    - Talent slowly adding pre-warmed DMEM without antibiotics along the wall of the well.

Added shot: Reuse 2.5.3.

  - After 48 hours of incubation post-transfection, collect the supernatants from each well into a 50-milliliter sterile conical centrifuge tube [1] and centrifuge at 290 g for 7 minutes at 4 degrees Celsius [2]. Collect the cell-free supernatant and filter it through a sterile 0.45-micrometer polyvinylidene fluoride top bottle filter unit [3]. Prepare 1 milliliter aliquots of the filtered supernatant [4] and store them at minus 80 degrees Celsius [5].

    - Talent collecting supernatant from the wells into a sterile container.

    - Talent placing the 50 milliliter conical centrifuge tubes into a refrigerated centrifuge.

    - Talent filtering the clarified supernatant through a 0.45 micrometer polyvinylidene fluoride top bottle filter unit.

    - Talent aliquoting 1 milliliter volumes into sterile tubes.

Added shot: Talent placing them into a minus 80 degrees Celsius freezer.

- Titration of SARS-CoV-2 and VSV-G Pseudotyped Particles

  - Seed 2.5 × 104 HSI (H-S-I) cells, a highly SARS-CoV-2-susceptible cell line, in 50 microliters of complete DMEM per well in a 96-well tissue culture plate [1]. Prepare and label triplicate wells for each condition to be tested, including spike-less pseudovirus infection and non-infected controls [2]. Incubate the plate at 37 degrees Celsius with 5 percent carbon dioxide overnight [3].

    - Talent seeding HSI cells into a 96-well tissue culture plate with complete DMEM.

    - Talent labeling wells for different pseudovirus amounts, spike-less controls, and non-infected controls.

    - Talent placing the 96-well plate into a carbon dioxide incubator.

  - On the day of transduction, thaw one aliquot of each pseudovirus batch on ice and gently mix by inversion, including one aliquot of the spike-less control [1]. Add the required volumes of pseudovirus preparation directly to the designated wells [2]. Adjust the volume of each well to 150 microliters with complete DMEM [3].

    - Talent thawing pseudovirus aliquots on ice and gently inverting the tubes to mix.

    - Talent adding specified volumes of pseudovirus to the appropriate wells of the 96-well plate.

    - Talent adding complete DMEM to each well to reach a final volume of 150 microliters.

  - Now, seal the plate with parafilm [1] and centrifuge at 2,500 g for 45 minutes at room temperature without brake [2].

    - Talent sealing the 96-well plate with parafilm.

    - Talent placing the sealed plate into the centrifuge.

  - Remove the parafilm seal [1] and incubate the plate for 72 hours at 37 degrees Celsius with 5 percent carbon dioxide [2].

    - Talent removing parafilm from the plate.

    - Talent placing the plate into a carbon dioxide incubator.

  - After incubation, prepare the luciferase assay reagents according to the manufacturer’s instructions [1]. Thaw the luciferase substrate and the 5x luciferase assay lysis buffer at room temperature for 10 to 15 minutes [2]. Dilute the 5x luciferase assay lysis buffer to 1x with sterile water [3].

    - Talent arranging luciferase assay reagents on the bench.

    - Talent placing luciferase substrate and 5 times luciferase assay lysis buffer at room temperature.

    - Talent diluting the 5 times lysis buffer with sterile water.

  - Carefully, aspirate and discard the supernatant [1]. Next, add 30 microliters of 1x lysis buffer to each well [2]. Place the plate on a plate shaker and shake for 10 minutes at 150 revolutions per minute at room temperature [3]. Verify complete cell lysis under an inverted microscope to confirm that cells are fully lysed and not distinguishable [4]. Then, transfer the lysates to an opaque white 96-well plate [5].

    - Talent slowly aspirates and discards the supernatant.

    - Talent adding 30 microliters of 1X lysis buffer to each well with a multichannel pipette.

    - Talent placing the plate on a plate shaker for incubation.

    - Talent placing the sample under an inverted microscope.

    - Talent transferring lysates into an opaque white 96-well plate.

  - Add 50 microliters of luciferase substrate to each well [1]. Mix briefly by gently moving the plate in a circular motion [2] and place the plate into the luminometer and measure luminescence [3].

    - Talent adding luciferase substrate to the wells of the opaque white plate.

    - Talent gently swirling the plate to mix contents.

    - Talent placing the plate into a luminometer for luminescence measurement.

- Screening of Compounds for Pseudoviral Entry Inhibition Using Spike-Pseudoviruses (PVs)

  - Seed 2.5 × 104 HSI cells in 50 microliters of complete DMEM per well in a 96-well plate as previously described [1]. Incubate overnight at 37 degrees Celsius with 5 percent carbon dioxide [2].

    - Talent seeding HSI cells into a 96-well plate with complete DMEM.

    - Talent placing the 96-well plate into a carbon dioxide incubator.

  - The next day, prepare 1 to 3 serial dilutions of the compounds to be tested, such as arbidol, in complete DMEM containing 0.5 percent dimethyl sulfoxide [1-TXT].  Next, transfer 50 microliters of each dilution to the plate containing the cells [2].

    - Talent performing 1 to 3 serial dilutions of compounds in DMEM with 0.5 percent dimethyl sulfoxide. TXT: Final compound concentrations: 50, 16.6, 5.5, 1.8, 0.6, 0.2, and 0.06 µM

    - Talent preparing compound dilutions in a separate 96-well plate and transferring 50 microliters to the cell plate.

  - Using a multichannel pipette, gently aspirate the medium from each well [1]. Add 50 microliters of the corresponding compound dilutions to each well, while adding complete DMEM alone to the column 12 control wells [2]. Incubate for 1 hour at 37 degrees Celsius with 5 percent carbon dioxide [3].

    - Talent aspirating medium from the 96-well plate with a multichannel pipette.

    - Talent adding compound dilutions to the corresponding wells.

    - Talent placing the plate into the incubator.

  - Without removing the compounds, directly add 50 microliters of SARS-CoV-2 spike pseudovirus to each well, diluted in complete medium containing the same compound concentrations [1]. Seal the plate with parafilm [2].

    - Talent adding pseudotyped severe acute respiratory syndrome coronavirus 2 pseudovirus to each well.

    - Talent sealing the 96-well plate with parafilm.

  - Centrifuge at 2,500 g for 45 minutes at room temperature without brake [1]. After removing the parafilm, incubate the plate at 37 degrees Celsius with 5% carbon dioxide for 72 hours [2]. Finally, quantify infectivity using a luciferase assay as demonstrated previously [3].

    - Talent placing the sealed plate into the centrifuge.

    - Talent placing the plate without parafilm in CO2 incubator.

    - Talent handling the 96-well plate and placing the plate in a reader.

# Results

- Results

  - Transfection of HEK293T-derived cells with branched PEI resulted in high transfection efficiency, resulting in roughly 70% GFP-positive cells 48 hours after transfection [1].

    - LAB MEDIA: Figure 1.

  - Infection of susceptible HSI cells with decreasing amounts of SARS-CoV-2-spike pseudoviruses or VSV-G pseudoviruses showed a dose-dependent increase in luminescence with increasing pseudovirus input [1].

    - LAB MEDIA: Figure 2. Video editor: Highlight the series of bars under “Added spike-PVs (µL)”

  - Spike-less pseudoviruses and uninfected cells showed very low levels of luminescence [1].

    - LAB MEDIA: Figure 2. Video editor: Highlight the bars labeled “NE” and “NI”.

  - The compound arbidol was tested for its ability to inhibit pseudoviral entry [1] and it produced clear dose-response inhibition of luciferase activity generated by spike pseudoviruses [2], with less inhibition observed for VSV-G pseudoviruses [3].

    - LAB MEDIA: Figure 3B

    - LAB MEDIA: Figure 3B. Video editor: Highlight the bars under “Added Arbidol (µM) to spike-PVs” showing decreasing luminescence with increasing concentration.

    - LAB MEDIA: Figure 3B. Video editor: Highlight the bars under “Added Arbidol (µM) to VSV-G-PVs” showing comparatively higher bars than those for spike-PVs at similar concentrations.

  - The assay showed a Z prime-factor of 0.54, indicating suitability for screening purposes [1].

    - LAB MEDIA: Figure 4. Video editor: Highlight the text “Z´-factor: 0.54”

  - Treatment with arbidol at concentrations starting at 30 micromolar did not significantly affect cell viability compared to [1] the cells treated with 0.5% dimethyl sulfoxide vehicle alone [2].

    - LAB MEDIA: Figure 5. Video editor: Highlight the bars corresponding to the different “ARB concentrations”

    - LAB MEDIA: Figure 5. Video editor: Highlight the bar labeled “NTD

Pronunciation guide:

- HEK293T
Pronunciation link: https://www.merriam-webster.com/dictionary/HEK
IPA: /ˌeɪtʃ.iː.keɪˌtuːˈnaɪntiˌθriː/
Phonetic Spelling: aych·ee·kay·too·nine·tee·three

- Transfection
Pronunciation link: https://www.merriam-webster.com/dictionary/transfection
IPA: /trænˈsfekʃən/
Phonetic Spelling: trans·fek·shuhn

- Polyethyleneimine
Pronunciation link: https://www.howtopronounce.com/polyethyleneimine
IPA: /ˌpɑːliˌɛθəˈliːnˌɪˌmaɪn/
Phonetic Spelling: paa·lee·eth·uh·leen·ih·mine

- Microcentrifuge
Pronunciation link: https://www.merriam-webster.com/dictionary/microcentrifuge
IPA: /ˌmaɪkroʊˈsɛntrɪˌfjuːdʒ/
Phonetic Spelling: my·kroh·sen·truh·fyooj

- Plasmid
Pronunciation link: https://www.merriam-webster.com/dictionary/plasmid
IPA: /ˈplæzmɪd/
Phonetic Spelling: plaz·mid

- Fluorescent
Pronunciation link: https://www.merriam-webster.com/dictionary/fluorescent
IPA: /flɔːˈrɛsənt/
Phonetic Spelling: flor·ess·uhnt

- Vortexing
Pronunciation link: https://www.merriam-webster.com/dictionary/vortex
IPA: /ˈvɔrˌtɛks/
Phonetic Spelling: vor·teks

- Confluency
Pronunciation link: https://www.howtopronounce.com/confluency
IPA: /kənˈfluːənsi/
Phonetic Spelling: kuhn·floo·uhn·see

- Monolayer
Pronunciation link: https://www.merriam-webster.com/dictionary/monolayer
IPA: /ˈmɑːnoʊˌleɪər/
Phonetic Spelling: mon·oh·lay·ur

- Centrifugation
Pronunciation link: https://www.merriam-webster.com/dictionary/centrifugation
IPA: /ˌsɛntrəfəˈɡeɪʃən/
Phonetic Spelling: sen·truh·fuh·gay·shuhn

- Rotor
Pronunciation link: https://www.merriam-webster.com/dictionary/rotor
IPA: /ˈroʊtər/
Phonetic Spelling: roh·tur

- Pseudotyped
Pronunciation link: https://www.howtopronounce.com/pseudotyped
IPA: /ˈsuːdoʊtaɪpt/
Phonetic Spelling: soo·doh·typed

- Pseudoviral
Pronunciation link: https://www.howtopronounce.com/pseudoviral
IPA: /ˌsuːdoʊˈvaɪrəl/
Phonetic Spelling: soo·doh·vy·ruhl

- SARS-CoV-2
Pronunciation link: https://www.merriam-webster.com/medical/SARS-CoV-2
IPA: /ˌsɑrzˌkoʊˌviːˈtuː/
Phonetic Spelling: sarz·koh·vee·too

- Vesicular
Pronunciation link: https://www.merriam-webster.com/dictionary/vesicular
IPA: /vəˈsɪkjələr/
Phonetic Spelling: vuh·sik·yuh·ler

- Stomatitis
Pronunciation link: https://www.merriam-webster.com/dictionary/stomatitis
IPA: /ˌstoʊməˈtaɪtəs/
Phonetic Spelling: stoh·muh·tie·tuhs

- Glycoprotein
Pronunciation link: https://www.merriam-webster.com/dictionary/glycoprotein
IPA: /ˌɡlaɪkoʊˈproʊtiːn/
Phonetic Spelling: gly·koh·proh·teen

- Supernatant
Pronunciation link: https://www.merriam-webster.com/dictionary/supernatant
IPA: /ˌsuːpərˈneɪtənt/
Phonetic Spelling: soo·per·nay·tuhnt

- Polyvinylidene
Pronunciation link: https://www.howtopronounce.com/polyvinylidene
IPA: /ˌpɑːliˌvaɪnəˈliːdiːn/
Phonetic Spelling: paa·lee·vy·nuh·lee·deen

- Luciferase
Pronunciation link: https://www.merriam-webster.com/dictionary/luciferase
IPA: /luːˈsɪfəˌreɪs/
Phonetic Spelling: loo·sif·uh·rays

- Luminescence
Pronunciation link: https://www.merriam-webster.com/dictionary/luminescence
IPA: /ˌluːməˈnɛsəns/
Phonetic Spelling: loo·muh·ness·uhns

- Luminometer
Pronunciation link: https://www.howtopronounce.com/luminometer
IPA: /ˌluːməˈnɑːmətər/
Phonetic Spelling: loo·muh·nom·uh·tur

- Dimethyl Sulfoxide
Pronunciation link: https://www.merriam-webster.com/dictionary/dimethyl%20sulfoxide
IPA: /daɪˈmɛθəl sʌlˈfɑːksaɪd/
Phonetic Spelling: dye·meth·uhl sul·fok·side

- Micromolar
Pronunciation link: https://www.merriam-webster.com/medical/micromolar
IPA: /ˌmaɪkroʊˈmoʊlər/
Phonetic Spelling: my·kroh·moh·ler

- Infectivity
Pronunciation link: https://www.merriam-webster.com/dictionary/infectivity
IPA: /ˌɪnfɛkˈtɪvəti/
Phonetic Spelling: in·fek·tiv·uh·tee