TITLE:

Procedures for the Identification of SARS-CoV-2 Entry Inhibitors as Potential Antivirals using MLV-Based Pseudoviruses

AUTHORS AND AFFILIATIONS:

Andreina Ayala1, Lissett Avecilla2, Natalia Samuel1, Adaelén Ruiz1, Carolina de la Guardia1, Ricardo Lleonart1,3*

1Centro de Biología Celular y Molecular de enfermedades. Instituto de Investigaciones Científicas y Servicios de Alta Tecnología (INDICASAT AIP), Panama.

2Maestría en Ciencias Biomédicas. Universidad de Panama.

3Sistema Nacional de Investigación (SNI), SENACYT, Panama.

Email addresses of the co-authors:

Andreina Ayala		(aayala@indicasat.org.pa)

Lissett Avecilla			(lissettavecilla54@gmail.com)

Natalia Samuel		(nataliamsamuel97@gmail.com)

Adaelen Ruiz			(adaeleniveth@gmail.com)

Carolina de la Guardia		(cidelagd@yahoo.com)

*Corresponding author:

Ricardo Lleonart		(rlleonart@indicasat.org.pa)

ORCID ID:

Carolina de la Guardia 	(0000-0002-9505-0873)

Ricardo Lleonart		(0000-0002-5830-6315)

SUMMARY:

This article describes the methodology for generating SARS-CoV-2 pseudotyped particles using a luciferase reporter system and its use to identify entry inhibitors. These protocols are demonstrated using two different entry-inhibitors, a recombinant human ACE2-Fc fusion protein and the small-molecule compound arbidol.

ABSTRACT:

The SARS-CoV-2 virus is an emergent, zoonotic pathogen that has caused a huge burden of disease and mortality around the world since its emergence in 2019. Safe and accessible platforms to evaluate viral entry and potential antiviral compounds remain essential for ongoing drug discovery against emerging variants. This article describes a highly optimized protocol for generating murine leukemia virus (MLV)-based pseudotyped particles expressing the SARS-CoV-2 spike protein and carrying a luciferase reporter gene, enabling the study of viral entry under biosafety level 2 conditions. The methods described detail the use of optimized cell lines, high transfection efficiency using cost-effective reagents, production of highly effective pseudoviruses, and titration of infectivity to determine the minimum viral input for screening assays. Representative results demonstrate robust luciferase activity in infected cells compared to non-infected controls, while control spike-less and VSV-G-pseudoviruses confirm assay specificity. Furthermore, the system supports compound screening by quantifying inhibitory effects on viral entry and assessing cytotoxicity using an MTT viability assay. Overall, this reproducible and scalable protocol provides a reliable platform for medium to high-throughput screening of novel viral entry inhibitors, contributing to the identification of antiviral candidates and advancing research on SARS-CoV-2 entry mechanisms.

INTRODUCTION:

The emergence of Severe Acute Respiratory Syndrome Coronavirus 2 (SARS-CoV-2) during late 2019 led to a global pandemic that resulted in millions of deaths worldwide and continues to pose a threat through new variants with increased transmissibility and immune escape potential1. As an enveloped RNA virus from the Coronaviridae family, SARS-CoV-2 utilizes its trimeric spike (S) glycoprotein to mediate host cell entry by binding to the angiotensin-converting enzyme 2 (ACE2) receptor and undergoing proteolytic activation by TMPRSS2 and other host proteases2,3. While several treatment options have been developed to manage COVID-19 symptoms, the continued evolution and rapid development of viral variants highlight the urgent need for safe and scalable systems to study viral entry and evaluate new antiviral compounds targeting this early step in infection4.

The SARS-CoV-2 virus remains classified as a biosafety level 3 agent5 in some territories due to its high transmission potential. Therefore, any replicative laboratory task requires a high-containment BSL-3 facility, hindering the ability of most labs in the field to do scientific research with this virus. Pseudotyped virus-based systems, also known as pseudoviruses (PVs), offer a practical alternative that allows for viral entry studies in biosafety level 2 (BSL-2) laboratories, expanding accessibility for global research efforts6. The pseudotyped particles bearing the SARS-CoV-2 spike protein are non-replicating, making them a safe surrogate to evaluate virus entry and screen for small-molecule inhibitors7. These particles can be engineered to carry a luciferase or fluorescent reporter gene, enabling rapid, quantitative detection of infection by measuring reporter signal in infected cells. Systems based on murine leukemia virus (MLV) or lentivirus backbones have been widely used for studying the entry of SARS-CoV, MERS-CoV, SARS-CoV-2, Ebola virus, among others8–11.

In these protocols, we describe the generation of MLV-based PVs using a three-plasmid system, based on the work reported by Millet and Whittaker8. The plasmids used include a packaging plasmid encoding the MLV core genes gag-pol (pCMV-MLVgagpol), a transfer vector encoding the reporter gene luciferase (pTG-Luc), and a plasmid expressing the SARS-CoV-2 spike glycoprotein corresponding to the original Wuhan-Hu-1 variant. Additionally, pseudoviruses are also generated using the G-glycoprotein of the vesicular stomatitis virus (VSV-G) to be used later as a counter-screening of potential hits. Pseudoviruses are produced in HEK293-derived cells and used to infect highly susceptible cells stably expressing hACE2 and TMPRSS2. Transfection efficiency is first evaluated using a green fluorescent protein (GFP)-expressing plasmid. Then, using optimized transfection conditions, PVs are generated by co-transfecting these three plasmids, followed by the titration of the resulting viruses. Using the appropriate amount of PVs, an assay is performed in 96-well plates to screen for compounds able to inhibit the entry of the viruses. This protocol utilizes branched polyethylenimine (PEI) as a cost-effective transfection reagent, enabling easier implementation of the procedures.

PROTOCOL:

- High efficiency transfection of HEK293T-derived cells using branched polyethyleneimine (PEI)

NOTE: Perform all steps in a biosafety cabinet using standard aseptic technique and BSL-2 procedures. Use HEK293T-derived cells for transfection and generation of pseudotyped viruses. In this Method cells are transfected in cell culture-treated 6 well plates. The PEI stock solution is prepared as previously described by Yang and colleagues (2017)12. Before proceeding to do the triple transfection to generate the pseudovirus, it is advisable to optimize the best PEI-plasmid DNA proportion to ensure a high transfection efficiency (more than 70–80%). This optimization should be done by transfection of a green fluorescent protein (GFP)-expressing plasmid and then checking the proportion of fluorescent cells using a fluorescence microscope. For this optimization, keep plasmid DNA constant at 2.5 µg per well and test several amounts of PEI, in the range of 1–20 µL. Here are the best conditions for these lots of cells and PEI, consisting of 5 µL of PEI stock solution (1 mg/mL) and 2.5 µg of GFP-expressing plasmid per well in a 6-well plate.

  - Seed 7.5 x 105 HEK293-derived cells per well in a 6-well tissue culture plate, in a total volume of 2 mL per well of complete medium (DMEM-C: Dulbecco's Modified Eagle's Medium supplemented with 10% heat-inactivated fetal bovine serum (FBS), 20 mM 4-(2-hydroxyethyl)-1-piperazineethanesulfonic acid (HEPES), 100 IU/mL penicillin, and 100 µg/mL streptomycin) 24 h before transfection.

NOTE: When seeding cells, avoid moving the tissue culture plate in circular motions, since this may cause cell aggregation at the center of wells, resulting in irregular cell distribution and subsequently lower transfection efficiency. One 6-well plate is enough for one experiment, including one well as a cell control (non-transfected), and the rest of the plate for testing several proportions of PEI-plasmid DNA.

  - Incubate the cells at 37 °C with 5% CO₂ overnight. Next day, ensure that the cells are approximately 50–60% confluent.

  - On the day of transfection, prepare the PEI-plasmid DNA complexes in sterile, 1.5 mL microcentrifuge tubes.

    - For each well, prepare a PEI solution tube containing 5 µL of PEI stock (1 mg/mL) in 50 µL of reduced serum medium, and one DNA solution tube containing 2.5 µg of the GFP-expressing plasmid, in 50 µL of the same medium.

    - If several wells are to be transfected, solutions may be scaled up accordingly. Mix each tube briefly by vortex and spin down for 5 sec. Incubate tubes at room temperature (RT) for 10 min.

  - During the time of this incubation, carefully remove the medium from each well of the 6-well plate, avoiding disruption of the cell monolayer. Replace carefully with 1 mL/well of complete transfection medium (DMEM-T, same as DMEM-C, but without antibiotics).

  - Prepare the transfection complex. After the 10 min incubation, add the 50 µl of the DNA solution tube to the PEI solution tube. Mix quickly by pipetting up and down six times and incubate at RT for exactly 3 min. Immediately proceed to add complex dropwise to cells in each corresponding well.

  - Seal the borders of the plate with parafilm and centrifuge at 1,000 x g for 30 min at RT, without brake, using a swing rotor and plate bucket.

  - After centrifugation, remove parafilm gently and incubate the plate at 37 °C, 5% CO₂ for 3 h.

  - After incubation, gently remove the transfection medium from each well and replace it slowly with 2 mL of pre-warmed DMEM-C per well.

  - Incubate transfected cells at 37 °C with 5% CO₂ for 48 h.

  - Assess transfection efficiency by GFP expression using fluorescence microscopy. The frequency of fluorescent cells should be higher than 70–80% (Figure 1). This is critical for the efficiency of the next method in section 2.

- Generation of SARS-CoV-2 spike- and VSV-G pseudotyped pseudoviral particles

NOTE: This Method uses the same procedure as section 1, except that instead of using the GFP plasmid, cells will be co-transfected with the three plasmids required to generate pseudotyped viruses, using the optimal transfection conditions to assure high transfection efficiency. The protocol also uses HEK293T-derived cells in 6-well plates, sufficient for the following three required conditions: a) non transfected cells (one well), b) cells transfected only with the MLV packaging plasmid and the luciferase reporter transfer vector (one well; spike-less pseudoviruses) and c) cells transfected with these two plasmids and the spike-expressing plasmid to generate SARS-CoV-2 pseudotyped viruses (four wells). The spike-expressing plasmid used here codes for the spike of the SARS-CoV-2, Wuhan strain, and contains sequence modifications to allow for an efficient presentation of the protein in PVs. The spike-less pseudovirus will be required as a control later during infections, to validate the spike-dependent entry in permissive cells. Similarly, VSV-G-PVs are generated using the same experimental design to be used later as a counter-screening of potential inhibitory compounds. If a larger volume of pseudovirus is required, the protocol may be scaled up to two 6-well plates, which may also be practical for the plate centrifugation step.

  - The day before transfection, seed HEK293T-derived cells into two 6-well plates, as described in section 1. Use one plate for the generation of spike-PVs and the other for the VSV-G-PVs.

  - The day of transfection, prepare the transfection mixes as shown in Table 1, following step 1.3.

[Place Table 1 here]

NOTE: PEI solution is prepared as previously reported12. Plasmids pCMV-MLVgagpol and pTG-Luc were obtained from Millet and Whittaker8. Plasmid pVSV-G was obtained from Gee et al 202013. All plasmids should be prepared in advance as high-quality preps, free of endotoxins. It is recommended to use commercially available maxiprep kits, with a final step of sterile filtration through low-binding, 0.2 µm syringe filter.

  - Mix each tube as described in section 1 and incubate at RT for 10 min.

  - During this incubation, carefully remove the medium from each well of the 6-well plates, avoiding disruption of the cell monolayer. Slowly replace with 1 mL of pre-warmed DMEM-T medium to each well, ensuring the medium runs down the wall of the well and not directly onto the cells.

  - Prepare transfection complexes as described in section 1 and transfect cells using the previously described protocol.

  - After the 48-h incubation post-transfection, collect the supernatants, transfer them to 50 mL sterile conical centrifuge tubes, and centrifuge at 290 x g for 7 min at 4 °C.  Collect the cell-free supernatant, and filter it using a polyvinylidene fluoride (PVDF), sterile 0.45 µm top bottle filter unit. Prepare aliquots of 1 mL and store them at -80 °C.

NOTE: Pseudotyped particles are stable at -80 °C for several months. Avoid repeated freeze-thaw cycles to preserve infectivity.

- Titration of SARS-CoV-2 and VSV-G pseudotyped particles

NOTE: This step is essential to confirm that the produced pseudotyped particles are infectious and to determine the minimum effective volume required for downstream applications such as compound screening. The titration should be done for every new batch of pseudovirus. To this purpose, cells highly susceptible to infection with SARS-CoV-2 (HSI cells) are infected with decreasing amounts of the pseudotyped viruses. The entry of the pseudoviruses, mediated by the spike-human ACE2 interaction, or by VSV-G with other cellular receptors, is monitored 72 h later by the detection of the luciferase activity in a luminescence assay.

  - The day before the transduction, seed 2.5 x 104 HSI cells per well in a 96-well tissue culture plate, in 50 µL of complete medium (DMEM-C). Prepare three wells for each amount of pseudovirus to test, and include wells for infection, also with spike-less pseudoviruses, and for non-infected cells. Incubate the plate at 37 °C with 5% CO₂ overnight.

  - The day of the transduction, thaw one aliquot of each pseudovirus batch to test on ice and gently mix by inversion. Include also one aliquot of the spike-less control. Add directly to each well several amounts of the pseudovirus preparation (100, 50, 25, 12.5, 6.2, 3.1, 1.5, and 0.8 µL). Adjust the volumes of all wells to 150 µL with DMEM-C.

  - Seal the plate with parafilm and centrifuge at 2,500 × g for 45 min at RT, with no brake.

  - Remove the parafilm seal and incubate the plate for 72 h at 37 °C, 5% CO₂.

  - After incubation, prepare for the luciferase assay following the instructions of the manufacturer. Thaw luciferase substrate (stored at -80 °C) and 5x luciferase assay lysis buffer (stored at -20 °C) and equilibrate at RT (10–15 min).

  - Dilute the luciferase assay lysis buffer to 1x with sterile water. Prepare at least 3 mL.

  - Slowly and carefully aspirate and discard the supernatant of each well using a multichannel pipette.

  - Add 30 µL of 1x lysis buffer to each well using a multichannel pipette. Place the plate in a plate shaker for 10 min at 150 rpm, at RT. Verify complete lysis under an inverted microscope (all cells should be lysed and not distinguishable upon visual examination).

NOTE: Prepare the microplate reader in advance to perform luminescence detection immediately after substrate addition to ensure consistency and avoid signal decay.

  - Transfer the lysates to an opaque, white 96-well plate.

  - Add 50 µL of luciferase substrate to each well and mix briefly by moving the plate in a circular motion. Place the plate in the luminometer and measure luminescence.

  - Analyze the data obtained.

    - Verify that controls give the expected luminescence values. Ensure that the non-infected cells give very low background luminescence values.

NOTE: Cells infected with spike-less pseudovirus should give values at the level of non-infected cells, and cells infected with decreasing amounts of spike-presenting pseudovirus should show high, dose-dependent values of luminescence (Figure 2). The luminescence values generated by the VSV-G-PVs are usually much higher than those of spike-PVs, about one or two orders of magnitude.

    - For subsequent screenings, select the amount of pseudovirus that generates a signal at least one hundred to one thousand times that of the non-infected cells.

- Screening of compounds for pseudoviral entry inhibition using spike-PVs

  - Seed 2.5 x 104 HSI cells per well in 50 µL of complete medium (DMEM-C) in a 96-well plate, as described in section 3. Incubate overnight at 37 °C, 5% CO₂.

    - Consider a plate design that includes columns 1 to 11 for compounds plus pseudovirus, and column 12 for controls. In column 12, allocate four wells for virus control (pseudovirus only) and four wells for non-infected, non-treated cells.

  - The next day, prepare serial dilutions (1:3) of compounds to be tested, starting at 50 µM (final concentrations during infections: 50, 16.6, 5.5, 1.8, 0.6, 0.2, and 0.06 µM), in DMEM-C containing 0.5% DMSO.

    - For convenience, prepare dilutions in a separate 96-well "dilution plate", where serial dilutions are first made and then transferred (50 µL) to the plate containing the cells.

    - If the number of compounds is very large, in the order of hundreds or more, reduce this first dilution series to about 4 points, using a single well per dilution point, and consider a prescreening. Then, re-test the potential hits using 7-point serial dilutions, 1:3, with three replicates, starting at the same concentration of 50 µM.

  - Once dilutions of compounds are ready, gently aspirate the medium of cells using a multichannel pipette and add 50 µL of compound dilutions to the corresponding wells. Incubate for 1 h at 37 °C, 5% CO₂. For controls in column 12, add DMEM-C only.

  - Without removing the compounds, add to each well the predetermined amount of pseudotyped SARS-CoV-2 pseudovirus, in a volume of 50 µL of complete medium, containing the compounds at the same concentrations. Seal the plates with parafilm.

  - Centrifuge the plate at 2,500 × g for 45 min at RT without brake, then remove parafilm and incubate at 37 °C, 5% CO2 for 72 h.

  - Proceed with luciferase-based infectivity quantification as described in section 3.

  - Perform data analysis.

    - Export luminescence values into a spreadsheet to format the data for subsequent import into data analysis and graphing software.

    - Prepare bar graphs plotting the mean of each concentration point, including the standard error of the mean bars. Plot also the values obtained from positive (PVs alone) and negative controls (non-infected cells).

NOTE: The results of the assay are considered valid if 1) non-infected cells show very low values, 2) PVs controls show high values, 3) positive control of inhibition (i.e., arbidol or hACE2-Fc) shows inhibition of infection, in a dose-dependent manner (Figure 3A,B).

    - Then, observe the values produced by unknown compounds to assess if there is inhibition and if there is a dose-dependent effect. If so, then subject these compounds to further confirmatory analyses.

NOTE: For further confirmation of potential hits, follow the next steps. First, retest the potential hits compounds as suggested in step 4.2. If the dose response effect is confirmed, then perform a counter screening using the same dilution series but infecting with the VSV-G-PVs. This test is important to check if the inhibition of entry is specific for the spike-ACE2 interaction, and not due to interference at any other step later during the production of the luciferase in the infected cells (Figure 3A,B). Here, the positive compound should not show inhibitory activity against the VSV-G-PVs. If this is the case, then the same series of concentrations should be tested for cytotoxicity using a cell viability assay (MTT assay, shown in section 5).  As a summary, a potential hit compound should show inhibition of SARS-CoV-2-spike-PVs, and no or less inhibition of VSV-G-PVs, and no, or at least a much weaker inhibition of the viability of the cells. Adjusting a dose-response curve using the luminescence data will allow the estimation of the half-maximal inhibitory concentration (IC50) for the inhibition of the PVs, and a half-maximal cytotoxic concentration (CC50) from the viability assay. The ratio CC50 / IC50 is used to calculate the selectivity index (SI), which is an important indicator of the potential usefulness of the positive compound. For the analysis of the dose-response curves and the estimation of the IC50 and CC50 very detailed procedures have been described14.

- MTT-based cell viability assay

  - Seed 2.5 x 104 HSI cells per well in 50 µL of DMEM-C in a 96-well plate. Incubate the plate overnight at 37 °C, 5% CO₂. Ensure the cells are about 50% confluency the next day. Prepare enough wells, considering all different concentrations of the compound to be evaluated, untreated cells, and blank wells containing only medium, in triplicate. Test the potential hit compounds at the same concentrations evaluated in the PV entry inhibition assay.

  - After incubation, carefully remove the medium and replace it with 100 µL of complete medium containing different concentrations of the compound to evaluate, in 0.5% DMSO.

  - Centrifuge the plate at 2,500 × g for 45 min at RT without brake and incubate for 72 h at 37 °C, 5% CO₂. This step is included to handle the cells exactly as done in the previous section, except for the addition of the PVs.

  - Prepare a 0.5 mg/mL MTT solution using DMEM. Sterilize by filtering through 0.2 µm and keep in the dark.

NOTE: 3-(4,5-Dimethyl-2-thiazolyl)-2,5-diphenyl-2H-tetrazolium bromide (MTT) is light sensitive. It should be kept frozen, in the dark.

  - Carefully remove the medium from each well and replace it with 100 µL of MTT solution. Incubate for 2 h at 37 °C, 5% CO2.

  - During this incubation, prepare a solubilization solution containing 40 mM HCl in isopropyl alcohol.

  - Carefully remove the MTT solution using a multichannel pipette, without disturbing the formazan crystals at the bottom of each well.

  - Add 100 µL of the solubilization solution to each well. Wrap the plate in aluminum foil and place it on a plate shaker at 150 rpm for 15 min.

  - Record absorbance at 570 nm and 630 nm.

  - Perform data analysis.

    - Using the raw values of optical density, subtract the values obtained at 630 nm from those obtained at 570 nm for each well. Then average the corrected values of the untreated cell wells. Consider these untreated cells 100% viable.

    - Then normalize treated cells' values against the untreated cells' wells, using the formula:

Viability (%) = absorbance of treated wellsaverage absorbance of untreated wells x 100

  - Plot viability percentages as bars representing the mean of replicates ± standard error of the mean. Perform further statistical analysis to compare groups using procedures implemented in a data analysis and graphing software, comparing viabilities at different concentrations with the untreated cells control.

  - Compare means of each concentration point to that of the DMSO-only treated cells using nonparametric Kruskal-Wallis with Dunn post-test (differences are considered significant at p-values < 0.05). For plotting a dose-response curve and estimating the CC50 out of OD values, check the procedure reported elsewere14.

REPRESENTATIVE RESULTS:

Several transfection methods have been reported to generate PVs, including calcium phosphate15, lipid-based methods16, and PEI, both linear and branched. This article shows that transfection of HEK293T-derived cells with branched PEI allows for high-efficiency transfection (Figure 1), usually comparable to transfection methods using commercially available lipid-based transfection agents (data not shown). Representative results corresponding to the optimal amount of PEI found in our conditions are shown, corresponding to 5 µL of the PEI stock solution for 2.5 µg of the GFP-expressing plasmid, for the conditions described in section 1. However, it is recommended that for each new batch of plasmids and PEI, an optimization experiment should be done at this step, testing several GFP-expressing plasmid-PEI proportions, keeping constant the amount of plasmid and testing several amounts of PEI, ranging from 1 to 20 µL, from a stock of 1 mg/mL. Then select the best proportion before proceeding to the generation of the PVs.

It is important to note that a high efficiency of transfection of more than 70–80% of transfected cells is critical to obtain high-titer viruses. This efficiency may be more rigorously quantified using other methods, like flow cytometry; however, fluorescence microscopy can be used as a rapid, qualitative, and convenient way to quickly assess GFP-positive cells after 48 h of transfection.

Using the procedure detailed in section 2, PVs with very high titers were consistently obtained, as judged from the capacity to generate luminescence in the susceptible (HSI) cell line (Figure 2). A representative result of the infection of cells with decreasing amounts of PVs is shown. HEK293T-derived cells were transfected with mixtures of the plasmids described in section 2, and the resulting PVs were used to infect the susceptible cells, as described in section 3. It should be expected 1) a dose-response relationship between the amount of PVs added per well and the observed luminescence, 2) very high levels of luminescence induced by the PVs, reaching more than 106 relative luminescence units per mL of PVs, and 3) spike-less PVs, those produced excluding the spike-expressing plasmid, should show very low levels of luminescence, as well as the uninfected cells. Usually, the values corresponding to the spike-less PVs and the uninfected cells (labeled as NE and NI, respectively, in Figure 2) are very close to background, in the range of 100 RLU to 200 RLU.

Using these PVs, an assay was developed to test compounds for the capacity to inhibit the entry of the PVs, suggesting potential antiviral activity. This activity was tested using two molecules known to block the interaction of the SARS-CoV-2 spike and the human receptor ACE2. One is a recombinant decoy protein hACE2-Fc, which inhibits the entry of the PVs to the susceptible cells by binding to the spike on the surface of the pseudovirus. The other molecule is the small compound arbidol, a known inhibitor of several viruses that acts by interfering with various steps of the viral life cycle. In both cases, it is possible to detect a clear dose-response inhibition of luciferase activity generated by the spike-PVs, and less inhibition of that of VSV-G-PVs, as expected for an inhibitory activity specific for the interaction spike-ACE2 (Figure 3A,B). In this case, the counter screening with the VSV-G-PVs shows that the inhibition caused by the hACE2-Fc is probably specific, while the one caused by arbidol is apparently only partially due to interference of the spike-ACE2 interaction. Using this type of data, it is also possible to adjust nonlinear regression curves for the estimation of the IC50, using reported procedures14 (data not shown).

The inhibition assay described in these protocols is a cell-based assay therefore it is expected to observe some significant variability in the resulting data, even for the within-plate positive and negative controls. For this reason, it is recommended to include at least three replicates for each concentration point, including controls. Additionally, it is recommended to evaluate the suitability of the assay for screening purposes by estimation of the Z´-factor17. One simple approach is to follow section 4 to measure the luminescent response of ten wells infected with the positive control of spike-PVs, and another ten wells with the inhibited PVs (spike-PVs treated with the hACE2-Fc or any other positive control of inhibition) (Figure 4). Then Z´-factor is calculated following the formula:

Z´=1-(3SDPVs+3SDinhibited PVs)/(meanPVs-meaninhibited PVs)

Where SD is the standard deviation of the luminescence values, and the mean corresponds to the arithmetic mean. The Z´-factor indicates that an assay is useful for screening purposes if the value is in the 0.5 to 1 range17. As values approach 0, the assay may not be considered statistically reliable for this purpose. As shown in Figure 4, the assay described is appropriate for screening, with a Z´-factor of 0.54.

As the final step, potential specific inhibitory compounds should also be tested for their capacity to affect the viability of the cells used in the inhibition assays, as a surrogate to estimate their cytotoxicity. Figure 5 shows representative results of the MTT viability assay done with the compound arbidol. The data is represented as means of replicates ± standard error of the mean for each concentration point, as well as the required controls of untreated cells in the presence of 0.5% DMSO and untreated cells in normal culture medium. None of these means were significantly different from the cells treated only with 0.5% DMSO (Kruskal-Wallis with Dunn post-test, p > 0.05), suggesting that the compound is not cytotoxic in the tested concentration range. In the case that some toxicity is detected at higher concentration points, it is possible to use the data also to estimate the CC50 by using nonlinear regression analysis to adjust a dose-response curve as described elsewere14. For any active compound, it is then possible to calculate the Selectivity Index (SI), defined as the ratio CC50/IC50, being an important indicator of the safety and potential usefulness of the compound for future development.

FIGURE AND TABLE LEGENDS:

Figure 1: Verification of transfection efficiency in HEK293T-derived cells using the GFP-expressing plasmid pcDNA3-EGFP. Cells were transfected in 6-well plates using PEI as described in section 1. Cells were inspected using fluorescence microscopy under appropriate excitation and using a GFP filter 48 h later. The microphotograph shows a composite image combining fluorescence and differential interference contrast images, showing high efficiency of transfection. Typical result should show roughly 70% or more fluorescent cells. Total magnification is 100x. Scale bar: 200 µm.

Figure 2: Results of titration of SARS-CoV-2-spike-PVs and VSV-G-PVs on susceptible (HSI) cells, according to protocols described in sections 2 and 3. Different amounts of each PVs were added to cell monolayers in 96-well cell culture-treated plates as described. After 72 h, cells were lysed and luciferase activity measured by luminometry. RLU, relative luminescence units. NE, cells infected with 100 µL of envelope-less PVs. NI, uninfected cells. Bars represent the mean of three replicates ± standard error of the mean (SEM).

Figure 3: Results of entry-inhibiting agents on infectivity of SARS-CoV-2-spike-PVs and VSV-G-PVs when transducing susceptible (HSI) cells in 96-well plates. (A) Effect of an entry-blocking decoy, recombinant human ACE2-Fc, on the transduction efficiency of PVs. Cells were infected with PVs previously incubated with decreasing concentrations of the recombinant protein, covering the range of 20 µg/mL to 2 pg/mL. Luminescence was evaluated at 72 h by luminometry. Bars represent the mean ± SEM of three replicates. PV, control of infection with each respective pseudoviruses. NI, uninfected cells. (B) Compound arbidol was assayed in several concentrations (range 50–0.06 µM), in a constant concentration of DMSO (0.5%), in triplicates. Cells were preincubated with the compound and then infected with the PVs in the presence of the compound. The response was evaluated similarly. Bars represent the mean ± SEM of three replicates. NI, values of three replicates of uninfected cells.

Figure 4: Estimation of Z´-factor for the assay when hACE2-Fc was used as an entry inhibitor. Cells were seeded in 96-well plates as indicated in the entry-inhibition assay. Ten wells were infected with spike-PVs, while the other ten wells were infected with spike-PVs previously incubated with hACE2-Fc (20 µg/mL), following the rest of the assay as described in section 4. Luminescence was measured 72 h later as described and plotted as individual values for each well. The usefulness of the assay for screening compounds was estimated by calculating the Z´-factor using the values of both groups of positive and negative controls, as described in the representative results section. Ideally, assays should show Z´-factor values between 0.5 and 1 to be considered useful for screening purposes.

Figure 5: Viability of arbidol-treated cells using the MTT assay. Cells were seeded in 96-well plates in complete medium. Medium was replaced with complete medium containing 0.5% DMSO and arbidol in several concentrations, starting at 30 µM, 24 h later. Each concentration was tested in triplicate. After 72 h incubation, the MTT solution was added as described in section 5 and incubated for 2 h. Medium was then removed and replaced with the solubilizing solution, followed by mixing and reading at 630 nm and 570 nm. All readings were normalized to the mean of untreated cells, which were considered as 100% as detailed in section 5. Bars represent the mean ± SEM of three replicates. NTD, cells treated only with 0.5% DMSO. NT, untreated cells. Means of each concentration point were compared to the NTD mean using the nonparametric Kruskal-Wallis with Dunn post-test (differences considered significant at p-values < 0.05).

Table 1: Preparation of transfection mixes for the generation of PVs.

DISCUSSION:

This versatility of the MLV system for generating pseudotypes for other viruses has been reported by other important viruses, such as Ebola virus18, MERS-CoV8, SARS-CoV19, La Crosse virus20, Hantavirus20, Visna virus21, Arenavirus22, Influenza virus23, and others. These pseudotypes have been very useful for an array of applications that include the study of viral tropism19, their potential use in gene therapy24, the detection and quantification of neutralizing antibodies25, and the discovery and characterization of viral entry inhibitors, as potential novel antivirals26.

Section 1 details the protocol that routinely produces high-frequency transfections using branched polyethyleneimine as a transfection reagent that is very cost-effective when compared to other proprietary, lipid-based commercial kits. A high frequency of transfection is an important prerequisite to the generation of high-titer PVs as described in section 2. Therefore, it is important to check this high frequency before generating the PVs using an easy-to-score reporter plasmid encoding, such as GFP.

To generate the PVs, as described in section 2, the three-plasmid co-transfection method described in Millet and Whittaker8 was used, with modifications to generate spike-pseudotyped PVs with high titers. The three plasmids supply the key elements in trans to the target cells, namely, the MLV gag/pol, the MLV transfer vector, and the SARS-CoV-2 spike. For this last component, we have used a plasmid that contains the spike coding sequence, modified to allow efficient generation of pseudoviral particles. These modifications include a c-terminal deletion to remove the endoplasmic reticulum retention signal and codon optimization27. As previously reported by these authors, the coding region of the native, full spike from the Wuhan strain allowed the production of PVs, but with much lower transducing efficiency.

The modifications described here to generate the spike-pseudotyped PVs also included the use of the branched PEI transfection reagent, the inclusion of centrifugation steps at both the co-transfection and the infection procedures, and the use of optimized cell lines for both protocols. These protocols enable the production of high-titer PVs, higher than those generated using the procedure reported8. The amount of luminescence generated by PVs obtained using these methods has been routinely over 106 RLU/mL for spike-pseudotyped PVs, while the VSVg-PVs generated with the same procedure are consistently over 107 RLU/mL.

Several strategies are being tested to block entry of coronaviruses, including antibodies28, non-antibody binders29, soluble decoys30, ACE2 catalytic inhibitors31, natural products32, and small synthetic compounds33. As proof of principle for the usefulness of the generated PVs as a tool to detect entry inhibitors, a recombinant human soluble ACE2-Fc fusion protein was tested as a soluble decoy34. This fusion protein inhibits entry by saturating the receptor-binding domain in the SARS-CoV-2 spike protein presented by the pseudovirus, showing a very consistent dose-response and potent inhibition. As expected, the VSV-G-PVs remain unaffected, suggesting a very specific inhibition of the spike-ACE2 interaction. Additionally, the small molecule arbidol, an indol-derivative with broad antiviral activities, was also tested. Arbidol has been shown to inhibit entry of SARS-CoV-2 and possibly also other steps in the virus life cycle35,36. As in the case of the soluble decoy, a dose-response inhibition activity was observed against the spike-PVs, while VSV-G-PVs were partially inhibited, suggesting interference also at other steps downstream of the entry.

The protocols demonstrated here have some limitations. Since the activity to be detected is based on a negative readout, which may also be produced by steps occurring after the entry of the PV, a counter screening is required for potential hits using an unrelated PV, for example, using a vesicular stomatitis virus glycoprotein VSV-G-pseudotyped PV. Here, a true inhibitor should show inhibition of the SARS-CoV-2 spike-PVs, and no inhibition of the VSV-G-PVs. These VSV-G-PVs may also be readily generated in the laboratory using the same procedures explained here, just substituting the spike-expressing plasmid with a VSV-G-expressing plasmid, available at public plasmid repositories.  To generate VSV-G-PVs, the plasmid pVSV-G was used, producing consistently very high titers. Similarly, pseudoviruses bearing spike proteins corresponding to several important SARS-CoV-2 circulating strains may be easily produced by just switching the spike-expressing plasmid. The resulting PVs may then be used to compare entry-inhibiting activity of potential hits against other circulating strains. Another limitation of the protocols described is their focus on analyzing only the initial entry step, implying that inhibitors for other subsequent stages of the virus life cycle will not be identified using these assays.

The presented protocols allow the researchers to start with the first steps in the search for new potential antivirals for the SARS-CoV-2 virus. The procedures presented here further emphasize the versatility of the MLV system for the search and characterization of potential new antivirals against SARS-CoV-2.

ACKNOWLEDGMENTS:

We thank the Sistema Nacional de Investigación (SNI) and the Secretaría Nacional de Ciencia, Tecnología e Innovación (SENACYT, Panamá) for financial support under contract SENACYT No.031-2022 and SNI contract No.050-2023. We are also very grateful to Dr. Gary Whittaker for the donation of the plasmids pCMV-MLVgagpol and pTG-Luc.

DISCLOSURES:

The authors have nothing to disclose.

REFERENCES:

- Li, J. et al. SARS-CoV-2 and emerging variants: Unmasking structure, function, infection, and immune escape mechanisms. Front Cell Infect Microbiol. 12, 869832 (2022).

- Jackson, C. B., Farzan, M., Chen, B., Choe, H. Mechanisms of SARS-CoV-2 entry into cells. Nat Rev Mol Cell Biol. 23 (1), 3–20 (2022).

- Le, K., Kannappan, S., Kim, T., Lee, J. H., Lee, H.-R., Kim, K. K. Structural understanding of SARS-CoV-2 virus entry to host cells. Front Mol Biosci. 10, 1288686 (2023).

- Ayoub, P. G. et al. Improved SARS-CoV-2 spike glycoproteins for pseudotyping lentiviral vectors. Front Virol. 1, 793320 (2021).

- Lippi, G. et al. Biosafety measures for preventing infection from COVID-19 in clinical laboratories:IFCC Taskforce Recommendations. Clin Chem Lab Med. 58 (7), 1053–1062 (2020).

- Cruz-Cardenas, J. A. et al. A pseudovirus-based platform to measure neutralizing antibodies in Mexico using SARS-CoV-2 as proof-of-concept. Sci Rep. 12 (1), 17966 (2022).

- Rizatdinova, S. N., Ershova, A. E., Astrakhantseva, I. V. Pseudotyped viruses: A useful platform for pre-clinical studies conducted in a BSL-2 laboratory setting. Biomolecules. 15 (1), 135 (2025).

- Millet, J. K., Whittaker, G. R. Murine leukemia virus (MLV)-based coronavirus spike-pseudotyped particle production and infection. Bio Protoc. 6 (23), e2035 (2016).

- Millet, J. K. et al. Production of pseudotyped particles to study highly pathogenic coronaviruses in a biosafety level 2 setting. J Vis Exp. 145, 59010 (2019).

- Eichler, M., Aksi, E., Pfeilschifter, J., Imre, G. Application of pseudotyped virus particles to monitor Ebola virus and SARS-CoV-2 viral entry in human cell lines. STAR Protoc. 2 (4), 100818 (2021).

- Thomas, J. et al. Development of a pseudo-typed virus particle based method to determine the efficacy of virucidal agents. Sci Rep. 14 (1), 2174 (2024).

- Yang, S., Zhou, X., Li, R., Fu, X., Sun, P. Optimized PEI-based transfection method for transient transfection and lentiviral production:PEI-based transfection for lentiviral production. Curr Protoc Chem Biol. 9 (3), 147–157 (2017).

- Gee, P. et al. Extracellular nanovesicles for packaging of CRISPR-Cas9 protein and sgRNA to induce therapeutic exon skipping. Nat Commun. 11 (1), 1334 (2020).

- Ferrara, F., Temperton, N. Pseudotype neutralization assays:From laboratory bench to data analysis. Methods Protoc. 1 (1), 8 (2018).

- Soneoka, Y. et al. A transient three-plasmid expression system for the production of high titer retroviral vectors. Nucleic Acids Res. 23 (4), 628–633 (1995).

- Chen, Y., Miller, W. M., Aiyar, A. Transduction efficiency of pantropic retroviral vectors is controlled by the envelope plasmid to vector plasmid ratio. Biotechnol Prog. 21 (1), 274–282 (2005).

- Zhang, J. H., Chung, T. D., Oldenburg, K. R. A simple statistical parameter for use in evaluation and validation of high throughput screening assays. J Biomol Screen. 4 (2), 67–73 (1999).

- Wool-Lewis, R. J., Bates, P. Characterization of Ebola virus entry by using pseudotyped viruses:Identification of receptor-deficient cell lines. J Virol. 72 (4), 3155–3160 (1998).

- Giroglou, T. et al. Retroviral vectors pseudotyped with severe acute respiratory syndrome coronavirus S protein. J Virol. 78 (17), 9007–9015 (2004).

- Ma, M., Kersten, D. B., Kamrud, K. I., Wool-Lewis, R. J., Schmaljohn, C., González-Scarano, F. Murine leukemia virus pseudotypes of La Crosse and Hantaan bunyaviruses:A system for analysis of cell tropism. Virus Res. 64 (1), 23–32 (1999).

- Bruett, L., Clements, J. E. Functional murine leukemia virus vectors pseudotyped with the visna virus envelope show expanded visna virus cell tropism. J Virol. 75 (23), 11464–11473 (2001).

- Radoshitzky, S. R. et al. Transferrin receptor 1 is a cellular receptor for New World haemorrhagic fever arenaviruses. Nature. 446 (7131), 92–96 (2007).

- Wang, W. et al. Establishment of retroviral pseudotypes with influenza hemagglutinins from H1, H3, and H5 subtypes for sensitive and specific detection of neutralizing antibodies. J Virol Methods. 153 (2), 111–119 (2008).

- Bulcha, J. T., Wang, Y., Ma, H., Tai, P. W. L., Gao, G. Viral vector platforms within the gene therapy landscape. Signal Transduct Target Ther. 6 (1), 53 (2021).

- Sholukh, A. M. et al. Evaluation of cell-based and surrogate SARS-CoV-2 neutralization assays. J Clin Microbiol. 59 (10), e0052721 (2021).

- Xiang, Q., Li, L., Wu, J., Tian, M., Fu, Y. Application of pseudovirus system in the development of vaccine, antiviral-drugs, and neutralizing antibodies. Microbiol Res. 258, 126993 (2022).

- Johnson, M. C. et al. Optimized pseudotyping conditions for the SARS-CoV-2 spike glycoprotein. J Virol. 94 (21), e01062-20 (2020).

- Xiaojie, S., Yu, L., Lei, Y., Guang, Y., Min, Q. Neutralizing antibodies targeting SARS-CoV-2 spike protein. Stem Cell Res. 50, 102125 (2021).

- Cao, L. et al. De novo design of picomolar SARS-CoV-2 miniprotein inhibitors. Science. 370 (6515), 426–431 (2020).

- Monteil, V. et al. Inhibition of SARS-CoV-2 infections in engineered human tissues using clinical-grade soluble human ACE2. Cell. 181 (4), 905–913.e7 (2020).

- Ahmad, I., Pawara, R., Surana, S., Patel, H. The repurposed ACE2 inhibitors:SARS-CoV-2 entry blockers of COVID-19. Top Curr Chem. 379 (6), 40 (2021).

- Alqaaf, M. et al. Discovering natural products as potential inhibitors of SARS-CoV-2 spike proteins. Sci Rep. 15 (1), 200 (2025).

- Chan, C. C.-Y. et al. Identification of novel small-molecule inhibitors of SARS-CoV-2 by chemical genetics. Acta Pharm Sin B. 14 (9), 4028–4044 (2024).

- Lei, C. et al. Neutralization of SARS-CoV-2 spike pseudotyped virus by recombinant ACE2-Ig. Nat Commun. 11 (1), 2070 (2020).

- Wang, X. et al. The anti-influenza virus drug, arbidol is an efficient inhibitor of SARS-CoV-2 in vitro. Cell Discov. 6 (1), 28 (2020).

- Kang, Y., Shi, Y., Xu, S. Arbidol:The current demand, strategies, and antiviral mechanisms. Immun Inflamm Dis. 11 (8), e984 (2023).