# Submission ID #: 69671

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=21249703

# Title: Validation of Hyperbaric Pressure System with Xenon Anesthesia for Drosophila melanogaster

# Authors and Affiliations:

# Ekin Daplan, Luca Turin

# Clore Laboratory, The Institute for Biomedical and Biosciences Research, University of Buckingham

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Ekin Daplan		(ekin.daplan@buckingham.ac.uk)

Luca Turin		(luca.turin@buckingham.ac.uk)

# Email Addresses for All Authors:

Ekin Daplan		(ekin.daplan@buckingham.ac.uk)

Luca Turin		(luca.turin@buckingham.ac.uk)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21249703

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 32

Number of Shots: 56

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer up to 2 introduction and up to 3 conclusion questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Answer in full sentences, the questions will not be displayed in the video.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone statements with sufficient context.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What questions will future research focus on?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Xenon Anesthesia in Drosophila melanogaster Using a Hyperbaric Syringe Setup

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, collect 20 anesthetized female and male Drosophila melanogaster flies aged 1 to 3 days for each experiment [1-TXT].

    - WIDE: Talent sorting 20 female and 20 male anesthetized flies. TXT: Anesthesia: CO2 inhalation; Let flies rest in vial with food for 24 h at 22°C

  - Transfer the gases from their container gas cylinders into leakproof gas bags for experimental use [1]. Using silicone tubing, directly connect the gas cylinder outlet to the gas bag inlet to allow gas transfer [2].

    - Talent positioning the gas cylinder next to the gas bag.

    - Talent connecting silicone tubing between the gas cylinder and the gas bag.

  - Attach a 25-millimeter-long silicone tubing to a polypropylene syringe [1]. Connect the polypropylene syringe to the gas bags and to the three-way tap [2].

    - Talent attaching silicone tubing to the polypropylene syringe.

    - Talent connecting the syringe tubing to the gas bag and three-way tap.

  - To assemble the hyperbaric setup, first position the LED light table in landscape orientation on the table [1].

    - Talent placing the LED light table flat on the bench in landscape orientation.

  - Place the injection pump adjacent to one short side of the LED light table [1-TXT]. Then locate the camera above the setup to cover the region where the experimental syringe will be positioned [2].

    - Talent positioning the injection pump next to the LED light table. TXT: Ensure pump orientation allows the experimental syringe to extend above the backlight

    - Talent mounting and adjusting the camera above the experimental setup.

  - Now cut a 75-millimeter-long silicone tube [1]. Connect the three-way tap to the manometer using the silicone tubing from the central nozzle [2].

    - Talent cutting silicone tubing to length.

    - Talent connecting the tubing between the three-way tap and the manometer.

  - Use hose spring clamps on the nozzle at the manometer side and the three-way tap side to ensure the tubing is tightly secured [1].

    - Talent fastening hose spring clamps onto both tubing connections.

  - Then use the button marked with a double arrow on the injection pump control unit to set the speed [1] to 80 millimeters per minute and the duration to 38 seconds for automatic compression or decompression of the plunger [2].

    - Shot of  the injection pump control panel.

    - Shot of the speed and duration settings being adjusted.

  - Next, limit ambient light in the experiment room and turn on the LED light table [1]. Set the brightness level to 3 to increase video contrast [2].

    - Talent dimming room lights and switching on the LED light table.

    - Talent adjusting the LED brightness setting to level 3.

  - Remove the plunger from the polycarbonate syringe [1]. Insert a small amount of cotton into the syringe tip to prevent fly escape [2].

    - Talent removing the syringe plunger.

    - Talent placing cotton into the syringe tip.

  - To transfer 40 flies into the polycarbonate syringe, remove the vial lid [1] and place the syringe barrel vertically on top of the vial so the barrel flange aligns with the vial opening [2].

    - Shot of vial lid being opened.

    - Talent positioning the syringe barrel onto the fly vial.

  - Rotate the assembly 180 degrees and tap to move the flies into the syringe barrel [1]. Then reinsert the plunger and place the syringe into the injection pump [2].

    - Talent rotating and tapping the vial and syringe to transfer flies.

    - Talent reinserting the plunger and loading the syringe into the injection pump.

  - Orient the syringe so the barrel markings face the camera for optimal visualization of the flies [1]. Secure the syringe by fastening both the barrel and plunger head to the injection pump using the adjustable screws [2].

    - Talent rotating the syringe to align barrel markings with the camera view.

    - Talent tightening the adjustable screws on the injection pump.

  - Now remove the cotton from the syringe tip and connect the syringe to the three-way tap [1].

    - Talent removing cotton from the syringe tip and attaching the syringe to the three-way tap.

  - Start video recording [1]. Turn on the manometer then turn the stopcock to connect the manometer with the syringe  and confirm zero kilopascal pressure [2].
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21249703

    - SCREEN: Show video recording starting on the camera interface.

    - Talent switching on the manometer and turning the stopcock.

  - Now turn the three-way tap to the lateral position to allow air exchange with the syringe [1]. Using the manual control option of the injection pump, move the plunger from the 20-milliliter mark to the 2-milliliter mark [2].

    - Talent rotating the three-way tap to the lateral position.

    - SCREEN: Show the injection pump manually advancing the plunger to the 2 milliliter mark.

  - Aspirate 18 milliliters of anesthetic gas from the gas bag into the polypropylene syringe [1]. Connect the syringe to the lateral luer lock port of the three-way tap [2].

    - Talent drawing anesthetic gas into the syringe from the gas bag.

    - Talent connecting the syringe to the three-way tap.

  - Then use the manual option of the injection pump to move the plunger back to the 20 milliliter mark [1]. Turn the stopcock to connect the manometer with the syringe and observe the pressure reading [2].

    - SCREEN: Show the plunger returning to the 20 milliliter mark.

    - SCREEN: Display the manometer showing negative pressure after gas filling.

  - Start automatic plunger movement with the preset speed and duration settings [1]. Allow the plunger to reach the 5-milliliter mark over 38 seconds while monitoring pressure [2].

    - SCREEN: Show the injection pump running automatically.

    - SCREEN: Show the manometer pressure increasing toward the maximum value.

  - Leave the plunger at the 5-milliliter position for 20 seconds and note the peak pressure [1].

    - SCREEN: Display the stable peak pressure on the manometer.

  - Tap the syringe gently to dislodge flies adhering to the plunger and allow them to settle at the bottom [1].

    - Talent tapping the syringe lightly.

  - Start automatic decompression after 20 seconds [1]. End the experiment once the plunger returns to the 20-milliliter mark and record the final pressure for leak control [2].

    - SCREEN: Show the injection pump initiating decompression.

    - SCREEN: Display the final manometer pressure at the end of decompression.

- Quantification of Drosophila melanogaster Emergence from Xenon Anesthesia Using Pixel-Based Analysis

Demonstrator: Click here to enter name of demonstrator(s)

  - Launch ScreenFlow to edit the videos [1]. Crop each recorded video to the region of interest corresponding to the first 5 milliliters of the syringe barrel [2].

    - SCREEN: ScreenFlow is being launched.

    - SCREEN: Show the video timeline being cropped to the region of interest.

  - Trim each video to the first 20 seconds following syringe decompression  [1]. Export the videos as GIFs  and duplicate them [2].

    - SCREEN: Show trimming of the videos.

    - SCREEN: The videos are being exported in GIF format and duplicated.

  - Now, launch the Fiji software to remove the first and last frames from different duplicates [1].  Sequentially click on Image, Video Editing, and Delete Frames [2].

    - SCREEN: Fiji software is being launched.

    - SCREEN: Highlight the menu path Image > Video Editing > Delete Frames.

  - Click on Process, Binary, and Make Binary to each GIF file to binary so flies appear white on a black background [1].

    - SCREEN: Show binary conversion in Fiji.

  - Open both binary files in Fiji [1]. Calculate the pixel difference between them by selecting Process and Image Calculator to generate a pixel difference file [2].

    - SCREEN: Show selection of both files in Fiji.

    - SCREEN: Display the Image Calculator generating the pixel difference output.

  - Save the pixel difference file [1]. Then select Analyze and Analyze Particles, adjusting pixel size thresholds to improve signal-to-noise ratio [2].

    - SCREEN: Show particle analysis settings in Fiji.

    - SCREEN: Analyze > Analyze particles is being clicked in Fiji then pixel size thresholds are being adjusted.

  - Save the generated CSV file containing pixel differences per frame [1]. Use the data to calculate cumulative movement across frames for statistical comparison [2].

    - SCREEN: Show saving of the comma-separated values file.

    - SCREEN: Display plotting of cumulative movement data.

  - For fly tracking, install the Ultralytics (ultra-lie-Ticks) YOLO (Yo-Loh) library in Colab (Co-lab) and load the yolo11n.pt (Yo-Loh-Eleven-N-P-T) model [1]. Use the Computer Vision Annotation Tool to annotate flies extracted from the videos [2]. Then export the dataset in YOLO format for training [2].

    - SCREEN: Show installation and model loading commands.

    - SCREEN: Display annotation workflow in the Computer Vision Annotation Tool.

    - SCREEN: The dataset is being exported in YOLO format.

  - Now, install the MASA (mah-sah) repository in Google Colab and integrate a Kalman filter for object tracking across frames [1]. Combine the trained YOLO detection model with the MASA tracking framework [2].

    - SCREEN: Show installation of the tracking repository in Google Colab and the integration of Kalman filter.

    - SCREEN: Combine the YOLO model with MASA framework.

  - Use FixTrack to manually review the generated tracklets [1]. Identify and merge incorrectly fragmented trajectories or correct identity mismatches to obtain continuous trajectories for individual flies [2].

    - SCREEN: Show FixTrack interface with tracklet review.

    - SCREEN: Identify incorrectly fragmented trajectories and Correct identity mismatches.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 145

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - The experimental videos were processed by converting them into binary and difference images to prepare for pixel analysis [1].

    - LAB MEDIA: Figure 2. Video editor: Highlight the Binary and Difference images sequentially

  - Without thresholding, pixel differences accumulated over frames and elevated the baseline signal to approximately 20,000 [1].

    - LAB MEDIA: Figure 3 (right panel). Video editor: Highlight the curve showing the gradual increase in cumulative pixel difference from frame 0 to frame 600.

  - Applying a pixel size threshold from 100 to 1000 reduced background signal and emphasized differences caused by fly movement [1]. Pixel difference values per frame remained close to zero before frame 200 [2].

    - LAB MEDIA: Figure 4. Video editor: Highlight each curve from 0 to 1000

    - LAB MEDIA: Figure 5 (left panel). Video editor: Highlight the flat region of the graph (right) from frame 0 to frame 200.

  - The YOLOv11n model tracked flies with high per-frame accuracy, but frequent occlusions led to excessive fly ID assignments [1]. Due to tracking inconsistencies, fly movement was quantified by summing all ID movements per experiment and normalizing by a maximum of 200 IDs [2].

    - LAB MEDIA: Figure 6.

    - LAB MEDIA: Figure 7 Video Editor: Please highlight C

  - Flies exposed to 85% xenon recovered faster and moved more [1]  than those exposed to 90% or 95% xenon [2], while flies in 0% xenon continued moving normally [3].

    - LAB MEDIA: Figure 8. Video editor: Highlight the red curve (85%)

    - LAB MEDIA: Figure 8. Video editor: Highlight the blue curve (95%)

    - LAB MEDIA: Figure 8. Video editor: Highlight the black curve (0%)