# Submission ID #: 69673

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/LAB MEDIA-uploader?src=21250313

# Title: Enhanced Spatial Mapping of Mouse Gastric Muscle Layers Using a Modified Swiss Roll Technique

# Authors and Affiliations:

# Nick M. Huynh1,2, Srinidhi R. Babu1,2, Egan L. Choi1,2, Tamas Ordog1,2,3, Yujiro Hayashi1,2

# ¹Enteric Neuroscience Program and Department of Physiology and Biomedical Engineering, Mayo Clinic College of Medicine and Science

# ²Gastroenterology Research Unit, Division of Gastroenterology and Hepatology, Department of Medicine, Mayo Clinic College of Medicine and Science

# ³Division of Gastroenterology and Hepatology, Department of Medicine, Mayo Clinic College of Medicine and Science

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Tamas Ordog 		(ordog.tamas@mayo.edu)

Yujiro Hayashi 		(hayashi.yujiro@mayo.edu)

# Email Addresses for All Authors:

Nick M. Huynh 	(huynh.nick@mayo.edu)

Srinidhi R. Babu 	(babu.srinidhi@mayo.edu)

Egan L. Choi 		(choiegan00@gmail.com)

Tamas Ordog 		(ordog.tamas@mayo.edu)

# Yujiro Hayashi 		(hayashi.yujiro@mayo.edu

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

AUTHORS: Please provide file Confocal-1min48s

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: N/A

When you are ready to submit your video LAB MEDIAs, please contact our Content Manager, Utkarsh Khare.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  11

Number of Shots:  23

# Introduction

NOTE: Authors provided pre-recorded interviews

INTRODUCTION:

AUTHORS: Please specify the names of the authors who delivered each statement

What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Our research focuses on improving how we prepare and analyze the mouse stomach for imaging. We’ve adapted the “Swiss roll” technique, originally developed for the murine intestine, so that all major gastric regions including the fundus, corpus, and antrum can be embedded together in a single cryosection. This allows us to visualize the stomach’s structure and cellular composition side by side, while maintaining accurate spatial orientation and high image quality.

    - LAB MEDIA: Intro-1-27s 00:00 – 00:27
AUTHORS: Please provide a version of this file which is not sped up

What advantage does your protocol offer compared to other techniques?

  - Enter author name: The stomach is a complex organ with delicate tissues. Small mistakes can damage cells or distort their arrangement, which makes high-resolution imaging and immunostaining inconsistent. Our Swiss roll technique solves this by keeping all regions including duodenum and esophagus intact in a single cryoblock, making experiments more reliable and reproducible.

    - LAB MEDIA: Intro-2-22s 00:00-00:22

NOTE: This was moved here to facilitate a longer introduction section

CONCLUSION:

How will your findings advance research in your field?

  - Enter author name: The Swiss roll technique can advance research on region-specific changes in gastric tissue. Unlike traditional approaches that embed regions separately, the Swiss roll technique processes all gastric regions under identical conditions, saving both time and reagents. This makes it a practical and scalable platform for comprehensive analysis of gastric tissue in both health and disease.

    - LAB MEDIA: Intro-3-22s 00:00 – 00:22

Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee (IACUC) at the Mayo Clinic

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

NOTE: Scripted from footage

- Preparation, Rolling, and Confocal Imaging of Mouse Gastric Tissue Using the Swiss Roll Technique

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, use scissors to cut along the ventral mesentery of the duodenum and stomach up to the pin at the corpus [1]. Using a transfer pipette filled with PBS, flush out any residual food from the gastric lumen [2].

    - LAB MEDIA: Surgery-1 00:00-00:22

    - LAB MEDIA: Surgery-1 	01:44-01:2:04

  - Gently stretch the opened stomach to achieve a flat orientation [1-TXT]. Pin the tissue flat again after the brief fixation [2].

    - LAB MEDIA: Surgery-1 	02:45-02:50, 03:21-03:28
TXT: Fix in cold 4% PFA for 2 min

    - LAB MEDIA: Surgery-1 	04:06-04:28

  - Using scissors, trim the stomach along the dashed outline to create a uniform shape suitable for rolling [1]. Place the trimmed gastric tissue on PBS-moistened filter paper [2].

    - LAB MEDIA: Surgery-2 	00:00-00:18

    - LAB MEDIA: Surgery-3 	00:02-00:13

  - Roll the tissue into a Swiss roll configuration and secure it by inserting a toothpick through the center [1].

    - LAB MEDIA: Surgery-4 	00:08-00:22

  - Once rolled, insert a 30-gauge needle to secure its shape [1]. Then, bend the needle at a 90-degree angle to stabilize the rolled stomach [2]. Fix the rolled tissue in 4 percent paraformaldehyde at 4 degrees Celsius for 6 hours [3]. Then gently remove the stabilizing needle [4].

    - LAB MEDIA: Surgery-5 	00:27-00:39

    - LAB MEDIA: Surgery-6 	00:02-00:11

    - LAB MEDIA: Surgery-6 	00:21-00:28

    - LAB MEDIA: Surgery-7 	01:05-01:10

  - Embed the tissue in optimal cutting temperature compound using disposable base molds [1]. Then, freeze the mold on dry ice [2]. Once fully frozen, store the mold at minus 80 degrees Celsius [3].

    - LAB MEDIA: Surgery-7	 01:10-01:16, 01:35-01:42

    - LAB MEDIA: Surgery-7 	02:05-02:11

    - LAB MEDIA: Surgery-8 	00:00-00:03

  - To acquire a stitched image, center the Swiss roll on the confocal microscope at 10X magnification [1].

    - LAB MEDIA: Confocal-1min48s 
AUTHORS: Please provide this file and the correct timestamps.

  - Ensure proper laser power and gain to avoid pixel saturation [1]. Confirm that the sample is clearly in focus [2]. On the Ti2 Eclipse confocal microscope, use the AI autosignal feature to optimize the signal [3].

    - LAB MEDIA: Confocal-1min48s

    - LAB MEDIA: Confocal-1min48s

    - LAB MEDIA: Confocal-1min48s

  - To define the acquisition parameters, open Applications, and select Define/Run ND Acquisition [1]. Use the given settings in the Large Image tab [2].

    - LAB MEDIA: Confocal-1min48s

    - LAB MEDIA: Confocal-1min48s

  - In the Z tab, set the top and bottom coordinates of the sample [1]. Select 8 steps for image acquisition [2].

    - LAB MEDIA: Confocal-1min48s

    - LAB MEDIA: Confocal-1min48s

  - Once done, switch the laser scanner to the Galvano setting, and click Run now to begin acquisition [1].

    - LAB MEDIA: Confocal-1min48s

# Results

Please review this section to make sure that it accurately reflects your findings.

- You/Your videographer does not have to record this section. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 167.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - The new method enabled inclusion of the fundus, corpus, antrum, a portion of the esophagus, and duodenum within a single murine gastric Swiss roll section [1].

    - LAB MEDIA: Figure 1C and D. Video editor: Highlight the labeled areas "Fundus," "Corpus," "Antrum," "Esophagus," and "Duodenum" in panel C and  D.

  - Hematoxylin and eosin staining of the gastric Swiss roll revealed well-preserved architecture in the fundus, corpus, antrum, esophagus, and duodenum [1], with clearly visible mucosal, submucosal, and muscularis layers [2].

    - LAB MEDIA: Figure 3. Video editor: Highlight the labeled regions “Fundus,” “Corpus,” “Antrum,” “Esophagus,” and “Duodenum” in the stained cross-section.

    - LAB MEDIA: Figure 3.

  - Immunofluorescent staining showed expression of KIT (Kit) and ANO1 (An-oh-one) in interstitial cells of Cajal [1], and expression of TUBB3 (Tub-three) in enteric neurons, confirming cellular preservation in the gastric Swiss roll [2].

    - LAB MEDIA: Figure 4. Video editor: Highlight the bottom image in KIT and ANO1 panels

    - LAB MEDIA: Figure 4. Video editor: Highlight the bottom image in red-stained TUBB3 panels

  - KIT expression was also detected in Paneth and goblet cells in the gastric mucosa [1], while ANO1 was highly expressed in fundic columnar epithelial cells [2].

    - LAB MEDIA: Figure 4. Video editor: Highlight the white arrows in the bottom image of KIT panel

    - LAB MEDIA: Figure 4. Video editor: Highlight the white arrows in  the bottom image of ANO1 panel

  - TUBB3 expression was observed in gastric endocrine and mucus-secreting cells, in addition to enteric neurons [1].

    - LAB MEDIA: Figure 4. Video editor: Highlight the red arrows in the bottom image of the TUBB3 panel

  - MYH11(My-H-Eleven) staining confirmed the presence of smooth muscle cells and myofibroblasts in the gastric mucosa [1], while E-cadherin staining showed epithelial cells [2], and KIT staining again marked interstitial cells of Cajal [3].

    - LAB MEDIA: Figure 5. Video editor: Highlight the green MYH11 staining in the lower left panel indicating smooth muscle and mucosal regions.

    - LAB MEDIA: Figure 5. Video editor: Highlight yellow E-cadherin signal marking epithelial cells in the lower middle-right panel.

    - LAB MEDIA: Figure 5. Video editor: Highlight KIT staining with white arrows in the middle-lower panel labeled "KIT."