# Submission ID #: 69680

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=21252448

# Title: Measurement of Compressive Stress–Strain Response at Small-Strains

# Authors and Affiliations:

# Jaehyeong Kim¹*, Sangjun Pyo¹*, Hyerin Ahn¹, Ok Chan Jeong1,2

# 1 Department of Digital Anti-Aging Health Care, Inje University

# 2 Department of Biomedical Engineering, Inje University

# *These authors contributed equally to this work

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Ok Chan Jeong 	(memsoku@inje.ac.kr)

# Email Addresses for All Authors:

Jaehyeong Kim 	(kjh85203@gmail.com)

Sangjun Pyo 		(gch05120@gmail.com)

Hyerin Ahn 		(hyelinan8@gmail.com)

# Ok Chan Jeong 	(memsoku@inje.ac.kr)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 03

Number of Shots: 06

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer up to 2 introduction and up to 3 conclusion questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Answer in full sentences, the questions will not be displayed in the video.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What questions will future research focus on?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Compression Testing of a PDMS Sample Using a Motorized Z-Stage and Force Sensor

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, place the PDMS sample on the force sensor within the compression test setup [1]. Align the moving part perpendicular to the force sensor and center it over the sample to ensure a normal compressive load is applied [2].

    - WIDE: Talent placing the PDMS sample onto the force sensor in the compression setup.
AUTHORS: This shot was added to facilitate the WIDE angle requirement of the opening shot

    - Talent adjusting the position of the moving part so that it is vertically aligned and centered over the PDMS sample.

  - Set the drive speed to the previously validated value using the controller interface [1]. Drive the moving part axially downward along the z-axis using the motor controller to apply a compressive load to the sample [2].

    - Talent setting the drive speed.

    - Talent operating the motor controller to move the stage downward toward the sample.

  - Measure the compressive force transmitted to the sample in real time using the force sensor mounted underneath [1]. Observe and record the deformation of the sample during compression using a digital microscope [2].
Authors: Please create scope videos of the shots labeled as SCOPE and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21252448

    - Close-up of the force sensor as it measures the applied load.

    - SCOPE: View through the digital microscope showing the sample compressing under the applied load.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 87.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - The error rate between the MS and MTS force measurements was within 2%, confirming the accuracy and reliability of the MS [1].

    - LAB MEDIA: Figure 5. Video editor: Highlight the overlapping red line labeled "Load cell"

  - The displacement errors of the linear actuator at drive speeds of 0.5 micrometer per second was minus 0.1%, [1], 1 micrometer per second was plus 0.1% [2], and 10 micrometers per second was plus 0.04% [3].

    - LAB MEDIA: Figure 6. Video editor: Highlight the purple circle and the blue line corresponding to 0.5 [µm/s]

    - LAB MEDIA: Figure 6. Video editor: Highlight the orange circle and the green line corresponding to 1.0 [µm/s]

    - LAB MEDIA: Figure 6. Video editor: Highlight the black circle and the red line corresponding to 10.0 [µm/s]

  - The stress–strain responses of the scaled-down samples measured using the MS and MTS differed by less than 2%, supporting the reliability of the MS [1].

    - LAB MEDIA: Figure 7. Video editor: Highlight the red line labeled "MTS"