# Submission ID #: 69714

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=21262818

# Title: In Vivo Telemetry to Record Long-Term Cardiovascular Parameters, Temperature, and Activity in Spinal Cord Injury Rat Models

# Authors and Affiliations:

# Sajeev Kaur1,2, Anna M Baur1,3, Jillian A Condrey4, Dorottya P Gal1,2, Samir P Patel1,2, John C Gensel1,2

# 1Spinal Cord & Brain Injury Research Center, University of Kentucky, College of Medicine

# 2Department of Physiology, University of Kentucky, College of Medicine

# 3Department of Biomedical Engineering, Northwestern University

# 4Division of Laboratory Animal Resources, University of Kentucky

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Sajeev Kaur		(ska316@uky.edu)

John C Gensel		(gensel.1@uky.edu)

# Email Addresses for All Authors:

Sajeev Kaur		(ska316@uky.edu)

Anna M Baur		(annabaur2030@u.northwestern.edu)

Jillian A Condrey	(jillian.condrey@uky.edu)

Dorottya P Gal		(dorottya.gal@uky.edu)

Samir P Patel		(samir.patel@uky.edu)

John C Gensel		(gensel.1@uky.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 27

Number of Shots: 58

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer up to 2 introduction and up to 3 conclusion questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Answer in full sentences, the questions will not be displayed in the video.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What questions will future research focus on?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee (IACUC) at the University of Kentucky

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Telemetric Implant Placement in the Descending Aorta of a Rat

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

AUTHORS: Please note that all pronunciation guides are given in red, italics. Kindly go through the same and change where necessary.

  - To begin, using a syringe, fill the pressure catheter tip of a telemetric implant with gel [1]. Sequentially immerse the implants for 24 hours each in detergent, cold sterilant, and 0.9% sodium chloride to sterilize [2-TXT].

    - WIDE: Talent using a syringe to fill the pressure catheter tip of the telemetric implant with gel.

    - Talent sequentially transferring the telemetric implant into containers with detergent, cold sterilant, and 0.9 percent sodium chloride. TXT: Keep implant submerged in 0.9% NaCl

  - Next, set a heating pad to 37 to 38 degrees Celsius [1]. Cover the heating pad with surgical underpads followed by sterile drape towels to maintain a sterile field [2].

    - Talent positioning a heating pad on the surgical table and adjusting the temperature settings.

    - Talent covering the heating pad with surgical underpads and sterile drape towels.

  - Shave the abdominal area of an anesthetized rat from 1 centimeter above the urethral orifice to the mid abdomen using an electric shaver [1-TXT]. Clean the exposed skin three times with alcohol prep pads followed by povidone iodine application [2]. Then place a press and seal barrier and cut an opening to expose the surgical site [3].

    - Talent shaving the abdominal region of the rat. TXT: Anesthesia: 3 - 4 % isoflurane inhalation

    - Talent cleaning the skin with alcohol prep pads and applying povidone iodine.

    - Talent placing the press and seal barrier and exposing the surgical field.

  - Now make a 4.5 to 5-centimeter midline skin incision from above the urethral orifice and perform an abdominal incision [1]. Secure the visceral organs with saline soaked 16 ply gauze sponges and metal retractors [2].

    - Talent making a midline abdominal incision.

    - Talent positioning gauze sponges and retractors to secure visceral organs.

  - Using two fine forceps, gently separate fat bodies to expose the descending aorta and vena cava [1-TXT].

    - Talent using forceps to separate fat bodies. TXT: Hold fat bodies with one forceps and dissect with the other

  - Perform blunt dissection approximately 0.5 centimeters below the renal artery to separate the descending aorta from the vena cava [1]. Further separate the aorta from underlying fat to create space for angled forceps insertion [2].

    - Talent performing blunt dissection near the renal artery landmark.

    - Close up of space created beneath the descending aorta.

  - Insert angled forceps under the descending aorta through the dissected space [1]. Then pass a sterile 4-0 (four-Oh) silk thread underneath the descending aorta and secure both ends with a hemostat [2-TXT]. Temporarily mono occlude the descending aorta proximal to the catheter insertion point [3].

    - Talent carefully sliding angled forceps beneath the descending aorta.

    - Talent threading silk suture beneath the aorta and clamping with a hemostat. TXT: Have another experimenter hold the hemostat at 45° angle and adjust to prevent backflow

    - Shot of descending aorta being mono occluded with silk thread.

  - Remove the implant from sodium chloride and inspect the pressure catheter tip for air bubbles or gaps [1]. Add gel if needed before insertion [2].

    - Talent inspecting the catheter tip.

    - Talent adding gel to the catheter tip.

  - Pierce the upper wall of the descending aorta using a twisted 21-gauge needle [1] and insert the pressure catheter tip 5 to 2 centimeters into the descending aorta [2-TXT].

    - Shot of needle puncturing the aortic wall.

    - Shot of pressure catheter tip being inserted. TXT: Guide catheter with vein pick if needed

  - Clean surrounding blood and apply tissue adhesive to secure the implant [1], and check for blood leakage [2].

    - Talent cleaning the insertion site and applying tissue adhesive.

    - Talent checking site  for blood leakage.

  - Anchor the implant body to the abdominal wall subcutaneously using non absorbable sutures [1]. Then close the abdominal wall using absorbable sutures in an interrupted pattern and close the skin using an intradermal continuous technique [2].

    - Talent suturing the implant body to the abdominal wall.

    - Talent suturing the abdominal wall and the skin with intradermal sutures.

  - Clean the incision with hydrogen peroxide followed by povidone iodine [1]. Apply triple antibiotic cream to the incision site and follow the post-surgical care [2].

    - Talent cleaning the incision area.

    - Talent applying antibiotic cream.
AND
TEXT ON PLAIN BACKGROUND:
Post-surgical Care
1. Inject enrofloxacin (5 mg/kg) immediately post-surgery
2. Place rat on heat pad for recovery: 37–38 °C for at least 24–72 h
3. Fit e-collar around neck for 3 days
4. Subcutaneous injections: Buprenorphine and meloxicam: 2x daily for 3 days
                                                   Enrofloxacin : 1x daily for 5 days 

Provide food and water ad libitum

Video Editor: Please play both shots side by side in a split screen

- Surgical Induction of High Thoracic Spinal Cord Contusion

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin thoracic contusion injury, shave the dorsal surface from the cervical to mid thoracic region and disinfect with alcohol and povidone iodine [1-TXT]. Then apply lubricating eye gel [2].

    - Talent shaving and disinfecting the dorsal region of an anesthetized rat. TXT: Perform T3 contusion at least 2 weeks after telemetric implant placement

    - Talent applying eye lubricant.

  - Place the rat on a heated surgical table prepared with sterile drapes [1].

    - Talent positioning the rat on the prepared surgical table.

  - Now identify the T2 spinous process and mark it [1]. Make a dorsal midline incision from cervical level 8 to thoracic level 5 [2-TXT].

    - Talent identifying and marking the T2 spinous process.

    - Shot of a dorsal midline incision being made from C8 to T5. TXT: Secure area with muscle retractors

  - Perform blunt dissection through paraspinal musculature using scissors and a curette [1-TXT]. Then perform a thoracic level 3 laminectomy to expose the spinal cord [2].

    - Talent dissecting paraspinal muscles. TXT: Avoid venous corona mortis around T4/T5 during dissection

    - Shot of exposed thoracic level 3 spinal segment.

  - Secure the animal at thoracic level 2 and thoracic level 4 using Allis forceps on the impactor stage [1]. Align the impactor tip over the midline [2] and set the impact parameters to 400 kilodyne with a 5 second dwell time [3].
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21262818

    - Talent securing the vertebral column to the impactor frame.

    - Shot of impactor tip being aligned over the midline.

    - SCREEN: Show the impactor control interface displaying force and dwell time settings.

  - Once impaction is complete, suture paraspinal muscles with absorbable sutures [1]. Then  seal the incision with staples [2]. Clean the area with hydrogen peroxide [3].

    - Talent suturing muscle layers.

    - Shot of the incision being stapled.

    - Talent cleaning the incision site with hydrogen peroxide.

  - Now, apply povidone-iodine solution followed by a triple antibiotic cream [1-TXT] before administering enrofloxacin subcutaneously and placing the rat in a recovery cage with heat pads [2].

    - Shot of povidone-iodine and antibiotic cream being applied over the incision site

    - TXT: Cream contains Polymyxin B Sulfate, Bacitracin Zinc, and Neomycin Sulfate

    - Talent placing the rat in a recovery cage with heat pads.

- Telemetric Data Acquisition and Export Workflow Using Ponemah

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin data recording, launch the Ponemah software [1]. Click Create under the Experiment tab and label the experiment [2].

    - SCREEN: The Ponemah software is being launched.

    - SCREEN: The Experiment tab is being navigated to then Create is being clicked and the experiment is being labeled.

  - Under the Hardware tab, click on Edit APR (A-P-R) configuration, then choose the APR  and click on Add  to move to the available region [1]. Now, press Edit PhysioTel/HD MX2 (M-X-Two) Configuration in the hardware tab to select the MX-2, then click on Add, and confirm that it appears in the left panel [2].

    - SCREEN: Hardware tab is being navigated to then Edit APR Configuration> APR> Add is being clicked.

    - SCREEN: Hardware tab> Edit PhysioTel/HD MX2 Configuration > MX-2 is being selected then Add is pressed and it is seen on left panel.

  - Add implants assigned to different animals from the implant inventory on the right side to the middle panel [1]. Click on each implant and connect it to a different receiver plate then save and exit once all connections are made [2].

    - SCREEN: Implants are being added to the middle panel.

    - SCREEN: Each implant is being clicked on then connected to different receiver plates. Then save the settings.

  - Now, navigate to the Set Up tab then press Experimental Setup and click on Enable Page [1]. Choose the black background then select the subject before adding the pressure  in the label and changing the unit to mmHg (millimeters-of-mercury) [2].

    - SCREEN:  Set Up> Experimental setup> Enable Page is being clicked.

    - SCREEN: Black background is being chosen then subject is being selected.  Pressure is being added to the label and the unit is being changed to mmHg.

  - Go to the Set up tab again and choose Animal Setup. Click on the animal number, select the gender and species, and click on Pressure to enable parameters [1]. If heart rate needs to be displayed, click on Heart Rate [2]. Apply channel settings to similar channels, and click OK to open a window showing implants arranged vertically [3].

    - SCREEN: Show the Set up tab with Animal Setup selected and the cursor clicking on it. Show the animal setup window with the animal number selected, gender and species being chosen, and Pressure being enabled

    - SCREEN: Show Heart Rate being enabled.

    - SCREEN : Show channel settings applied, and the resulting window with implants displayed in vertical order.

  - Next, click on All Continuous at the top of the screen to visualize blood pressure recording traces [1]. For data exporting, go to the Experiment tab, click on Open, and select the data from the intended folder [2].

    - SCREEN: Show continuous blood pressure traces appearing after All Continuous is selected.

    - SCREEN: Show the Experiment tab with Open selected and a data folder being chosen.

  - Navigate to the Action tab, click on Start Review, and select the subject number, desired signal types, and time range [1]. Set the logging rate to determine how the data are segmented in seconds, minutes, or hours [2].

    - SCREEN: Show the Start Review window with subject number, signal types, and time range being selected.

    - SCREEN: Show the logging rate options being adjusted in the Actions tab.

  - Once selections are complete, go to the File tab and choose Save Marked Sections, followed by Save Derived Data [1]. Finally, go to the Actions tab and click on Close Review Session to end the data export [2].

    - SCREEN: Show the File tab with Save Marked Sections and Save Derived Data options selected.

    - SCREEN: Show the Close Review Session option being selected to complete data export.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count:96.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Eight weeks after spinal cord injury, colorectal distension induced a marked increase in systolic blood pressure during stimulation compared with baseline, demonstrating autonomic dysreflexia [1].

    - LAB MEDIA: Figure 1D. Video editor: Please highlight the increase in the curve between 60 to 90 sec

  - Systolic blood pressure [1], Diastolic blood pressure [2] and  Mean arterial pressure were elevated after spinal cord injury compared with pre-injury recordings [1].

    - LAB MEDIA: Figure 1E  (i-iii)	Please highlight the SBP 1-2 days, DBP 1- 2 days and MAP 1-2 days graphs

  - Heart rate showed increased fluctuations following spinal cord injury compared with pre-injury recordings [1]. Core body temperature regulation was disrupted during the first two days after spinal cord injury [2]. and animal activity was reduced following spinal cord injury compared with pre-injury levels [3].

    - LAB MEDIA: Figure 1E (iv). Video editor: Highlight the HR 1-2 day graph

    - LAB MEDIA: Figure 1E (v). Video editor: Highlight the Core body temp 1-2 day graph.

    - LAB MEDIA: Figure 1E (vi). Video editor: Highlight the activity 1-2 day graph