# Submission ID #: 69721

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=21264953

# Title: Improving CRISPR-Cas9 Screens in CAR T Cells: A Refined Method for Library Preparation

# Authors and Affiliations:

# Maider Garnica1*, Patxi San Martin-Uriz1,2*, Paula Rodriguez-Marquez1,2, Maria E. Calleja-Cervantes1,3, Saray Rodriguez-Diaz1, Rebeca Martinez-Turrillas1,2, Mikel Hernaez2,3,4,5, Felipe Prosper1,2,4,6, Juan R. Rodriguez-Madoz1,2,4

# 1Hemato-Oncology Program, Cima Universidad de Navarra, IdiSNA

# 2Centro de Investigacion Biomedica en Red de Cancer (CIBERONC)

# 3Computational Biology and Translational Genomics Program, Cima Universidad de Navarra, IdiSNA

# 4Cancer Center Clinica Universidad de Navarra (CCUN)

# 5Data Science and Artificial Intelligence Institute (DATAI), Universidad de Navarra

# 6Hematology and Cell Therapy Department, Clinica Universidad de Navarra, IdiSNA

# *These authors contributed equally

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Juan R. Rodriguez-Madoz 	(jrrodriguez@unav.es)

# Email Addresses for All Authors:

Maider Garnica		(mgarnicasub@unav.es)

Patxi San Martin-Uriz		(psanmart@unav.es)

Paula Rodriguez-Marquez	(prodriguez.41@unav.es)

Maria E. Calleja-Cervantes	(mcallejac@unav.es)

Saray Rodriguez-Diaz		(srodrigu@unav.es)

Rebeca Martinez-Turrillas	(rmartur@unav.es)

Mikel Hernaez			(mhernaez@unav.es)

Felipe Prosper			(fprosper@unav.es)

Juan R. Rodriguez-Madoz 	(jrrodriguez@unav.es)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 25

Number of Shots: 57

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer up to 2 introduction and up to 3 conclusion questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Answer in full sentences, the questions will not be displayed in the video.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What questions will future research focus on?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card

This research has been approved by the Institutional Review Board (IRB) or equivalent body at the Universidad de Navarra

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- CAR T Cell Production and CRISPR-Cas9 Screening Workflow in Primary Human T Cells

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

AUTHORS: Please note that all pronunciation guides are given in red, italics. Kindly go through the same and change where necessary.

  - To begin, add a predetermined amount of lentiviral CRISPR library to a 24-well plate containing T-cells [1]. Add polybrene at a final concentration of 8 micrograms per milliliter [2]. Mix gently to ensure even distribution [3].

    - WIDE: Talent pipetting the lentiviral CRISPR library to the cell suspension.

    - Talent adding polybrene to the tube.

    - Talent gently mixing the contents.

  - Centrifuge the cells at 700 g for 90 minutes at 32 degrees Celsius to perform spinfection [1]. After centrifugation, carefully remove the plate from the centrifuge [2].

    - Talent placing the plate into the centrifuge and setting the parameters.

    - Talent removing the plate from the centrifuge after completion.

  - Replace the media with fresh T cell growth medium [1]. Then gently resuspend the cells to ensure homogeneity [2].

    - Talent aspirating old media and adding fresh T cell growth medium.
AND
TEXT ON PLAIN BACKGROUND:
T-cell Growth Medium:
3% HS
1% P/S
IL-7: 625 IU/mL
IL-15 : 85 IU/mL 
Final cell density:  106 cells/mL
Video Editor: Please play both shots side by side in a split screen

    - Talent gently resuspending the cells by pipetting.

  - After 6 hours, add the CAR (car) lentiviral vector at a multiplicity of infection of 3 [1]. Incubate the cells at 37 degrees Celsius for 4 days [2].

    - Talent pipetting CAR lentiviral vector to the culture.

    - Talent placing the culture into the incubator.

  - Once incubation is complete, collect the CAR T-cells [1].  Wash once with PBS [2]. Then stain the cells using acridine orange propidium iodide [3] and count them in a fluorescent cell counter [4].

    - Shot of labeled CAR T cell pellet in a tube.

    - Talent adding phosphate-buffered saline to the tube with cell pellet.

    - Talent adding acridine orange propidium iodide to the cells.

    - Shot of the stained cell suspension being placed in a fluorescent cell counter.

  - Now, prepare a 4 micromolar solution of Cas9 (Kass-Nine)  in electroporation buffer [1].

    - Talent adding Cas9 to electroporation buffer.

  - Resuspend the CAR T cells in the Cas9 solution [1-TXT]. Then pipette 50 microliters of the cell suspension into each well of a multiwell cuvette strip without forming bubbles [2]. Remove any visible bubbles by gently running a pipette tip along the edges of the well [3].

    - Talent adding 50 µL of Cas9 solution to the cell suspension. TXT: 50 µL per 5 x 106 cells

    - Talent loading 50 µL of cell suspension into the wells of a multiwell cuvette strip.

    - Talent removing bubbles with a pipette tip.

  - Use the EXPAND T CELL 3 program to nucleofect the CAR T cells [1]. Place the cuvettes in an incubator at 37 degrees Celsius for 40 minutes [2].

    - Talent selecting the EXPAND T CELL 3 program.

    - Talent placing cuvettes into the incubator.

  - Resuspend the nucleofected cells in T cell growth medium [1]. Then incubate again at 37 degrees Celsius for 3 days [2].

    - Talent adding growth medium to nucleofected cells.

    - Talent placing cells back into the incubator.

  - Count the cells using acridine orange propidium iodide staining in a fluorescent cell counter [1]. Now, adjust the cell concentration to 10⁶ cells per milliliter using T cell growth medium containing interleukin 7 and interleukin 15 [2]. Add puromycin to a final concentration of 2.5 micrograms per milliliter [3-TXT].

    - Talent counting stained cells using the fluorescent cell counter.

    - Talent diluting or concentrating cells to the desired density.

    - Talent adding puromycin to the culture. TXT: Count and readjust cells every 2 days to 10⁶ cells/mL using growth medium with puromycin

  - After 6 days, assess the percentage of CAR-positive cells [1]. Then sort CAR T cell populations [2] and store dry cell pellets at minus 80 degrees Celsius [3].

    - Talent analyzing CAR expression.

    - Shot of tubes with sorted CAR T cells.

    - Talent placing the dried cell pellets at – 80 °C freezer.

- Genomic DNA Digestion and sgRNA Cassette Enrichment for CRISPR Screening

Demonstrator: Click here to enter name of demonstrator(s)

  - Extract genomic DNA from the samples using a cell and tissue DNA extraction method [1-TXT]. Measure genomic DNA concentration using a double-stranded DNA quantification kit [2].

    - Shot of extracted gDNA in labeled tubes. TXT: Elute twice for maximum recovery

    - Talent measuring DNA concentration in a spectrophotometer.

  - Now, digest up to 5 micrograms of genomic DNA with 20 units of the selected restriction enzymes in a total volume of 50 microliters [1]. Incubate overnight at 37 degrees Celsius in a thermocycler [2].

    - Talent adding restriction enzymes to 5 µg of gDNA.

    - Talent placing tubes into a thermocycler.

  - Then next day, prepare 10 milliliters of Elution buffer and 50 milliliters of fresh 70% ethanol [1].  Pipette 100 microliters of the digested product into a tube containing vortexed beads [2].

    - Shot of prepared Elution buffer and ethanol solutions. TXT: Elution Buffer:10 mM Tris-HCl, pH 8.0

    - Talent pipetting 100 µL of the digested product into a tube with vortexed beads.

  - Pipette to mix the suspension thoroughly [1] then incubate for 5 minutes [2] before magnetizing for another 5 minutes [3].

    - Talent pipetting the suspension up and down.

    - Shot of the tube being placed in an incubator.

    - Talent placing the tube onto a magnet.

  - While on the magnet, pipette 200 microliters of the 70% ethanol solution without disturbing the pellet [1]. After 30 seconds, discard the supernatant [2-TXT].

    - Shot of 200 µL of 70% ethanol being pipetted into the tube.

    - Talent pipetting out the supernatant.  TXT: Perform magnetization and alcohol wash 2x

  - After 2 washes, allow the beads to dry for 2 minutes [1]. Then remove them from the magnet [2], add 40 microliters of elution buffer [3] and pipette to resuspend the beads [4-TXT].

    - Shot of dried beads.

    - Talent removing the beads from the magnet.

    - Talent pipetting 40 µL of elution buffer.

    - Shot of the suspension being pipetted to resuspend the beads.

  - Magnetize the suspension for 2 minutes [1] then transfer the supernatant into a new tube [2].

    - Talent placing the suspension on the magnet.

    - Shot of the supernatant being pipetted into a new tube.

- Streptavidin-Based Pulldown of sgRNA Cassettes for CRISPR-Cas9 Screening

Demonstrator: Click here to enter name of demonstrator(s)

  - Add 1x Wash/Binding (wash-binding) Buffe to a tube containing 1 milligram of vortexed strepatavidin magnetic beads [1]. Pipette to resuspend the beads in the Buffer [2].

    - Talent adding wash/binding buffer to a tube with vortexed streptavidin magnetic beads.
AND
TEXT ON PLAIN BACKGROUND:
Wash/Binding Buffer 2x: 
10 mM Tris-HCl, pH 7.5
2 M NaCl
1 mM EDTA
Dilute half of the volume with H2O to 1x
Video Editor: Please play both shots side by side in a split screen

    - Talent resuspending beads in buffer.

  - Then place the suspension on a magnet for 1 minute [1] before discarding the supernatant [2-TXT].

    - Shot of the suspension being placed on a magnet.

    - Shot of the supernatant being discarded.  TXT: Perform wash 3x

  - After the third wash, resuspend the beads in 2x Wash/binding buffer [1]. Then Add 5 microliters of 10 micromolar biotinylated pulldown primers to the purified digestion product [2].

    - Shot of the beads being resuspended in 2x wash/binding buffer.

    - Talent adding 5 µL of 10 µM biotinylated pulldown primers to the purified digestion product

  - Incubate the mixture in a dry bath at 96 degrees Celsius for 5 minutes [1] and immediately cool on ice for 5 minutes [2].

    - Talent placing the mixture in a dry bath at 96°C.

    - Shot of the tubes being plunged into ice.

  - Now add 1 milligram of the pre-washed streptavidin magnetic beads to the reaction [1]. Incubate for 20 minutes while resuspending every 4 minutes [2].

    - Talent adding beads to the sample.

    - Talent gently mixing the sample during incubation.

  - Magnetize the beads for 5 minutes [1]. Then wash three times with 1x Wash/Binding Buffer [2].

    - Talent placing the beads on a magnetic rack.

    - Shot of 1x wash/binding buffer being added to the tube.

  - Finally, resuspend the beads containing bound sgRNA cassettes in 50 microliters of elution buffer [1].

    - Talent resuspending beads in 50 µL elution buffer.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 147

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Following antibiotic selection, CAR T cells transduced with the CRISPR (crisper) library showed continued survival and proliferation in both donors after puromycin treatment [1].

    - LAB MEDIA: Figure 1B. Video editor: Highlight the brown puromycin bars in both donor panels.

  - Untransduced T cells and CAR T cells lacking CRISPR library transduction did not show comparable proliferation under antibiotic selection and served as negative controls [1].

    - LAB MEDIA: Figure 1B. Video editor: Highlight the UTD and CAR bars (grey) without puromycin in both donor panels.

  - Restriction enzyme digestion with NdeI (N-del) and PspXI (P-S-P-X-I) generated fragmented genomic DNA while preserving the single guide RNA cassette for enrichment [1]. Fragments containing sgRNA were then selectively amplified [2].

    - LAB MEDIA: Figure 2C. Video editor: Highlight the digested genomic DNA lanes compared

    - LAB MEDIA: Figure 2D.

  - Pearson and Spearman correlations showed that single guide RNA read counts and library complexity were maintained in donor genomic DNA samples compared with the plasmid library [1].

    - LAB MEDIA: Figure 3C. Video editor: Sequentially Highlight the scatter plots

  - Robust rank aggregation analysis identified genes that were significantly enriched or depleted following Cas9 editing in both donors [1].

    - LAB MEDIA: Figure 3D and E. Video editor: Sequentially show D and then E

  - Pathway enrichment analysis revealed top Gene Ontology terms associated with the identified genetic regulators [1].

    - LAB MEDIA: Figure 3F.