# Submission ID #: 69732

# Scriptwriter Name: Sri Lakshmi Priya

# Project Page Link: https://review.jove.com/files_upload.php?src=21268308

# Title: Methods for In Situ Quantification of Mitochondrial Morphology in Muscle and Terminal Schwann Cells of Mice

# Authors and Affiliations:

Aaron B. Morton1, Jacob A. Kendra1, Brian Glancy2, Shadi Golpasandi1, Alexandra G. Naman1

1Department of Kinesiology and Sport Management, College of Education and Human Development, Texas A&M University, College Station

2National Institutes of Health; Bethesda

# Corresponding Authors:

Aaron B. Morton		amorton@tamu.edu

# Email Addresses for All Authors:

Jacob A. Kendra		jkendra@tamu.edu

Brian Glancy			brian.glancy@nih.gov

Shadi Golpasandi		s.golpasandi@tamu.edu

# Alexandra G. Naman		anaman@tamu.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Yes

If Yes, can you record movies/images using your own microscope camera?

No

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Olympus, SZ61

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

SCOPE shots: 2.3.2, 3.3.1, 3.3.3

Videographer: Please film the above-mentioned shots using the scope kit.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes, all done

3. Filming location: Will the filming need to take place in multiple locations?   Yes

If Yes, how far apart are the locations? 20-30 feet

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. No

Current Protocol Length

Number of Steps:  19

Number of Shots:  43

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context. Answers are slightly edited in accordance with journal guidelines.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Aaron Morton: Our research investigates mitochondrial morphology of terminal Schwann cells at the neuromuscular junction for the first time.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the research contexts or systems in which this protocol can be applied.

  - Aaron Morton: Our approach enables quantification of mitochondrial morphology in otherwise hard-to-obtain tissues, such as capillary and lymphatic beds.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Aaron Morton: This protocol allows researchers to study and quantify mitochondrial morphology in skeletal muscle and terminal Schwann cells.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Aaron Morton: Future studies can adapt this approach to investigate mitochondrial morphology in microcirculation and lymphatic vessels

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

# Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee (IACUC) at Texas A&M University

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Preparation of Tibialis Anterior (TA) Muscle Samples

Demonstrators: Aaron Morton and Shadi Golpasandi

  - To begin, obtain a wild type and a D2.mdx (D2-m-d-x) mouse [1]. Insert the needle at the distal tendon toward the right knee of the anesthetized mouse [2-TXT]. Inject 50 microliters of 2 micromolar Far-red fluorescent mitochondrial stain on the tibialis anterior or the TA muscle while withdrawing the needle along the injection path and incubate for 1 hour [3].

    - WIDE: Talent with wild-type and D2.mdx mice on table.

    - CU: Shot of inserting needle at the distal tendon near the right knee of anesthetized mouse. TXT: Anesthesia: 2% Isoflurane

    - CU: Shot of injecting mitochondrial stain into the right TA muscle while withdrawing the needle.

  - Using scissors and forceps, dissect and isolate the TA muscle before euthanasia [1].

    - Talent dissecting the TA muscle.

  - Place the isolated TAmuscle in 4% paraformaldehyde at room temperature for 15 minutes [1]. Then, under a stereomicroscope, gently separate the fibers by teasing [2].

    - Talent placing the isolated TA  muscle in 4% paraformaldehyde.

    - SCOPE: The fibers are being separated.

  - Add cell-permeant nucleic acid stain to the 4% paraformaldehyde, to obtain a final concentration of 5 to 10 microgram per milliliter for nuclear labeling [1].

    - Talent adding cell-permeant nucleic acid stain into the 4% paraformaldehyde.

  - Then, wash the TA muscle 3 times in PBS for 5 minutes each to remove excess dye [1].

    - CU: Talent adding PBS in the sample to remove excess dye.

  - Dehydrate the muscle sequentially in 50%, 75%, and 100% ethanol for 5 minutes each [1].

    - CU: Sample being transferred between ethanol solutions labeled 50%, with 75%, and 100% ethanol in the background.

  - Then, incubate the sample sequentially in tissue clearing solutions I (one) and II (two) for 30 minutes each, ensuring they are fully submerged [1].

    - Talent submerging the sample in clearing solution.

  - Now, place the muscle on a coverslip [1]. Use a 2.5 by 2 by 1 centimeter glass block weighing 7.8 grams to gently flatten it and transfer the muscle to clearing solution II  to prevent dehydration and photobleaching until imaging [2].

    - CU: Shot of sample being placed on a coverslip.

    - Shot of glass block flattening the sample placed on the coverslip. TXT: Glass block: 2.5 cm × 2 cm × 1 cm; mass 7.8 g

    - Talent transferring the sample to clearing solution II. NOTE: Not filmed, VO merged in concise format

- Preparation of Gluteus Maximus (GM) Muscle Samples

  - Obtain an S100β (S-one-hundred-beta) mouse [1] and make a small skin incision above the gluteus maximus or GM muscle [2]. Inject 75 microliters of 2 micromolar far-red fluorescent mitochondrial stain beneath the GM muscle [3].

    - WIDE: Talent with S100β mice on table.

    - CU: Shot of making small incision above the GM muscle in S100β mice.

    - CU: Shot of injecting far-red fluorescent mitochondrial stain beneath the GM muscle.

  - Close the wound [1] and let the dye incubate for 45 minutes to selectively label Terminal Schwann cells [2].

    - CU: Shot of closing the wound.

    - Shot of mouse lying undisturbed.

  - Then, dissect the GM muscle within 10 minutes [1] and immediately place it in chilled 0.9% sterile saline. Only if using D2.mdx mice, add fluorescent acetylcholine receptor dye at a 1 to 500 dilution to the microdissection bath and incubate the tissue for 30 minutes [2]. Trim the excess fat and connective tissue [3] and transfer the GM muscle onto a coverslip with the ventral side facing down for inverted microscopy [4].

    - CU: Shot of dissecting the GM muscle. TXT: Limit dissection and cleaning to <10 min

    - Talent placing the GM muscle in saline. TXT: For D2.mdx: Add fluorescent AChR dye (1:500) in bath; incubate 30 min

    - CU: Shot of trimming excess fat and connective tissue from the GM muscle placed in saline.

    - Talent transferring the GM muscle onto a coverslip. TXT: Ventral side facing down for inverted microscopy

  - Add 2 microliters of general mounting medium onto the dorsal surface of the GM [1] and flatten the tissue using glass block before imaging [2].

    - Talent adding 2 µL of general mounting medium onto the dorsal surface of the GM.

    - Shot of glass block flattening the tissue.

- Confocal Imaging of Muscle Samples

  - In the software, set the excitation wavelength to 646 nanometers [1].

    - SCREEN: 69732_screenshot_1_4.1.1_REC.mp4 00:20-00:28.

  - After adding 2 drops of clearing solution 2, select the 63x objective lens to image the TA muscle [1] and set the Z stack depth close to 100 micrometers [2]. Then, select deconvolution mode and apply system-optimized parameters [3]. Set the step size to one micrometer and acquire images [4].

    - Talent selecting the 63x objective lens. TXT: Add 2 drops of clearing solution II before imaging

    - SCREEN: 69732_screenshot_2_4.2.2_REC (1).mp4 00:15-00:23 Video editor: Please highlight the box “Z Size [µm] with its value”

    - SCREEN: 69732_screenshot_3_4.2.3_REC-(1).mp4.  00:15-00:21

    - SCREEN: 69732_screenshot_4_4.2.4_REC-(1).mp4. 00:02-00:08

  - To acquire terminal Schwann cells image, select the 20 times magnification objective lens [1], set the Z stack depth to approximately 17 micrometers and acquire images [2]. Then, select the 63 times magnification objective lens [3] and acquire images of individual terminal Schwann cells [4].

    - Talent selecting the 20x objective lens.

    - SCREEN: 69732_screenshot_5_4.3.2_REC-(1).mp4 00:22-00:28.  Video editor: Please highlight the box “Z Size [µm] with its value”

    - SCREEN: 69732_screenshot_6_4.3.4_REC.mp4 00:10-00:20

- Quantification of Mitochondrial Morphology

  - Import individual Z slices to train the software to recognize mitochondrial signal [1] and conduct quantitative analysis using AI driven software [2]. Develop image masks for investigator review [3].

    - SCREEN: 69732_screenshot_7_5.1.1_REC.mp4 00:02-00:15.

    - SCREEN: 69732_screenshot_8_5.1.2_REC.mp4 00:05-00:22.

    - SCREEN: 69732_screenshot_9_5.1.3_REC.mp4.

  - Separate 3D (Three-D) image stacks into individual optical sections following algorithm optimization [1].

    - SCREEN: 69732_screenshot_10_5.2.1_REC-(1).mp4 00:05-00:17.

  - Select every fifth Z-slice from each 3D image and calculate the average per sample [1].

    - SCREEN: 69732_screenshot_11_5.3.1_REC-(1).mp4 00:00-00:10.

  - Standardize imaging parameters across all samples and quantify mitochondrial morphology [1]. Perform immunohistochemistry and statistical analysis to assess group differences and correlations [2].

    - SCREEN: Shot of cursor adjusting the intensity thresholds, edge detection settings, and voxel size calibration for 1 sample. NOTE:5.4.1 and 5.4.2 Not filmed

    - Talent viewing the quantified mitochondrial morphology.

    - Representative shot of talent adding stain to the slide.

    - Talent at the computer performing statistical analysis.

# Results

# 6. Results

  - Mitochondrial connectivity was reduced in mdx muscle [1] compared to the wild type mice [2].

    - LAB MEDIA: Figure 2A-D. Video editor: emphasize B and D as well as the area indicated with yellow arrow.

    - LAB MEDIA: Figure 2A-D. Video editor: emphasize A and C as well as the area indicated with yellow arrow

  - A greater number of small mitochondrial fragments [1] and a reduced number of large interconnected mitochondrial networks were observed in mdx mice [2].

    - LAB MEDIA: Figure 3B. Video editor: Emphasize the red bar at “<100” point on x-axis.

    - LAB MEDIA: Figure 3B. Video editor: Emphasize the red bar at “1000” point on x-axis.

  - In wild-type mice, mitochondria in terminal Schwann cells exhibited interconnected loop structures near bifurcations [1]. In contrast, in mdx mice, mitochondria appeared fragmented and lacked loop formations near bifurcations [2].

    - LAB MEDIA: Figure 4D and 4F. Video editor: In 4D, emphasize the area indicated with yellow arrows.

    - LAB MEDIA: Figure 4D and 4F. Video editor: In 4F, emphasize the area indicated with yellow arrows.

  - Confocal and electron microscopy confirmed similar doughnut shaped mitochondrial structures in terminal Schwann cells [1].

    - LAB MEDIA: Figure 5A-D. Video editor: Emphasize the area indicated with yellow arrows.

  - Postsynaptic analysis showed subsarcolemmal mitochondria clustered around acetylcholine receptors [1], lacking the characteristic pretzel like structure [2].

    - LAB MEDIA: Figure 5H. Video editor: If possible, emphasize the teal colored structure.

    - LAB MEDIA: Figure 5H. Video editor: If possible, emphasize the red colored structure.

  - Image analysis revealed that terminal Schwann cell mitochondria in mdx muscle showed increased area [1] and fragmentation compared to wild type muscle [2], with no difference in relative particle size [3].

    - LAB MEDIA: Figure 6C. Video editor: Emphasize the grey bar for mdx.

    - LAB MEDIA: Figure 6D. Video editor: Emphasize the grey bar for mdx.

    - LAB MEDIA: Figure 6E. Video editor: Emphasize both bars.

  - Muscle force measurements showed reduced twitch [1] with greater variability [2] and decreased peak force in mdx muscle [3].

    - LAB MEDIA: Figure 7A. Video editor: Emphasize the red bar for mdx.

    - LAB MEDIA: Figure 7A. Video editor: Emphasize the black dotted lines over red bar for mdx.

    - LAB MEDIA: Figure 7B. Video editor: Emphasize the red bar for mdx.

  - Force production across increasing stimulation frequencies was also significantly reduced in mdx muscles [1].

    - LAB MEDIA: Figure 7C. Video editor: Emphasize the red line for mdx.

  - The mdx muscle showed a leftward shift in fiber size [1], indicating approximately 60% smaller myofibers compared to wild type [2].

    - LAB MEDIA: Figure 7F. Video editor: Emphasize the red bars for mdx.

    - LAB MEDIA: Figure 7E. Video editor: Emphasize the red bar for mdx.