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Author Questionnaire 
1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct. 
☐ Correct 
☐ Incorrect 

2. Interview statements: Which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent. 


[bookmark: Text5]3. Proposed interview filming date: Please indicate the proposed date that your group will self-film interviews: MM/DD/YYYY

DO NOT use this draft script for filming Interviews. Please wait until your script is finalized to begin the filming process. 
When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare. 

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  21
Number of Shots:  38 

Introduction 

Answers to these questions will become interview statements that you will deliver on camera.
· Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.
· Enter the full name of the author who will deliver the statement.
· Speak naturally and avoid reading the lines.
· Limit the length of each statement to 20 words or fewer.
· Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.
Answers will be slightly edited in accordance with journal guidelines.


INTRODUCTION:
REQUIRED: Summarize your research focus and the main questions it aims to answer.
1.1. Enter full author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.
1.2. Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.
Describe the research contexts or systems in which this protocol can be applied.
1.3. Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:
What does this protocol allow researchers to study or measure?
1. 
1.1. 
1.2. 
1.3. 
1.4. Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.
1.5. Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?
1.6. Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.
1.7. Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Ethics Title Card
This research has been approved by the Sirius University Human Investigation Committee 

Protocol  
[bookmark: _Hlk188263998]Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.
· The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.
· Red italics are pronunciation guides indicating how the word will be spoken. 	Comment by Poornima  G: Authors: Please check all the pronunciation guides written in red italics below and post a comment at the respective guide if any changes are required
· Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.
· The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture. 

2. Preparation of the Participant for EEG
Demonstrator: Click here to enter name of demonstrator(s)

2.1. To begin, turn on the custom-built multimodal stimulator developed to deliver precisely controlled and synchronized somatosensory stimuli [1]. The system consists of a control unit and a stimulation module, engineered for high-fidelity neurophysiological research [2].
2.1.1. WIDE: Talent turning on the system. 	Comment by Poornima  G: Authors: Can you please shoot this scene in wide angle? Our journal usually used a wide shot as the opening shot. 
Please let me know if this is not possible.
2.1.2. LAB MEDIA:  VID_20260326_145606.mp4, VID_20260326_145814.mp4 00:00 – 00:10, VID_20260326_150024.mp4 00:00 – 00:10 and VID_20260326_150804.mp4 00:00 – 00:10 Video editor: Please use split screens to show these 4 videos.



2.2. Measure the participant's head circumference and identify anatomical landmarks including nasion, inion, and left and right preauricular points [1]. Select the electroencephalography or EEG cap size accordingly [2].
2.2.1. LAB MEDIA:  VID_20260326_151342.mp4 and VID_20260326_151523.mp4
2.2.2. LAB MEDIA:  VID_20260326_152022.mp4

2.3. Position the cap so that the central electrode Cz (see-zee) is located at the vertex [1]. Verify proper alignment by measuring the distances from Cz to the nasion, inion [2], and both preauricular points to ensure symmetry [3]. Adjust the cap to follow the international 10-10 electrode placement system [4].
2.3.1. LAB MEDIA:  VID_20260326_152538.mp4 00:01 – 00:10 
2.3.2. LAB MEDIA:  VID_20260326_152538.mp4    00:46 – 00:52
2.3.3. LAB MEDIA:  VID_20260326_152538.mp4 01:03-01:10 
2.3.4. LAB MEDIA:  VID_20260326_152538.mp4  01:11-01:24

2.4. Connect all electrode leads to the EEG amplifier according to the manufacturer's specifications [1].
2.4.1. LAB MEDIA:  VID_20260326_153819.mp4 00:30 – 00:36 and VID_20260326_153944.mp4 

2.5. Now, prepare each electrode site by parting the participant’s hair, gently abrading the skin with abrasive gel, and cleaning with alcohol [1]. Fill each electrode cavity with conductive gel [2]. Then, apply the ground and reference electrodes first to ensure a stable connection [5].
2.5.1. LAB MEDIA:  VID_20260326_154407.mp4 00:04 – 00:06 and 00:20-00:25
2.5.2. LAB MEDIA:  VID_20260326_154524.mp4 00:08-00:20
2.5.3. LAB MEDIA:  VID_20260326_154619.mp4 00:04-00:08 and  VID_20260326_155635.mp4



2.6. Confirm that electrode signal quality meets manufacturer-recommended criteria, ensuring low noise levels and reliable recording of physiological activity, with impedance values below 10 kiloohms [1].
2.6.1. LAB MEDIA:  VID_20260326_161935.mp4 00:10 – 00:20	Comment by Poornima  G: Authors: Is it possible for you to record this step using s screen recording software? This will give better clarity to the recording rather than filming the screen. Please let me know if this is not possible, we can use these existing videos.	Comment by Poornima  G: Same for the step 2.9

2.7. Arrange electrode cables to minimize movement artifacts [1] and secure them to reduce strain on connectors [2].
2.7.1. LAB MEDIA:  VID_20260326_164322.mp4 00:00 – 00:08
2.7.2. LAB MEDIA:  VID_20260326_164322.mp4 00:08 – 00:16

2.8. Seat the participant comfortably in front of a monitor. Present a silent, neutral video to support stable alertness during prolonged recordings [1].
2.8.1. LAB MEDIA:  VID_20260326_162829

2.9. Inspect the raw EEG signal to ensure consistent baseline noise across channels [1]. Verify that physiological artifacts such as eye blinks and muscle activity are clearly identifiable [2].
2.9.1. LAB MEDIA:  VID_20260326_163740.mp4 
2.9.2. LAB MEDIA:  VID_20260326_163754.mp4 



3. Stimulation Setup and Threshold Determination

Demonstrator: Click here to enter name of demonstrator(s)

3.1. Clean the stimulation site such as the index finger of the dominant hand with an alcohol swab to reduce skin impedance and ensure stable electrode-skin contact [1].
3.1.1. LAB MEDIA:  VID_20260326_164443.mp4 00:03 – 00:12

3.2. Now, position the finger on the stimulation pad. Determine the individual sensory threshold for electrical stimulation using a standardized staircase procedure [1-TXT]. Instruct the participant to raise the index finger when the stimulation is first perceived [2].
3.2.1. LAB MEDIA:  VID_20260326_173543.mp4 00:00-00:20 TXT: 1 mA; Increase in 0.5 mA increments
3.2.2. LAB MEDIA:  VID_20260326_173543.mp4 00:21-00:27
  
3.3. Decrease intensity by 0.5 milliampere and then increase in 0.1 milliampere steps to refine the threshold [1]. Present 10 stimuli at each candidate intensity [2] and define the threshold as the lowest intensity at which at least 5 out of 10 stimuli are detected [3].
3.3.1. LAB MEDIA:  VID_20260326_173637.mp4

3.4. After repeating the staircase procedure 3 times, calculate the mean value as the sensory threshold [1] and determine the discomfort threshold for electrical stimulation when the stimulus becomes unpleasant or intolerable to the participant [2].
3.4.1. LAB MEDIA:  VID_20260326_173729.mp4 TXT: Sensory threshold = (Trial 1 + Trial 2 + Trial 3) / 3
3.4.2. LAB MEDIA:  MDzs3404 00:03-00:10

3.5. Take the arithmetic mean of the sensory and discomfort thresholds [1-TXT]. Set the mechanical stimulation intensity to be clearly detectable without causing discomfort or visible finger movement such as at twice the sensory threshold [2].
3.5.1. LAB MEDIA:  VID_20260326_175035.mp4 TXT: Mean = (Sensory Threshold + Discomfort Threshold) / 2
3.5.2. LAB MEDIA:  VID_20260326_175035.mp4

3.6. Present 5 to 8 standard stimuli followed by a single deviant in the oddball paradigm, including approximately 650 standards and 100 deviants per block [1]. Then, present 5 to 8 consecutive standards followed by 5 to 8 deviants in the roving paradigm [2].
3.6.1. LAB MEDIA: Oddball_vs_Roving Video editor: Highlight the oddball and the row with lines below
3.6.2. LAB MEDIA: Oddball_vs_Roving  Video editor: Highlight the roving and the row with lines below
Authors: We cannot have elaborate narration without accompanying visuals. Hence the steps with no footage are summarized in a couple of lines or have been added as one line on screen text as per journal guidelines




4. EEG Recording During Stimulation
Demonstrator: Click here to enter name of demonstrator(s)

4.1. Explain the experimental procedure to the participant, noting that no behavioral response to the tactile stimuli is required [1]. Inform the participant that withdrawal from the experiment is allowed at any time without consequences [2].
4.1.1. LAB MEDIA:  VID_20260326_180721.mp4 00:00-00:10 
4.1.2. LAB MEDIA:  VID_20260326_180721.mp4 00:11-00:22

4.2. Present a silent, neutral video and ask the participant to use earphones [1] with active noise cancellation to prevent brain responses from being affected by the noise of the vibrating actuator [2].
4.2.1. LAB MEDIA:  VID_20260326_180931.mp4
4.2.2. LAB MEDIA:  VID_20260326_181110.mp4

4.3. Verify synchronization between the stimulator and the EEG acquisition system using transistor-transistor logic triggers [1].
4.3.1. LAB MEDIA:  VID_20260326_181223.mp4 00:07 – 00:12 and VID_20260326_181308.mp4 00:12 – 00:15


4.4. Start EEG recording at a sampling rate of 10,000 hertz and run the stimulation sequences including electrical, mechanical, or electro-mechanical according to the assigned paradigm. Collect a minimum of 100 deviant trials per condition [1-TXT].
4.4.1. LAB MEDIA:  VID_20260326_182133.mp4 TXT: Collect a minimum of 100 deviant trials/condition

4.5. Provide short breaks every 10 to 15 minutes to reduce fatigue and maintain data quality. During these breaks, assess the participant's perception of stimulus intensity and adjust the intensity if significant changes in subjective perception are reported [1].
4.5.1. LAB MEDIA:  VID_20260326_182524.mp4


4.6. Finally, run the control sequence in addition to the main experiment with stimuli sent to the stimulator normally while the hand of the subject is placed outside of the stimulating surface [1-TXT].
4.6.1. LAB MEDIA:  VID_20260326_182646.mp4  TXT: Process the EEG data


4.6.2. 

Results
Please review this section to make sure that it accurately reflects your findings.
· You/Your videographer does not have to record this section. It only includes the figures/tables from your manuscript (called LAB MEDIA). 
· Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: XXX.
· Please note that the video cannot include voiceover without an accompanying visual.

5. Results 	Comment by Poornima  G: Authors: Please check if the narration is correct and if the figures and areas being highlighted match with the narration

5.1. During mechanical stimulation in the oddball paradigm, rare deviant stimuli of 145 milliseconds among frequent standard stimuli of 100 milliseconds failed to elicit clear and reliable event-related potentials [1], and no significant difference was observed between standard and deviant responses [2].
5.1.1. LAB MEDIA: Figure 1. Video editor: Show the “Oddball: mechano” panels for both the contralateral and ipsilateral traces
5.1.2. LAB MEDIA: Figure 1. Video editor: Show the blue standard 100 milliseconds trace and the red deviant 145 milliseconds trace together in the “Oddball: mechano” panels

5.2. In the oddball paradigm with electrical stimulation, discernible bilateral event-related potential waveforms were generated [1], but comparing standard and deviant stimuli did not yield a significant or consistent mismatch negativity component [2].
5.2.1. LAB MEDIA: Figure 1. Video editor: Show the “Oddball: electro” panels for both the contralateral and ipsilateral traces
5.2.2. LAB MEDIA: Figure 1. Video editor: Show the blue standard 100 milliseconds trace and the red deviant 145 milliseconds trace together in the “Oddball: electro” panels


5.3. In the roving paradigm with electrical stimulation, clear bilateral event-related potentials were generated [1], and a discernible bilateral mismatch negativity-like component emerged 240 to 280 milliseconds after stimulus onset [2]. This mismatch negativity was observable for both 100 milliseconds [3] and 145 milliseconds stimulus durations [4], though it was more pronounced for the longer duration [5].
5.3.1. LAB MEDIA: Figure 2. Video editor: Show the “Roving: electro” panels for both the contralateral and ipsilateral traces
5.3.2. LAB MEDIA: Figure 2. Video editor: Highlight the shaded area marked “MMN-like resp” in the “Roving: electro” panels
5.3.3. LAB MEDIA: Figure 2. Video editor: Highlight the solid-line traces labelled 100 milliseconds in the legend of the “Roving: electro” panels
5.3.4. LAB MEDIA: Figure 2. Video editor: Highlight the dashed-line traces labelled 145 milliseconds in the legend of the “Roving: electro” panels
5.3.5. LAB MEDIA: Figure 2. Video editor: Emphasize the larger separation of the dashed blue and dashed red traces within the shaded area

5.4. During bimodal electro-mechanical roving stimulation, both mechanical [1] and electrical stimuli elicited clear and distinct bilateral event-related potential waveforms [2].
5.4.1. LAB MEDIA: Figure 3. Video editor: Show the “Roving: mechano” panels for both the contralateral and ipsilateral traces
5.4.2. LAB MEDIA: Figure 3. Video editor: Show the “Roving: electro-mechano” panels for both the contralateral and ipsilateral traces

5.5. In the bimodal electro-mechanical roving paradigm, a notable contralateral mismatch negativity-like component emerged in response to electrical deviants between 170 and 230 milliseconds after onset [1], but no equivalent mismatch negativity was observed for mechanical deviants [2].
5.5.1. LAB MEDIA: Figure 3. Video editor: Highlight the shaded area marked “MMN-like resp” in the contralateral “Roving: electro-mechano” panel
5.5.2. LAB MEDIA: Figure 3. Video editor: Show the contralateral “Roving: mechano” panel without any highlighted mismatch negativity area

5.6. Ipsilateral mismatch negativity components were absent regardless of stimulus modality [1].
5.6.1. LAB MEDIA: Figure 3. Video editor: Show the ipsilateral panels for both “Roving: mechano” and “Roving: electro-mechano” without highlighting any mismatch negativity area

5.7. In the control session, no detectable event-related potentials were observed in either the contralateral [1] or ipsilateral regions of interest [2].
5.7.1. LAB MEDIA: Figure 4. Video editor: Show the contralateral trace labelled “contra” in the control plot
5.7.2. LAB MEDIA: Figure 4. Video editor: Show the ipsilateral trace labelled “ipsi” in the control plot
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