# Submission ID #: 69839

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21300943

# Title: Biological Standardization of Human ASC-Based Biofabrication for Reproducible Macroscale Tissue Constructs

# Authors and Affiliations:

# Aline Pimentel1,2#, Larissa Resende Vieira1,3#, Bianca Montenegro1,2, Isabelle Diederichs4, Larissa Fontes1,5, Maria Eduarda Domingos Esteves1,6, Rayla Russo1,6, Leonardo Boldrini1,2,5, José Mauro Granjeiro1,2,5, Leandra Santos Baptista2,5,6

# 1Laboratory of Eukaryotic Cell Biology (Labio), National Institute of Metrology, Quality and Technology (INMETRO)

# 2Post-graduation Program of Translational Biomedicine (Biotrans), UNIGRANRIO

# 3Post-graduation Program in Biotechnology, National Institute of Metrology, Quality and Technology (INMETRO)

# 4Post-graduation Program in Science and Technology of Polymers, Laboratory of Catalysis for Polymerization, Recycling and Biodegradable Polymers (LCPRB), Institute of Macromolecules, Federal University of Rio de Janeiro

# 5Post-graduation Program in Metrology and Technology, National Institute of Metrology, Quality and Technology (INMETRO)

# 6Federal University of Rio de Janeiro, Duque de Caxias Prof. Geraldo Cidade Campus

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Leandra Santos Baptista 		leandrabaptista@caxias.ufrj.br

# Email Addresses for All Authors:

# Aline Pimentel 			alinepimentel.biomed@gmail.com

# Larissa Resende Vieira 		lrvieira@colaborador.inmetro.gov.br

# Bianca Montenegro  			biancamontenegro@ufrj.br

# Isabelle Diederichs 			isabelle.diederichs@ima.ufrj.br

# Larissa Fontes  			larissa1106fontes@gmail.com

# Maria Eduarda Domingos Esteves 	eduardasteves18@gmail.com

# Rayla Russo 				raylarussonsc@gmail.com

# Leonardo Boldrini  			lcboldrini@inmetro.gov.br

# José Mauro Granjeiro 			jmgranjeiro@inmetro.gov.br

# Leandra Santos Baptista 		leandrabaptista@caxias.ufrj.br

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  30

Number of Shots:  60 (13 SC)

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- 3D Printing and Photocrosslinking of GelMA Scaffolds

Demonstrator: Click here to enter name of demonstrator(s)

  - To prepare the printer for scaffold fabrication, return the printhead to the home position [1] and load the previously generated G-code file [2].

    - WIDE: Talent returning the printhead to the home position.  Videographer: Please obtain CU shot as well for this shot.

    - SCREEN: Load the previously generated G-code file in the software.

  - Using the appropriate manual control tool in the software, extrude some of the hydrogel from the syringe to ensure material flow through the nozzle [1]. Start the printing process [2].

    - SCREEN: Use the manual control tool in the software to extrude hydrogel from the syringe through the nozzle.

    - SCREEN: Click the control used to start the printing process.

  - After printing, perform photocrosslinking of the resulting scaffold using the 3D bioprinter's ultraviolet light system for 5 minutes at a light intensity of 20 milliwatts per square centimeter [1].

    - Talent placing the printed scaffold in the 3D bioprinter for photocrosslinking.

  - Use the same depolymerized 2% agarose solution used for fabricating the micromolds to attach the 3D-printed scaffolds to the wells of a 12-well culture plate [1]. Secure the scaffolds to the bottoms of the wells to provide greater stability and prevent displacement during spheroid seeding and throughout the culture period [2].

    - Talent applying the depolymerized 2% agarose solution to attach the 3D-printed scaffolds to the wells of a 12-well culture plate.

    - Talent securing the scaffolds to the bottoms of the wells.

  - Capture stereomicroscope images of the scaffolds to assess printing quality and visualize the scaffold structure [1]. Use a ruler or a caliper reference to calibrate the images and measure the scaffold and pore dimensions accurately [2]. Authors: These steps are summarised as we are already over the 55-shot limit

    - Talent capturing images of the scaffolds using a stereomicroscope.

    - Talent positioning a ruler or a caliper as a reference beside the scaffold for image calibration and dimensional measurement

- Preparation of hADSCs by Trypsinization

Demonstrator: Click here to enter name of demonstrator(s)

  - Transfer the contents of the culture flask to a waste container in a biological safety cabinet [1].

    - Talent transferring the contents of the culture flask to a waste container under a hood.

  - Wash the monolayer twice with 1× phosphate-buffered saline [1] and discard the solution [2].

    - Talent adding 1× phosphate-buffered saline to the monolayer.

    - Talent discarding the phosphate-buffered saline solution.

  - Add a 0.125% trypsin EDTA solution sufficient to cover the monolayer [1]. Close the flask [2]. Incubate in a humidified incubator at 37 degrees Celsius for up to 5 minutes [3].

    - Talent adding a 0.125% trypsin/ethylenediaminetetraacetic acid solution to the culture flask.

    - Talent closing the culture flask.

    - Talent placing the culture flask in a humidified incubator.

  - Inactivate the trypsin EDTA by adding an equal volume of Dulbecco's Modified Eagle Medium supplemented with 10% fetal bovine serum [1].

    - Talent adding Dulbecco's Modified Eagle Medium supplemented with 10% fetal bovine serum to the culture flask.

  - Collect the cell suspension using a serological pipette [1]. Transfer the cell suspension to centrifuge tubes [2]. Centrifuge at 400 g for 5 minutes at room temperature between 20 and 25 degrees Celsius [3].

    - Talent collecting the cell suspension with a serological pipette.

    - Talent transferring the cell suspension into centrifuge tubes.

    - Talent placing the centrifuge tubes in the centrifuge.

  - Carefully discard the supernatant [1].

    - Talent discarding the supernatant from the centrifuge tube.

  - Resuspend the cell pellet in Dulbecco's Modified Eagle Medium [1]. Homogenize the suspension [2]. Take an aliquot for cell counting and viability assessment [3].

    - Talent resuspending the cell pellet in Dulbecco's Modified Eagle Medium.

    - Talent homogenizing the cell suspension.

    - Talent transferring an aliquot of the cell suspension for cell counting and viability assessment.

- Generation of hADSC Spheroids in Agarose Micromolds

Demonstrator: Click here to enter name of demonstrator(s)

  - Separate the appropriate number of cells for each mold into a 15 milliliter centrifuge tube [1]. For human adipose-derived stem cells, prepare 1 × 10⁶ cells for each agarose mold containing 81 recesses [2].

    - Talent transferring the required number of cells into a 15 milliliter centrifuge tube.

    - Talent preparing 1 × 10⁶ human adipose-derived stem cells for an agarose mold containing 81 recesses.

  - Add 1× phosphate-buffered saline to the centrifuge tube [1]. Centrifuge at 500 g for 5 minutes at room temperature [2]. Discard the supernatant [3]. Add fresh 1× phosphate-buffered saline [4]. Repeat the washing procedure two more times [5].

    - Talent adding 1× phosphate-buffered saline to the centrifuge tube.

    - Talent placing the centrifuge tube in the centrifuge.

    - Talent discarding the supernatant.

    - Talent adding fresh 1× phosphate-buffered saline to the centrifuge tube.

    - Talent repeating the washing procedure.

  - After the third centrifugation, carefully discard the supernatant [1]. Dry the tube opening with sterile gauze [2]. Return the tube to a vertical position [3].

    - Talent discarding the supernatant after the third centrifugation.

    - Talent drying the tube opening with sterile gauze.

    - Talent returning the centrifuge tube to a vertical position.

  - Resuspend the cell pellet in 120 microliters of 3D culture medium [1]. Homogenize the suspension [2]. Adjust the suspension volume to 200 microliters with additional 3D culture medium if necessary [3].

    - Talent resuspending the cell pellet in 120 microliters of 3D culture medium.

    - Talent homogenizing the cell suspension.

    - Talent adding additional 3D culture medium to adjust the suspension volume to 200 microliters.

  - Aspirate 200 microliters of the cell suspension [1]. Plate the suspension in the center of the mold while avoiding bubble formation [2].

    - Talent aspirating 200 microliters of the cell suspension.

    - Talent plating the cell suspension in the center of the mold.

  - Leave the plate in the biological safety cabinet for 5 minutes to allow the cells to settle into the recesses [1].

    - Talent placing the plate in the biological safety cabinet.

  - Place the plate in a humidified incubator for 40 minutes [1].

    - Talent placing the plate in a humidified incubator.

  - After incubation, carefully add 2 milliliters of 3D medium to each well [1]. Return the plate to a humidified incubator at 37 degrees Celsius [2].

    - Talent adding 2 milliliters of 3D medium to each well.

    - Talent placing the plate back into the humidified incubator.

- Morphometric Analysis of Spheroid Diameter and Sphericity

Demonstrator: Click here to enter name of demonstrator(s)

  - Capture images of the spheroids positioned along the two diagonals of the agarose micromold, forming an X pattern, using an inverted optical microscope equipped with a digital camera and a 10× objective [1]. Calibrate the image scale using the 100 micrometer scale bar before measuring the diameters [2].

    - Talent capturing images of the spheroids positioned along the two diagonals of the agarose micromold using the inverted optical microscope.

    - SCREEN: Show the calibration of the image scale using the 100 micrometer scale bar.

  - Determine the major diameter of each photographed spheroid using the software’s Line tool [1]. Measure the minor diameter by performing a second perpendicular measurement at an approximate 90 degree angle to the first measurement [2].

    - SCREEN: Show the major diameter of a spheroid being measured using the Line tool.

    - SCREEN: Show the minor diameter of the same spheroid being measured perpendicular to the first measurement.

  - Calculate the mean diameter of each spheroid as the arithmetic mean of the two previously measured perpendicular diameters [1]. Calculate the sphericity as the ratio of the largest diameter to the smallest diameter of each spheroid [2]. Consider values closer to 1 as indicating greater uniformity and a more spherical shape [3].

    - SCREEN: Show the calculation of the mean diameter from the two perpendicular diameter measurements.

    - SCREEN: Show the calculation of spheroid sphericity using the largest and smallest diameters.

    - SCREEN: Display the sphericity values approaching 1.

- Spheroid Seeding into GelMA Scaffolds and Bioassembly

Demonstrator: Click here to enter name of demonstrator(s)

  - After 24 hours of spheroid formation, collect the spheroids from the agarose micromolds using a pipette with wide-bore tips [1]. Transfer the spheroids to 2 milliliter microtubes [2].

    - WIDE: Talent collecting the spheroids from the agarose micromolds using a pipette with wide-bore tips.

    - Talent transferring the spheroids into 2 milliliter microtubes.

  - When the spheroids settle at the bottom of the microtubes, discard the supernatant [1].

    - Talent removing and discarding the supernatant from the microtube.

  - Resuspend the spheroids in 50 microliters of 3D Medium [1].

    - Talent resuspending the spheroids in 50 microliters of 3D Medium.

  - Using a pipette with wide-bore tips, collect the spheroids [1]. Gently embed the spheroids in the GelMA scaffold pores [2].

    - Talent collecting the spheroids with a pipette fitted with wide-bore tips.

    - Talent gently embedding the spheroids into the GelMA scaffold pores.

  - After depositing the spheroids into the GelMA support pore, wait 20 to 40 minutes to allow the spheroids to settle [1]. Add 1 milliliter of 3D Medium to each well [2].

    - Talent placing the scaffold containing the spheroids aside to allow settling.

    - Talent adding 1 milliliter of 3D Medium to each well.

  - After 24 hours, add 1 milliliter of 3D Medium to each well [1].

    - Talent adding 1 milliliter of 3D Medium to each well.

  - Monitor the fusion of the spheroids within the pores of the GelMA scaffolds by phase-contrast microscopy and stereomicroscopy [1]. Acquire images every 24 hours from day 0, immediately after seeding, to day 3, corresponding to 72 hours [2].

    - Talent monitoring the spheroid fusion within the GelMA scaffold pores using phase-contrast microscopy and stereomicroscopy.

    - SCREEN: Show the image acquisition time points from day 0 through day 3 at 24-hour intervals

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: XXX.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Human adipose-derived stem cells cultured in a monolayer [1] were successfully induced to form compact, well-defined spheroids within 24 hours after seeding into agarose micromolds [2].

    - LAB MEDIA: Figure 2C. Video editor: Highlight the spread-out cell layer visible across the image before spheroid formation.

    - LAB MEDIA: Figure 2D. Video editor: Highlight the single round cell cluster in the center of the image after 24 hours.

  - The morphometric analysis revealed a mean spheroid diameter of about 239.8 micrometers at 24 hours [1] and a sphericity value close to 1 [2].

    - LAB MEDIA: Figure 2E. Video editor: Highlight the bar corresponding to the spheroid diameter measured at 24 hours.

    - LAB MEDIA: Figure 2F. Video editor: Highlight the bar corresponding to the spheroid sphericity measured at 24 hours.

  - The CAD model of the 3-dimensional printed scaffold was designed with 2 pores [1], occupying approximately one-third of the scaffold’s total diameter [2].

    - LAB MEDIA: Figure 3A. Video editor: Highlight the 2 circular openings shown in the scaffold design.

    - LAB MEDIA: Figure 3A. Video editor: Emphasize the full scaffold width marked across the model.

  - The sliced 3-dimensional model was visualized in the printing software after G-code generation [1], and the GelMA hydrogel scaffolds were successfully printed [2].

    - LAB MEDIA: Figure 3C. Video editor: Show the sliced scaffold design displayed in the software window.

    - LAB MEDIA: Figure 3D. Video editor: Show the printed scaffold positioned above the ruler scale.

  - No significant differences were detected between the dimensions of the 3-dimensional model and those of the printed scaffolds for the scaffold diameter [1], the pore diameter [2], and the scaffold thickness [3].

    - LAB MEDIA: Figure 3F. Video editor: Highlight both bars labelled “3D Model” and “Printed Scaffold” and the “ns” label above them.

    - LAB MEDIA: Figure 3G. Video editor: Highlight both bars labelled “3D Model” and “Printed Scaffold” and the “ns” label above them.

    - LAB MEDIA: Figure 3H. Video editor: Highlight both bars labelled “3D Model” and “Printed Scaffold” and the “ns” label above them.

  - The spheroids were distributed within the scaffold pore regions immediately after transfer [1], showed partial coalescence after 48 hours [2], and showed extensive fusion after 72 hours [3].

    - LAB MEDIA: Figure 4A. Video editor: Highlight the individual round spheroids visible inside the scaffold pore area.

    - LAB MEDIA: Figure 4B. Video editor: Highlight the region where neighboring spheroids have begun merging into a larger structure.

    - LAB MEDIA: Figure 4C. Video editor: Highlight the large continuous tissue mass occupying the pore region.

  - After 72 hours, a macroscale biological construct estimated to occupy 80% of the entire pore diameter was visible under stereomicroscopy [1].

    - LAB MEDIA: Figure 4D. Video editor: Highlight the fused biological construct and its size relative to the pore opening.

  - Confocal imaging confirmed the formation of a single fused construct within the pore after 72 hours [1].

    - LAB MEDIA: Figure 4E. Video editor: Highlight the continuous green structure occupying the image area.

  - The resulting construct measured 3,711.08 micrometers in length [1] and 4,258.97 micrometers in width [2].

    - LAB MEDIA: Figure 4E. Video editor: Highlight the horizontal measurement label showing 3,711.08 micrometers.

    - LAB MEDIA: Figure 4E. Video editor: Highlight the vertical measurement label showing 4,258.97 micrometers.

Authors: Please create screen capture videos of the shots labeled as SCREEN, write a screenshot summary, and upload the files to your project page as soon as possible:

Watch this video and apply the settings while capturing the screen to obtain high-quality videos: https://www.youtube.com/watch?v=Y67dM1kKcTE

NOTE to the Authors:

You have two options for filming and submitting the SCREEN footage:

Option 1: Uploading Separate Clips (Highly Recommended)

Please upload a separate video file for each SCREEN shot (tagged as SCREEN), naming the file according to the shot number (e.g., 2.4.3, 1.5.1, 3.2.1, 3.1.3, etc.).

- Each clip must be a maximum of 20 to 25 seconds to match the voice narration.

- If an action takes longer, provide only the best, most representative 20-25 second segment.

- Please do not provide longer clips as we won’t be able to use them.

Option 2: Uploading a Single Continuous Video

If you prefer to record all steps together and upload a single video file, that is acceptable. In this case, you must write the precise timestamp for each shot within the script.

For example, if the action described in shot 2.13.1 is present in the file xxx.mp4 and occurs between timestamps 00:30 and 00:45 , then write the following in the script after each shot description or as a comment bubble.

(write the file name and timestamp after each shot): [File name] [Start Time]-[End Time]

- Example 	2.13.1  SCREEN: performing ...........action. xxx.mp4 00:30-00:45

2.13.2, SCREEN: cutting the…..........action. xxx.mp4 01:10-01:20

- The duration between the start and end times for each shot must be limited to 20 to 25 seconds.

- If a shot is longer than 25 seconds, choose two short segments (one at the beginning and one at the end) that collectively do not exceed 25 seconds.

- Example: 3.1.1 SCREEN: inserting a needle... xxx.mp4 00:00-00:10 and 02:30-02:40