TITLE:

Dot Blot Assay for Detecting Global N6-Methyladenosine RNA Modification Levels

AUTHORS AND AFFILIATIONS:

Suxia Guo1,2*, Junli Chang1,2*, Xiaobo Wang1,2, Fulai Zhao1,2, Peng Zhao1,2, Binghan Yan1,2, Chujie Zhou1,2, Junjie Tong1,2, Xinyu Zhang1,2, Yuping Hong1,2, Xingyuan Sun1,2#, Yanping Yang1,2#

1Longhua Hospital, Shanghai University of Traditional Chinese Medicine, Shanghai 200032, China

2Key Laboratory of Theory and Therapy of Muscles and Bones, Ministry of Education, Shanghai 200032, China

*These authors contributed equally

Email addresses of the co-authors:

Suxia Guo 		(15738356725@163.com)

Junli Chang 		(changjl2008@aliyun.com)

Xiaobo Wang 		(wangxiaobo920310@163.com)

Fulai Zhao 		(13407152665@163.com)

Peng Zhao 		(pengzhao@shutcm.edu.cn)

Binghan Yan 		(12024110@shutcm.edu.cn)

Chujie Zhou 		(zcj981016@163.com)

Junjie Tong 		(1091394237@qq.com)

Xinyu Zhang 		(m15853095133@163.com)

Yuping Hong 		(Paddington9580@outlook.com)

#Corresponding authors:

Xingyuan Sun 		(sxy13407137854@163.com)

Yanping Yang 		(yanpingyangks@163.com)

KEYWORDS:

N6-methyladenosine, Dot blot, Noncoding RNAs, Osteosarcoma

SUMMARY:

Here, we present a protocol to semi-quantitatively assess global m⁶A levels using dot blot. Total RNA is extracted, denatured, spotted on a nylon membrane, probed with anti-m⁶A antibody, and visualized by chemiluminescence. Signal intensity, quantified by ImageJ grayscale analysis, reflects relative methylation abundance, providing a reproducible workflow for research.

ABSTRACT:

N6-methyladenosine (m⁶A) is the most abundant internal modification in eukaryotic messenger RNA (mRNA) and serves as a key regulator of post-transcriptional gene expression. Methods for investigating m⁶A can be applied at multiple levels of resolution, including global quantification, nucleotide-specific detection, and analysis of particular transcripts of interest. Among these, the dot blot assay provides a straightforward, rapid, and cost-effective approach for semi-quantitative evaluation of global m⁶A modification levels. In this assay, cells are first processed to extract total RNA, which is then diluted and denatured. The RNA samples are spotted onto a nylon membrane, probed with an anti-m⁶A antibody, and visualized by chemiluminescence, with signal intensity indicating the relative abundance of methylation. Finally, quantification and comparison of signal intensities are performed by measuring grayscale values with ImageJ. Compared with sequencing or mass spectrometry-based methods, dot blot requires minimal instrumentation and technical expertise, making it particularly suited for routine screening, preliminary functional studies, and comparative analyses. This protocol provides a detailed and reproducible workflow for implementing the m⁶A dot blot assay in both basic research and translational applications.

INTRODUCTION:

N6-methyladenosine (m⁶A) is the most prevalent internal modification in eukaryotic messenger RNA (mRNA) and plays an essential role in post-transcriptional regulation, including RNA stability, splicing, degradation, translation, and export1–3. Dysregulation of m⁶A modification has been implicated in diverse physiological and pathological processes, including tumor initiation, progression, and metastasis4,5. In osteosarcoma, elevated m⁶A levels have been observed in both cell lines and tissues, suggesting a role for aberrant RNA methylation in disease biology6,7. Therefore, systematic assessment of global m⁶A abundance, together with its changes in osteosarcoma-associated transcripts and regulatory pathways, is essential for clarifying the biological mechanisms and clinical implications of RNA methylation in osteosarcoma.

Several analytical methods are available to study m⁶A modifications8,9. Liquid chromatography-mass spectrometry/mass spectrometry (LC-MS/MS)10 and enzyme-linked immunosorbent assay (ELISA)-based assays11 are both used to measure global m⁶A levels. The former offers high sensitivity but requires specialized equipment and expertise, while the latter gives relative m6A levels and contributes to a higher cost than the dot blot assay. MeRIP-qPCR enables targeted assessment of specific transcripts, but it is strongly influenced by immunoprecipitation efficiency12. MeRIP-seq13, m⁶A-seq14, and m⁶A-SAC-seq15 are sequencing-based approaches, which can precisely map m⁶A methylation sites; however, they are expensive and require extensive bioinformatics analysis.

The m⁶A dot blot assay offers a straightforward, rapid, and cost-effective method for determining global m⁶A modification levels in RNA. As a semi-quantitative immunoassay, its primary advantage lies in generating an overall view of m⁶A abundance without the need for specialized equipment or complex bioinformatic analysis. This makes the m⁶A dot blot assay a valuable tool for routine screening, preliminary functional validation, and clinical research, as well as a practical complement to advanced sequencing and mass spectrometry-based approaches. The present protocol offers a detailed step-by-step workflow, ensuring reproducible detection and broad applicability.

PROTOCOL:

NOTE: The protocol is organized into three sections: RNA preparation, dot blot assay, and quantification. Table of Materials summarizes the required materials, Supplementary Table 1 details the reagent formulations, and Figure 1 illustrates the experimental workflow.

- RNA preparation

  - Cell preparation

    - Take out 143B cells with stable SNHG21-knockdown (shSNHG21), negative control cells (shCtrl), and cells treated with 3-deazaadenosine (3-DAA; [100 µM, 24 h]) and meclofenamic acid (MA; [100 µM, 24 h]) from the 37 °C incubator.

    - Verify that the cell confluence is approximately 80–90% and the cells are in good condition under a microscope.

    - Remove the culture medium, then rinse the cells twice with 1 mL of PBS.

    - Remove PBS, then add 1 mL of trypsin per 6 cm dish.

    - Gently shake to distribute the trypsin evenly and incubate for 1 min.

    - Remove the trypsin, then add 1 mL of medium containing 10% FBS to terminate digestion.

    - Pipette the cell suspension several times to disperse the cells.

    - Transfer the cell suspension to a 1.5 mL RNase-free microcentrifuge tube.

NOTE: Label the tube before use. Steps 1.1.3 through 1.1.8 must be performed under sterile conditions.

    - Centrifuge at 1000 × g for 3 min, then remove the supernatant completely.

  - RNA extraction

NOTE: RNA extraction is performed using EZ-press RNA purification kit.

    - Add 600 μL of lysis buffer (present in the RNA purification kit) to the pellet and vortex thoroughly to completely lyse the cells, and let it stand for 5 min.

NOTE: Approximately 2 × 106 cells are used for RNA isolation.

    - Add an equal volume of 100% ethanol and vortex thoroughly.

    - Add 600 μL of the mixture onto a spin column assembled with a collection tube.

NOTE: Assemble the spin column and collection tube before use, and label the tube before use.

    - Centrifuge at 12,000 × g for 1 min and discard the liquid in the collection tube.

NOTE: Avoid contact between the column bottom and the liquid or the operator.

    - Repeat the above steps 1.2.3–1.2.4 for the remaining mixture.

    - Add 500 μL of wash buffer (present in the RNA purification kit) to each spin column, let it stand at room temperature for 1 minute.

    - Centrifuge at 12,000 × g for 1 min and discard the liquid in the collection tube.

    - Centrifuge the empty column again at 12,000 × g for 1 min to remove residual liquid.

    - Transfer the spin column to a new 1.5 mL RNase-free tube, open the lid, and air-dry for 2 min.

NOTE: Label the tube before use.

    - Add 25–50 μL of elution buffer (Enzyme-free water) to the center of the spin column.

    - Incubate at room temperature for 2 min.

    - Centrifuge at 12,000 × g for 1 min to elute RNA.

    - Discard the spin column and place the RNA on ice.

NOTE: Store RNA at -80 °C until use.

  - RNA dilution

    - Measuring RNA concentration of 143B shCtrl and 143B shSNHG21 cells using a DS-11 spectrophotometer.

    - Prepare 1 μg of total RNA from each cell line.

    - Serially dilute RNA to 400 ng, 200 ng, and 100 ng with diethyl pyrocarbonate (DEPC)-treated water.

NOTE: Adjust concentration gradient as needed.

  - RNA denaturation

    - Heat diluted RNA samples at 95 °C for 3 min.

    - Immediately transfer the samples to ice to cool.

NOTE: Denatured RNA can be stored at 4 °C for up to 1 week.

- Dot blot

  - RNA spotting

    - Cut the positively charged nylon membrane to the desired size.

    - Draw reference lines and label the membrane with the sample name.

    - Mix the RNA thoroughly by gentle vortexing or pipetting.

    - Spot 1–2 μL of each RNA sample onto the designated positions on the membrane.

NOTE: Use RNase-free pipette tips at all times. Avoid direct contact between the pipette tip and the membrane. Allow RNA to diffuse naturally on the membrane. Use a new pipette tip for each sample. Do not exceed 2 μL per spot to prevent irregular diffusion.

  - RNA cross-Linking

    - Air-dry the membrane for 3 min.

    - Perform RNA cross-linking by irradiating the membrane in a UV crosslinker at 254 nm, 120 mJ/cm².

NOTE: Incubate the membrane at 37 °C for 30 min as an alternative option.

    - Wash the membrane with 10 mL of 1x TBST on a rocking platform for 5 min to remove unbound RNA.

  - Membrane blocking

    - Prepare a 5% BSA solution.

NOTE: Prepare this solution fresh before use.

    - Incubate the membrane in the blocking solution at room temperature for 2 h.

  - Antibody incubation

    - Incubate the membrane with anti-m⁶A antibody overnight at 4 °C.

NOTE: Dilute antibody 1:1000 in 5% BSA solution before use. Incubate the membrane on a rocking platform with gentle shaking (50 rpm).

    - Wash the membrane three times with 10 mL of 1x TBST on a rocking platform for 10 min.

    - Incubate the membrane with horseradish peroxidase (HRP)-conjugated secondary antibody for 1 h at room temperature.

NOTE: Dilute antibody 1:1000 in 5% BSA solution before use.

    - Wash the membrane three times with 10 mL of 1x TBST on a rocking platform for 10 min.

  - Chemiluminescence detection

    - Evenly apply the chemiluminescent HRP substrate dropwise onto the membrane.

NOTE: Incubate the membrane with substrate for 1 min at room temperature with gentle rocking.

    - Detect signal using a chemiluminescence imaging system.

    - Use an auto-exposure function in the chemiluminescence imaging system as an initial pre-scan.

NOTE: Accept auto-time only if the brightest signal is less than 65% saturated; otherwise, halve the exposure and reacquire until the peak signal falls within 30–60%.

  - Methylene blue (MB) staining

    - Incubate the membrane in the MB staining solution for 1 min.

    - Wash the membrane three times with 10 mL of 1x TBST on a rocking platform for 5 min, and image as a loading control.

NOTE: Stain the same membrane used for chemiluminescence. Avoid disturbing sediment in the staining solution. Wear protective clothing and a mask, as MB is difficult to remove.

    - Destain the MB-blotted membrane after imaging using a solution containing 1% SDS on a rocking platform for 15 min to facilitate documentation or potential re-probing.

- Quantification

  - Grayscale value measurement

    - Import the image into the ImageJ software.

    - Convert the image to 8-bit format using Image > Type > 8-bit.

    - Subtract background with Process > Subtract Background.

NOTE: Radius: 50.0 pixels, check Light background.

    - Use the Rectangle tool to select the analysis area.

    - Define lanes sequentially with Analyze > Gels > Select First Lane.

    - Generate intensity profiles using Analyze > Gels > Plot Lanes and measure peaks.

    - Measure the grayscale values of m⁶A and MB, respectively.

  - Copy the data into a table for analysis.

  - Compare signal intensities to assess global m⁶A modification levels.

REPRESENTATIVE RESULTS:

To rigorously validate the performance of the dot blot assay and to examine the role of SNHG21 in regulating global m⁶A levels, 143B cells were subjected to pharmacological perturbations that either suppress or enhance m⁶A methylation and monitored m⁶A abundance in both directions.

Dot blot quantification of global m⁶A abundance

We first evaluated the ability of this assay to detect reductions in m⁶A levels by inhibiting the m⁶A methylation (Figure 2). As shown in Figure 2A, treatment with the methyltransferase inhibitor 3-DAA (100 µM, 24 h) markedly decreased the global m⁶A signal. Knockdown of SNHG21 alone produced a comparable reduction in baseline m⁶A levels, and additional 3-DAA treatment further decreased the signal in shSNHG21 cells. These results demonstrate that the assay reliably detects progressive decreases in global m⁶A abundance (Figure 2A,C,D).

We next examined whether the assay could sensitively capture increases in m⁶A levels by blocking the demethylation pathway (Figure 3). As shown in Figure 3A, treatment with the demethylase inhibitor MA (100 µM, 24 h) significantly elevated global m⁶A levels. Notably, despite their lower basal m⁶A signal, shSNHG21 cells exhibited a robust increase in m⁶A upon MA treatment, confirming the capacity of this assay to detect upward changes across a broad dynamic range (Figure 3A,C,D).

RNA quality correlates linearly with chemiluminescence signal

Grayscale intensities of the chemiluminescent signals were quantified using ImageJ and analyzed with GraphPad software. The dot blot signal increased proportionally with RNA input, yielding linear regression coefficients (R²) ranging from 0.93 to 0.99 across the same group (Supplementary File 1). One-way ANOVA revealed statistically significant differences among the tested RNA concentration groups in the same group (P < 0.05; Figure 2C, Figure 3C, and Supplementary File 1). At an RNA input of 400 ng, differences between experimental groups remained statistically significant (P < 0.05; Figure 2D and Figure 3D).

Grayscale intensities of the chemiluminescent signals were quantified using ImageJ and analyzed with GraphPad software. MB staining confirmed equal RNA loading within each concentration gradient (P > 0.05; Figure 2B, Figure 3B, and Supplementary File 1). However, because of the dark background in MB staining, which interferes with quantitative normalization, normalization is no longer performed.

Specificity control

To assess signal specificity, a technical control was included in which membranes were incubated with the HRP-conjugated secondary antibody alone. No detectable chemiluminescent signal was observed under these conditions (Figure 4), indicating that the detected signal is strictly dependent on the primary anti-m⁶A antibody and not attributable to non-specific binding or artifacts in the detection system.

Collectively, these results demonstrate that the dot blot assay specifically, linearly, and sensitively detects both increases and decreases in global m⁶A levels, supporting its utility as a rapid, semi-quantitative screening tool for studies in RNA epigenetics.

FIGURE AND TABLE LEGENDS:

Figure 1: m⁶A dot blot assay flow chart. Created with BioRender.com.

Figure 2: Dot blot analysis of global m⁶A levels following SNHG21 knockdown and 3-DAA treatment. (A) 143B shCtrl and shSNHG21 cells were treated with vehicle (0.1% DMSO) or the m⁶A methyltransferase inhibitor (3-DAA; 100 µM) for 24 h. Total RNA was isolated, serially diluted (400, 200, and 100 ng), spotted onto a nylon membrane, and probed with an anti-m⁶A antibody. (B) MB staining of the membrane confirms equal RNA loading across each concentration gradient. (C) Quantification of chemiluminescent signals demonstrates a linear relationship between m⁶A signal intensity and RNA input (mean ± SD, n = 3). (D) Quantitative comparison of m⁶A signal intensity at 400 ng RNA input (mean ± SD, n = 3). Statistical significance was determined by one-way ANOVA followed by Tukey’s multiple-comparison test (*P < 0.05, **P < 0.01, ***P < 0.001).

Figure 3: Dot blot analysis of global m⁶A levels following SNHG21 knockdown and MA treatment. (A) 143B shCtrl and shSNHG21 cells were treated with vehicle (0.1% DMSO) or the m⁶A demethylase inhibitor (MA; 100 µM) for 24 h. Total RNA was isolated, serially diluted (400, 200, and 100 ng), spotted onto a nylon membrane, and probed with an anti-m⁶A antibody. (B) MB staining of the membrane confirms equal RNA loading across each concentration gradient. (C) Quantification of chemiluminescent signals demonstrates a linear relationship between m⁶A signal intensity and RNA input (mean ± SD, n = 3). (D) Quantitative comparison of m⁶A signal intensity at 400 ng RNA input (mean ± SD, n = 3). Statistical significance was determined by one-way ANOVA followed by Tukey’s multiple-comparison test (*P < 0.05, **P < 0.01, ***P < 0.001).

Figure 4: Secondary antibody–only control for dot blot specificity. (A) 143B shCtrl and shSNHG21 cells were treated with vehicle (0.1% DMSO) or the m⁶A methyltransferase inhibitor (3-DAA; 100 µM) for 24 h. Total RNA was isolated, serially diluted (400, 200, and 100 ng), and spotted onto a nylon membrane. Membranes were incubated with the HRP-conjugated secondary antibody alone, without the primary anti-m⁶A antibody. No detectable chemiluminescent signal was observed, confirming the absence of non-specific binding. (B) MB staining of the membrane confirms equal RNA loading across each concentration gradient.

Supplementary Table 1: Reagent formulations.

Supplementary File 1: Statistical analysis and results for Figure 2B,C, and Figure 3B,C.

DISCUSSION:

In this study, knockdown of SNHG21 in osteosarcoma 143B cells resulted in reduced m⁶A signal intensity, demonstrating the value of this assay for evaluating whether genetic modifications affect RNA methylation. Additionally, this assay serves as a tool for multiple applications, including: 1) Functional studies and mechanistic validation: This assay can be used for rapid preliminary screening to determine whether global m⁶A levels are associated with specific biological processes, such as cell differentiation, stress response, or tumor progression16. It also serves to evaluate the functional roles of m⁶A regulators (“Writers,” “Erasers,” and “Readers”) by assessing whether their manipulation leads to measurable changes in overall methylation abundance17,18. 2) Analysis of specific RNA populations: This assay enables detection of m⁶A enrichment within defined RNA subsets, including mRNA, lncRNA, or rRNA, thereby providing insights into RNA class-specific methylation patterns19. 3) Clinical and translational applications: It offers a practical approach for comparing global m⁶A levels in clinical samples, such as tumor versus adjacent normal tissues, supporting biomarker development and disease association studies20. 4) Complement to high-resolution techniques: Serves as a preparatory or supportive experiment for advanced methods such as MeRIP-seq, LC-MS/MS, providing a rapid and economical overview before committing to resource-intensive analyses8. Overall, the m⁶A dot blot assay provides a versatile, efficient, and economical platform for global m⁶A assessment, making it a valuable tool for preliminary screening, functional validation, clinical research, and as a complement to advanced sequencing- or mass spectrometry-based approaches.

Several technical considerations are crucial for reproducible and accurate results. First, a uniform spot size requires accurate RNA dilution, calibrated pipettes, and consistent sample loading speed. Second, Nylon membranes are recommended for their strong nucleic acid binding capacity, low background, and mechanical stability, providing excellent RNA retention21. Third, MB staining provides a simple and effective loading control, reflecting total RNA input and enabling reliable normalization across samples22. Attention to these steps ensures data quality and interpretability. In addition, the dilution series of RNA input should demonstrate a linear relationship with the signal intensity detected on the membrane. This linearity validates the accuracy of the experimental procedure and meets a fundamental requirement for robust semi-quantitative analysis.

While strict adherence to the key technical considerations outlined above is essential to ensure assay accuracy, several experimental parameters remain flexible and may be optimized according to specific experimental requirements. For instance, although an EZB kit was employed for RNA extraction in the present protocol, the dot blot assay itself is not restricted to a particular extraction method; any approach that yields high-quality, intact RNA is suitable23. The MB staining step may be performed either as described in this protocol or repositioned to occur after the membrane cross-linking step (i.e., following step 2.2.3). Moreover, to minimize background signals and enhance the signal-to-noise ratio, several key detection parameters can be further optimized as needed. These include the RNA loading amount and dilution range, the membrane cross-linking strategy (e.g., UV irradiation or baking, together with the corresponding temperature and duration), the optimal working concentration of the antibody, the incubation times for blocking, primary and secondary antibodies, and MB staining, as well as the number and duration of membrane washing steps.

The dot blot assay has several inherent limitations. It is semi-quantitative, lacks single-nucleotide resolution, and does not provide information on modification patterns within individual transcripts24. Its sensitivity is also influenced by RNA quality, loading consistency, and antibody specificity, restricting its application to global rather than site-specific analyses25,26.

In conclusion, although the m⁶A dot blot assay cannot substitute for high-resolution sequencing or mass spectrometry, its simplicity, speed, and low cost make it well-suited for rapid assessment of m⁶A abundance. It serves as a practical and accessible method for preliminary screening and comparative studies, and it complements analytical techniques in RNA epigenetics research.

ACKNOWLEDGMENTS:

This work was supported by grants from the National Nature Science Foundation (82174408, 82374477, and 82474535). Figure 1 was created with BioRender.com.

DISCLOSURES:

The authors report no conflicts of interest.

REFERENCES:

- Wang, X. et al. N6-methyladenosine-dependent regulation of messenger RNA stability. Nature. 505 (7481), 117–120 (2014).

- Zhang, Z., Wei, W., Wang, H., Dong, J. N6-methyladenosine-sculpted regulatory landscape of noncoding RNA. Front Oncol. 11 (1), 743990 (2021).

- Hsu, P. J. et al. The RNA-binding protein FMRP facilitates the nuclear export of N6-methyladenosine-containing mRNAs. J Biol Chem. 294 (52), 19889–19895 (2019).

- Chen, X.-Y., Zhang, J., Zhu, J.-S. The role of m6A RNA methylation in human cancer. Mol Cancer. 18 (1), 103 (2019).

- Li, Y. et al. Molecular characterization and clinical relevance of m6A regulators across 33 cancer types. Mol Cancer. 18 (1), 137 (2019).

- Hu, Y., Zhao, X. Role of m6A in osteoporosis, arthritis and osteosarcoma (review). Exp Ther Med. 22 (3), 926 (2021).

- Zhang, Y. et al. N6-methyladenosine (m6A) modification in osteosarcoma: expression, function and interaction with noncoding RNAs–an updated review. Epigenetics. 18 (1), 2260213 (2023).

- Zhu, W. et al. Detection of N6-methyladenosine modification residues (review). Int J Mol Med. 43 (6), 2267–2278 (2019).

- Wang, Y., Jia, G. Detection methods of epitranscriptomic mark N6-methyladenosine. Essays Biochem. 64 (6), 967–979 (2020).

- Stejskal, S. et al. Global analysis by LC-MS/MS of N6-methyladenosine and inosine in mRNA reveal complex incidence. RNA. 31 (4), 514–528 (2025).

- Ensinck, I. et al. m6A-ELISA, a simple method for quantifying N6-methyladenosine from mRNA populations. RNA. 29 (5), 705–712 (2023).

- Liu, J. et al. m6A mRNA methylation regulates AKT activity to promote the proliferation and tumorigenicity of endometrial cancer. Nat Cell Biol. 20 (9), 1074–1083 (2018).

- Zhang, M., Li, Q., Xie, Y. A Bayesian hierarchical model for analyzing methylated RNA immunoprecipitation sequencing data. Quant Biol (Beijing). 6 (3), 275–286 (2018).

- Dominissini, D. et al. Topology of the human and mouse m6A RNA methylomes revealed by m6A-seq. Nature. 485 (7397), 201–206 (2012).

- Mishra, T., Phillips, S., Zhao, Y., Wilms, B., He, C., Wu, L. Epitranscriptomic m6A modifications during reactivation of HIV-1 latency in CD4+ T cells. mBio. 15 (11), e0221424 (2024).

- Li, J. et al. METTL16 promotes lipid metabolic reprogramming and colorectal cancer progression. Int J Biol Sci. 21 (11), 4782–4797 (2025).

- Ren, F., Cai, Y., Song, Y. OTUD7B stabilization by METTL14-mediated m6A methylation drives HIF-1α expression in esophageal squamous cell carcinoma. Oncol Res. 33 (8), 2055–2074 (2025).

- Chen, Y. et al. WTAP facilitates progression of hepatocellular carcinoma via m6A-HuR-dependent epigenetic silencing of ETS1. Mol Cancer. 18 (1), 127 (2019).

- Gu, Y. et al. Upregulation of circGDI2 inhibits tumorigenesis by stabilizing the expression of RNA m6A demethylase FTO in oral squamous cell carcinoma. Noncoding RNA Res. 10 (1), 140–152 (2025).

- Ura, Y. et al. Quantitative dot blot analyses of blood‐group‐related antigens in paired normal and malignant human breast tissues. Int J Cancer. 50 (1), 57–63 (1992).

21.	Reed, K. C., Mann, D. A. Rapid transfer of DNA from agarose gels to nylon membranes. Nucleic Acids Res. 13 (20), 7207–7221 (1985).

22.	Herrin, D. L., Schmidt, G. W. Rapid, reversible staining of northern blots prior to hybridization. Biotechniques. 6 (3), 196–197, 199–200 (1988).

23.	Rio, D. C., Ares, M., Hannon, G. J., Nilsen, T. W. RNA: A Laboratory Manual. Cold Spring Harbor Laboratory Press, Cold Spring Harbor, NY (2010).

24.	Sambrook, J., Russell, D. W. Molecular Cloning: A Laboratory Manual. (3rd ed.). Cold Spring Harbor Laboratory Press, Cold Spring Harbor, NY (2001).

25.	Helm, M., Motorin, Y. Detecting RNA modifications in the epitranscriptome: Predict and validate. Nat Rev Genet. 18 (5), 275–291 (2017).

26.	Meyer, K. D., Jaffrey, S. R. The dynamic epitranscriptome: N6-methyladenosine and gene expression control. Nat Rev Mol Cell Biol. 15 (5), 313–326 (2014).