# Submission ID #: 69868

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=21309788

# Title: A Multilabel Single Molecule Localization Microscopy Protocol for Investigation of Chromatin in the Dense Nuclear Environment

# Authors and Affiliations:

# Nicolas Acosta1,2*, Ruyi Gong1,2*, Yuanzhe Su1,2, Jane Frederick 1,2, Karla Medina, Kiana Mohammadian1, Luay Almassalha1,2,3, Geng Wang1,2*, Vadim Backman1,2

# 1Department of Biomedical Engineering, Northwestern University

# 2Center for Physical Genomics and Engineering, Northwestern University

# 3Department of Gastroenterology and Hepatology, Northwestern Memorial Hospital

# *These authors contributed equally to this work

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Geng Wang  		(wanggeng@northwestern.edu)

Vadim Backman	(v-backman@northwestern.edu)

# Email Addresses for All Authors:

Nicolas Acosta 		(nicolasacosta2026@u.northwestern.edu)

Ruyi Gong 		(ruyigong2025@u.northwestern.edu)

Yuanzhe Su 		(yuanzheSu2024@u.northwestern.edu)

Jane Frederick 	(janefrederick2021@u.northwestern.edu)

Karla Medina 		(karlamedina2026@u.northwestern.edu)

Kiana Mohammadian 	(kianaMohammadian2023@u.northwestern.edu)

Luay Almassalha 	(luay-Almassalha@northwestern.edu)

Geng Wang  		(wanggeng@northwestern.edu)

Vadim Backman	(v-backman@northwestern.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 25

Number of Shots: 55

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter full author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Preparation of Bovine Serum Albumin Blocking Buffer

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, weigh bovine serum albumin so that the final concentration in the required buffer volume for the experiment is 3 percent [1]. Add the bovine serum albumin to a centrifuge tube [2].

    - WIDE: Talent standing at the laboratory bench weighing bovine serum albumin on a balance.

    - Talent adding the weighed bovine serum albumin into a centrifuge tube.

  - Tilt the centrifuge tube to a 45 degrees angle to spread the bovine serum albumin crystals along the tube wall [1]. Add PBS to the tube to prevent crystal clumping [2].

    - Talent tilting the centrifuge tube to approximately 45 degrees so the bovine serum albumin crystals spread along the wall.

    - Talent adding PBS into the tilted centrifuge tube.

  - Place the centrifuge tube at 4 degrees Celsius until all bovine serum albumin crystals dissolve [1-TXT]. Once the crystals are completely dissolved, add Triton X-100 to the solution [2]. If crystals remain, pipette the solution up and down several times to slowly mix the solution without forming bubbles [3].

    - Talent placing the centrifuge tube containing the solution into a refrigerator set to 4 degrees Celsius. TXT: Avoid shaking or vortexing the tube

    - Talent adding Triton X-100 into the centrifuge tube containing the dissolved bovine serum albumin solution.

    - Talent gently pipetting the solution up and down inside the centrifuge tube.

- Immunofluorescence Cell Staining Procedure

Demonstrator: Click here to enter name of demonstrator(s)

AUTHORS: Please specify the volumes of the solutions added and the concentration of the solutions where necessary

  - Remove the live cells from the incubator [1]. Remove the cell culture medium from the dish [2-TXT].

    - WIDE: Talent opening the incubator and removing a dish containing live cells.

    - Talent aspirating the cell culture medium from the dish. TXT: Discard medium into a biohazard waste container

  - Now add enough PBS to cover the cells [1]. Gently swirl the dish to wash the cells [2]. Then pipette out the PBS [3].

    - Talent pipetting PBS into the dish until the cell surface is covered.

    - Talent gently swirling the dish to wash the cells.

    - Talent aspirating the PBS from the dish.

  - Next, pipette enough fixative solution to cover the cells [1]. Leave the cells to fix for 10 minutes [2].

    - Talent pipetting fixative solution into the dish to fully cover the cells.

    - Talent placing the dish aside on the bench to allow fixation.

  - Using a balance, weigh sodium borohydride for the quenching solution [1]. Add the sodium borohydride to a centrifuge tube [2].

    - Talent weighing sodium borohydride on a balance.

    - Talent transferring the sodium borohydride into a centrifuge tube.

  - Pipette out the fixative solution from the dish [1]. Then add enough PBS to the dish to cover the cell surface [2]. Place the dish on a shaker for 5 minutes to wash the cells [3].

    - Talent aspirating the fixative solution from the dish.

    - Talent pipetting PBS into the dish.

    - Talent placing the dish onto a laboratory shaker.

  - Now add PBS to the sodium borohydride in the centrifuge tube [1]. Vortex the tube to mix the quenching solution [2].

    - Talent pipetting PBS into the centrifuge tube containing sodium borohydride.

    - Talent vortexing the centrifuge tube.

  - Remove the dish from the shaker [1] and discard the PB from the dish [2].

    - Talent removing the dish from the shaker.

    - Talent aspirating PBS from the dish.

  - Add enough quenching solution to cover the surface of the dish [1]. Then place the dish on a shaker for 7 minutes to quench autofluorescence in the cells [2]. Discard the remaining quenching solution in the centrifuge tube into the appropriately labeled liquid chemical waste container [3].

    - Talent pipetting quenching solution into the dish to cover the cell surface.

    - Talent placing the dish onto the shaker.

    - Talent pouring the remaining quenching solution from the centrifuge tube into a labeled liquid chemical waste container.

  - Remove the dish from the shaker [1]. Remove the quenching solution from the dish [2].

    - Talent removing the dish from the shaker.

    - Talent aspirating the quenching solution from the dish.

  - Then add enough PBS to the dish to cover the surface [1]. Place the dish on a shaker for 5 minutes to wash the cells [2]. After incubation, remove the PBS before repeating the PBS wash 2 more times [3].

    - Talent pipetting PBS into the dish.

    - Talent placing the dish onto the shaker.

    - Talent aspirating PBS from the dish.

  - Now add enough blocking buffer to the dish to cover the surface [1]. Incubate the dish on a shaker for at least 1 hour to permeabilize the cell membranes and block binding sites [2].

    - Talent pipetting blocking buffer into the dish to fully cover the cells.

    - Talent placing the dish onto the shaker.

  - Prepare the primary antibody staining solution according to the recommended concentration [1-TXT]. Remove the required volume from the blocking buffer stock [2]. Transfer this volume to a new centrifuge tube to prepare the staining solution [3].

    - Talent preparing reagents for the primary antibody staining solution at the bench. TXT: Calculate total staining volume by adding 0.5 mL to volume required for cell coverage

    - Talent pipetting blocking buffer from a stock container.

    - Talent transferring the measured blocking buffer into a new centrifuge tube.

  - Add the appropriate volume of primary antibody stock to the blocking buffer to obtain the correct final concentration [1].

    - Talent pipetting primary antibody stock into the centrifuge tube containing blocking buffer.

  - Now replace, replace the blocking buffer with enough primary antibody staining solution to cover the surface of the dish [1-TXT].

    - Talent pipetting primary antibody staining solution into the dish. TXT: Incubate on shaker for 1 - 2 h

    - Talent placing the dish onto the shaker.

  - After 2 hours,  replace the primary antibody solution with washing [1]. Then place the dish on a shaker for 5 minutes to wash the cells [2]. Repeat the washing buffer wash two additional times for a total of 3 washes [3].

    - Talent pipetting washing buffer into the dish.

    - Talent placing the dish onto the shaker.

    - Talent repeating the washing buffer washing.

  - Prepare the secondary antibody staining solution according to the recommended concentration [1]. Calculate the total staining solution volume by adding 0.5 milliliters to the volume required to cover the cells [2].

    - Talent preparing reagents for the secondary antibody staining solution at the bench.

    - Talent calculating the required staining solution volume.

  - Transfer the calculated volume from the blocking buffer into a new centrifuge tube to prepare the staining solution [1]. Then add the appropriate volume of secondary antibody stock to the blocking buffer to obtain the correct final concentration [2].

    - Talent transferring the blocking buffer into a new centrifuge tube.

    - Talent pipetting secondary antibody stock into the centrifuge tube.

  - Wrap the centrifuge tube containing the secondary antibody staining solution with aluminum foil until ready for use [1].

    - Talent wrapping the centrifuge tube with aluminum foil.

  - Add enough secondary antibody staining solution to the dish to cover the surface [1]. Place the dish on a shaker for 40 minutes to attach fluorophores to the labeled cellular targets [2]. Cover the dish with aluminum foil to prevent fluorophore bleaching [3].

    - Talent pipetting secondary antibody staining solution into the dish.

    - Talent placing the dish onto the shaker.

    - Talent covering the dish with aluminum foil.

  - After 40 minutes, perform 2 PBS washes as demonstrated earlier [1]. Then add enough PBS to the dish to cover the cell surface before storage [2].

    - Talent pipetting PBS into the dish.

    - Talent placing the dish onto the shaker.

    - Talent pipetting PBS into the dish.

  - Wrap the dish with parafilm to prevent liquid evaporation [1] and then with aluminum foil to prevent fluorophore bleaching [2]. Store the wrapped dish at 4 degrees Celsius until ready to image [3].

    - Talent sealing the dish with parafilm.

    - Talent wrapping the sealed dish with aluminum foil.

    - Talent placing the wrapped dish into a refrigerator set to 4 degrees Celsius.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 192

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - The sequential staining protocol produced representative three-color chromatin dSTORM (D-Storm) images for multiple cell lines including BJ (B-J0 fibroblast [1], HeLa(He-Lah) [2], and MCF10A (M-C-F-Ten-A) cells [3].

    - LAB MEDIA: Figure 1A.

    - LAB MEDIA: Figure 1B.

    - LAB MEDIA: Figure 1C.

  - The analysis pipeline was evaluated using simulated datasets representing normal, uniform, toroidal, and random spatial distributions anchored to heterochromatin cluster positions [1].

    - LAB MEDIA: Figure 2C. Video editor: Show the two plots titled “Normal Toroidal” and “Normal - Random.”

  - Distinct spatial organization patterns produced characteristic distance histogram profiles when localization coordinates were analyzed relative to heterochromatin centroids [1].

    - LAB MEDIA: Figure 2D. Video editor: Show the three histograms

  - Simulated spatially segregated markers in a normal-toroidal configuration produced minimal joint density, resulting in a flat distribution profile [1]. Simulated overlapping marker patterns in a normal-random configuration produced decreasing joint density with increasing distance from reference points [2].

    - LAB MEDIA: Figure 2E. Video editor: Highlight the blue curve labeled “Toroidal Marker 2.”

    - LAB MEDIA: Figure 2E. Video editor: Highlight the orange curve labeled “Random Marker 2.”

  - DBSCAN-based identification of heterochromatin domains enabled categorization into small, medium, and large domains based on effective radius [1]. Quantitative distance analysis showed that RNA Polymerase II localized near heterochromatin boundaries across small, medium, and large domains [2].

    - LAB MEDIA: Figure 3A.

    - LAB MEDIA: Figure 3A. Video editor: Highlight the central peaks of the three histograms

  - Quantitative distance analysis showed that H3K27ac localized near heterochromatin boundaries across small, medium, and large domains [1].

    - LAB MEDIA: Figure 3B. Video editor: Highlight the central peaks of the three histograms labeled “Small,” “Medium,” and “Large.”

  - Joint density analysis showed peak H3K27ac (H-Three-K-Twenty-Seven-A-C) and RNA Polymerase II (Two) co-localization just outside heterochromatin domain boundaries [1].

    - LAB MEDIA: Figure 3I. Video editor: Highlight the tallest peaks in the graph titled “Joint Density RNAP II/H3K27ac.”