# Submission ID #: 69892

# Scriptwriter Name: Deepthi Das

# Project Page Link: https://review.jove.com/files_upload.php?src=21317108

# Title: Hepatitis E Virus Fluorescence Reduction Neutralization Test for Measuring Neutralizing Antibody Titers

# Authors and Affiliations:  Shabnam Ansari1, Umang Berry1, Shalimar2, Baibaswata Nayak2, Milan Surjit1

1Virology Laboratory, Centre for Virus research, therapeutics and vaccines, Translational Health Science and Technology Institute, NCR Biotech Science Cluster

2Department of Gastroenterology, All India Institute of Medical Sciences

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Milan Surjit 		milan@thsti.res.in

# Email Addresses for All Authors:

# shabnam@thsti.res.in

umangberry@thsti.res.in

drshalimar@gmail.com

baibaswat@gmail.com

milan@thsti.res.in

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  17

Number of Shots:  55

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Ethics Title Card

This research has been approved by the Institutional Ethics Committee (IEC) at the All India Institute of Medical Sciences (AIIMS)

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Hepatitis E Virus (HEV) Infection and Immunofluorescence Analysis

Demonstrator: Click here to enter name of demonstrator(s)

Authors: Please check the reused shots to ensure they are visually identical to the intended action.

  - To begin, obtain the freshly split Huh7 cells [1]. Place a microscopy-grade glass coverslip in a 12-well plate [2]. After adding 1 milliliter complete media containing DMEM (D-M-E-M) supplemented with 10 percent FBS (F-B-S), seed 0.2 × 106 (Zero point two times ten to the power of six) cells per well [3].

    - WIDE: Talent bringing freshly split Huh7 cells to the workspace.

    - Talent placing a glass coverslip into the 12-well plate.

    - Talent seeding cells into the wells with media.

  - Add 500 microliters serum-free media containing 1.8 × 104 (One point eight times ten to the power of four) genome copies of purified g1-HEV (G-1-H-E-V) to the seeded cells [1]. Incubate at 37 degrees Celsius with 5 percent carbon dioxide for 1 hour [2].

    - Talent adding 500 µL of virus inoculum to the cells.

    - Talent placing the plate into the incubator.

  - Use 500 microliters DPBS (D-P-B-S) to wash the cells three times [1-TXT]. Add 2 milliliters of DMEM supplemented with 2 percent FBS to the wells [2]. Incubate the cells at 37 degrees Celsius with 5 percent carbon dioxide for 72 hours [3].

    - Shot of the talent aspirating the media and washing cells with buffer. TXT: DPBS: Dulbecco’s phosphate-buffered saline

    - Talent adding fresh media to the cells.

    - Talent placing the plate into the incubator.

  - Wash the cells with 500 microliters DPBS [1]. Incubate it for 5 minutes at room temperature [2]. Repeat the wash and incubation cycle three times [3].

    - Talent washing the cells with 500 µL of DPBS. Videographer: Please capture multiple reusable takes of this shot.

    - Talent placing the plate into the incubator.

    - Reuse 2.4.1

  - Add 500 microliters 4 percent paraformaldehyde to the cells and incubate it at room temperature for 20 minutes [1]. Then, perform the wash-incubate cycle as demonstrated earlier [2]. Incubate the cells in buffer for 30 minutes [3].
Authors: Please specify the temperature for the incubation step in [3].

    - Talent adding 4% paraformaldehyde to the cells and leaving it undisturbed.

    - Reuse 2.4.1

    - Talent leaving cells in buffer.

  - Add 250 microliters blocking solution containing 5 percent normal goat serum, 0.5 percent bovine serum albumin, and 0.3 percent Triton X-100 in buffer [1]. Incubate for 1 hour at room temperature [2].

    - Talent adding 250 µL blocking solution to the wells.

    - Talent leaving the plate undisturbed at room temperature.

  - Remove the blocking solution [1] and wash once with 500 microliters buffer [2]. Add 250 microliters of primary antibody solution at 1 to 500 dilution [3]. Incubate the cells overnight at 4 degrees Celsius [4]. Perform the wash-incubate cycle as demonstrated earlier [5].
Authors: Which buffer is used in [2]? Is it DPBS?

    - Talent aspirating blocking solution.

    - Talent washing cells once with 500 µL buffer.

    - Talent adding 250 µL primary antibody

    - Talent placing the plate for cold incubation.

    - Reuse 2.4.1

  - Add secondary antibody at 1 to 1000 dilution and incubate for 1 hour at room temperature [1]. Perform the wash-incubate cycle as demonstrated earlier [2]. Add 10 microliters antifade reagent with DAPI (dapi) onto a glass slide [3]. Mount the coverslip with cells facing the reagent while avoiding air bubbles [4]. Seal the coverslip with nail paint [5].

Authors: Please specify the volume of the secondary antibody added in [2].

    - Talent adding secondary antibody to the cells and leaving it undisturbed.

    - Reuse 2.4.1

    - Talent placing antifade reagent on a glass slide.

    - Talent mounting the coverslip onto the slide with the cells facing the reagent.

    - Talent sealing the edges of the coverslip with nail paint.

  - Set a confocal microscope for fluorescence signal visualization and acquisition [1]. Use 60 times magnification to focus the nuclei corresponding to uninfected cells on the slide [2]. Adjust the threshold voltage and laser to eliminate background fluorescence [3]. Verify absence of signal in control antibody-stained slide [4].

    - Talent operating the confocal microscope.

    - SCREEN: The nuclei are coming into focus at 60 X magnification.

    - SCREEN: Background fluorescence is being eliminated by adjusting threshold and laser settings.

    - SCREEN: Control slide showing no fluorescence.

  - Visualize infected cell slides without altering the parameters [1]. Acquire images at 1028 by 1028 pixels [2].

    - SCREEN: Visualizing fluorescent signals from infected cells under the same parameters.

    - SCREEN: Aquiring the images at 1028 by 1028 pixels

- Fluorescence Reduction Neutralization Test (FRNT)  

Demonstrator: Click here to enter name of demonstrator(s)

  - Obtain the freshly split Huh7 cells [1]. Place a microscopy-grade glass coverslip in a 12-well plate [2]. Seed 0.2 × 106 cells per well in 1 milliliter complete media [3].

    - Reuse 2.1.1

    - Reuse 2.1.2

    - Reuse 2.1.3

  - A day later, obtain anti-ORF2 and rabbit immunoglobulin G antibodies in serum-free medium at a starting concentration of 25 micrograms per milliliter [1]. Perform successive one-to-ten dilutions up to a final dilution of ten to the power of minus five [2] and adjust the final volume to 100 microliters [3]. Add 1.8 × 104 genome copies of purified g1-HEV to each antibody dilution [4].

    - Talent keeping the antibodies at a starting concentration of 25 micrograms per milliliter ready

    - Shot of the talent preparing serial dilutions in tubes.

    - Talent adjusting the final volume in all tubes to 100 µL.

    - Talent adding the virus to each of the dilution tubes.
Authors: Please confirm if 3.2.3 is accurate.

  - Incubate the antibody-virus mixture at 37 degrees Celsius with 5 percent carbon dioxide for 1 hour [1]. Wash the cells with 500 microliters of DPBS [2].

    - Talent placing tubes into the incubator.

    - Talent washing cells with 500 µL of DPBS.

  - Add the antibody-virus mixture to the cells [1]. Incubate at 37 degrees Celsius with 5 percent carbon dioxide for 1 hour [2]. Wash the cells with 500 microliters buffer [3]. After adding DMEM with 2 percent FBS, incubate for 72 hours at 37 degrees Celsius with 5 percent carbon dioxide [4].

    - Talent adding mixture to wells.

    - Talent placing plate into incubator.

    - Talent washing cells with 500 µL of DPBS.

    - Talent placing plate into incubator.

  - Process the cells for immunofluroscence staining as demonstrated previously  [1]. Acquire fluorescent images of five random fields using a 10 times objective at 1028 by 1028 pixels [2]. Save the images in JPEG or TIFF format [3]. Open Image J software [4]. Select Image and choosing Type and clicking 8-bit to convert the RGB image to 8-bit format [5].
Authors: Please specify which format you will be demonstrating in [3].

    - Representative shot of the talent washing the cells with 500 µL DPBS.

    - SCREEN: Fluorescent images of five random fields are being aquired using a 10X objective at 1028 by 1028 pixels.

    - SCREEN: Saving image files in JPEG or TIFF format.

    - SCREEN: Converting image to 8-bit in ImageJ.

  - Adjust the threshold by selecting Image and choosing Adjust, then Threshold, setting the lower level to 40 and upper level to 255 [1]. Select Analyze, choose Analyze Particles and enable display results, clear results, summarize, exclude on edges, and composite regions of interest [2]. Deselect Add to manager, include holes, and overlay, then click Ok to obtain fluorescent spot counts [3].

    - SCREEN: Adjusting the threshold by selecting Image and choosing Adjust, then Threshold; setting the lower level to 40 and upper level to 255

    - SCREEN: Selecting Analyze, choose Analyze Particles, and enable display results, clear results, summarize, exclude on edges, and composite regions of interest.

    - SCREEN: Deselecting Add to manager, include holes, and overlay, then clicking Ok to obtain fluorescent spot counts.

  - Calculate percent neutralization, NT50 (N-T-50) and antilog of Log10 NT50 [1] using the formula provided [2]. Plot the graph showing mean and standard deviation of all fields [3].

    - SCREEN: Spreadsheet showing calculation of percent neutralization, NT50 and antilog of Log10 NT50.

    - TEXT ON A PLAIN BACKGROUND:

% Neutralization = 100 − [(ORF2 - Positive cells in dilution / ORF2 - positive cells 			        in virus control) × 100]

log10(NT50) = log10 D1 + (50 − N1/N2 − N1) X (log10 D2 − log10 D1) 
Where,
D1 = Dilution at which % Neutralization is below 50 
D2 = Dilution at which % Neutralization is above 50 
N1= % Neutralization below 50  
N2= % Neutralization above 50

NT50 = 10log10(NT50)

    - SCREEN: Plotting the graph showing mean and standard deviation of all fields.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 70

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - A significant level of g1-HEV ribonucleic acid was detected in infected cells compared to mock-infected cells [1].

    - LAB MEDIA: Figure 2A. Video editor: Highlight the bar under “G1-HEV Infection: +”, which is much taller than the bar under “-”

  - Immunofluorescence assay using anti-ORF2 antibody confirmed ORF2 expression in the infected Huh7 cells [1].

    - LAB MEDIA: Figure 2B. Video editor: Highlight the bright red signal in the panel labelled “G1-HEV infected”

  - The 50% neutralization titer of the anti-ORF2 antibody was estimated to be 2.1 × 103 [1].

    - LAB MEDIA: Figure 2C. Video editor: Highlight the bar labelled “Anti-ORF2,” which is positioned around 103 on the vertical axis

  - Representative images showed the appearance of mock-infected [1] and g1-HEV-infected Huh7 cells in the fluorescence reduction neutralization test [2].

    - LAB MEDIA: Figure 2D. Video editor: Highlight the panel labelled “Mock Infected”

    - LAB MEDIA: Figure 2D. Video editor: Highlight the panel labelled “G1-HEV infected”