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Author Questionnaire 
1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct. 
☐ Correct 
☐ Incorrect 

2. Interview statements: Which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent. 


[bookmark: Text5]3. Proposed interview filming date: Please indicate the proposed date that your group will self-film interviews: MM/DD/YYYY

DO NOT use this draft script for filming Interviews. Please wait until your script is finalized to begin the filming process. 

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  20
Number of Shots:  27 

Introduction 

Answers to these questions will become interview statements that you will deliver on camera.
· Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.
· Enter the full name of the author who will deliver the statement.
· Speak naturally and avoid reading the lines.
· Limit the length of each statement to 20 words or fewer.
· Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.

INTRODUCTION:
REQUIRED: Summarize your research focus and the main questions it aims to answer.
1.1. Enter full author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.
1.2. Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.
Describe the research contexts or systems in which this protocol can be applied.
1.3. Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:
What does this protocol allow researchers to study or measure?
1. 
1.1. 
1.2. 
1.3. 
1.4. Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.
1.5. Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?
1.6. Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.
1.7. Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.



Ethics Title Card
This research has been approved by the Institutional Animal Care and Use Committee (IACUC) or equivalent body at (insert Institutional Name)	Comment by Poornima  G: Authors: Please provide the approving body name


Protocol  
[bookmark: _Hlk188263998]Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.
· The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.
· Red italics are pronunciation guides indicating how the word will be spoken. 	Comment by Poornima  G: Authors: Please check if the narration in purple is correct and if it matches with the file name and timestamp given below at every step. Please comment if any changes are required.
· Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.
· The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture. 

2. Instrumentation Setup and Preparation for Transurethral Electroporation
Demonstrator: Click here to enter name of demonstrator(s)


2.1. To begin, gather the required equipment for the procedure [1]. Insert the telescope into a bridge with a working channel and insert the instruments into the sheath [2].
2.1.1. WIDE: LAB MEDIA: IMG_5896_indføring_og_kalcium 00:00 – 00:05 Video editor: If possible, please crop out the animal shown at the left or blur it completely. Show the talents with wires and telescope equipment	Comment by Poornima  G: Authors: This will just be a wide angle opening scene
2.1.2. LAB MEDIA: IMG_0003 00:00 – 00:18

2.2. For saline, connect to the irrigation system on the sheath with an intravenous tubing set [1].
2.2.1. LAB MEDIA: IMG_0038 00:00 – 00:06

2.3. After filling the tube with saline and displacing the air, attach the camera head and lighting cable to the telescope base [1].
2.3.1. LAB MEDIA: IMG_0047 00:00 – 00:13

2.4. Connect the sterile insulated cable at the electrode handle to the clean insulated cable at the external pulse generator [1].
2.4.1. LAB MEDIA: IMG_0041 00:03 – 00:14 and IMG_0043 00:00 – 00:04
2.5. Set 8 pulses of 100 microseconds, set frequency to 5000 hertz, and voltage to 400 volts correlating to 1000 volts per centimeter voltage to electrode distance ratio in the designated fields on the screen [1].
2.5.1. LAB MEDIA: IMG_0046 00:00 – 00:03 Video editor: Highlight the box on the right labelled “High Voltage Pulses”



2.6. Remove the cystoscopy needle from the sterile package [1] and adjust the needle-tip length to 2 millimeters [2].
2.6.1. LAB MEDIA: IMG_0022 00:00 – 00:10
2.6.2. LAB MEDIA: IMG_0024 00:01 – 00:04 and IMG_0028 Timestamps: 00:01 – 00:04

2.7. Acquire a bottle of calcium gluconate 100 milligram per milliliter [1] and Fill one or more syringes with the needed calcium gluconate [2].
2.7.1. LAB MEDIA: IMG_0031 00:00 – 00:05
2.7.2. LAB MEDIA: IMG_0031 00:06 – 00:16

2.8. Connect the syringe preferably with luer-lock-type syringe to the distal end of the cystoscopy needle [1].
2.8.1. LAB MEDIA: IMG_0034 00:00 – 00:04


3. Cystoscopic Access, Calcium Injection, and Electroporation Procedure

3.1. Position the pig on the operating table and prepare it for the procedure [1].
3.1.1. TEXT ON PLAIN BACKGROUND:
· Anesthesia: I.v. propofol (0.3-0.5 mg·kg-1) + sevoflurane in 60% O2 for a tidal volume of 10 mL·kg-1
· Place the pig in dorsal lithotomy position at the table edge
· Place drainage pouch underneath
· Clean vulva with soap and water
· Instill urethral gel for disinfection and analgesia

3.2. Open the irrigation system on the resectoscope and confirm saline flow [1].
3.2.1. LAB MEDIA: IMG_0048 00:00 – 00:06

3.3. Insert the resectoscope visually guided through the urethra into the urinary bladder [1].
3.3.1. LAB MEDIA: IMG_5896_indføring_og_kalcium 02:48 – 02:56

3.4. Insert the cystoscopy needle through the working channel of the bridge and visualize the tip of the needle [1]. Perform cystoscopy on the animal and inspect the urinary bladder [2].
3.4.1. LAB MEDIA: IMG_0029 00:00 – 00:16
3.4.2. LAB MEDIA: Gris2 00:43 – 00:50

3.5. Now, inject 0.3 milliliters of 100 milligram per milliliter  calcium gluconate [1] into the bladder wall to produce a vesicle in the bladder wall [2-TXT].
3.5.1. LAB MEDIA: IMG_0035 00:00 – 00:07
3.5.2. LAB MEDIA: Gris2 01:30 – 01:38 TXT: Repeat the calcium injection as needed

3.6. Remove the telescope, leaving the outer protective sheath in the urethra [1].
3.6.1. LAB MEDIA: Gris3 21:40 – 21:47

3.7. Next, Remove the bridge [1] and insert the telescope into the transurethral electrode [2].
3.7.1. LAB MEDIA: IMG_0010 00:00 – 00:10
3.7.2. LAB MEDIA: IMG_0014 00:00 – 00:09

3.8. Insert the telescope and the electrode in the sheath to the bladder under visual guidance [1].
3.8.1. LAB MEDIA: Gris2 08:23 – 08:29

3.9. Place the electrode needle in the tissue covering the area injected with calcium gluconate [1].
3.9.1. LAB MEDIA: Gris4 10:05 – 10:19

3.10. Then, apply the electric pulses either using the foot pedal [1], or let a non-sterile assistant operate the external pulse generator to apply the pulses [2-TXT].
3.10.1. LAB MEDIA: IMG_5900_ny_elek_minus_penetration 10:48 – 10:52
3.10.2. LAB MEDIA: IMG_5900_ny_elek_minus_penetration 09:54 – 10:00 TXT: Mild muscle contractions may appear during pulse delivery

3.11. Confirm completion of the electric pulses and successful pulse delivery by reading the pulses generated by the instrument voltage and the pulses delivered to the tissue current shown on the external pulse generator [1].
3.11.1. LAB MEDIA: IMG_5900_ny_elek_minus_penetration 11:01 – 11:03

3.12. Finally, remove the telescope and electrode when every area injected with calcium gluconate has been electroporated [1-TXT].
3.12.1. LAB MEDIA: IMG_5900_ny_elek_minus_penetration 12:00 – 12:05 TXT: Provide post-procedural care to the animal




Authors: As there are no data figures in your manuscript, we are skipping the results section
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