# Submission ID #: 69923

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21326563

# Title: Dissolving Microneedle Array Patches Manufactured by Solvent Casting Technique and Essential Characterization of Microneedle-Based Biomedical Devices

# Authors and Affiliations:

# Antonio José Guillot, Miquel Martínez-Navarrete, Jose Alejandro Bernabeu-Martínez, Miguel Ángel Rubio, Ana Melero

# 1Department of Pharmacy and Pharmaceutical Technology and Parasitology, University of Valencia

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Antonio José Guillot 			antonio.guillot@uv.es

# Email Addresses for All Authors:

# Miquel Martínez-Navarrete		miquel.martinez-navarrete@uv.es

# Jose Alejandro Bernabeu-Martínez	bermajo@alumni.uv.es

# Miguel Ángel Rubio			mirulo@alumni.uv.es

# Ana Melero				ana.melero@uv.es

# Antonio José Guillot 			antonio.guillot@uv.es

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 24

Number of Shots: 51

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter full author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card

This research has been approved by the University of Valencia Human and Animal Research Ethics Committee

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Manufacture of Dissolving Microneedle Array Patches (DMAPs)

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin, prepare the aqueous colloidal dispersion of the constituent materials of DMAPs by dissolving them in the appropriate amount of water [1-TXT]. Stir the mixture vigorously to obtain a uniform dispersion [2].

    - WIDE: Talent adding the constituent materials into a container with water. TXT: DMAPs: Dissolving Microneedle Array Patches

    - Talent stirring the mixture vigorously to form an aqueous colloidal dispersion.

  - Allow the polymers to stir minimally overnight to achieve complete dispersion [1] and let the air bubbles disperse during this prolonged stirring period [2].

    - Talent adjusting the stirrer to minimal speed.

    - Shot of the sample with minimal bubbles.

  - Centrifuge the polymeric dispersion if air bubbles persist by placing it in a centrifuge [1]. Set the centrifugation to 1000 g for 5 minutes at 25 degrees Celsius [2].

    - Talent placing the container with polymeric dispersion into the centrifuge.

    - Show the centrifuge control panel with the settings beings adjusted to 1000 g, 5 minutes, and 25 degree Celsius.

  - Add either the drug or nanosized particle cargo, at the desired concentration into the polymeric dispersion [1] and stir the mixture moderately until it becomes homogeneous without incorporating new air bubbles [2].

    - Talent adding the cargo into the polymeric dispersion.

    - Talent stirring the mixture at moderate speed while monitoring for air bubble formation.

  - Now, dispose the PDMS molds into 12-well plates [1] and accommodate the molds into the wells using modeling clay or dental cement to secure them in place [2].

    - WIDE: Talent placing PDMS molds into a 12-well plate.

    - Talent securing the molds inside the wells using supporting material.

  - Next, cast 20 microliters of the drug-loaded polymeric blend onto the PDMS molds [1]. Place the plate in the centrifuge [2] and spin at 3000 g for 5 minutes at 25 degrees Celsius [3]. Now, turn the plate 180 degrees [4] and repeat the centrifugation to ensure filling of all needle-like cavities [5].

    - Talent pipetting 20 microliters of the drug-loaded polymeric blend onto the PDMS molds.

    - Talent placing the plate into the centrifuge.

    - Show the centrifuge set to 3000 g, 5 minutes, and 25 degree Celsius.

    - Talent removing the plate and rotating it 180 degrees.

    - Talent placing the plate back into the centrifuge for the second run.

  - Then, carefully remove the excess drug-loaded polymeric dispersion from the molds [1]. Using a pipette, transfer the polymeric dispersion if it is liquid [2], or use a spatula to remove it if it is highly viscous [3-TXT].

    - Talent inspecting the PDMS molds for excess polymeric dispersion.

    - Talent removing excess liquid dispersion using a pipette.

    - Talent removing viscous dispersion using a spatula. TXT: Repeat double centrifugation if required

  - Dry the drug-loaded polymeric dispersion in the molds by placing them under vacuum at 600 millibars for 30 minutes at 25 degrees Celsius [1].

    - Talent placing the plate with molds into a vacuum chamber.

  - Prepare a highly concentrated polymeric dispersion free of drug to form the baseplate of the DMAPs device [1]. Ensure the dispersion is homogeneous before use [2].

    - Talent adding the sample to a container.

    - Talent mixing the dispersion until uniform.

  - Next, cast 120 to 150 microliters of the free-drug polymeric dispersion onto the PDMS molds [1]. Place the plate in the centrifuge and spin twice, including a midpoint plate rotation of 180 degrees [2-TXT].

    - Talent pipetting 120 to 150 microliters of free-drug polymeric dispersion onto the molds.

    - Talent placing the late into the centrifuge. TXT: 1000 - 1500 x g; 5 min; 25 °C

  - Leave the DMAPs in the PDMS molds to dry for 3 to 5 days at room temperature in a dry-seal desiccator [1].

    - Talent placing the plate into a dry-seal desiccator.

  - Demold the DMAPs carefully from the PDMS molds using forceps [1]. Alternatively, peel the DMAPs off the molds using scotch cellulose tape [2].

    - Talent gently removing DMAPs from the PDMS molds with forceps.

    - Talent peeling DMAPs from the molds using scotch cellulose tape. Authors: Can you demonstrate both these shots?

  - For the positive pressure method, cast 150 microliters of the drug-loaded polymeric blend onto the PDMS molds [1] and place them in a pressure tank [2].

    - Talent pipetting 150 microliters of the drug-loaded polymeric blend onto the PDMS molds.

    - Talent placing the PDMS molds into the pressure tank.

  - Fill the pressure tank with air until it reaches a pressure between 3 and 4 bar. Maintain this pressure for at least 15 minutes [1].

    - Talent closing the pressure tank and initiating air filling.

- Characterization of DMAPs

Demonstrator: Click here to enter name of demonstrator(s)

  - Visualize the DMAPs using a micro-camera with appropriate magnification to distinguish the needle-like projections [1]. Adjust the focus to clearly resolve individual microneedles [2].

    - Talent viewing through the micro-camera.

    - Talent adjusting the focus.

  - Next, attach the DMAPs to a support device to visualize the morphology and length of the microneedle-like projections by optical microscopy [1].

    - Talent mounting the DMAPs onto a support device.

  - Evaluate the mechanical properties of the DMAPs by placing the device into a commercially available DMAPs applicator [1]. Compress the applicator against a stainless-steel flat surface for 30 seconds [2].

    - Talent loading the DMAPs device into the applicator.

    - Talent pressing the applicator against a stainless-steel flat surface.

  - After compression, record the length of the microneedle-like projections [1] and calculate the deformation percentage by comparing the length before and after compression [2].

    - Talent noting down the length in a book.

    - TEXT ON PLAIN BACKGROUND:

Compression %=ho-hf ho·100

  - Then, determine the preliminary insertion capacity of the DMAPs using a surrogate artificial skin method based on thermoplastic sheets made of olefin-type material [1]. Compress the DMAPs device against eight bound sheets using the same compression conditions applied to the stainless-steel surface [2].

    - Talent aligning the DMAPs device with the stacked thermoplastic sheets.

    - Talent compressing the applicator against the bound sheets.

  - Now, determine the ex vivo insertion capacity of the DMAPs using human, porcine, or rodent skin explants that have been previously excised and carefully trimmed [1]. Clean the skin explant by soaking it in abundant water for 1 to 2 minutes [2].

    - Talent handling trimmed skin explants on a work surface.

    - Talent soaking the skin explant in water for cleaning.

  - Place the cleaned skin explant onto an aluminum foil-wrapped foam material with the stratum corneum side facing upwards [1]. Proceed with insertion using the same compression conditions previously described [2].

    - Talent positioning the skin explant on aluminum foil-wrapped foam.

    - Talent compressing the DMAPs device into the skin explant.

  - Leave the DMAPs inserted into the skin until dissolution of the microneedle tips occurs [1] and observe the device remaining in contact with the skin during dissolution [2].

    - SCOPE: Close-up view of DMAPs inserted into the skin explant.

    - Shot showing progressive dissolution of the microneedle tips while the device remains in place.

- Franz-Diffusion Cell (FDC) Setup

Demonstrator: Click here to enter name of demonstrator(s)

  - Determine the ex vivo drug skin deposition and absorption using a Franz diffusion cell setup [1]. Prepare the skin explant using the previously described trimming and cleaning procedure [2], and insert the DMAPs into the skin structure for 30 seconds [3].

    - Talent arranging the Franz diffusion cell components and skin explant on the bench.

    - Talent positioning the prepared skin explant for insertion.

    - Talent inserting the DMAPs into the skin explant for 30 seconds.

  - Glue the donor chamber of the Franz diffusion cell to the skin using an appropriate amount of cyanoacrylate [1]. Allow the adhesive to dry completely [2], then attach the skin–donor chamber complex to the receptor chamber using appropriate clamps [3]. Finally, proceed with the sampling protocol following the established diffusion cell procedure [4].

    - Talent applying cyanoacrylate to bond the donor chamber to the skin.

    - Shot showing the assembled donor chamber and skin resting while the adhesive dries.

    - Talent securing the donor–skin assembly to the receptor chamber with clamps.

    - Talent initiating the sampling procedure from the assembled Franz diffusion cell.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 155.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Manufactured DMAPs displayed a homogeneous appearance with successful formation of microneedle-like projections, and the colored dye was localized within the projections, with the baseplate remaining free of drug [1].

    - LAB MEDIA: Figure 2A.

  - Optical microscopy revealed that microneedle-like projections had sharp tip ends and no deformation before compression [1]. After compression, microneedle-like projections showed visible deformation of structure [2].

    - LAB MEDIA: Figure 2B. Video editor: Zoom in on the needle tips.

    - LAB MEDIA: Figure 2C. Video editor: Highlight the bent and collapsed structure of the projections.

  - In an artificial skin model, DMAPs successfully penetrated the thermoplastic sheet, creating visible holes [1]. The number of holes created in different layers of the thermoplastic model correlated with microneedle insertion depth [2].

    - LAB MEDIA: Figure 2D. Video editor: Highlight the grid of puncture holes in the right panel showing successful microneedle insertion.

    - LAB MEDIA: Figure 2E. Video editor: Highlight the decreasing red line on the graph showing fewer holes at greater insertion depths.

  - Ex vivo murine skin explants showed progressive dyeing of the inner skin layers after insertion, consistent with DMAP dissolution over time [1]. Histological examination with eosin-hematoxylin staining confirmed insertion of microneedle-like projections into skin sections [2].

    - LAB MEDIA: Figure 2F. Video editor: Highlight the image columns sequentially.

    - LAB MEDIA: Figure 2G. Video editor: Point to the black arrows marking the insertion points in the pink-stained skin tissue section.

  - A Franz-diffusion cell setup was used to evaluate the diffusion of drug through skin explants, with clear visualization [1] of the donor chamber, skin, and receptor chamber [2].

    - LAB MEDIA: Figure 2I

    - LAB MEDIA: Figure 2I. Video editor: Highlight labels 1 (donor chamber), 2 (skin explant), and 3 (receptor chamber) in the image.