# Submission ID #: 69979

# Scriptwriter Name: Vipasha Sharma

# Project Page Link: https://review.jove.com/account/file-uploader?src=21343643

# Title: Photoisomerization and Kinetic Characterization of Molecular Photoswitches Using a Semi-Automated Experimental System

# Authors and Affiliations:

Victoria Gneiting1, Jacob Lynge Elholm1, Rebecca J. Salthouse1, Helen Hölzel1,2, Paul A. Gueben1, Kasper Moth-Poulsen1,3–5

1Department of Chemical Engineering, Universitat Politècnica de Catalunya

2Justus-Liebig-Universität Giessen, Institut Organische Chemie

3ICREA, Passeig Lluís Companys

4Department of Chemistry and Chemical Engineering, Chalmers University of Technology

5Institute of Materials Science of Barcelona, ICMAB-CSIC

# Corresponding Authors:

Kasper Moth-Poulsen       kasper.moth.poulsen@upc.edu

# Email Addresses for All Authors:

victoriagneiting@yahoo.com ; victoria.gneiting@estudiantat.upc.edu

jacob.lynge.elholm@upc.edu

rebecca.jane.salthouse@upc.edu

helen.holzel@upc.edu

paul.augustin.gueben@upc.edu

kasper.moth.poulsen@upc.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   No

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Yes

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Victoria Gneiting, PhD student

Current Protocol Length

Number of Steps: 22

Number of Shots:  54

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

Authors: Statements have been edited for length and clarity. Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Victoria Gneiting: Our research examines how automated workflows can reproducibly measure photoswitch quantum yields and thermal kinetics while reducing overall sample consumption.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Victoria Gneiting: Existing methods are manual, low-throughput, sample-intensive, and variable; this protocol automates irradiation, monitoring, and analysis to improve throughput and reproducibility.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Victoria Gneiting: This protocol enables researchers to measure photoisomerization quantum yields, absorption changes, thermal half-lives, and related kinetic and thermodynamic parameters.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the most important consideration or challenge when performing this protocol.

  - Victoria Gneiting: The key considerations are accurate photon-flux calibration, precise optical alignment, and bubble-free sample handling to ensure reliable and reproducible measurements.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Victoria Gneiting: Future studies can test more photoswitches and conditions, improve spectral analysis, and use larger datasets for machine-learning-guided molecular design.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Sample Preparation and Photon Flux Determination

Demonstrator: Victoria Gneiting

  - Begin by arranging the required materials on the workbench [1]. For NBD1 (N-B-D-one) preparation, dissolve 1.2 milligrams of NBD1 in 100 milliliters of acetonitrile to obtain a concentration of 4.74 × 10⁻⁴ molar solution [2-TXT], and transfer the solution to a 20-milliliter vial with a membrane cap [3].

    - WIDE: Talent arranging the required material on the workbench

    - Talent dissolving 1.2 mg in 100 mL of acetonitrile

TXT: NBD1: 2-cyano-3-(3,4-dimethoxyphenyl)norbornadiene

    - Talent transferring the solution to a 20-milliliter vial with a membrane cap

  - Place the NBD1 sample vials into the selection valve [1]. If alternative solvents are required, place the solvent vials in the designated positions [2].

    - Talent placing the sample vials into the selection valve

    - Talent placing the solvent vials in the designated positions

  - Launch the photon flux calculator program [1]. Connect the photodiode power sensor to the PM100USB (P-M-hundred-U-S-B) power and energy meter interface [2]. Then, connect the USB interface to the computer for data transfer and logging [3].

    - SCREEN: Photon flux calculator program being launched

    - Talent connecting the photodiode power sensor to the PM100USB power and energy meter interface

    - Talent connecting the USB interface to the computer

Authors: Please create a screen capture video of the shots labelled SCREEN and upload them onto your project page:  https://review.jove.com/account/file-uploader?src=21343643

  - Place the photodiode power sensor in the cuvette holder and align it with the optical path of the light-emitting diode, or LED (L-E-D) [1]. Position the cuvette between the LED light source and the power sensor [2].

    - Talent placing the photodiode power sensor inside the cuvette holder and aligning it with the optical path of the light-emitting diode

    - Talent positioning the cuvette between the light-emitting diode light source and the power sensor

  - Switch on the LED light source and allow it to stabilize if necessary [1]. Acquire power readings from the PM100USB interface using the manufacturer’s software [2] and save the measured power values in the photon flux calibration table for further analysis [3].

    - Talent switching on the light-emitting diode light source

    - SCREEN: Power readings being acquired from the PM100USB interface using the manufacturer’s software

    - SCREEN: Measured power values being saved in the photon flux calibration table

- Automation System Setup and Initialization

  - Place the ultraviolet-visible flow cuvette into a temperature-controlled holder [1]. Connect the deuterium-halogen lamp and the LED array to one side through fiber optics [2], and the spectrometer to the other side [3]. Position a collimating lens between the lamp and the cuvette [4], and a focusing lens between the cuvette and the spectrometer [5].

    - Talent placing the ultraviolet-visible flow cuvette into the temperature-controlled holder

    - Talent connecting the deuterium-halogen lamp and the light-emitting diode array to one side via fiber optics

    - Talent connecting the spectrometer to the other side via fiber optics

    - Talent positioning a collimating lens between the lamp and the cuvette

    - Talent positioning a focusing lens between the cuvette and the spectrometer

  - Connect the sample through a precision peristaltic pump [1]. Insert a selection valve upstream to switch between the sample and the solvent [2], and place 0.1-millimeter metal shims alongside the cuvette to secure alignment [3].

    - Talent connecting the sample through the precision peristaltic pump

    - Talent inserting the selection valve upstream

    - Talent adding 0.1-millimeter metal shims alongside the cuvette

  - Launch the in-house graphical user interface quantum yield experiment program [1]. Initiate the experiment to start solvent flow through the valve, pump, and flow cuvette at a flow rate of 1 milliliter per minute [2], and acquire a reference spectrum using the deuterium lamp over the ultraviolet-visible range for baseline correction [3].

    - SCREEN: In-house graphical user interface quantum yield experiment program being launched.

    - SCREEN: Experiment being initiated through the software to start solvent flow at 1 milliliter per minute

    - SCREEN: A reference spectrum being acquired using the deuterium lamp over the ultraviolet-visible range

- Experimental Workflow

  - Switch the valve from the solvent to the NBD1 sample manually on the valve display [1]. Initiate the experiment in the software, allowing the pump to start automatically at the default flow rate of 1 milliliter per minute and fill the flow cuvette with the sample [2]. Using the selection valve, switch to solvent [3].

    - Talent switching the valve from the solvent to the sample manually

    - SCREEN: Experiment being initiated through the software to start sample flow at 1 milliliter per minute

    - Talent switching the valve from the sample to the solvent

  - Select the 340-nanometer ultraviolet LED from the available light-emitting diodes [1] and set the operating current to 600 milliamperes in the graphical user interface [2]. Set the ultraviolet-visible measurement interval to 1 second [3].

    - SCREEN: 340-nanometer ultraviolet LED being selected

    - SCREEN: Operating current being set to 600 milliamperes

    - SCREEN: Ultraviolet-visible measurement interval being set to 1 second

  - Start the measurement sequence [1] to record the full ultraviolet-visible spectra of absorbance versus wavelength at each measurement step [2]. Enter 340 nanometers in the field above the absorption spectra [3] and monitor the time-dependent absorbance plot generated during the run [4].

    - SCREEN: Measurement sequence being started

    - SCREEN: Full ultraviolet-visible spectra being recorded at each measurement step

    - SCREEN: 340 nanometers being entered in the field above the absorption spectra

    - SCREEN: Time-dependent plot being generated

  - After the forward reaction is complete, open TApp (T-app) on the desktop [1] and connect to COM8 (C-O-M-eight) [2].  Select Change Target, set the temperature to 60 degrees Celsius [3], and press OK [4].

    - SCREEN: TApp being opened on the desktop

    - SCREEN: COM8 being selected and connected

    - SCREEN: Change Target being selected and temperature being changed to 60 °C

    - SCREEN: OK being pressed

  - Select Start back-conversion in the program [1] and monitor the thermal relaxation of the metastable quadricyclane or QC1 (Q-C-one) isomer back to its parent molecule NBD1 [2].

    - SCREEN: Start back-conversion being selected

    - SCREEN: Thermal relaxation of QC1 back to NBD1 being monitored through the UV-Vis graph

  - Repeat the back-conversion at 65 degrees Celsius, 70 degrees Celsius, 75 degrees Celsius, and 80 degrees Celsius [1]. Perform the back-conversion at a minimum of 3 different temperatures, with 5 temperatures providing a more accurate analysis, to obtain the Arrhenius and Eyring fits in the quantum yield analysis program [2].

    - SCREEN: Back-conversion being repeated at 65, 70, 75, and 80 °C

    - SCREEN: Arrhenius and Eyring fits being obtained in the QYA.pyw program

  - When the back-conversion is complete, stop the experiment manually [1]. Flush the system with at least 3 tubing volumes, or approximately 200 microliters, of fresh sample [2]. For the final cleaning, switch the valve to the solvent [3], then pump the solvent through the system until the tubing and cuvette are clean [4].

    - Talent manually stopping the experiment after completion of the back-conversion

    - Fresh sample being pumped through the system

    - SCREEN: Valve being switched from the sample to the solvent

    - CU: Solvent flowing through the tubing and cuvette until the flow path is visibly clean

- Data Analysis

  - To determine the quantum yield, open quantum yield analysis program and load the file saved from quantum yield experiment program [1]. Set the concentration to 4.74 × 10⁻4 molar and select the 340-nanometer LED to load the correct photon flux [2]. In the hyperparameters section, set the zero-point wavelength to 500 nanometers, the analysis wavelength to 340 nanometers, and the number of points for fit to 10 [3].

    - SCREEN: QYA.pyw being opened and the QYEX.pyw data file being loaded

    - SCREEN: The concentration being set to 4.74 × 10⁻4 M and the 340-nanometer LED being selected

    - SCREEN: Zero-point wavelength being set to 500 nanometers, analysis wavelength being set to 340 nanometers, and number of points for fit being set to 10

  - Run the analysis and, if a satisfactory fit is obtained, record the quantum yield calculated by the program [1]. In the corrections section, include the back reaction to calculate the rate constants [2].

    - SCREEN: The quantum-yield analysis being run, the fitted slope being reviewed, and the calculated quantum yield being recorded

    - SCREEN: Back-reaction correction being included and the rate constants being calculated

  - To determine the half-life, open the half-life analysis program and load the file saved from quantum yield experiment program [1], and set the analysis wavelength to 340 nanometers [2]. In the kinetics analysis chart, insert the previously calculated rate constants for at least 5 different temperatures [3].

    - SCREEN: HLA.pyw being opened and QYEX.pyw being loaded

    - SCREEN: Analysis wavelength being set to 340 nanometers.

    - SCREEN: Rate constants for at least 5 different temperatures being inserted into the kinetics analysis chart.

# Results

- Results

  - Continuous ultraviolet-visible lamp irradiation resulted in a gradual decrease in NBD1 absorbance at 340 nm, indicating progressive photoconversion [1]. The absorbance spectra of NBD1 [2] showed minimal overlap with its quadricyclane isomer QC1, indicating negligible photo-induced back-conversion from QC1 to NBD1 [3].

    - LAB MEDIA: Figure 2. Video editor: Please highlight the plotted points from 0 to 600 seconds

    - LAB MEDIA: Figure 3 b. Video editor: Please highlight the blue curve in the graph labeled as NBD1

    - LAB MEDIA: Figure 3 b. Video editor: Please highlight the turquoise curve in the graph labeled as QC1

  - The experimental data closely matched the corrected quantum-yield fit [1], supporting negligible thermal reversion during irradiation and a predominantly forward reaction [2].

    - LAB MEDIA: Figure 4. Video editor: Please highlight the black cross points representing the experimental data along with the blue corrected quantum-yield fit

    - LAB MEDIA: Figure 4. Video editor: Please highlight the red fit and blue corrected quantum-yield fit together to emphasize their close overlap

  - NBD1 showed a quantum yield of 0.676 at an irradiation wavelength of 340 nanometers [1].

    - LAB MEDIA: Table 2. Video editor: Please highlight the experimental values 0.676 ± 0.028 at 340 nm

# Video Editor: Please show only the 340 nm row in Table 2 and omit the 365 nm row, as the experiment will be performed using 340 nm irradiation only

  - NBD1 showed a half-life of 27 days [1]. The activation parameters were 115.04 kilojoules per mole for enthalpy, 16.1 joules per mole-kelvin for entropy, and 117.97 kilojoules per mole for Gibbs free energy, collectively reflecting its thermal stability and isomerization behavior [2].

    - LAB MEDIA: Table 6. Video editor: Please highlight the 27-day half-life at 25 °C

    - LAB MEDIA: Table 6. Video Editor: Please sequentially highlight ΔH‡, ΔS‡, and ΔG‡, along with their corresponding values