1. MPTP Preparation

1. Prepare 1× E3 medium by diluting 100× E3 stock solution 1:100 with ultrapure water (e.g., mix 5 mL of 100× E3 with 495 mL of ultrapure water to obtain 500 mL of 1× E3 medium).

2. Preparation of 50 µM MPTP solution: transfer 2.5 mL of the 1 mM MPTP stock solution into a clean container and dilute with 47.5 mL of E3 medium to obtain a final volume of 50 mL at a final concentration of 50 µM MPTP. The remaining part of the stock solution continued to be stored in the dark.

CAUTION: MPTP is a potent neurotoxin and must be handled with extreme caution. Always wear appropriate personal protective equipment (PPE), including gloves, a laboratory coat, and protective eyewear. Disposal of MPTP waste according to institutional biosafety guidelines.

2. Zebrafish embryos preparation and grouping

1. Select sexually mature male and female adult zebrafish and perform controlled breeding using breeding tanks with removable dividers. At 8:00 pm, place male and female zebrafish separately in the breeding tanks at a ratio of 2:3, and separate them with dividers.

2. On the following day, remove dividers at 8:00 am to allow mating, thereby initiating spawning. Collect embryos after 1 h, and wash them three times with clean system water.

3. House embryos in 100 mm Petri dishes with fresh E3 medium, and incubate them at 28 °C under a 14 h light / 10 h dark cycle (lights on from 08:00 am to 10:00 pm).NOTE: Do not exceed 50 embryos per dish with 20 mL medium to ensure normal development.

4. At 1 dpf, carefully remove the unfertilized, malformed, and abnormal embryos using a Pasteur Pipette, and replace the solution containing zebrafish embryos. For the WT group, replace the existing medium with fresh E3 embryo medium. For the MPTP-treated group, replace the medium with 50 µM MPTP solution (Figure 1A), then return both groups to the incubator.

NOTE: Replace the solution gently using a Pasteur Pipette. Aspirate the medium slowly from the edge of the Petri dish and add fresh solution along the wall of the Petri dish to minimize disturbance to the embryos.

3. Sleep - wake regulation monitoring

1. At 4 dpf, select zebrafish larvae from each group at 6:00 pm, and transfer them to a 96-well plate using a modified 3 mL Pasteur Pipette with the tip cut off, one larva per well. NOTE: To avoid stimulating or damaging zebrafish, modify Pasteur Pipettes by cutting the tip (10 mm) to provide a wide bore larger than the size of 4 dpf zebrafish larvae (body length exceeds 3.7 mm27,28).

2. Observe each well with a stereo microscope to ensure the appearance of each zebrafish larva is healthy, the fins are open and regularly swung, the body is upright, and the swim bladder is inflated29. After ensuring that the zebrafish in each well are in a healthy state, fill each well with E3 medium.

3. After transferring the fish and liquid into a 96-well plate, place it in the Zebrabox chamber to acclimate for 30 min prior to the sleep-wake behavioral test.
NOTE: Before placing the 96-well plate in the Zebrabox chamber, clean up the bottom of the plate carefully to avoid dirt affecting the video tracking results.

4. Open the Zebralab video tracking software, select the Quantization mode, and ensure that the 96-well plate is positioned centrally on the bottom of the Zebrabox chamber.

5. Set the light adjustment to turn off the light at 10: 00 pm and turn on the light at 8: 00 am. Set the software parameters as follows29: detection threshold, 40; burst, 25 (threshold for on movement); freeze (threshold for on movement), 4; bin size, 60 s; total monitoring time, 52 h (8: 00 pm on the first day to 00: 00 pm on the third day). Start the sleep-wake procedure at 8: 00 pm.

6. After 52 h, stop the sleep-wake experiment, and save the data file. Remove the 96-well plate from the ZebraBox.

4. Photomotor response paradigms

1 Place the 5 dpf larvae in a 96-well plate (1 larva per well) (Figure 1B), and fill each well with E3 medium.

2 Dark-constant light paradigm:

2.1 Place the 96-well plate with 5 dpf larvae into the Zebrabox and allow larvae to   acclimate for 5 min in the dark before the assay.

  - Open the Tracking-online analysis mode. Set the light transition program as follows: 0-60 s: Dark, 60-120s: Constant light

  - Start the protocol, collect related motion parameters every 6 s throughout the 120 s assay.

  - Stop the protocol at 120th s, export the data file. Place the larvae in full darkness for 5 min to acclimate the environment, preparing them for the following dark-strobe light assay.

3. Dark-strobe light paradigm

1. Set the light transition program as follows: 0-60 s: Dark, 60-120s: strobe light at 10 Hz.

2. Upon completion of the 5 min dark adaptation, start the dark-to-strobe light assay. Collect motion parameters every 6 s throughout the 120 s assay.

5. Assessment of thigmotaxis

1. Select two 6-well plates, fill each well with 4 mL E3 medium.

2. At 5 dpf, zebrafish larvae from the WT group and MPTP-treated group were collected and put in two 6-well plates

3. Before the thigmotaxis assessment, the well plates should be placed in the appropriate position of Zebrabox 15 min in advance to accommodate.

4. Data collection and analysis: Using the Draw Area function, draw two concentric circles in the observation area of each well (the radius of the center circle accounts for 1 / 2 of the radius of the hole) (Figure 1C), and the remaining parameters are set to be the same as locomotor assessment. Start the protocol for 5 min thigmotaxis assessment, and do a parallel experiment.

6. Locomotor assessment

1. At 5 dpf, select zebrafish larvae from the WT group and MPTP-treated group, and respectively transferred to two 12-well plates (one is the WT group, and the other is the MPTP-treated group, 1 larva per well, with 2 mL E3 medium)

2. Before the locomotor assessment, place the well plate in the test position of the Zebrabox 15 min in advance to adapt.

3. After a 15 min acclimation period, select the tracking mode-online analysis, record the locomotor activity of each larva for 5 min using an automated computerized video-tracking system

7. Startle response test

1. Preparations: at 5 dpf, select zebrafish larvae from the WT group and the MPTP-treated group, and transfer them respectively to two 12-well plates (one is the WT group, and the other is the MPTP-treated group, 1 larva per well, with 2 mL E3 medium) (Figure 1D).

2. Before the startle response test, place the well plate in the test position of the Zebrabox 5 min in advance to adapt.

3. Set the stimulation parameters: open Zebralab software, run the Tracking-online analysis mode, open the Light-triggering interface, select Use one of the 3 triggering methods below, enable Enhanced stimuli, set to When session is started; in the transition schedule, the dark flash rhythm is defined as follows ( the program starts to trigger after 21 s ): Transition 1: 5 ms, 100% light intensity; transition 2: 2890 ms, 100% light intensity; transition 3: 5 ms, 0% light intensity; transition 4: 100 ms, 0% light intensity; tick Repeat list of transitions to ensure periodic flashing.

4. Start protocol: ensure that the Numeriscope video recording function is turned on, high-throughput automated tracking will generate a multi-dimensional dataset encompassing 30 behavioral endpoints in this 90 s test.

8. Light-dark challenge assay

1. At 5 dpf, transfer zebrafish larvae individually into two 24-well plates (Figure 1E), with one larva per well and 1 mL of E3 medium per well. Each plate contained 24 larvae, and the two 24-well plates were evenly divided into the WT group and the MPTP-treated group

2. Before testing, place the 24-well plate into the designated testing area inside the Zebrabox for a 5 min light acclimatization period to adapt the testing environment. Activate the Tracking-Online Analysis mode. Configure the light program as follows: 6 min of constant light followed by 4 min of complete darkness (Figure 1E). The total testing time is 10 min, and the interval time for collecting data points is 60 s.

3. On the 10th min, stop behavioral recording and save data. Carefully remove the plate from the Zebrabox.

9. Disposal of MPTP waste

NOTE: After each behavioral experiment, spray and wipe MPTP-contacted surfaces (e.g., lab benches and the ZebraBox) with freshly prepared sodium hypochlorite (bleach; ≥10% v/v).

1. Collect the liquid waste and solid waste of MPTP. Clearly label them as hazardous neurotoxic waste.

2. Treat contaminated liquid waste and solid materials with freshly prepared sodium hypochlorite (bleach; ≥10% v/v)

3. Euthanize MPTP-treated zebrafish larvae by immersing in a diluted sodium hypochlorite solution (e.g., 1:5 ratio of 6% bleach: water)