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Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.  
If Yes, can you record movies/images using your own microscope camera?
Enter Yes or No.  
If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit. 
If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.
Enter make and model of microscope.
If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).
Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.
If Yes, we will need you to record using screen recording software.
We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k
As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.
If Yes, how far apart are the locations? Click to enter distance between locations.


4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.  
If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.
Enter full author name, Enter author position


To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)


Current Protocol Length
Number of Steps: 24
Number of Shots: 52

Introduction
Videographer: Obtain headshots for all authors available at the filming location. 

Answers to these questions will become interview statements that you will deliver on camera.
· Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.
· Enter the full name of the author who will deliver the statement.
· Speak naturally and avoid reading the lines.
· Limit the length of each statement to 20 words or fewer.
· Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.

INTRODUCTION:
REQUIRED: Summarize your research focus and the main questions it aims to answer.
1.1. Enter full author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.
1.1.1. INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.


Describe the research gap or limitation in existing methods and how this protocol addresses them.
1.2. Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.
Describe the research contexts or systems in which this protocol can be applied.
1.3. Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:
What does this protocol allow researchers to study or measure?
1. 
1.1. 
1.2. 
1.3. 
1.4. Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.
1.5. Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?
1.6. Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.
1.7. Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.


Ethics Title Card
This research has been approved by the Ethical Committee of the School of Pharmaceutical Sciences, Shandong University



Protocol  
[bookmark: _Hlk188263998]Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.
· The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.
· Red italics are pronunciation guides indicating how the word will be spoken. 
· Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.
· The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture. 

2. Automated Assessment of Sleep–Wake Regulation, Photomotor Response, and Thigmotaxis in Zebrafish Larvae
Demonstrator: Click here to enter name of demonstrator(s) 

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

2.1. To begin, wear appropriate personal protective equipment including gloves, a laboratory coat, and protective eyewear [1].
2.1.1. WIDE: Talent putting on gloves, a laboratory coat, and protective eyewear at the laboratory bench.
2.2. Dilute 100X (One-Hundred-Ex) E3 (E-Three) stock solution at a 1 to 100 ratio with ultrapure water to prepare single strength medium [1]. 
2.2.1. Talent measuring adding milliliters of 100× E3 stock solution into a beaker with ultrapure water. 
2.3. Now select sexually mature male and female adult zebrafish [1]. Perform controlled breeding using breeding tanks with removable dividers [2]. At 8 PM, place male and female zebrafish separately into the breeding tanks at a ratio of 2 males to 3 females and separate them with dividers [3].
2.3.1. Talent selecting adult male and female zebrafish.
2.3.2. Shot of breeding tanks with removable dividers.
2.3.3. Talent transferring the fishes into the breeding tanks.
2.4. The next morning,  at 8 AM, remove the dividers to allow mating [1]. Collect the embryos and wash them three times with clean system water [2].
2.4.1. Talent removing the dividers from the breeding tanks.
2.4.2. Talent gently washing embryos with system water.
2.5. House the embryos in 100-millimeter Petri dishes containing 20 milliliters of fresh E3 medium [1]. Then incubate the embryos at 28 degrees Celsius under a 14 hour light and 10 hour dark cycle [2-TXT]. 
2.5.1. Talent transferring embryos into 100-millimeter Petri dishes with E3 medium.
2.5.2. Talent placing Petri dishes into an incubator set to 28 degrees Celsius. TXT: Do not place >50 embryos per dish
2.6. At 1 day post fertilization, carefully remove unfertilized, malformed, and abnormal embryos using a Pasteur pipette [1]. Aspirate the medium slowly from the edge of the Petri dish [2] and add fresh solution along the wall of the Petri dish to minimize disturbance to the embryos [3].
2.6.1. Talent removing abnormal embryos with a Pasteur pipette.
2.6.2. Talent aspirating medium from the edge of the Petri dish.
2.6.3. Talent adding fresh E3 medium along the wall of the Petri dish.
2.7. At 4 days post fertilization, select zebrafish larvae from each group at 6 PM [1]. Then modify Pasteur pipettes by cutting 10 millimeters from the tip to create a wide bore [2].Use the modified 3-milliliter Pasteur pipette to transfer one larva per well into a 96-well plate [3].
2.7.1. Talent selecting 4-day post fertilization larvae.
2.7.2. Talent cutting the tip of a Pasteur pipette.
2.7.3. Talent transferring larvae into a 96-well plate using a modified Pasteur pipette.
2.8. Observe each well with a stereo microscope to confirm that each zebrafish larva appears healthy [1]. Verify that the fins are open and regularly swinging, the body is upright, and the swim bladder is inflated [2].
AUTHORS: Please create scope videos of the shots labelled SCOPE and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21362553
2.8.1. SCOPE: View of zebrafish larvae under a stereo microscope.
2.8.2. SCOPE: Close-up showing healthy larval morphology and movement.
2.9. Next, clean the bottom of the plate carefully to prevent dirt from affecting video tracking results [1]. Then transfer the 96-well plate centrally on the bottom of the Zebrabox chamber [2].
2.9.1. Talent wiping and cleaning the bottom of the 96-well plate.
2.9.2. Talent positioning the 96-well plate inside the Zebrabox chamber.

2.10. Select the Quantization mode in the video tracking software [1].
AUTHORS: Please create SCREEN capture videos of the shots labelled SCREEN and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21362553
2.10.1. SCREEN: Selecting Quantization mode in the Zebrabox software interface.
2.11. For sleep-wake regulation monitoring, set the light adjustment to turn off the light at 10 PM and turn on the light at 8 AM [1]. Configure the software parameters so that the detection threshold is set to 40, burst to 25, freeze to 4, bin size to 60 seconds, and total monitoring time to 52 hours [2]. Start the sleep–wake procedure at 8 PM [3].
2.11.1. SCREEN: Adjusting the light on and off schedule in the software.
2.11.2. SCREEN: Entering detection threshold, burst, freeze, bin size, and monitoring time parameters.
2.11.3. SCREEN: Talent clicking Start to initiate the sleep–wake recording.
2.12. To monitor photomotor responses, place 5-day post fertilization larvae into a 96-well plate with one larva per well [1]. Then set the light transition program to 0 to 60 seconds of darkness followed by 60 to 120 seconds of constant light [2].
2.12.1. Talent placing individual larvae into each well of a 96-well plate.
2.12.2. SCREEN: Programming the light transition schedule in the software.
2.13. Start the protocol and collect motion parameters every 6 seconds throughout the 120 second assay [1]. Stop the protocol at 120 seconds and export the data file [2].
2.13.1. SCREEN: Motion parameters being recorded during the assay.
2.13.2. SCREEN: Stopping the protocol and exporting data.
2.14. Then place the larvae in complete darkness for 5 minutes to acclimate them for the subsequent dark strobe light assay [1]. Set the light transition program to 0 to 60 seconds of darkness followed by 60 to 120 seconds of strobe light at 10 hertz [2].
2.14.1. Talent placing larvae in full darkness.
2.14.2. SCREEN: Setting the strobe light transition program.
2.15. To assess thigmotaxis, select two 6-well plates [1]. Fill each well with 4 milliliters of E3 medium [2]. At 5 days post fertilization, collect zebrafish larvae from the wild type group and the MPTP-treated group [3] and place them into separate 6-well plates [4].
2.15.1. Shot of 2 6-well plates. 
2.15.2. Talent filling 6-well plates with E3 medium.
2.15.3. Talent collecting larvae from wild type and test groups. ISisn
2.15.4. Talent transferring larvae into separate 6-well plates.
2.16. Before the thigmotaxis assessment, place the well plates in the Zebrabox for 15 minutes to allow acclimation [1]. Then use the Draw Area function to draw two concentric circles in each well, with the inner circle radius equal to half the radius of the well and start assessment [2].
2.16.1. Talent placing plates into the Zebrabox chamber.
2.16.2. SCREEN: Using the Draw Area function to define concentric zones.
2.17. For locomotor assessment, transfer 5-day old zebrafish larvae from the wild type group and the MPTP-treated group into two separate 12-well plates [1]. After a 15-minute acclimation, select the Tracking-online analysis mode [2] and record locomotor activity for 5 minutes using the automated video-tracking system [3].
2.17.1. Talent transferring larvae into 12-well plates.
2.17.2. SCREEN: The Tracking-online analysis mode is being enabled.
2.17.3. SCREEN: The locomotor activity tracking is being seen. 
2.18. For startle response test, transfer 5-day old larvae individually into two 24-well plates with one larva per well and 1 milliliter of E3 medium [1]. Place the plates into the Zebrabox for a 5 minute light acclimation period [2].
2.18.1. Talent transferring larvae into 24-well plates.
2.18.2. Talent placing plates into the Zebrabox chamber.
2.19. Launch the Zebralab software and activate the Tracking-Online Analysis mode [1].  Open the Light-triggering interface then select Use one of the 3 triggering methods below and enable Enhanced stimuli [2]. Now set to When session is started [3].  
2.19.1. SCREEN: The Zebralab software is being launched and Tracking-Online Analysis mode is being enabled. 
2.19.2. SCREEN: The Light triggering interface is being enabled and Use one of the 3 triggering methods below is being selected.
2.19.3. SCREEN: The When session is started option is being selected. 
2.20. In the transition schedule, define the dark flash rhythm by setting the Transition 1 to  5 ms (milliseconds) with 100% light intensity; transition 2 to 2890 ms with 100% light intensity, transition 3 to 5 ms with 0% light intensity and  transition 4 to 100 ms with 0% light intensity [1].  Tick the box for Repeat list of transitions to ensure periodic flashing and then start the protocol [2].
2.20.1. SCREEN: Transitions 1-4 are being input. 
2.20.2. SCREEN: The box for Repeat list of transitions is being ticked and assessment is being started. 
2.21. For the light-dark challenge assay, transfer zebrafish larvae into two 24-well plates with 1 larva per well and 1 milliliter of E3 medium [1]. After a 5-minute acclimation in the Zebrabox, turn on the Tracking Analysis Online mode then configure the light program for 6 minutes of constant light followed by 4 minutes of complete darkness [2-TXT].  
2.21.1. Shot of zebrafish larva in 2 24-well plates with E3 medium. 
2.21.2. SCREEN: The tracking analysis online mode is being switched on then the light program is being configured. 
2.22. At the tenth minute, stop behavioral recording and save the data [1]. Carefully remove the plate from the Zebrabox [2].
2.22.1. SCREEN: Behavioural recording is being switched off and the data is being saved.
2.22.2. Talent removing the plate from the Zebrabox.
2.23. After each behavioral experiment, spray and wipe all MPTP-contacted surfaces with freshly prepared sodium hypochlorite solution [1].
2.23.1. Talent disinfecting lab surfaces and the Zebrabox with bleach solution.
2.24. Collect liquid and solid waste containing MPTP and clearly label them as hazardous neurotoxic waste [1]. Treat all contaminated materials with freshly prepared sodium hypochlorite solution at [2-TXT].
2.24.1. Talent labeling MPTP waste containers.
2.24.2. Talent treating waste with bleach solution. TXT: Euthanize MPTP-treated zebrafish in diluted sodium hypochlorite solution
2.24.3. 

Results
Please review this section to make sure that it accurately reflects your findings.
· This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA). 
· Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 206
· Please note that the video cannot include voiceover without an accompanying visual.

3. Results 
3.1. Treated zebrafish larvae showed disrupted sleep and wake activity traces compared to the wild-type group [1-TXT]. Total sleep time was also significantly increased in the treated group [2].
3.1.1. LAB MEDIA: Figure 2. 
TXT: Mptp: 1-methyl-4-phenyl-1,2,3,6-tetrahydropyridine 
Video editor: Highlight the MPTP traces (red) in all graphs
1. 
2. 
3. 
3.1. 
3.1.1. 
3.1.2. LAB MEDIA: Figure 3C. Video editor: Please highlight the bars corresponding to MPTP (grey).
3.2. The number of sleep bouts was significantly decreased in the treated group [1], while the average sleep bout length increased [2]. 
3.2.1. LAB MEDIA: Figure 3E. Video editor: Please highlight the bars corresponding to MPTP (grey).
3.2.2. LAB MEDIA: Figure 3D. Video editor: Please highlight the bars corresponding to MPTP (grey).
3.3. Wake activity and average activity was significantly impaired in the treated group [1].
3.3.1. LAB MEDIA: Figure 3A and B Video editor: Please highlight the bars corresponding to MPTP (grey).
3.4. Under constant light, the freezing index of the treated group was significantly increased [1]. It also significantly increased under strobe light stimulation at 10 hertz [2].
3.4.1. LAB MEDIA: Figure 4 A and B. Video editor: Please highlight the bars corresponding to MPTP (red) in B and the red curve in A
3.4.2. LAB MEDIA: Figure 4C and D. Video editor: Please highlight the bars corresponding to MPTP (red) in D and the red curve in C
3.5. Photomotor response curves showed reduced reactivity in the treated  group [1].
3.5.1. LAB MEDIA: Figure 4A,C. Video editor: Please highlight the red curves 
3.6. Tracking results indicated reduced locomotor and exploratory behavior in the treated  group [1]. Total swimming [2] and average swimming speed was also significantly reduced in the treated group [3].
3.6.1. LAB MEDIA: Figure 6A. Video editor: Please highlight the rows of plates corresponding to MPTP
3.6.2. LAB MEDIA: Figure 6C. Video editor: Please highlight the bars corresponding to MPTP (grey) 
3.6.3. LAB MEDIA: Figure 6D. Video editor: Please highlight the bars corresponding to MPTP (grey)
3.7. The freeze movement time ratio was significantly higher in the treated group [1], but the rapid movement time ratio was significantly lower [2]. 
3.7.1. LAB MEDIA: Figure 6E. Video editor: Please highlight the bars corresponding to MPTP (grey)
3.7.2. LAB MEDIA: Figure 6F. Video editor: Please highlight the bars corresponding to MPTP (grey)
3.8. Alternating light and dark transitions produced pronounced velocity peaks in wild-type larvae [1]. The distance swum after stimulation [2] and peak velocity after stimulation was significantly decreased in the treated group [3].
3.8.1. LAB MEDIA: Figure 7A. Video editor: Please highlight the curve corresponding to WT (blue).
3.8.2. LAB MEDIA: Figure 7B. Video editor: Please highlight the bars corresponding to MPTP (grey)
3.8.3. LAB MEDIA: Figure 7C. Video editor: Please highlight the bars corresponding to MPTP (grey)
3.9. Latency to peak speed movement onset was also significantly delayed in the treated group [1].
3.9.1. LAB MEDIA: Figure 7D. Video editor: Please highlight the bars corresponding to MPTP (grey).
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