# Screen Capture Video Descriptions

### 2.5.1 / 2.6.3 Calibration screen.mp4

Related script steps: 2.5.1, 2.6.3

Description:

Displays the calibration interface of the custom-developed software. Broadband noise stimuli are sequentially presented from each loudspeaker, and the output level for each loudspeaker is adjusted to achieve approximately 60 dB SPL.

### 3.2.1, 3.2.2 participant code, trial number entering.mp4

Related script steps: 3.2.1, 3.2.2

Description:

Shows the graphical user interface while entering the participant identification code and trial number, and selecting the hearing condition (cochlear implant, hearing aid, or no hearing aid).

### 3.2.3, 3.2.5 familiarization.mp4

Related script steps: 3.2.3, 3.2.5

Description:

Displays the familiarization stage in which the cursor selects the Familiarization button and the loudspeakers are activated sequentially using the software.

### 4.1.1 selecting pre-test.mp4

Related script step: 4.1.1

Description:

Shows the cursor selecting the Pre-test button on the graphical user interface to initiate the pre-test mode.

### 4.2.3 spk map highlighting the correct location.mp4

Related script step: 4.2.3

Description:

Displays the loudspeaker map highlighting the correct sound-source location while the corresponding loudspeaker emits the sound three times.

### 4.2.4 automatic termination of pre-test.mp4

Related script step: 4.2.4

Description:

Shows the graphical user interface indicating the automatic termination of the pre-test after the third trial.

### 4 Example of whole process of pre-test.mp4

Related script step: Reference video (supplementary demonstration)

Description:

Provides an example recording of the full pre-test sequence to illustrate the interaction between stimulus presentation, participant response selection on the loudspeaker map, and automated progression of the trials.

### 5.1.1 selecting main test button.mp4

Related script step: 5.1.1

Description:

Shows the cursor selecting the Main Test button on the graphical user interface to initiate the main localization test.

### 5.1.4, 5.1.5, 5.2.2 Main test sequence.mp4

Related script steps: 5.1.4, 5.1.5, 5.2.2

Description:

Displays the main test sequence including presentation of the loudspeaker map, participant selection of the perceived sound location, appearance of the Next button, and progression to the next trial.

### 5 Example of whole main test.mp4

Related script step: Reference video (supplementary demonstration)

Description:

Provides a continuous recording of the main sound localization test procedure demonstrating stimulus presentation, participant responses, and automated trial progression.

### 5.3.1 automatic termination of main test.mp4

Related script step: 5.3.1

Description:

Shows the graphical user interface indicating automatic session termination and log file generation at the end of the main test.

### 5.3.2 log file for each trial.mp4

Related script step: 5.3.2

Description:

Displays the generated log file listing the stimulus presented, sound-source direction, and participant response for each trial.

### 5.3.3 calculated result.mp4

Related script step: 5.3.3

Description:

Shows the results sheet within the generated log file displaying calculated localization performance metrics, including root mean square error (RMSE), mean absolute error (MAE), and response bias.