# Submission ID #: 70075

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/files_upload.php?src=21372923

Title: Metagenomic Next-Generation Sequencing of Cerebrospinal Fluid for the Detection of Central Nervous System Pathogens

# Authors and Affiliations:

Sumanth P. Reddy, Jarod Morgenroth-Rebin, Shiyin Wang, Michael R. Wilson

University of California, San Francisco Weill Institute for Neurosciences, Department of Neurology, University of California, San Francisco

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Sumanth P. Reddy			(Sumanth.Reddy@ucsf.edu)

# Email Addresses for All Authors:

Jarod Morgenroth-Rebin		(jarod.morgenrothrebin@ucsf.edu)

Shiyin Wang				(shiyin.wang2@ucsf.edu)

Michael R. Wilson			(michael.wilson@ucsf.edu)

Sumanth P. Reddy			(Sumanth.Reddy@ucsf.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  27

Number of Shots:  50

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Ethics Title Card

This research has been approved by the Institutional Review Board (IRB) at the University of California, San Francisco

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Extraction of Cerebrospinal Fluid (CSF) Nucleic Acid

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, thaw the CSF (C-S-F) samples on ice [1]. Transfer 100 microliters to 1 milliliter of each sample to a 1.5-milliliter tube [2] and centrifuge at 16000 g for 10 minutes at 4 degrees Celsius [3].

    - WIDE: Talent thawing the cerebrospinal fluid samples on ice.

    - Talent transferring each sample to a 1.5 milliliter tube.

    - Talent placing the tubes in the centrifuge.

  - Then, carefully pipette off the supernatant, leaving behind the pellet and 100 microliters of supernatant [1].

    - Talent pipetting off the supernatant from the tube.

  - Add 100 microliters of DNA and RNA Shield to the remaining 100 microliters of supernatant and pellet and mix thoroughly [1].

    - Talent adding DNA/RNA Shield to the tube and mixing it.

  - Then, add 600 microliters of DNA and RNA lysis buffer and pipette mix until the solution is homogeneous [1].

    - Talent adding deoxyribonucleic acid/ribonucleic acid lysis buffer to the tube and mixing it.

  - Perform the DNA and RNA extraction protocol as per the manufacturer’s instructions [1].

    - Talent adding a reagent to the tube with the labelled vials of all the reagents in the frame. TXT: Centrifuge all steps for 1 min at ~21,000 g; Final DNA/RNA wash: 3 min at max speed

  - To elute the sample, add 22 microliters of nuclease-free water directly onto the column matrix, then incubate for 3 minutes at room temperature [1].

    - Talent adding nuclease-free water directly onto the column matrix and leaving it to incubate.

  - After elution, pipette the flow-through back onto the column matrix [1] and centrifuge again for 1 minute at maximum speed [2]. Then, transfer the sample to a new 1.5-milliliter storage tube, and proceed immediately to library preparation or store at minus 80 degrees Celsius [3].

    - Talent pipetting the flow-through back onto the column matrix.

    - Talent placing the column in the centrifuge again.

    - Talent transferring the sample to a new 1.5 milliliter storage tube.

- CSF RNA Library Preparation

Demonstrator: Click here to enter name of demonstrator(s)

  - Pipette the components required for RNA fragmentation and priming in a PCR tube [1]. Incubate the tube in a thermocycler with the heated lid set to 105 degrees Celsius [2].

    - TEXT ON A PLAIN BACKGROUND

RNA sample: 3.5 µL

ERCC spike-in (1:2500): 0.5 µL

First-strand reaction buffer (5x): 4 µL

Random primers: 1 µL

rRNA (1:100): 1 µL

    - Talent placing the polymerase chain reaction tube into the thermocycler.

and

TEXT ON A PLAIN BACKGROUND

75 °C for 2 min

70 °C for 2 min

65 °C for 2 min

60 °C for 2 min

55 °C for 2 min

37 °C for 5 min

25 °C for 5 min Video editor: Please use split screen to show 3.1.2, and 3.1.3

  - Pipette mix the fragmented and primed RNA with 8 microliters of nuclease-free water and 2 microliters of first-strand synthesis enzyme mix [1]. Incubate the tube in a thermocycler with the heated lid set to 105 degrees Celsius [2-TXT].

    - Talent pipetting and mixing the fragmented and primed ribonucleic acid with reagents.

    - Talent placing the tube into the thermocycler. TXT: 25 °C for 10 min; 42 °C for 15 min; 70 °C for 15 min

  - Then mix the first-strand synthesized DNA with 8 microliters of second-strand synthesis reaction buffer and 4 microliters of second-strand synthesis enzyme mix [1]. Place the tube in a thermocycler and incubate for 1 hour at 16 degrees Celsius with the heated lid turned off [2].

    - Talent pipetting and mixing the first-strand synthesized deoxyribonucleic acid with reagents.

    - Talent placing the tube into the thermocycler.

  - Next, perform magnetic bead purification using a 1.8 times ratio of solid-phase reversible immobilization magnetic beads [1]. After incubation, elute the sample into 53 microliters of nuclease-free water [2]. Transfer 50 microliters of the final supernatant containing purified double-stranded cDNA to a clean nuclease-free PCR tube [3-TXT].

    - Talent adding solid-phase reversible immobilization magnetic beads to the sample.

    - Talent adding nuclease-free water to elute the sample.

    - Talent transferring the supernatant to a clean polymerase chain reaction tube. TXT: Store the samples at -20 oC overnight if needed

  - If the sample was stored at minus 20 degrees Celsius overnight, thaw on ice before restarting [1]. Pipette mix 50 microliters of purified double-stranded cDNA with 7 microliters of end-preparation reaction buffer and 3 microliters of end-preparation enzyme mix [2].

    - Talent thawing the sample on ice.

    - Talent pipetting and mixing the purified double-stranded complementary deoxyribonucleic acid with reagents.

  - Place the samples in a thermocycler and incubate at 20 degrees Celsius for 30 minutes and 65 degrees Celsius for 30 minutes with the heated lid turned off [1].

    - Talent placing the tubes into the thermocycler.

  - Next, perform the adapter ligation step on ice by first creating a 1 to 100 dilution of adapter in nuclease-free water [1]. Pipette the end-preparation reaction mixture into a tube containing 30 microliters of ligation master mix, 1 microliter of ligation enhancer, and 2.5 microliters of the diluted adapter [2-TXT].

    - Talent preparing a diluted adapter solution on ice.

    - Talent pipetting the reaction mixture, ligation master mix, ligation enhancer, and adapter sequentially into a tube. TXT: Ensure to add the adapter separately to avoid adapter dimer formation

  - Place the samples in a thermocycler and incubate at 20 degrees Celsius for 15 minutes with the heated lid turned off [1].

    - Talent placing the tubes into the thermocycler.

  - After that, proceed immediately to magnetic bead purification using a 0.9 times ratio of solid-phase reversible immobilization magnetic beads [1].

    - Talent adding solid-phase reversible immobilization magnetic beads to the sample.

  - Once the sample is incubated, elute into 17 microliters of nuclease-free water [1]. Transfer 15 microliters of the final supernatant to a clean nuclease-free PCR tube [2].

    - Talent adding nuclease-free water to elute the sample.

    - Talent transferring the supernatant to a clean polymerase chain reaction tube.

  - Now, pipette purified adapter-ligated cDNA into a tube with 3 microliters of USER (User) enzyme, 25 microliters of Q5 Master Mix, and 10 microliters of unique barcoded primers [1]. Place the tube in a thermocycler with the heated lid set to 105 degrees Celsius and incubate at the presented conditions [2].

    - Talent pipetting and mixing the complementary deoxyribonucleic acid with USER enzyme, Q5 Master Mix, and barcoded primers.

    - TEXT ON A PLAIN BACKGROUND

37 °C for 15 min

98 °C for 30 s

98 °C for 10 s and 65 °C for 75 s for 19 cycles

65 °C for 5 min.

  - Perform a final magnetic bead purification using a 0.8 times ratio of magnetic beads  [1]. Then, elute the sample into 23 microliters of nuclease-free water [2]. Transfer 20 microliters of the final supernatant to a clean nuclease-free PCR tube [3].

    - Talent adding magnetic beads to the sample.

    - Talent adding nuclease-free water to elute the sample.

    - Talent transferring the supernatant to a clean polymerase chain reaction tube. TXT: Store the samples at -20 oC overnight if needed

  - Quantify the concentration of the sample libraries using a DNA quantification kit and the corresponding fluorometer [1]. Verify that water controls have substantially lower or unquantifiable concentrations compared to the other samples [2].

    - Talent places the sample in the flurometer.

    - Display fluorometer readings showing low or undetectable signal for water controls compared to sample libraries.

  - Assess the sample library sizes by running the samples on an automated capillary electrophoresis machine [1-TXT].

    - Talent loading the samples into the automated capillary electrophoresis machine. TXT: Perform CSF DNA library preparation following a similar workflow

- Data Analysis for Pathogen Detection

Demonstrator: Click here to enter name of demonstrator(s)

  - Use the open-source web-based platform Chan Zuckerberg ID to perform metagenomic analysis for pathogen detection [1].

    - SCREEN: Display the Chan Zuckerberg ID homepage loaded in a web browser.

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/files_upload.php?src=21372923

  - Log into Chan Zuckerberg ID and click Upload [1]. Select Metagenomics as the analysis type and choose the input FASTQ (Fast-Q) files from the sequencing run [2]. Enter the required sample information, including sample name, sample type CSF, and nucleotide type RNA or DNA [3].

    - SCREEN: Show login and clicking Upload on the platform.

    - SCREEN: Selecting Metagenomics as the analysis type. Uploading FASTQ files from the sequencing run.

    - SCREEN: Filling in sample details including name, type, and nucleotide.

  - Once processing is complete, click the project folder containing the samples and navigate to the summary dashboard [1].

    - SCREEN: Opening the project folder with uploaded samples. Navigating to the summary dashboard view.

  - Scroll down to examine the number of reads per sample [1]. Review the percentage of reads passing quality control filtering [2] and the duplicate compression ratio to assess for biased PCR overamplification [3].

    - SCREEN: Scrolling through the summary dashboard showing reads per sample.

    - SCREEN: Viewing quality control filtering percentages.

    - SCREEN: Displaying duplicate compression ratio metrics.

  - To determine any Foreign DNA contamination, within the project folder, select each water control sample and click Background model to generate the model [1]. During analysis, apply the model and use Threshold filters to set an NTZ (N-T-Z) score greater than 1 to remove likely contaminants [2].

    - SCREEN: Selecting water control samples in the project folder. Clicking Background model to create the model.

    - SCREEN: Applying Threshold filters and setting NTZ score criteria.

  - Utilize predefined reads per million thresholds by comparing sample reads per million values to control averages [1]. Download taxon-specific reads per million data by selecting samples, clicking Download, and choosing Combined Sample Taxon Results [2]. Analyze the resulting comma-separated values file using statistical software such as R or Stata [3].

    - SCREEN: Selecting samples and clicking Download followed by Combined Sample Taxon Results.

    - SCREEN: Displaying the downloaded comma-separated values file.

    - SCREEN: Opening and analyzing the file in statistical software.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 67.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - The capillary electrophoresis and electropherogram data demonstrated a cDNA sample library that was over-fragmented and contained adapter dimers not suitable for sequencing [1].

    - LAB MEDIA: Figure 2A and B.  Video editor: Highlight the small peak region at low size values indicating adapter dimers

  - The cDNA library without significant adapter dimer contamination was ready for pooling and sequencing [1].

    - LAB MEDIA: Figure 2C and D. Video editor: Show the smooth main peak representing the cDNA library

  - CSF mNGS detected diverse pathogens in Cohort A and B, with at least one pathogen in 73.5 percent of Cohort A samples [1] and 51.2 percent of Cohort B samples [2]

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3