# Submission ID #: 70136

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21391528

# Title: Functional Near-Infrared Spectroscopy-Guided Frequency Mapping of Auricular Vagus Nerve Stimulation in Depression

# Authors and Affiliations:

# Svenja J. Francke1, 2, *, Sarah Alizadeh1, 2, José C. García Alanis1, 2, 3, Dorian Kock1, Jannick Hermann1, Maximilian Kastl1, Hamidreza Jamalabadi1, 2, 4, Felix P. Bernhard1, *

# 1Department of Psychiatry and Psychotherapy, University of Marburg

# 2Center for Mind, Brain, and Behavior (CMBB), University of Marburg

# 3Department of Psychology, University of Marburg

# 4Faculty of Medicine, University of British Columbia

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# svenja.francke@uni-marburg.de

# felix.bernhard@staff.uni-marburg.d

# Email Addresses for All Authors:

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  18

Number of Shots:  45 (15 SC)

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Ethics Title Card

This research has been approved by the Institutional Ethics Committee of the Faculty of Medicine at the University of Marburg

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Participant Screening and Experimental Setup

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin, recruit adult participants into major depressive disorder and healthy control groups [1]. Administer the clinical assessment questionnaires during participant screening and record the total score for each questionnaire [2-TXT].

    - WIDE: Talent explaining the procedure to the participant with some gesturing. Videographer: Please obtain CU shot as well for this shot.

    - Talent handing over the questionnaire notepad to the participant and participant writing the responses. TXT: Hamilton Depression Rating Scale (HAMD-24); Beck Depression Inventory–II (BDI-II)

  - Seat the participant in a quiet, dimly lit room [1]. Position a monitor with a fixation cross approximately 1 meter in front of the participant [2]. Instruct the participant to remain awake and to fixate on the cross throughout all recordings [3].

    - Talent seating the participant in a quiet, dimly lit room.

    - Talent positioning the monitor with a fixation cross approximately 1 meter in front of the participant.

    - Talent instructing the participant to remain awake and fixate on the cross throughout all recordings.

- taVNS Preparation and Configuration

  - Prepare a transcutaneous auricular vagus nerve stimulation or taVNS device with a titanium–iridium stimulation electrode [1]. Place the electrode on the left cymba conchae of the ear [2]. Adjust the electrode to ensure stability and adequate skin contact [3].

    - Talent preparing the taVNS device with the titanium–iridium stimulation electrode.

    - Talent placing the electrode on the left cymba conchae of the ear.

    - Talent adjusting the electrode to ensure stability and adequate skin contact.

  - For current amplitude calibration, set the pulse width to 300 microseconds [1]. Enable continuous stimulation without duty cycling [2]. Gradually increase the stimulation current [3].

    - SCREEN: the pulse width setting being set to 300 microseconds.

    - SCREEN: continuous stimulation being enabled without duty cycling.

    - Talent gradually increasing the stimulation current.

Authors: Please create screen capture videos of the shots labeled as SCREEN, write a screenshot summary, and upload the files to your project page as soon as possible:  https://review.jove.com/account/file-uploader?src=21391528

Please let me know if your hospital system doesn’t allow screen recordings
Please let me know if any of the talent shots have to be changed to SCREEN and vice-versa

  - Stop the increase at the highest tolerable level without pain [1]. Target a subjective intensity of 7 to 8 on a 10-point visual analog scale [2].

    - Talent stopping the stimulation current increase after the participant gestures pain.

    - Talent noting a subjective intensity of 7 to 8 on a 10-point visual analog scale.

  - Calibrate the stimulation current separately for each frequency of 2, 10, 25, and 40 hertz [1]. Record the final current amplitude selected for each frequency and repeat the calibration procedure before each frequency block [2].

    - Talent calibrating the stimulation current separately for the next frequency.

    - Talent recording the final current amplitude selected for each frequency.

- taVNS Stimulation Procedure

  - Instruct the participant again to fixate on a centrally presented fixation cross during all resting-state recordings and inform them that a response is not required during stimulation or resting-state periods [1].

    - Talent instructing the participant to fixate on the centrally presented fixation cross by gesturing and signaling not to give any response.

  - For the sham configuration, adjust the device settings to not deliver any electrical current [1]. Inform the participant that stimulation is being applied [2]. Match all tactile, visual, and auditory cues to active stimulation conditions [3].

    - Talent configuring the device to deliver no electrical current or setting the current parameter to 0.

    - Talent informing the participant that stimulation is being applied.

    - Talent matching all tactile, visual, and auditory cues to active stimulation conditions. Authors: How is this performed, can you please simplify?

  - Perform perceptual checks between blocks to ensure that sham and active conditions remain indistinguishable to the participant [1].

    - Talent performing perceptual checks between stimulation blocks. Authors: How do you check this?

  - Prepare the participant for the stimulation block procedure and conducted the experiment in a single session [1]. Configure the settings to apply taVNS once per condition within the session [2].

    - Talent preparing the participant for a single experimental session.

    - SCREEN: configuring the taVNS settings.

  - Insert a 2-minute inter-condition interval without stimulation between consecutive blocks [1]. After the initial resting-state baseline, apply the sham condition for 6 minutes following the 2-minute inter-condition interval [1]. Then, apply the four active stimulation frequencies of 2, 10, 25, and 40 hertz for 6 minutes each according to the single-blind randomization sequence [2-TXT].

    - SCREEN: setting the 2-minute inter-condition interval without stimulation.

    - Talent applying the sham condition after the 2-minute inter-condition interval.

    - SCREEN: applying the active stimulation frequencies according to the single-blind randomization sequence. TXT: Avoid extended washout periods

  - Monitor stimulation delivery and electrode contact continuously during each block [1].

    - Talent monitoring and pointing to the electrode contact during a block.

- fNIRS System Setup

Demonstrator: Click here to enter name of demonstrator(s)

  - Prepare two synchronized functional near-infrared spectroscopy or fNIRS systems [1]. Ensure that each system is equipped with 16 light sources and 16 detectors [2]. Define the optode montage using an optical layout planning tool to target default mode network regions based on a standardized anatomical atlas [3-TXT].

    - Talent preparing two synchronized fNIRS systems.

    - Talent pointing to the 16 light sources and 16 detectors.

    - SCREEN: the optode montage being defined in the optical layout planning tool. TXT: fNIRS Optodes' Location Decider (fOLD) toolbox

  - Position optodes to cover the bilateral precuneus and posterior cingulate cortex, medial prefrontal cortex, bilateral angular gyri, and medial temporal regions [1]. Configure long-separation channels using a 3-centimeter source-detector distance [2]. Add short-separation channels of approximately 8 millimeters for extracerebral signal regression [3].

    - Talent positioning optodes to cover the specified cortical regions.

    - Talent configuring long-separation channels with a 3-centimeter source–detector distance.

    - Talent adding short-separation channels for extracerebral signal regression.

  - Set the parameters to acquire dual-wavelength optical signals at 760 nanometers and 850 nanometers [1]. Set the sampling frequency to 5.1 hertz [2] and synchronize the two fNIRS systems before each recording run [3].

    - SCREEN: adjusting settings to acquiring dual-wavelength optical signals at 760 nanometers and 850 nanometers.

    - SCREEN: the sampling frequency being set to 5.1 hertz.

    - SCREEN: synchronizing the two fNIRS systems before a recording run.

- fNIRS Data Acquisition

Demonstrator: Click here to enter name of demonstrator(s)

  - Acquire continuous fNIRS data throughout the entire session [1]. Record an initial resting-state baseline for 6 minutes without stimulation [2].

    - Talent monitoring continuous fNIRS data during the session.

    - Talent recording the initial resting-state baseline without stimulation.

  - During the experimental blocks, control the block timing and randomization using a control software synchronized with fNIRS data acquisition system [1]. Continue fNIRS acquisition throughout the sham condition, active stimulation blocks, and all inter-condition intervals [2].

    - SCREEN: Show block timing and randomization settings.

    - SCREEN: fNIRS data acquisition during the experimental blocks.

  - After the final stimulation block, record a post-stimulation resting state for 6 minutes without stimulation [1].

    - SCREEN: recording the post-stimulation resting state without stimulation.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: XXX.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Condition-dependent variations in default mode network organization were observed relative to the healthy control reference template across stimulation conditions in a representative participant with major depressive disorder [1].

    - LAB MEDIA: Figure 5A. Video editor: Show the connectivity maps for the different conditions around the center reference map .

  - Distance measures quantified differences between each condition and the healthy control template across connectivity, eigenvalue, eigenvector, and average controllability metrics [1].

    - LAB MEDIA: Figure 5B. Video editor: Show the four bar-chart panels labeled Connectivity Distance, Eigenvalue Distance, Eigenvector Distance, and Average Controllability Distance.

  - Conditions were ranked according to their proximity to the healthy control template, with lower distance values indicating closer similarity [1].

    - LAB MEDIA: Figure 5B. Video editor: Highlight the rank labels displayed above the bars and show the condition marked with the smallest distance in each panel.

  - The ranking of conditions differed across the distance metrics, indicating that each metric captured complementary aspects of the network representation [1].

    - LAB MEDIA: Figure 5B. Video editor: Compare the highlighted lowest-ranked conditions across the four distance panels and show that different conditions are selected in different panels.

  - Ranks from the 4 metrics were aggregated within each participant to obtain a consensus ranking across stimulation conditions [1].

    - LAB MEDIA: Figure 5C. Video editor: Show the consensus ranking chart where rank values from multiple measures are combined for each condition.

  - The condition with the lowest total rank was selected as the representative stimulation frequency for the participant [1].

    - LAB MEDIA: Figure 5C. Video editor: Highlight the bar enclosed by the red box and labeled as the selected stimulation frequency.

NOTE to the Authors:

You have two options for filming and submitting the SCREEN footage:

Option 1: Uploading Separate Clips (Highly Recommended)

Please upload a separate video file for each SCREEN shot (tagged as SCREEN), naming the file according to the shot number (e.g., 2.4.3, 1.5.1, 3.2.1, 3.1.3, etc.).

- Each clip must be a maximum of 20 to 25 seconds to match the voice narration.

- If an action takes longer, provide only the best, most representative 20-25 second segment.

- Please do not provide longer clips as we won’t be able to use them.

Option 2: Uploading a Single Continuous Video

If you prefer to record all steps together and upload a single video file, that is acceptable. In this case, you must write the precise timestamp for each shot within the script.

For example, if the action described in shot 2.13.1 is present in the file xxx.mp4 and occurs between timestamps 00:30 and 00:45 , then write the following in the script after each shot description or as a comment bubble.

(write the file name and timestamp after each shot): [File name] [Start Time]-[End Time]

- Example 	2.13.1  SCREEN: performing ...........action. xxx.mp4 00:30-00:45

2.13.2, SCREEN: cutting the…..........action. xxx.mp4 01:10-01:20

- The duration between the start and end times for each shot must be limited to 20 to 25 seconds.

- If a shot is longer than 25 seconds, choose two short segments (one at the beginning and one at the end) that collectively do not exceed 25 seconds.

- Example: 3.1.1 SCREEN: inserting a needle... xxx.mp4 00:00-00:10 and 02:30-02:40