# Submission ID #: 70204

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21412268

# Title: Colonization with Murine pks+ Escherichia coli Under Non-Inflammatory Conditions

# Authors and Affiliations:

# Claire McCartney1, Manuela M. Santos1,2

# 1Nutrition and Microbiome Laboratory, Institut du Cancer de Montréal, Centre de recherche du Centre hospitalier de l’Université de Montréal (CRCHUM)

# 2Department of Medicine, Faculty of Medicine, Université de Montréal

# Corresponding Authors:

# Manuela M. Santos 		manuela.santos@umontreal.ca

# Email Addresses for All Authors:

# Claire McCartney		claire.mccartney@umontreal.ca

# Manuela M. Santos 		manuela.santos@umontreal.ca

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Filming location: Will the filming need to take place in multiple locations?   No

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. No

Current Protocol Length

Number of Steps:  22

Number of Shots:  47

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

The answers are edited in accordance with the journal guidelines

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Claire McCartney: This protocol describing pks+ E. coli colonization and quantification in mice allows for the study of host-microbiota interactions involving a key pathobiont implicated in colorectal cancer development.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Claire McCartney: In comparison to other methods that utilize genetically or chemically-induced models of colon inflammation, this protocol describes colonization under non-inflammatory conditions.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Claire McCartney: This protocol describes several methods for the validation of pks+ E. coli colonization and quantification of pks+ E. coli growth by bacterial culturing and PCR amplification.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Are there any additional methods or analyses that can be performed following this procedure?

  - Claire McCartney: This method can be combined with one of several colorectal cancer models, allowing for the assessment of the pks+ E. coli-associated mutagenesis in colon tissue.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Claire McCartney: This method can be used to study microbiota-targeting methods to limit pks+ E. coli expansion and mutagenic potential in healthy hosts.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Videographer: Obtain headshots for all authors available at the filming location.

# Ethics Title Card

This research has been approved by the Institutional Animal Care Committee of the Centre de recherche du Centre hospitalier de l’Université de Montréal

# Protocol

- Antibiotic Treatment of the Mouse and Preparation of E. coli NC101 Inoculum

Demonstrator: Claire McCartney

NOTE to Authors: Please consider the following key points for shots involving live

animals/survival surgery (as applicable) to avoid raising concerns by JoVE’s veterinary

reviewers.

- If lifting the animal by the tail, hold it close to the tail base, not far from it.

- Use sterile gloves only for surgery (not examination or non-sterile gloves).

  - To begin, add ampicillin, colistin, and streptomycin to a container [1] and then pour sterile drinking water to dilute the antibiotics [2-TXT].

    - WIDE: Talent adding the antibiotics to the container containing water. TXT: Ampicillin: 1 mg/mL; Colistin: 1 mg/mL; Streptomycin: 5 mg/mL

    - Talent adding sterile drinking water to the antibiotic container.

  - Let the animal access the antibiotic-containing drinking water for 3 days [1].

    - Talent placing the antibiotic drinking water bottle into the animal cage.

  - Then, remove the antibiotic-containing drinking water [1] and restore access to sterile drinking water for a 24-hour washout period before the gavage [2].

    - Talent removing the antibiotic water bottle from the animal cage.

    - Talent placing a bottle containing sterile drinking water onto the cage.

  - Manwhile, using an inoculating loop, pick a single colony of Escherichia coli NC101 from the Luria–Bertani agar and inoculate it in 5 milliliters of sterile Luria–Bertani broth [1]. Incubate the culture overnight at 37 degrees Celsius in a benchtop incubation shaker at 150 revolutions per minute [2].

    - Talent picking a single bacterial colony from agar plate and inoculating a culture tube containing 5 milliliters of sterile Luria–Bertani broth.

    - Talent placing the inoculated culture tube into a benchtop incubation shaker.

  - Then, centrifuge the culture tube at 1500 g for 5 minutes at room temperature [1]. Remove and discard the supernatant while avoiding disturbance of the bacterial pellet [2]. The bacterial pellet appears as an off-white deposit at the base of the tube [3].

    - Talent placing the culture tube into a centrifuge.

    - Talent carefully aspirating and discarding the supernatant from the culture tube.

    - Close-up shot of the off-white bacterial pellet at the base of the tube.

  - Resuspend the bacterial pellet in 5 milliliters of 0.9 percent sterile saline [1-TXT].

    - Talent resuspending the bacterial pellet in the tube with 5 milliliters of sterile saline by pipetting. TXT: Centrifuge again and wash with 0.9% saline

  - After the second wash, measure the optical density of the suspension at 600 nanometers using a cell density meter [1]. Adjust the optical density at 600 nanometers to 0.625, corresponding to approximately 1 × 10⁸ colony-forming units per mouse, using sterile saline [2].

    - Talent placing the bacterial suspension into a spectrophotometer to measure optical density at 600 nanometers.

    - Talent diluting the suspension with saline to adjust OD600.

- Oral Gavage of E. coli NC101 into the Mouse

  - Gently agitate the bacterial inoculum to ensure equal distribution of the bacteria [1].

    - Talent gently mixing the bacterial inoculum tube by hand.

  - Attach the gavage needle to a 1-milliliter syringe [1-TXT]. Fill the syringe with 0.2 milliliters of the bacterial inoculum and remove any air bubbles [2].

    - Talent fitting a gavage needle onto a 1 milliliter syringe. TXT: Select an appropriate gavage needle based on the size of the animal

    - Talent drawing 0.2 milliliters of bacterial inoculum into the syringe and removing air bubbles.

  - Now, remove the mouse from the cage [1]. Scruff the mouse by grasping the skin just behind the ears to the shoulder blades using the thumb pad and the side of the index finger [2]. Secure the tail with the middle or ring finger of the same hand [3].

    - Talent removing a mouse from the cage.

    - Talent scruffing the mouse by grasping the skin behind the ears to the shoulder blades.

    - Talent securing the mouse tail with the middle or ring finger while maintaining the scruff.

  - Hold the mouse in an upright position [1]. Insert the gavage needle into the side of the mouth [2]. Glide the tip of the gavage needle along the roof of the mouth into the esophagus and stomach while gently pushing the mouse head back to extend the neck [3-TXT].

    - Talent holding the scruffed mouse upright.

    - Talent inserting the gavage needle into the side of the mouse mouth.

    - Talent advancing the gavage needle along the roof of the mouth toward the esophagus while extending the mouse neck. TXT: Remove the gavage needle if resistance is felt

  - Slowly inject 0.2 milliliters of the bacterial inoculum [1] and withdraw the gavage needle following the same angle as insertion [2].

    - Talent depressing the syringe plunger to inject the bacterial inoculum.

    - Talent withdrawing the gavage needle from the mouse mouth.

  - Return the mouse to the cage [1] and place the animal on a diet supplemented with inulin or a no-fiber control diet [2].  Authors: This point has been introduced to provide context to the results

    - Talent placing the mouse back into the cage.

    - Talent placing the diet food pellets near the cage.

- Collection of Mouse Fecal Samples and Quantification of E. coli NC101 by CFU Enumeration

  - Collect a fecal pellet from each mouse in a 1.5-milliliter microcentrifuge tube by scruffing the mouse as previously demonstrated [1]. Alternatively, place the mouse in a clean empty cage and wait up to 30 minutes for defecation to occur [2].

    - Talent scruffing a mouse while holding a 1.5 milliliter microcentrifuge tube beneath the mouse to collect a fecal pellet.

    - Talent placing the mouse into a clean empty cage to allow fecal pellet collection.

  - Snap-freeze the sample by placing the microcentrifuge tube in liquid nitrogen [1-TXT].

    - Talent placing the microcentrifuge tube containing the fecal pellet into liquid nitrogen. TXT: The sample can be frozen at -80 °C until analysis

  - Next, weigh an empty 1.5-milliliter microcentrifuge tube [1].

    - Talent placing an empty 1.5 milliliter microcentrifuge tube on a balance to record its weight.

  - Add approximately 20 milligrams of stool to the 1.5 milliliter microcentrifuge tube [1] and record the weight of the tube containing the stool sample [2].

    - Talent placing approximately 20 milligrams of stool into the 1.5 milliliter microcentrifuge tube.

    - Talent weighing the microcentrifuge tube containing the stool sample on a balance.

  - Now, add 200 microliters of 0.9 percent sterile saline to the tube [1].

    - Talent pipetting 200 microliters of 0.9 percent sterile saline into the microcentrifuge tube containing the stool sample.

  - After 10 to 15 minutes, vortex the tube for 5 minutes at maximum speed to produce a homogeneous suspension [1]. Small particles of undigested food material may remain visible [2].

    - Talent placing the microcentrifuge tube into a vortex mixer.

    - Close-up shot of the homogenized stool suspension in the tube showing small particles of undigested material.

  - Transfer 100 microliters of each suspension onto a MacConkey agar plate [1] and evenly spread the homogenate using an L-shape spreader [2].

    - Talent pipetting 100 microliters of the stool suspension onto a MacConkey agar plate.

    - Talent spreading the suspension across the agar surface using an L-shape spreader.

  - Incubate the plates overnight at 37 degrees Celsius [1].

    - Talent placing the MacConkey agar plate into an incubator.

  - Finally, count the number of pink colonies on each plate [1]. Normalize the colony counts by the weight of each fecal pellet and the plated volume [2]. Extract genomic DNA from the fecal samples [3]. Quantify the clb (C-L-B) genes and Enterobacteriaceae abundance using quantitative PCR with gene-specific and family-specific primers [4].

    - Close-up shot of pink colonies on a MacConkey agar plate.

    - Talent recording colony counts in a book while looking at the plate.

    - Talent adding NDA-extraction buffer to the fecal suspension.

    - Talent placing a PCR tube with reaction mix in a qPCR machine.

# Results

- Results

  - The amplification and visualisation of the clbA (C-L-B-A) and E. coli 16S genes in feces at the endpoint by PCR and gel electrophoresis showed that [1], while both genes were visible in E. coli NC101-colonized mice [2], only the E. coli 16S gene was visible in control mice, confirming that E. coli NC101 was not present [3].

    - LAB MEDIA: Figure 2B.

    - LAB MEDIA: Figure 2B. Video editor: Highlight the lanes “EcNC101

    - LAB MEDIA: Figure 2B. Video editor: Highlight the “saline” lanes

  - After 1 week, mice receiving the inulin-supplemented diet showed greater colony-forming unit recovery from fecal homogenates cultured on MacConkey agar compared to the no-fiber condition [1].

    - LAB MEDIA: Figure 2C. Video editor: Highlight the image and data points for group labeled “INU” for “EcNC101” .

  - After 1 week, mice receiving the inulin-supplemented diet showed increased levels of the colibactin P gene [1] and Enterobacteriaceae abundance compared to the no-fiber condition [2].

    - LAB MEDIA: Figure 2D. Video editor: Highlight the group labeled “INU - EcNC101”

    - LAB MEDIA: Figure 2E. Video editor: Highlight the group labeled “INU EcNC101”