# Submission ID #: 70343

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21454663

# Title: Standardized Flow Cytometry Assay Using Dried Recombinant Antibody Panels for CAR T Cell Characterization

# Authors and Affiliations:

# Annika Ridzal1, Anja Brauchle1, Desiré Missing1, Michael Hudecek2,3, Marsilius Mues1, Maik Luu2,3, Concetta Quintarelli4, Stephan Wilmes1

1 Miltenyi Biotec, Bergisch Gladbach

# 2 Lehrstuhl für Zelluläre Immuntherapie, Medizinische Klinik und Poliklinik II, Universitätsklinikum Würzburg

# 3Außenstelle Zelluläre Immuntherapie, Fraunhofer Institut für Zelltherapie und Immunologie (IZI)

# 4 IRCCS Bambino Gesù Children's Hospital

# Corresponding Authors:

# Annika Ridzal 		annikag@miltenyi.com

# Email Addresses for All Authors:

# Anja Brauchle 		anjabr@miltenyi.com

# Desiré Missing 	desirem@miltenyi.com

# Michael Hudecek 	hudecek_M@ukw.de

# Marsilius Mues 	marsiliusm@miltenyi.com

# Maik Luu 		Luu_M@ukw.de

# Concetta Quintarelli 	concetta.quintarelli@opbg.net

# Stephan Wilmes 	stephanwi@miltenyi.com

# Annika Ridzal 		annikag@miltenyi.com

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage? Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

Videographer: Please record the computer screen for the shots labeled as SCREEN as back-up. The screen should be in focus and the fonts should be clearly visible.

3. Filming location: Will the filming need to take place in multiple locations?   No

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. No

Current Protocol Length

Number of Steps:  22

Number of Shots:  45 (16 SC)

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Stephan Wilmes: StainExpress aims to standardize staining workflows, reduce procedural complexity, enhance consistency across sites, and save time of flow cytometric analysis for cell and gene therapy.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Describe the research contexts or systems in which this protocol can be applied.

  - Stephan Wilmes: StainExpress can be used during research, manufacturing, and immunomonitoring of CGT drugs, such as CAR T cells. This is also available as a customized panel for different flow cytometric applications.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Stephan Wilmes: This protocol allows researchers to study immunophenotyping, including cell counts, frequencies, viability, and transduction efficiency of CAR T cells.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Describe the most important consideration or challenge when performing this protocol.

  - Stephan Wilmes: The use of StainExpress is straightforward, and no extensive training is required before application. The key consideration is ensuring consistency across reagent lots and proper sample handling to maintain reproducibility.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Are there any additional methods or analyses that can be performed following this procedure?

  - Stephan Wilmes: This protocol is adaptable for various CAR-T cells and TCR-T workflows, requiring minimal changes to accommodate different needs.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Videographer: Obtain headshots for all authors available at the filming location.

# Ethics Title Card

This research has been approved by the Ethics Committee of the Ärztekammer Nordrhein

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Dried Panel Staining using ICC Cocktail

Demonstrator: Anja Brauchle

  - To begin, obtain dried Immune Cell Composition or ICC cocktail antibody [1]. Add 100 microliters of the human Chimeric Antigen Receptor T or CAR-T (car-T) cell suspension directly to the antibody tube [2-TXT]. Briefly vortex to fully dissolve the pellet and incubate for 10 minutes in the dark at room temperature [3]. Adjust the volume of antibody-stained samples to 2000 microliters by adding PEB buffer, then proceed directly to flow cytometry [4-TXT].

    - WIDE: Talent placing the tube containing dry ICC antibody on the work surface.

    - Shot of adding the prepared cell suspension directly to the dried ICC antibody tube. TXT: Cell concentration: <1 x 107 cells/mL

    - WIDE: Talent briefly vortexing the dried ICC antibody tube and placing the dried ICC antibody tube in the dark chamber.

    - Talent adjusting the volume of stained samples by adding PEB buffer. TXT: PEB buffer:  PBS, 2mM EDTA, 0.5% BSA

- Dried Panel Staining with CAR T Transduction Cocktail

  - Add 100 microliters of the cell suspension to the dried CAR-T transduction tube [1-TXT].

    - Talent adding the cell suspension to the dried CAR T transduction tube. TXT: Cell concentration: <1 x 107 cells/mL

  - Add the appropriate volume of CAR detection reagent [1] and briefly vortex to fully dissolve the pellet [2]. Then, incubate for 10 minutes in the dark at room temperature [3].

    - Talent adding the appropriate volume of CAR detection reagent to the dried CAR T transduction tube.

    - Talent briefly vortexing the dried CAR T transduction tube and showing fully dissolved pellet.

    - Talent placing the dried CAR T transduction tube in a dark chamber/cupboard at room temperature.

  - Wash the cells by adding 1 milliliter of PEB buffer [1]. Centrifuge at 300 g for 5 minutes [2] and remove the supernatant completely [3]. If required, perform a second wash when using biotin-labeled CAR detection reagents to fully remove the free reagent and reduce background staining [4]. Loosen the cell pellet by agitation for easier resuspension [5].

    - Talent adding PEB buffer to the cells.

    - WIDE: Talent placing the cells in the centrifuge.

    - Close up of Talent removing the supernatant completely.

    - Talent adding PEB buffer and placing the sample in the centrifuge.

    - Talent loosing cell pellet by vigorous agitation by rapidly scraping the tube back and forth over an empty rack..

  - Resuspend the cells in 98 microliters of PEB buffer [1]. Add 2 microliters of phycoerythrin-labeled secondary antibody [2]. Vortex briefly to mix [3] and incubate for 10 minutes in the dark at room temperature [4]. Wash the cells with PEB buffer as demonstrated earlier to remove any unbound secondary antibody [5].

    - Talent resuspending the cells in buffer.

    - Talent adding the phycoerythrin-labeled secondary antibody to the resuspended cells.

    - WIDE: Talent briefly vortexes the cells to mix.

    - Talent placing the cells in the dark at room temperature.

    - Talent adding the PEB buffer to wash the cells.

  - Adjust the volume of the sample to 500 microliters with PEB buffer [1].

    - Talent adjusting the volume of all samples stained with CAR T Transduction Panel with PEB buffer.

- Flow Cytometry

  - Turn on and prime the flow cytometer, ensuring that the calibration and instrument settings are optimized [1].

    - Talent turning on the flow cytometer and adjusting settings.

  - Turn on the lasers and rinse the fluidic system [1].

    - SCREEN: turning on the lasers by switching to acquisition mode.

Videographer: Please record the computer screen for the shots labeled as SCREEN as back-up. The screen should be in focus and the fonts should be clearly visible.

  - While the optical bench warms up, run a cleaning program with a 1 percent hypochlorite solution [1]. Use calibration beads to adjust the laser settings [2].

    - SCREEN: running a cleaning program with a 1 percent hypochlorite solution.

    - SCREEN: adjusting the laser settings with calibration beads.

  - Prepare single-stained controls for compensation using the matching antibody sets [1]. For beads, add an appropriate volume of positive control [2] and negative control [3].

    - Talent picks up and selects a labeled matching dried single stained control tube.

    - Talent adding the positive control beads to a bead sample.

    - Talent adding the negative control bead.

  - For biotin-conjugated reagents, include a tube with 98 microliters of buffer [1] plus 2 microliters of phycoerythrin-labeled secondary antibody [2].

    - Talent adding buffer and control beads to the tube.

    - Close up of Talent adding the phycoerythrin-labeled secondary antibody to the tube.

  - Verify that the compensation reagents match the antibody cocktail lot numbers [1].

    - Talent looking at the tube labels/datasheets and verifying that the compensation reagents match the antibody cocktail lot numbers.

  - Incubate the controls for 10 to 20 seconds [1] and vortex for 5 seconds [2]. Then, incubate them for 10 minutes in the dark at 19 to 25 degrees Celsius [3].

    - Talent placing the sample aside.

    - Talent vortexing the controls.

    - Talent placing the controls in the dark cabinet at room temperature.

  - Next, dilute the test samples with 600 microliters of PEB buffer [1] and mix thoroughly [2].

    - Talent adding buffer to dilute the samples.

    - Talent mixing the diluted samples thoroughly.

  - Load the single-stained controls to set up compensation [1].

    - Talent loading the single-stained controls.

  - Adjust the forward scatter and side scatter voltages [1] and define thresholds to exclude debris [2]. Acquire at least 50,000 to 100,000 live lymphocytes per sample [3].

    - SCREEN: adjusting the forward scatter and side scatter voltages.

    - SCREEN: Show the thresholds being defined to exclude debris.

    - SCREEN: acquiring live lymphocytes.

Authors: Please create screen capture videos of the shots labeled as SCREEN, write a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21454663

- Data Analysis

  - Perform gating to evaluate viability [1], CD3 expression [2], and CAR expression [3].

    - SCREEN: Show the gating to evaluate viability.

    - SCREEN: Show the gating to evaluate Cluster of Differentiation 3 expression.

    - SCREEN: Show the gating to evaluate CAR expression.

  - For absolute quantification, determine the fraction of CAR-positive T cells [1]. Define the total leukocytes as viable CD45-positive single cells after debris exclusion [2].

    - SCREEN: Show the determination of the fraction of CAR-positive T cells.

    - SCREEN: Show the total leukocytes defined as viable Cluster of Differentiation 45-positive single cells after debris exclusion.

  - Measure the total leukocyte counts by direct counting from ICC-stained samples if supported by the instrument [1].

    - SCREEN: Show the total leukocyte counts measured by direct counting from ICC-stained samples.

  - Finally, calculate the CAR T cell concentration [1].

    - SCREEN: Show the formula and calculation of the CAR T cell concentration using the fraction of CAR-positive T cells multiplied by the total leukocyte count.

# Results

- Results

  - The dried ICC cocktail panel enabled identification of key leukocyte subsets [1]. CD3-positive cells were identified and further classified into T cells [2] and NKT cells based on CD56 expression [3]. T cells were subsequently separated into CD4-positive [4] and CD8-positive subsets [5].

    - LAB MEDIA: Figure 2. Video editor: Show D to I

    - LAB MEDIA: Figure 2F. Video editor: Highlight T cells box when VO says T cells

    - LAB MEDIA: Figure 2F. Video editor: Highlight NK T cells box

    - LAB MEDIA: Figure 2G. Video editor: Highlight CD4+ T cells compartment

    - LAB MEDIA: Figure 2G. Video editor: Highlight CD8+ T cells compartment

  - Within the CD3-negative population, monocytes were defined by CD14 expression [1] and B cells by CD19 expression [2]. The remaining CD14-negative and CD19-negative cells were subdivided into eosinophils [3], neutrophils [4], and other CD56-positive and CD16-positive cells [5].

    - LAB MEDIA: Figure 2H. Video editor: Highlight monocytes compartment when VO says monocytes

    - LAB MEDIA: Figure 2H. Video editor: Highlight B cells compartment

    - LAB MEDIA: Figure 2I. Video editor: Highlight eosinophils compartment

    - LAB MEDIA: Figure 2I. Video editor: Highlight neutrophils compartment

    - LAB MEDIA: Figure 2I. Video editor: Highlight CD56+ CD16+ cells compartment

  - The dried CAR T transduction panel allowed visualization of CAR-expressing T cells and assessment of transduction efficiency [1].

    - LAB MEDIA: Figure 3F. Video editor: Highlight the area labeled “CAR+ cells (39%)” in panel F.

  - Preparation time was reduced when dried antibody panels were used by both less experienced users [1] and experienced users [2]. Less experienced users were nearly as fast as experienced users [3].

    - LAB MEDIA: Figure 4. Video editor: Highlight the left chart labeled “Non-experienced,” and the “dried reagents” data points.

    - LAB MEDIA: Figure 4. Video editor: Highlight the right chart labeled “Experienced” and the “dried reagents” data points.

    - LAB MEDIA: Figure 4. Video editor: Show both charts side by side and highlight the “dried reagents” data points.

  - Immune cell subset frequencies obtained with dried antibody cocktails were comparable to those [1] obtained with conventional liquid cocktails [2].

    - LAB MEDIA: Figure 5J. Video editor: Highlight the “Frequency Dry (%)” columns.

    - LAB MEDIA: Figure 5J. Video editor: Highlight the “Frequency Liquid (%)” columns.

NOTE to the Authors:

Watch this video and apply the settings while capturing the screen to obtain high-quality videos: https://www.youtube.com/watch?v=Y67dM1kKcTE

You have two options for filming and submitting the SCREEN footage:

Option 1: Uploading Separate Clips (Highly Recommended)

Please upload a separate video file for each SCREEN shot (tagged as SCREEN), naming the file according to the shot number (e.g., 2.4.3, 1.5.1, 3.2.1, 3.1.3, etc.).

- Each clip must be a maximum of 20 to 25 seconds to match the voice narration.

- If an action takes longer, provide only the best, most representative 20-25 second segment.

- Please do not provide longer clips as we won’t be able to use them.

Option 2: Uploading a Single Continuous Video

If you prefer to record all steps together and upload a single video file, that is acceptable. In this case, you must write the precise timestamp for each shot within the script.

For example, if the action described in shot 2.13.1 is present in the file xxx.mp4 and occurs between timestamps 00:30 and 00:45 , then write the following in the script after each shot description or as a comment bubble.

(write the file name and timestamp after each shot): [File name] [Start Time]-[End Time]

- Example 	2.13.1  SCREEN: performing ...........action. xxx.mp4 00:30-00:45

2.13.2, SCREEN: cutting the…..........action. xxx.mp4 01:10-01:20

- The duration between the start and end times for each shot must be limited to 20 to 25 seconds.

- If a shot is longer than 25 seconds, choose two short segments (one at the beginning and one at the end) that collectively do not exceed 25 seconds.

- Example: 3.1.1 SCREEN: inserting a needle... xxx.mp4 00:00-00:10 and 02:30-02:40