# Submission ID #: 70375

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21464423

# Title: Hypercapnic Hyperventilation to Accelerate Emergence from Inhaled Volatile Anesthetics: A Practical Method Using Standard Hospital Equipment

# Authors and Affiliations:

# Blaz Pecek1, Lucas T. van Eijk2, Jörgen Bruhn3

# 1Department of Anesthesia, Izola General Hospital

# 2Department of Anesthesiology, Pain and Palliative Medicine, Radboud University Medical Center

# 3Department of Anesthesiology, Pain and Palliative Medicine, Radboud University Medical Center

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Lucas T. van Eijk	lucas.vaneijk@radboudumc.nl

# Email Addresses for All Authors:

# Blaz Pecek		blazpecek@gmail.com

# Jorgen Bruhn		jorgen.bruhn@radboudumc.nl

# Lucas T. van Eijk	lucas.vaneijk@radboudumc.nl

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

DO NOT use this draft script for filming. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  25

Number of Shots:  47

# Interviews

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter full author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Ethics Title Card

This research has been approved by the Institutional Review Board (IRB) or equivalent body at (insert Institutional Name)

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

- Preparation of the Anesthesia Circuit

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin, turn off the volatile anesthetic vaporizer connected to the patient who underwent an elective surgery  [1]. Ensure that no anesthetic agent is being delivered to the circuit [2].

    - WIDE: Talent turning off the volatile anesthetic vaporizer.

    - Talent pointing to and confirming that no anesthetic agent is being delivered to the circuit.

  - Set the inspired oxygen fraction to 1 by adjusting the anesthesia machine oxygen blender to deliver 100% oxygen [1].

    - Talent adjusting the anesthesia machine oxygen blender to deliver 100% oxygen.

  - Reduce the fresh gas flow to approximately 0.2 liters per minute using the flow control knobs on the anesthesia machine [1]. Promote rebreathing within the circuit [2].

    - Talent reducing the fresh gas flow to approximately 0.2 liters per minute using the flow control knobs.

    - Shot of the anesthesia circuit operating under the reduced fresh gas flow conditions.

  - Attach a single active charcoal filter to the inspiratory limb of the anesthesia circuit immediately distal to the Y-piece [1]. Ensure the correct directional orientation according to the manufacturer's instructions [2].

    - Talent attaching a single active charcoal filter to the inspiratory limb of the anesthesia circuit immediately distal to the Y-piece.

    - Close-up of the correctly oriented active charcoal filter on the anesthesia circuit.

  - Verify a secure, airtight connection without leaks [1] and confirm the unidirectional gas flow through the filter [2].

    - Talent checking the filter connection for an airtight seal.

    - Talent confirming the unidirectional gas flow through the filter.

  - Refill the breathing circuit with 100% oxygen by flushing the oxygen button for 1 to 2 seconds in the event of an unwanted disconnection [1].

    - Talent refilling the breathing circuit by flushing the oxygen button for 1 to 2 seconds.

  - Disconnect the carbon dioxide-absorbing canister containing soda lime from the anesthesia machine to allow carbon dioxide accumulation within the breathing loop [1].

    - Talent disconnecting the carbon dioxide-absorbing canister containing soda lime from the anesthesia machine.

  - During the initiation of hypercapnic hyperventilation, continuously monitor the inspired volatile anesthetic concentration [1].

    - Talent monitoring the inspired volatile anesthetic concentration on the anesthesia machine display.

  - Confirm that all circuit connections are airtight [1]. Verify that the anesthesia machine displays the normal pressure and flow readings before proceeding [2].

    - Talent inspecting all circuit connections for airtight seals.

    - SCREEN: Show the anesthesia machine display with the normal pressure and flow readings.

- Induction of Hypercapnic Hyperventilation

Demonstrator: Click here to enter name of demonstrator(s)

  - Apply the protocol in either mechanically ventilated patients or spontaneously breathing patients, depending on the intraoperative ventilation status at the end of surgery [1]. Set the mechanical ventilation to achieve controlled hypercapnia [2].

    - Talent assessing the patient’s intraoperative ventilation status at the end of surgery.

    - Talent setting the mechanical ventilation parameters to achieve controlled hypercapnia.

  - Increase the tidal volume to 8 to 10 milliliters per kilogram of ideal body weight [1]. Adjust the minute ventilation to 10 to 12 liters per minute [2].

    - Talent increasing the tidal volume setting on the ventilator.

    - Talent adjusting the minute ventilation setting on the ventilator.

  - Reduce the fresh gas flow as previously described [1]. Remove the carbon dioxide absorber to allow controlled carbon dioxide accumulation [2]. Allow the rising carbon dioxide levels to stimulate the respiratory drive, resulting in a physiological increase in the minute ventilation without external ventilator adjustments [3].

    - Talent reducing the fresh gas flow.

    - Talent removing the carbon dioxide absorber.

    - Shot of the increasing respiratory activity associated with the rising carbon dioxide levels.

  - Continuously monitor the end-tidal carbon dioxide via capnography [1].

    - Talent monitoring the end-tidal carbon dioxide values on the capnography display.

  - Adjust the fresh gas flow in a stepwise and titrated manner based on the real-time carbon dioxide trends [1]. Increase the fresh gas flow in increments of approximately 0.1 to 0.3 liters per minute when the end-tidal carbon dioxide exceeds 7.0 to 7.3 kilopascals or 52.5 to 55 millimeters of mercury [2]. Reassess the end-tidal carbon dioxide within 1 to 2 minutes after each adjustment to evaluate the response [3].

    - Talent reviewing the real-time carbon dioxide trends.

    - Talent increasing the fresh gas flow setting.

    - Talent reassessing the end-tidal carbon dioxide values after the adjustment.

  - Decrease the fresh gas flow to a minimum of approximately 0.2 liters per minute when the end-tidal carbon dioxide is below the target range to facilitate carbon dioxide accumulation [1]. Avoid abrupt or large adjustments to prevent overshooting and instability of the carbon dioxide levels [2]. Maintain the fresh gas flow within a low-flow range of 0.2 to 1.0 liters per minute throughout the procedure, titrated according to continuous capnographic feedback [3].

    - Talent decreasing the fresh gas flow setting.

    - Talent making a controlled fine adjustment to the fresh gas flow.

    - Talent maintaining the fresh gas flow settings while monitoring the capnographic feedback.

  - Increase the fresh gas flow slightly from approximately 0.2 to 0.5 liters per minute once the target end-tidal carbon dioxide range is reached to stabilize the carbon dioxide levels [1].

    - Talent increasing the fresh gas flow setting slightly to stabilize the carbon dioxide levels.

- Maintenance, Monitoring, and Post-Procedure Restoration

Demonstrator: Click here to enter name of demonstrator(s)

  - Maintain the fraction of inspired oxygen at 0.7 to 1.0 during the entire procedure [1]. Continue monitoring the inspiratory and expiratory volatile anesthetic concentrations using a calibrated gas analyzer [2].

    - Talent adjusting the fraction of inspired oxygen on the anesthesia system throughout the procedure.

    - Talent monitoring the inspiratory and expiratory volatile anesthetic concentrations on the calibrated gas analyzer.

  - Observe the patient’s hemodynamics, oxygenation, and ventilation parameters [1]. Continue monitoring until the inspired volatile anesthetic concentration decreases to zero [2].

    - Talent observing the patient’s hemodynamics, oxygenation, and ventilation parameters.

    - Talent monitoring the inspired volatile anesthetic concentration until it reaches zero.

  - Assess the return of spontaneous breathing [1]. Observe the clinical signs of emergence, including eye opening, purposeful movement, or response to verbal commands [2].

    - Talent assessing the return of spontaneous breathing.

    - Talent observing the clinical signs of emergence.

  - Proceed with extubation according to the standard institutional criteria once the patient demonstrates adequate conditions [1]. Remove the active charcoal filter from the inspiratory limb immediately after completion of the protocol and before preparation for the next case [2].

    - Talent performing extubation after the patient demonstrates adequate conditions.

    - Talent removing the active charcoal filter from the inspiratory limb.

  - Verify visually that the filter has been removed [1] and confirm physically that the standard circuit configuration has been restored [2].

    - Talent visually inspecting the inspiratory limb to confirm the filter removal.

    - Talent physically checking the circuit to confirm restoration of the standard configuration.

  - Reconnect or reinstall the carbon dioxide absorber with soda lime before initiating anesthesia for the next case [1].

    - Talent reconnecting or reinstalling the carbon dioxide absorber with soda lime.

  - Confirm the correct function by verifying normal carbon dioxide absorption [1]. Verify the stable baseline capnography before induction [2]. Incorporate this verification into the standard anesthesia machine checkout procedure between cases [3].

    - Talent verifying normal carbon dioxide absorption.

    - Talent pointing to and verifying the stable baseline capnography before induction.

    - Talent performing the standard anesthesia machine checkout procedure between cases.

  - Immediately terminate the hypercapnic hyperventilation by increasing the fresh gas flow to 10 liters per minute if oxygen saturation falls, hemodynamic instability occurs, or end-tidal carbon dioxide exceeds the limit despite corrective measures [1-TXT].

    - Talent increasing the fresh gas flow to 10 liters per minute to terminate the hypercapnic hyperventilation. TXT: SpO₂ < 94%; EtCO₂ > 8.5 kPa; 64 mmHg

  - Reinstall the carbon dioxide absorber [1] and return the fresh gas flow to the standard settings [2]. Resume the conventional ventilation parameters appropriate for the patient and anesthetic phase [3].

    - Talent reinstalling the carbon dioxide absorber.

    - Talent returning the fresh gas flow to the standard settings.

    - Talent resuming the conventional ventilation parameters appropriate for the patient and anesthetic phase.

# Results

Please review this section to make sure that it accurately reflects your findings.

- You/Your videographer does not have to record this section. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: XXX.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Oxygenation remained stable throughout the protocol, with the fraction of inspired oxygen maintained around 0.7 [1] and oxygen saturation remaining at 100% [2].

    - LAB MEDIA: Table 1. Video editor: Highlight the (FiO₂) values across the recorded time points.

    - LAB MEDIA: Table 1. Video editor: Highlight the SpO2 values showing 100% throughout the recorded period.

  - Hemodynamic safety was verified by stable heart rate [1] and blood pressure trends  throughout the maneuver [2].

    - LAB MEDIA: Table 1. Video editor: Highlight the heart rate values across all recorded time points.

    - LAB MEDIA: Table 1. Video editor: Highlight the blood pressure values (RR MM/Hg).

  - The patient spontaneously opened their eyes after 3.5 minutes and was extubated without complications [2].

    - LAB MEDIA: Table 1. Video editor: Highlight the row corresponding to t3 and t4 minutes after the initiation of the maneuver.

  - Representative recordings showed that end-tidal carbon dioxide increased progressively from 39 millimeters of mercury at the start of hypercapnic hyperventilation [1] to 54 millimeters of mercury after 5 minutes [2].

    - LAB MEDIA: Figure 3. Video editor: Highlight the blue data point labeled 39 at time 0 minutes.

    - LAB MEDIA: Figure 3. Video editor: Highlight the blue data point labeled 54 at time +5 minutes.

  - Expired sevoflurane concentration decreased from 0.9 volume percent before hypercapnic hyperventilation [1] to 0 volume percent within 3 minutes [2].

    - LAB MEDIA: Figure 3. Video editor: Highlight the red data point labeled 0.9 before the start of hypercapnic hyperventilation.

    - LAB MEDIA: Figure 3. Video editor: Highlight the red data point labeled 0.0 at +3 minutes.

  - Following carbon dioxide elevation, spontaneous breathing with tidal volume and respiratory rate within a physiological range was observed [1].

    - LAB MEDIA: Table 1. Video editor: Highlight the RR column. Authors: Which rows should we highlight here?