# Submission ID #: 70415

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21476623

# Title: Instructional Videos Demonstrating Periodontal Instrumentation on a Typodont with Simulated Calculus

# Authors and Affiliations:

# Karo Parsegian1,2, Manti Lehn1, Amy DeStaffany1, Nikola Angelov2

# 1Division of Periodontics, Department of Diagnostic Sciences and Surgical Dentistry, University of Colorado Anschutz School of Dental Medicine

# 2Department of Periodontics and Dental Hygiene, UTHealth Houston School of Dentistry

# Corresponding Authors:

# Nikola Angelov 	nikola.angelov@uth.tmc.edu

# Email Addresses for All Authors:

# Karo Parsegian 	karo.parsegian@cuanschutz.edu

# Manti Lehn 		manti.lehn@cuanschutz.edu

# Amy DeStaffany 	amy.destaffany@cuanschutz.edu

# Nikola Angelov 	nikola.angelov@uth.tmc.edu

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

√ Correct

2. Interview statements: Which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interview Statements are read by JoVE’s voiceover talent.

Current Protocol Length

Number of Steps:  34

Number of Shots:  54

# Interviews

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - This protocol demonstrates typodont-based instructional videos for teaching periodontal instrumentation with simulated calculus.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Existing videos often lack realism, close visualization, and complete coverage of instrumentation techniques and common errors.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - This protocol allows educators to standardize demonstrations and study learner engagement, usability, and skill development.

Describe the most important consideration or challenge when performing this protocol.

  - The main challenge is capturing close, clear views while preserving correct ergonomics and instrumentation technique.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Future studies can record live patient and advanced typodont scenarios, including crowding, malposition, and challenging access.

# Protocol

- Strokes for Calculus Detection with an 11/12 Periodontal Explorer

Demonstrators: Manti Lehn and Amy DeStaffany

  - To begin, select the working end by aligning the terminal shank parallel to the distal surface of the tooth. Confirm that the lower 1/3 of the tip will contact the surface upon insertion [1-TXT].

    - FILE: Video 1, 05:23–11:20 TXT: Verify tip integrity and shank alignment

  - Perform closed insertion at 0 to 10 degrees at the distal line angle. Slide gently to the base of the sulcus while maintaining continuous tip contact [1]. Use feather-light lateral pressure and short, overlapping strokes of 2–3 millimeters to assess deposits. Keep the lower 1/3 of the tip adapted at all times [2].

    - FILE: Video 1, 11:20–13:00

    - FILE: Video 1, 14:04–20:00

  - Roll the instrument at line angles to maintain continuous adaptation when transitioning across surfaces [1].

    - FILE: Video 1, 20:22–50:15

  - For posterior teeth, explore the facial surface in sequence from the distal line angle to the distal surface [1], along the mid-facial path [2], and from the line angle to the mesial surface [3].

    - FILE: Video 1, 11:29–22:05

    - FILE: Video 1, 25:02–34:30

    - FILE: Video 1, 40:00–50:15

  - For anterior teeth, explore the lingual surface in sequence along the mid-lingual path, around the mesiolingual line angle, and from the line angle to the mesial surface. Then, confirm quality control endpoints [1].

    - FILE: Video 4, 02:14–10:06; Video 1, 45:20–50:15; Video 4, 15:00–21:10

- Periodontal Instrument Sharpening Using a Moving Sharpening Stone

Demonstrator: Manti Lehn

  - Use a moving sharpening stone while maintaining the instrument in a stationary position. Ensure the face is parallel to the floor [1]. Position the stone so that the stone-to-cutting edge angle is approximately 110 degrees. Place the stone on the lateral surface at the cutting edge [2].

    - FILE: Video 5, 08:19–13:06

    - FILE: Figure 3C

  - Use short, controlled downward strokes from heel to toe. Maintain continuous contact with the lateral surface [1]. Lighten pressure when reaching the toe and preserve its rounded contour [2].

    - FILE: Video 5, 15:05–18:12

    - FILE: Video 5, 18:13–25:01

  - Avoid creating a bevel. Preserve blade width and toe shape, rounded for curettes [1].

    - FILE: Figure 3B; Figure 3H

  - For Universal curette sharpening, follow the same moving-stone technique described for the Gracey curette. Maintain the appropriate stone-to-cutting edge angle and preserve the rounded toe contour [1].

    - FILE: Video 6, 01:05–14:26

  - Follow the same moving-stone technique described for Gracey and universal curettes for Sickle scaler sharpening. Maintain an approximately 110-degree stone-to-cutting edge angle on the lateral surface [1].

    - FILE: Video 7, 01:05–14:26

  - Under raking light, confirm that a sharp edge does not reflect light [1]. Identify any continuous reflective line along the cutting edge as dullness [2].

    - FILE: Video 8, 04:11–09:09; Video 9, 00:01–08:27

    - FILE: Video 10, 00:01–22:11

  - Avoid the incorrect direction of the sharpening strokes [1] and over-angulation of the sharpening stone [2].

    - FILE: Video 11, 03:27–11:07

    - FILE: Video 12, 00:01–07:06

- Ultrasonic and Piezoelectric Instrumentation on Posterior Teeth

Demonstrators: Manti Lehn and Amy DeStaffany

  - Ensure the unit is connected to a water supply. Set an adequate flow rate for cooling and lavage [1-TXT].

    - FILE: Video 13, 31:05–46:19 TXT: Prepare the powered scaling unit before instrumentation

  - Begin with magnetostrictive instrumentation, using active water coolant throughout. With the shank aligned to the surface and angulation approximately 0 to 15 degrees, insert at the line angle and slide to the base of the sulcus [1].

    - FILE: Video 14, 05:07–09:04

  - Roll the handle to maintain adaptation at line angles [1]. Use overlapping vertical or oblique strokes into proximal areas while maintaining low angulation [2].

    - FILE: Video 14, 14:26–16:13

    - FILE: Video 14, 19:12–22:10

  - Use short, sweeping strokes with all active surfaces of the insert tip, 1 to 4 millimeters, along the cervical and root thirds [1]. Keep light pressure and continuous movement [2].

    - FILE: Video 15, 09:01–27:09

    - FILE: Video 14, 16:14–19:11

  - Ensure that the tip of the instrument is not perpendicular to the tooth surface [1]. Do not operate clinically without coolant. Maintain active and copious irrigation throughout the procedure [2].

    - FILE: Video 16, 03:28–11:26

    - FILE: Video 14, 16:14–38:21

  - Next, use the piezoelectric instrument, maintaining lateral tip contact and low angulation. With linear motion tips, align the lateral face to the surface with angulation of approximately 0 to 15 degrees. Insert at the line angle to the base [1].

    - FILE: Video 17, 13:28–14:04

  - Adjust the handle only minimally, as piezoelectric motion is linear [1]. Maintain lateral surface contact through vertical or oblique passes in proximal areas with low angulation [2].

    - FILE: Video 17, 13:24–14:23

    - FILE: Video 17, 22:05–25:02

  - Use short, sweeping strokes with the lateral surfaces of the tip [1]. Maintain light pressure and continuous movement [2].

    - FILE: Video 17, 14:24–22:04

    - FILE: Video 18, 05:07–39:25

  - Perform powered instrumentation with active and adequate water coolant. Ensure that the tip of the instrument is not pointed perpendicular to the tooth surface [1].

    - FILE: Video 17, 00:29–39:25; Video 19, 05:08–39:22

- Universal Curette Instrumentation on Posterior Teeth

Demonstrator: Manti Lehn

  - Begin universal curette instrumentation by inserting the blade at a closed angle [1].

    - FILE: Video 20, 20:15–20:16; Video 21, 16:06–16:07

  - After insertion, open the blade angulation for calculus removal. Perform distal removal strokes [1].

    - FILE: Video 20, 20:17–22:07; Video 21, 16:10–20:01

  - Continue onto the facial surface while maintaining lower-third cutting-edge adaptation [1].

    - FILE: Video 20, 23:10–39:04; Video 21, 21:06–29:12

  - Roll the handle around the line angle to transition into the mesial surface [1]. Ensure the lower 1/3 cutting edge remains in contact and avoid the use of the incorrect end [2].

    - FILE: Video 20, 39:05–43:10; Video 21, 29:13–36:22

    - FILE: Video 22, 02:02–10:22

- Subgingival Debridement Using Gracey 11/12 and 13/14 Curettes

  - Align the terminal shank parallel to the target surface to confirm the lower cutting edge is in use. Use Gracey 11/12 for mesial and facial or lingual surfaces [1].

    - FILE: Video 23, 00:21; Video 24, 02:06

  - Roll the handle around the line angle to maintain continuous adaptation while transitioning [1]. Use short vertical, horizontal, and oblique pull strokes with the lower cutting edge engaged [2] and the lower 1/3 of the cutting edge adapted to the surface [3].

    - FILE: Video 23, 02:13; Video 23, 09:04

    - FILE: Video 23, 02:13–08:04;

    - FILE: Video 23, 09:04–17:00

  - Switch to the Gracey 13/14 curette for distal surface instrumentation. Use short vertical or oblique pull strokes from the base coronally. Maintain firm lateral pressure as deposits release. Keep the terminal shank parallel and the lower 1/3 of the cutting edge adapted to the surface [1].

    - FILE: Video 24, 00:00; Video 24, 13:09

  - Ensure the toe 1/3 remains adapted to the tooth surface. Ensure the terminal shank remains parallel to maintain the built-in angulation [1]. Use the correct end of the instrument and the proper surface [2].

    - FILE: Video 23, 02:13–18:04; Video 24, 03:15–19:19

    - FILE: Video 25, 01:25–14:18

- Supragingival Calculus Removal with a Sickle Scaler

  - Maintain 45 to 90 degrees during deposit removal [1]. Do not insert subgingivally with the pointed tip [2].

    - FILE: Video 26, 08:23–11:20

    - FILE: Video 26, 21:27–26:21

  - Begin at the midline of the anterior tooth and move toward the proximal using short vertical or oblique pull strokes [1].

    - FILE: Video 27, 05:12–07:04

  - Roll the handle at the line angle to maintain continuous adaptation into the proximal [1].

    - FILE: Video 27, 07:04–08:27

  - Use a controlled pull stroke from the contact toward the incisal edge to remove the deposit at the contact point [1].

    - FILE: Video 27, 08:27–09:14

  - Repeat the sequence for the opposite proximal on the same tooth. Then, proceed tooth by tooth across the arch [1]. Flip the instrument and repeat the sequence for the remaining facial surfaces [2].

    - FILE: Video 27, 05:12–25:11

    - FILE: Video 27, 28:15–47:24

  - Follow the same sequence described for anterior facial surfaces [1], except begin at the distal line angle rather than the midline surface [2].

    - FILE: Video 28, 09:06–18:23

    - FILE: Video 28, 35:16–44:26

  - Repeat the midline-to-line-angle-to-contact sequence on the lingual, maintaining 45 to 90 degrees angulation and lower 1/3 cutting edge engagement [1]. Repeat the same sequence for remaining lingual surfaces [2].

    - FILE: Video 29, 00:01–22:21