TITLE:

Instructional Videos Demonstrating Periodontal Instrumentation on a Typodont with Simulated Calculus

AUTHORS AND AFFILIATIONS:

Karo Parsegian1,2, Manti Lehn1, Amy DeStaffany1, Nikola Angelov2

1Division of Periodontics, Department of Diagnostic Sciences and Surgical Dentistry, School of Dental Medicine, University of Colorado Anschutz Medical Campus, Aurora, CO, USA.

2Department of Periodontics and Dental Hygiene, UTHealth Houston School of Dentistry, Houston, TX, USA.

Email addresses of the co-authors:

Karo Parsegian 	karo.parsegian@cuanschutz.edu

Manti Lehn 		manti.lehn@cuanschutz.edu

Amy DeStaffany 	amy.destaffany@cuanschutz.edu

Corresponding author:

Nikola Angelov 	nikola.angelov@uth.tmc.edu

SUMMARY:

This manuscript reports on the development of a series of high-resolution instructional videos on periodontal instrumentation techniques using a typodont with plastic teeth coated with simulated supra- and subgingival calculus deposits. Dental students found the recorded videos useful and suggested directions for further development.

ABSTRACT:

Video‑assisted instruction can enhance the teaching and learning of periodontal instrumentation when visualization and content quality support clear demonstration of technique. This study aimed to describe the development of high‑resolution instructional videos demonstrating armamentarium and techniques on a typodont with simulated calculus, and to evaluate perceived usefulness among predoctoral dental students. The institutional review board determined that the study was exempt. Instructional videos were recorded in 8K resolution and demonstrated instrument selection, ergonomics, adaptation, angulation, and activation of strokes on a typodont with transparent gingiva and simulated supra‑ and subgingival calculus deposits. Perceived usefulness was evaluated through a brief anonymous survey with optional open-ended feedback. The same cohort was invited to evaluate both video sets, but anonymous responses could not be linked across surveys. Proportions were summarized with 95% Wilson score confidence intervals (CIs). Due to the study's descriptive design, no formal hypothesis testing was performed. Sixteen students completed the survey evaluating the previously used instructional videos; 37.5% rated them "Extremely useful" (95% CI [18.5, 61.4%]), and 50% rated them "Very useful." Fourteen students completed the survey evaluating the new videos; 64.3% rated them "Extremely useful" (9/14; 95% CI [38.8, 83.7%]), 28.6% "Very useful" (4/14), 7.1% "Slightly useful" (1/14), and no participant chose "Moderately useful" or "Not at all useful." All participants indicated they would refer to the new videos in the future. Thematic analysis of 27 comments identified five themes: Clarity, Zoom, Technique, Realism, and Accessibility. Students valued improved resolution and close‑up views, while suggestions emphasized captions/written explanations and demonstrations on natural teeth. The findings suggest that high-resolution instructional videos may be useful adjuncts to preclinical periodontal instruction. Future studies should evaluate objective performance outcomes and explore additional content and accessibility features.

INTRODUCTION:

High-quality periodontal instrumentation is essential for delivering excellent patient care, supporting skill development, and enhancing the patient experience. Various studies have shown that video-assisted clinical instruction in dentistry can effectively complement clinical teaching, enhance understanding in a non-threatening environment, and foster self-directed, active learning1. At the University of Sydney (Westmead, NSW, Australia), the use of narrated instructional videos to teach dental local anesthesia improved psychomotor skills that required accuracy in 90% of students, which correlated positively with the number of video views2. At the University of Alberta (Edmonton, AB, Canada), 79–84% of dental hygiene (DH) students found instructional videos demonstrating clinical instrumentation very or extremely useful in understanding the principles of instrumentation3. At the University of Western Ontario (London, ON, Canada), a 30-min instructional video that demonstrated a step-by-step protocol for performing a tooth preparation for an all-ceramic restoration and fabricating a provisional restoration using a manikin significantly improved students' performance during practical exams and received positive student feedback4. Similarly, video instructions demonstrating behavior management techniques for children receiving local anesthetic at the University of Leeds (Woodhouse, Leeds, UK) significantly enhanced dental students' confidence in the subject compared with the standard teaching approach (lectures and seminars) alone5.

At the University of Colorado Anschutz School of Dental Medicine (CU Anschutz SDM, Aurora, CO, USA) and many other U.S. dental schools following the four-year curriculum, periodontal instrumentation training starts during second-year preclinical classes. In previous years, the school's faculty members recorded instructional videos demonstrating periodontal instrumentation (including instrument sharpening) and made them readily available on the institutional online platform. Despite the useful content, these videos had several limitations, including: (1) a narrow scope of the demonstrated manual instruments; (2) no powered instruments; (3) no teeth coated with deposits mimicking dental calculus; (4) no instrument sharpening demonstration; and (5) limited audiovisual quality due to portable media devices used to record these files. Compared with conventional chairside demonstration, previously used (legacy) school-recorded videos, and non-curated online videos, the present approach was designed to provide standardized, repeatable, close-up visualization of adaptation, angulation, and stroke activation using simulated supra- and subgingival calculus.

To address these gaps, a new series of high-resolution (8K) instructional videos was recorded. This video series (sections 5–10 of the protocol) included demonstrations of various periodontal instrumentation techniques (including instrument sharpening) using standard periodontal armamentarium and a typodont with transparent gingiva and supra- and subgingival deposits on tooth surfaces mimicking dental calculus. This pilot study aimed to evaluate dental students' perceived usefulness of this updated educational material.

PROTOCOL:

For the present study (Figure 1), Colorado Multiple Institutional Review Board (COMIRB) determined that the study was exempt (protocol #22-2099). Conduct all procedures in accordance with relevant COMIRB guidelines and regulations and with the principles of the Declaration of Helsinki, as revised in 20136. Sections 5–10 discuss the steps involved in making the demonstration videos.

- Confirming ethics determination and study design

  - Confirm that the COMIRB has granted the appropriate ethics determination before beginning the study.

  - Define the survey component as a descriptive, cross-sectional, single-center questionnaire study conducted among dental students at the University of Colorado Anschutz School of Dental Medicine.

- Developing and recording the instructional videos

  - Assemble the periodontal armamentarium, including manual instruments such as scalers and curettes, and powered periodontal instruments.

NOTE: See the Table of Materials for the detailed description of instruments, devices, and software.

  - Mount the periodontal typodont in a dental manikin head to simulate clinical working conditions and spatial limitations encountered in dental practice.

  - Use a periodontal typodont with transparent gingiva and anatomically contoured plastic teeth coated with dark supra- and subgingival deposits that mimic dental calculus.

  - Use the transparent gingiva to demonstrate subgingival instrumentation techniques, including adaptation, angulation, and stroke activation.

  - Set up the imaging system using a mirrorless digital camera with a 100 mm f/2.8 macro lens for close-up capture and a 50 mm f/1.2 prime lens for wider views in low-light conditions.

  - Use an adjustable on-camera light-emitting diode panel to reduce glare and shadows when appropriate.

  - Record raw footage in 12-bit 8K Digital Cinema Initiatives (DCI) format.

  - Edit the footage in a professional non-linear editor using a high-quality mezzanine codec.

  - Export selected figure panels as high-resolution frame grabs from the recorded footage.

  - Process an additional 45 MP still photographs in professional image-editing software to adjust color and exposure.

  - Structure each instructional video module around a distinct technique or instrument type.

  - Demonstrate the following elements in each applicable module: proper instrument selection and grasp, fulcrum placement and ergonomics, adaptation and angulation, activation of exploratory and working strokes, and sharpening procedures where applicable.

  - Review all videos with the team to confirm technical accuracy, educational clarity, and consistency with the intended instructional objectives.

- Recruiting eligible participants and administering the survey

  - Invite eligible third-year Doctor of Dental Surgery (DS) students and first-year students in the Advanced Standing International Student Program (ISP) at CU Anschutz School of Dental Medicine to participate in the survey.

NOTE: Advanced Standing International Student Program students have already obtained a dental degree from their respective non-U.S.-based dental schools.

  - Include participants who meet all of the following criteria: enrollment as a DS3 or ISP1 student at the time of survey completion, provision of consent to participate, and completion of the study requirements.

  - Exclude participants who are not eligible at the time of survey completion, do not provide consent, or do not complete the study requirements.

  - Administer the questionnaire using ten closed-ended items, including demographic information with branching for DS and ISP respondents, and one optional free-text field.

  - Use lay-language questions approved by all authors before dissemination.

  - Inform participants that the estimated survey completion time is 5–7 min.

  - Invite the same student cohort to evaluate both the legacy videos and the newly developed videos.

  - Collect responses anonymously.

NOTE: Because responses are anonymous, do not link individual responses across the legacy-video and new-video surveys.

- Extracting survey variables and analyzing responses

  - Export survey responses into a spreadsheet for analysis.

  - Extract demographic information, including training program type.

  - Extract quantitative ratings of instructional video attributes, including clarity, usefulness, realism, and accessibility.

  - Extract overall satisfaction with the instructional videos.

  - Extract self-reported confidence in performing periodontal instrumentation after viewing the videos.

  - Extract open-ended feedback from the optional free-text responses.

  - Define the primary outcome as perceived usefulness of the instructional videos on a 5-point scale: Extremely useful, Very useful, Moderately useful, Slightly useful, and Not at all useful.

  - Define secondary outcomes as intention to reuse the videos, perceived improvement in understanding, and themes identified from open-ended feedback.

  - Summarize closed-ended survey responses using counts and percentages.

  - Calculate 95% confidence intervals (CIs) for single-proportion estimates using the Wilson score method.

  - Report categories with zero counts using the same Wilson score method.

  - Group open-ended comments inductively into themes.

  - Present representative quotations and summarize the themes as described in the Representative Results section.

  - Do not perform formal hypothesis testing when the objective is exploratory and descriptive rather than inferential.

  - Interpret CIs as estimates of sampling variability under binomial assumptions.

NOTE: These intervals do not account for potential selection bias due to modest response rates.

- Demonstrating exploratory strokes for calculus detection with an 11/12 periodontal explorer

  - Preparation:

    - Wear personal protective equipment (PPE), including a mask, protective eyewear, and gloves. Position the patient/manikin for optimal visibility and mirror retraction.

    - Assemble instruments: 11/12 periodontal explorer (flexible shank, paired ends) and dental mirror.

NOTE: Ensure adequate illumination and a clear mirror view of line angles and proximal surfaces.

CAUTION: Handle sharp tips carefully to avoid soft-tissue trauma.

  - End selection and closed insertion:

    - Select the working end by aligning the terminal shank parallel to the distal surface of the tooth; confirm the lower 1/3 of the tip will contact the surface upon insertion. Verify tip integrity and shank alignment. See Video 1, 05:23–11:20 (demonstrating correct instrument adaptation), Video 2, 02:08–08:08 (demonstrating incorrect instrument adaptation), and Video 3, 00:28–09:22 (demonstrating both incorrect instrument angulation and adaptation).

    - CRITICAL STEP: Perform closed insertion (0–10°) at the distal line angle and slide gently to the base of the sulcus while maintaining continuous tip contact. Maintain light pressure throughout insertion; ensure no tissue blanching or displacement (see Video 1, 11:20–13:00).

NOTE: A stable fulcrum and controlled grasp will improve tactile sensitivity during insertion and exploration.

  - Exploratory strokes:

    - Use feather-light lateral pressure and short, overlapping strokes (2–3 mm) to assess deposits; keep the lower 1/3 of the tip adapted at all times (see Figure 2A–F and Video 1, 14:04–20:00).

    - Roll the instrument at line angles to maintain continuous adaptation when transitioning across surfaces (see handle roll at the line angle in Figure 2E and Video 1, 20:22–50:15).

NOTE: A predefined, consistent sequence minimizes missed areas and supports complete coverage.

  - Direction and surface coverage:

    - For posterior teeth (facial): Explore in the sequence from distal (distal line angle to distal surface), to straight (mid-facial path), to mesial (line angle to mesial surface). See Figure 2A–C, Video 1, 11:29–22:05 (demonstrating tooth #32), Video 1, 25:02–34:30 (demonstrating tooth #31), and Video 1, 40:00–50:15 (demonstrating tooth #30).

    - For anterior teeth (lingual): Explore in the sequence from straight (mid-lingual path) to mesiolingual line angle (transition around the line angle) to mesial (line angle to mesial surface). See Figure 2D–F and Video 4, 02:14–10:06.

    - Confirm that the explorer does not displace tissue during assessment (no blanching; gentle contact).

  - Findings and tactile cues:

    - Detect residual granular calculus by assessing for a gritty "catch‑skip."

    - Identify ledge/ring calculus as a distinct elevation; allow the tip to slip under the ledge.

    - Recognize burnished calculus as a smooth bump indicating incomplete prior removal.

    - Record tactile findings immediately to guide instrument selection and subsequent debridement.

  - Mapping and documentation:

    - Record for each tooth: surface (facial/lingual; distal/mesial), site (cervical, mid-root, proximal), deposit type (granular/ledge/burnished), and intensity (mild/moderate/heavy).

    - Mark areas requiring debridement and plan the scaling sequence accordingly.

  - Quality control (QC) endpoints (see Video 1, 11:20–50:15, and Video 4, 02:00–21:10).

    - Ensure no tissue displacement or trauma is observed during insertion and exploration.

    - Ensure complete surface coverage following the specified sequences (A to B to C for posterior facial surfaces; D to E to F for anterior lingual surfaces).

    - Ensure consistent tip adaptation (lower 1/3) and stroke length 2–3 mm maintained throughout.

    - Ensure a stable fulcrum and a controlled grasp; keep tactile cues distinct (no over-gripping or excessive pressure).

- Demonstrating periodontal instrument sharpening using a moving sharpening stone

  - Preparation:

    - Wear PPE (mask, protective eyewear, gloves). Set up stable lighting (loupes with light-emitting diode [LED] or overhead) to create raking light across the cutting edge.

    - Gather a flat sharpening stone (Arkansas/Ceramic/India). Use water or oil per stone type as a lubricant.

NOTE: Maintain sharp, correctly contoured edges on curettes and sickles using a moving stone and visual edge test (see the setup and hand positioning in Figure 3A).

  - Safety:

    - Stabilize both the stone and the instrument to avoid slips (see hands, grasp, and stabilization in Figure 3A).

    - Maintain a secure grasp throughout the procedure.

CAUTION: Avoid excessive pressure since wire edges and beveling may occur.

  - Technique (stationary instrument, moving stone):

    - Clean and dry the instrument; remove debris/oil that can obscure edge reflections.

    - Hold the instrument in the non-dominant hand (palm grasp); hold the stone in the dominant hand (see Figure 3A).

    - Orient the toe toward or away from the clinician, depending on the working end, and ensure the face is parallel to the floor. See Video 5, 08:19–13:06 (demonstrating a Gracey curette), Video 6, 00:01–00:18 (demonstrating a universal curette), and Video 7, 00:01–01:01 and 09:07–11:00 (demonstrating a sickle scaler).

  - Sharpening of a Gracey curette (stationary instrument, moving stone):

    - CRITICAL STEP: Position the stone so that the stone-to-cutting edge angle is approximately 110°; this places the stone on the lateral surface at the cutting edge (see initial placement/angle in Figure 3C).

    - Stroke: Use short, controlled downward strokes from heel to toe, maintaining continuous contact with the lateral surface (see stroke direction and contact shown in Figure 3C–G and Video 5, 15:05–18:12).

    - Toe finishing: Lighten pressure reaching the toe to preserve its rounded contour (see Figure 3E and Video 5, 18:13–25:01).

    - CRITICAL STEP: Avoid creating a bevel; preserve blade width and toe shape (rounded for curettes). See pre-sharpening profile in Figure 3B and post-sharpening profile in Figure 3H.

  - Sharpening of a universal curette:

    - Follow the same moving-stone technique described for the Gracey curette above, maintaining the appropriate stone-to-cutting edge angle and preserving the rounded toe contour (see Video 6, 01:05–14:26).

  - Sharpening of a sickle scaler:

    - Follow the same moving-stone technique described for Gracey and universal curettes above, maintaining an approximately 110° stone-to-cutting edge angle on the lateral surface (see Video 7, 01:05–14:26).

    - Do not round the tip; maintain a pointed tip without overthinning.

    - Sharpen both cutting edges equally to preserve symmetry.

  - Visual edge evaluation using the light test:

    - CRITICAL STEP: Under raking light, a sharp edge does not reflect light; any continuous reflective line along the cutting edge indicates dullness. See Video 8, 04:11–09:09 (demonstrating a Gracey curette), Video 9, 00:01–08:27 (demonstrating a sharp cutting edge of a sickle scaler), and Video 10, 00:01–22:11 (demonstrating a dull edge of a sickle scaler).

    - Confirm the restored design: curette toe rounded; sickle tip pointed; no wire edges; blade width preserved.

  - Frequency:

    - Use the light test frequently and touch up edges before and during instrumentation as needed.

    - Replace instruments when metal loss alters the shank-to-cutting edge relationship or when the design cannot be restored.

  - QC endpoints:

    - Maintain the correct angle (approximately 110° stone-to-cutting edge) using short, controlled strokes (see Figure 3C–G).

    - Avoid the incorrect direction of the sharpening strokes (see Video 11, 03:27–11:07) and over-angulation of the sharpening stone (see Video 12, 00:01–07:06).

    - Preserve design integrity: Ensure that the curette toe remains rounded, the sickle tip remains pointed, and the blade width remains unchanged (see Figure 3E). Ensure that no beveling or wire edges are visible under light and that a consistent scratch pattern is preserved along the lateral surface from heel to toe (see Figure 3H).

- Demonstrating ultrasonic and piezoelectric instrumentation on posterior teeth

  - Materials and setup:

    - Materials: Gather magnetostrictive inserts and piezoelectric tips for ultrasonic scaling (appropriate shapes for posterior access), typodont with simulated calculus deposits, high-volume evacuation (HVE), dental mirror, and PPE.

    - Water/coolant: Ensure the unit is connected to a water supply; set an adequate flow rate for cooling and lavage (see Video 13, 31:05–46:19).

CAUTION: Maintain active water/coolant flow during powered instrumentation to prevent heat and to support cavitation and lavage. Do not operate without coolant.

  - Safety and infection control:

    - Wear PPE (gown, mask/respirator, eyewear/face shield, gloves).

    - Use HVE to reduce aerosol; pre-procedural rinse (patient), position the mirror/evacuation to capture spray.

CAUTION: Continuous water coolant is mandatory to prevent thermal injury and maintain instrument longevity. Follow institutional aerosol‑mitigation guidance for powered scaling.

  - Insert/tip selection, power, and motion:

    - Magnetostrictive insert: Select a posterior insert appropriate for access and the intended deposit type (see a general setup in Figure 4A–F).

    - Piezoelectric tip: Select a posterior curette-style or universal tip appropriate for access and the intended deposit type (see general setup in Figure 4G–L).

NOTE: Maintain constant movement, light lateral pressure, and short overlapping strokes; never "park" the tip.

  - Magnetostrictive scaling sequence:

    - CRITICAL STEP: Insertion (closed angle): With the shank aligned to the surface and angulation approximately 0°–15°, insert at the line angle and slide to the base of the sulcus. See Figure 4A,B for adaptation and insertion, Figure 4D,E for the corresponding still images, and Video 14, 05:07–09:04.

    - Interproximal access: Roll the handle to maintain adaptation at line angles; use overlapping vertical/oblique strokes into proximal areas, maintaining low angulation (see Figure 4C and corresponding Figure 4F). Also, see Video 14, 14:26–16:13 (demonstrating the distal surface of tooth #31) and Video 14, 19:12–22:10 (demonstrating the mesial surface of tooth #31).

    - Proximal (facial/lingual) access: Use short, sweeping strokes using all active surfaces of the insert tip (1–4 mm) along the cervical/root thirds; keep light pressure and continuous movement (see Figure 4B,C; mirrored in Figure 4E,F). Also, see Video 15, 09:01–27:09 (demonstrating tooth #28) and Video 14, 16:14–19:11 (demonstrating tooth #31).

NOTE: Figure 4A–C shows magnetostrictive tip-to-surface adaptation and insertion paths with minimal visible spray to improve visualization. Figure 4D–F shows the corresponding instrumentation with active water/coolant. Ensure that the tip of the instrument is not perpendicular to the tooth surface (see Video 16, 03:28–11:26).

CAUTION: Do not operate clinically without coolant. Maintain active and copious irrigation throughout the procedure (see Video 14, 16:14–38:21).

  - Piezoelectric scaling sequence:

    - CRITICAL STEP: Insertion (closed angle): With linear motion tips, align the lateral face to the surface, angulation approximately 0°–15°, and insert at the line angle to the base. See Figure 4G,H; same paths in Figure 4J,K; and Video 17, 13:28–14:04.

    - Interproximal access: Adjust the handle minimally, because piezoelectric motion is linear; maintain lateral surface contact through vertical/oblique passes in proximal areas with low angulation. See Figure 4I; corresponding Figure 4L; Video 17, 13:24–14:23 (demonstrating the distal surface of tooth #31) and Video 17, 22:05–25:02 (demonstrating the mesial surface of tooth #31).

    - Proximal (facial/lingual) access: Use short, sweeping strokes using the lateral surfaces of the tip; maintain light pressure and continuous movement. See Figure 4H,I; mirrored in Figure 4K,L; Video 17, 14:24–22:04 (demonstrating tooth #31) and Video 18, 05:07–39:25 (demonstrating tooth #18).

NOTE: In Figures 4J–L, water/coolant is active; Figures 4G–I show tip adaptation and insertion paths without water spray to improve visualization. Powered instrumentation must be performed with active and adequate water coolant (see Video 17, 00:29–39:25). Ensure that the tip of the instrument is not pointed perpendicular to the tooth surface (see Video 19, 05:08–39:22).

    - PAUSE POINT: Pause after completing one surface (e.g., facial) and resume with lingual/proximal without loss of continuity.

  - Finishing and verification:

    - Rinse/evacuate; perform light exploratory assessment using the 11/12 periodontal explorer to confirm a rough-to-smooth transition.

    - Repeat localized passes for residual deposits; keep low angulation and short paths; avoid stationary contact.

  - HVE positioning and power ranges:

    - HVE positioning: Place the HVE tip 10–20 mm from the active insert/tip, slightly trailing the direction of movement. For posterior access, position the HVE on the opposite side of the arch to capture spray without obscuring the mirror view.

    - Mirror/HVE coordination: Use the mirror for retraction and visualization; adjust the HVE angle to avoid blocking insertion paths at line angles and interproximal surfaces.

    - Adjust power according to manufacturer recommendations, tip design, and deposit tenacity, using the lowest effective power for the intended deposit. Use the following power guidance by deposit type:

      - For biofilm/light calculus, use low to low‑moderate power (approximately 10–30% of the unit scale).

      - For moderate calculus, use moderate power (approximately 30–60%).

      - For tenacious calculus, use moderate‑high power (approximately 60–80%) with shorter overlapping strokes and thin inserts/tips for tight access.

CAUTION: Maintain active coolant flow at all times; avoid stationary contact; follow manufacturer‑specific guidance for each unit and tip.

  - QC endpoints:

    - Ensure the coolant is active during powered instrumentation; spray capture with the HVE.

    - Maintain angulation at approximately 0°–15°; engage active tip length 1–4 mm; ensure light pressure and continuous movement.

    - Preserve adaptation at line angles and proximal surfaces (effective handle roll with magnetostrictive; steady lateral surface contact with piezoelectric).

    - Maintain stable spray capture; avoid heat generation.

    - Ensure surfaces feel uniformly smooth on the light explorer assessment.

- Demonstrating universal curette instrumentation on posterior teeth

  - Preparation:

    - Materials/equipment: Gather universal curettes (e.g., Barnhart 5/6, Younger-Good 7/8), typodont/molars with simulated subgingival calculus, a dental mirror, and PPE (mask, protective eyewear, gloves).

    - Positioning and visibility:

      - When instrumenting maxillary dentition, ensure a supine position with the chin up.

      - When instrumenting mandibular dentition, ensure a semi‑supine position with the chin down.

      - Adjust the overhead light or use loupes‑mounted LED illumination, and use the dental mirror for retraction as needed.

CAUTION: Maintain clear visibility and a stable fulcrum to prevent soft-tissue trauma.

  - Instrument grasp and fulcrum:

    - Use a modified pen grasp with a ring finger intraoral fulcrum on a stable tooth close to the working area.

    - Maintain a light, controlled grasp for adaptation and a firmer grasp during activation.

  - Selecting the correct end and cutting edge:

    - Posterior adaptation test: Place the terminal shank parallel to the long axis of the tooth to verify the correct end (see Figure 5A).

    - Working edges: Universal curettes have two cutting edges per end, and both are used (adapt the lower 1/3 of the cutting edge to the surface).

  - Insertion (see Video 20, 20:15–20:16, demonstrating the Barnhart 5/6 curette and Video 21, 16:06–16:07, demonstrating the Younger–Good 7/8 curette):

    - Closed angle (0°–45°): Insert at the distofacial line angle with the face nearly flat to the tooth.

    - Slide to the base of the sulcus/pocket without tissue damage.

    - CRITICAL STEP: Maintain continuous blade contact during insertion.

  - Distal removal strokes (see Figure 5A, Video 20, 20:17–22:07, demonstrating Barnhart 5/6, and Video 21, 16:10–20:01, demonstrating Younger–Good 7/8):

    - Angulation: Open to 45°–90° by tilting the terminal shank away from the tooth.

    - Stroke type: Use short, controlled vertical, horizontal, and oblique pull strokes from the pocket base toward the cementoenamel junction (CEJ), with the toe directed apically and the lower 1/3 cutting edge engaged.

    - Pressure and sequence: Apply moderate to firm lateral pressure to engage deposits; intersperse exploratory strokes to verify removal.

  - Facial surface activation (see Figure 5B, Video 20, 23:10–39:04, demonstrating Barnhart 5/6, and Video 21, 21:06–29:12, demonstrating Younger–Good 7/8):

    - Maintain the lower 1/3 of the cutting edge adapted to the facial surface beneath the transparent gingiva.

    - Use short vertical, horizontal, and oblique strokes as needed; keep the terminal shank parallel and the toe 1/3 adapted to the tooth surface.

NOTE: Reassess instrument position before transitioning to the next surface.

  - Mesial removal strokes (see Figure 5C, Video 20, 39:05–43:10, demonstrating Barnhart 5/6, and Video 21, 29:13–36:22, demonstrating Younger–Good 7/8):

    - Adaptation: Maintain the lower 1/3 cutting edge adapted beneath the transparent gingiva, and roll the handle to maintain adaptation as it transitions around the line angle into the mesial.

    - Stroke direction: Use vertical, horizontal, and oblique strokes with the toe directed into the proximal; maintain continuous adaptation around line angles.

    - Stroke count: Repeat overlapping strokes until the surface feels uniformly smooth on a light exploratory assessment.

  - QC endpoints:

    - Ensure the lower 1/3 cutting edge remains in contact. Avoid the use of the incorrect end (see Video 22, 02:02–10:22).

    - Ensure no soft-tissue trauma is observed.

    - Confirm deposit removal using the 11/12 periodontal explorer with a rough-to-smooth tactile transition (see Section 5).

    - Ensure angulation is 45°–90° during activation; ensure 0°–45° at insertion.

    - On lingual surfaces, maintain continuous adaptation around line angles with an effective handle roll as shown in Figure 5D–F.

- Demonstrating debridement of subgingival deposits on molars using 11/12 and 13/14 Gracey curettes

  - Materials and setup:

    - Materials: Gather Gracey curettes (standard or extended‑shank variants appropriate to pocket depth), typodont with simulated subgingival calculus on molars, a dental mirror, and wear PPE.

    - Lighting and visibility: Use overhead light or loupes mounted with LED; retract with the mirror to visualize line angles and proximal surfaces.

CAUTION: Maintain a stable fulcrum and clear field to prevent soft-tissue trauma.

  - End selection:

    - Posterior adaptation test: Align the terminal shank parallel to the target surface to confirm the lower cutting edge is in use (see Video 23, 00:21, for Gracey 11/12 and Video 24, 02:06, for Gracey 13/14). Use Gracey 11/12 for mesial and facial/lingual surfaces (see Figure 6A–C and Video 23). Use Gracey 13/14 for distal surfaces (see Figure 6D–F and Video 24).

  - Insertion:

    - Perform closed-angle insertion (0°–10°) at the distal line angle and slide to the base of the sulcus/pocket while maintaining contact.

NOTE: Keep light pressure during insertion.

  - Activation (by surface):

    - Mesial and facial/lingual surfaces (Gracey 11/12): Roll the handle around the line angle to maintain continuous adaptation while transitioning (see Figure 6A–C, Video 23, 02:13, for tooth #32, and Video 23, 09:04, for tooth #31). Use short vertical, horizontal, and oblique pull strokes with the lower cutting edge engaged and the lower 1/3 of the cutting edge adapted to the surface. See Video 23, 02:13–08:04 (demonstrating tooth #32) and Video 23, 09:04–17:00 (demonstrating tooth #31).

    - Distal surfaces (Gracey 13/14): Use short vertical/oblique pull strokes from base coronally; maintain firm lateral pressure as deposits release. See Figure 6D–F, Video 24, 03:16 (demonstrating tooth #32), and Video 24, 13:09 (demonstrating tooth #31). Keep the terminal shank parallel and the lower 1/3 of the cutting edge adapted to the surface.

  - Finishing strokes:

    - Reduce pressure and use longer, lighter strokes to smooth residual irregularities.

    - Re-evaluate with the 11/12 periodontal explorer (see Section 5, Video 1). Repeat localized strokes as needed until a uniformly smooth tactile feel is achieved.

  - QC endpoints:

    - Ensure no "chatter" or gouging; ensure the root surface feels uniformly smooth on light explorer assessment.

    - Correct Gracey selection per surface: 11/12 for mesial and facial/lingual surfaces; 13/14 for distal surfaces.

    - CRITICAL STEP: Ensure the toe 1/3 remains adapted to the tooth surface, and the terminal shank remains parallel to maintain the built-in angulation. See Video 23, 02:13–18:04 (demonstrating Gracey 11/12) and Video 24, 03:15–19:19 (demonstrating Gracey 13/14). Ensure that you use the correct end of the instrument and the proper surface (see Video 25, 01:25–14:18).

    - Ensure continuous adaptation across transitions and effective rolling of the handle at line angles (see Figure 6A–F).

- Demonstrating sickle scaler use

  - Materials and setup:

    - Materials: Gather an anterior sickle scaler, set out a typodont with simulated supragingival calculus, prepare a dental mirror, and wear PPE.

    - Positioning (for a right-handed clinician): Position at 8 o'clock for surfaces toward the clinician and at 12 o'clock for surfaces away. Position the patient/manikin to slightly turn the head left/right to optimize visibility and reduce required lateral pressure.

CAUTION: The pointed tip is kept supragingival; no subgingival insertion with a sickle.

  - Grasp and fulcrum:

    - Use a modified pen grasp; place an intraoral fulcrum on incisors or the opposing arch for stability (see Figure 7A for fulcrum placement).

NOTE: A stable fulcrum allows controlled lateral pressure and precise stroke endpoints at contact.

  - Edge selection and angulation:

    - Edge selection: Use the lower 1/3 of the cutting edge; keep the pointed tip supragingival.

    - CRITICAL STEP: Angulation: Maintain 45°–90° during deposit removal; do not insert subgingivally with the pointed tip. See Video 26, 08:23–11:20 (demonstrating tooth #32) and Video 26, 21:27–26:21 (demonstrating tooth #31).

  - Facial surfaces:

    - Midline start: Begin at the midline of the anterior tooth and move toward the proximal using short vertical/oblique pull strokes (see Figure 7A,C and Video 27, 05:12–07:04).

    - Line angle transition: Roll the handle at the line angle to maintain continuous adaptation into the proximal (see Figure 7B and Video 27, 07:04–08:27).

    - Contact stroke: Use a controlled pull stroke from the contact toward the incisal edge to remove the deposit at the contact point (see Figure 7D and Video 27, 08:27–09:14).

NOTE: Repeat the sequence for the opposite proximal on the same tooth, then proceed tooth-by-tooth across the arch (see Video 27, 05:12–25:11). Flip the instrument and repeat the sequence for the remaining facial surfaces (see Video 27, 28:15–47:24).

  - Posterior facial surfaces:

    - Follow the same sequence described for anterior facial surfaces, except begin at the distal line angle rather than the midline surface. See Video 28, 09:06–18:23 (demonstrating tooth #32) and Video 28, 35:16–44:26 (demonstrating tooth #30).

  - Lingual surfaces:

    - Visibility: Use the mirror and/or brief air drying to visualize lingual deposits.

    - Strokes: Repeat the midline-to-line-angle-to-contact sequence on the lingual, maintaining 45°–90° angulation and lower 1/3 cutting edge engagement. See Video 29, 00:01–22:21. Repeat the sequence for the remaining lingual surfaces as shown for facial surfaces in Video 27.

  - Contraindications and precautions:

    - Do not insert subgingivally with a sickle scaler; the pointed tip increases the risk of soft‑tissue trauma and root gouging.

    - Use reduced lateral pressure on teeth with cervical abrasion, recession, hypoplasia, or exposed root surfaces to avoid enamel/dentin scratching.

    - Avoid prolonged contact at the CEJ; use short, controlled pull strokes at contacts to limit iatrogenic damage.

NOTE: Confirm edge sharpness frequently; dull edges increase required pressure and the risk of surface damage and fatigue.

  - QC endpoints:

    - Ensure no soft-tissue gouging. Ensure the pointed tip remains supragingival at all times.

    - Ensure continuous adaptation at midline, line angle, and contact (effective handle roll around the line angle).

    - Ensure angulation is 45°–90° during activation and ensure the strokes are short and controlled. Confirm that contact deposits have been removed by visual inspection and by light tactile assessment with an 11/12 periodontal explorer, as described in Section 5.

REPRESENTATIVE RESULTS:

Survey results

The following survey results reflect the perceived educational usefulness of the videos and do not measure the technical performance of periodontal instrumentation.

Legacy videos

A total of 16 students (7 DS3 and 9 ISP1) evaluated the legacy videos and completed the survey. Overall, 37.5% of participants (2 DS3 and 4 ISP1) found the videos "Extremely useful" (95% CI [18.5, 61.4%]); 50% of participants (4 DS3 and 4 ISP1) found the videos "Very useful" (95% CI [28.0, 72.0%]); 6.25% of participants (1 DS3) found the videos "Moderately useful" (95% CI [1.1, 28.3%]), and 6.25% of participants (1 ISP1) found the videos "Slightly useful" (95% CI [1.1, 28.3%]). No participant selected "Not at all useful" as an answer choice (0.0%; 95% CI [0.0, 19.4%]). A summary of these responses is shown in Table 1.

All 16 participants stated that they found the video quality to be high enough to comprehend concepts of periodontal instrumentation (95% CI [80.6, 100.0%]). When asked if they wanted new videos to be developed, 25% of them chose "Yes" (95% CI [10.2, 49.5%]), 50% chose "Maybe" (95% CI [28.0, 72.0%]), and 25% chose "No" (95% CI [10.2, 49.5%]). When given answer choices, why the participants wanted new videos, 31.25% of them chose "To record videos in a higher quality" (95% CI [14.2, 55.6%]), 62.5% chose "To include removal of dental calculus from natural teeth" (95% CI [38.6, 81.5%]), 50% chose "To include removal of simulated dental calculus on periodontal typodonts with clear or pink gingiva" (95% CI [28.0, 72.0%]), 6.25% chose "To provide instrument sharpening tutorials" (95% CI [1.1, 28.3%]). No participant chose "To create videos in a foreign language" (0.0%; 95% CI [0.0, 19.4%]). Some students also provided optional feedback, and their representative responses are shown in Table 2.

New videos

A total of 16 students accepted the invitation to participate in the new-video survey, and 14 of them—including 7 DS3 (7/80, 8.75%) and 7 ISP1 (7/40, 17.5%)—completed it. Overall, 64.3% of participants (4 DS3 and 5 ISP1) found the videos "Extremely useful" (95% CI [38.8, 83.7%]); 28.6% of participants (2 DS3 and 2 ISP1) found the videos "Very useful" (95% CI [11.7, 54.6%]); 7.1% of participants (1 DS3 and 0 ISP1) found the videos "Slightly useful" (95% CI [1.3, 31.5%]). No participant selected "Moderately useful" (0.0%; 95% CI [0.0, 21.5%]) and "Not at all useful" (0.0%; 95% CI [0.0, 21.5%]) as their answer choices. All 14 participants stated that they would refer to these videos as needed in the future (100.0%; 95% CI [78.5, 100.0%]). A summary of these responses is shown in Table 1.

Next, students were asked to provide optional feedback on (1) the video characteristics they liked the best (13 respondents, or 92.9%; 95% CI [68.5, 98.7%]), (2) the video characteristics they did not like (8 respondents, or 57.1%; 95% CI [32.6, 78.6%]), and (3) any prospective changes they would like to see in future videos (6 respondents, or 42.9%; 95% CI [21.4, 67.4%]). The participants' representative responses are shown in Table 3.

A total of 27 open-ended responses were analyzed, including 13 positive comments, 8 constructive or negative remarks, and 6 suggestions for future improvements. Across all responses, five recurring themes emerged: clarity, zoom, technique, realism, and accessibility (Figure 8). Positive feedback overwhelmingly highlighted clarity and zoom, reflecting appreciation for improved resolution and close-up views. Mentions of technique (e.g., calculus removal, sharpening) appeared but were less frequent. Constructive remarks focused on technique visibility (such as hand position and sharpening cues) and realism, with some participants expressing a preference for demonstrations on real patients. Future suggestions emphasized accessibility (e.g., captions, written explanations) and realism (e.g., natural teeth, crowded anatomies), indicating opportunities to enhance authenticity and usability.

FIGURE AND TABLE LEGENDS:

Figure 1: Protocol schematic. This schematic summarizes the development of the instructional protocol and the survey of perceived usefulness among predoctoral dental students. The schematic is brand‑neutral, and detailed models and software are listed in the Table of Materials. Abbreviations: COMIRB: Colorado Multiple Institutional Review Board; DCI: Digital Cinema Initiatives; DS3: Third-year Doctor of Dental Surgery students; ISP1: First-year students in the Advanced Standing International Student Program; LED: Light-emitting diode; MP: Megapixels.

Figure 2: Exploratory strokes with an 11/12 periodontal explorer. (A) Distal exploratory path on the posterior facial surfaces. (B) Straight exploratory path on the posterior facial surfaces. (C) Mesial exploratory path on the posterior facial surfaces. (D) Straight exploratory path on the anterior lingual surfaces. (E) Transition at the mesiolingual line angle with handle roll to maintain adaptation. (F) Mesial exploratory path on the anterior lingual surfaces.

Figure 3: Instrument sharpening with a moving stone. (A) Setup and safe hand positioning with the instrument in the non-dominant hand and the stone in the dominant hand. (B) Pre-sharpening blade profile. (C) Initial stone placement at approximately 110° to the cutting edge. (D) Stone adaptation on the lateral surface. (E) Downward sharpening stroke with lighter pressure near the toe. (F) Continued heel-to-toe sharpening stroke. (G) Raking-light evaluation of the cutting edge. (H) Post-sharpening profile with preserved design.

Figure 4: Magnetostrictive and piezoelectric ultrasonic scaling on posterior teeth. (A) Magnetostrictive tip adaptation. (B) Magnetostrictive closed-angle insertion. (C) Magnetostrictive interproximal access and activation. (D) Magnetostrictive still image showing insertion path with active coolant. (E) Magnetostrictive still image showing activation with active coolant. (F) Magnetostrictive still image showing interproximal access with active coolant. (G) Piezoelectric tip adaptation. (H) Piezoelectric closed-angle insertion. (I) Piezoelectric interproximal access and activation. (J) Piezoelectric still image showing insertion path with active coolant. (K) Piezoelectric still image showing activation with active coolant. (L) Piezoelectric still image showing interproximal access with active coolant.

Figure 5: Universal curette adaptation on posterior teeth with simulated subgingival calculus. (A) Closed-angle insertion at the distofacial line angle on a facial surface. (B) Activation on the facial surface using short vertical, horizontal, and oblique pull strokes. (C) Transition around the line angle into the mesial with handle roll. (D) Closed-angle insertion at the distolingual line angle on a lingual surface. (E) Activation on the lingual surface with short vertical, horizontal, and oblique strokes. (F) Mesial surface instrumentation with handle roll through the line angle into the proximal.

Figure 6: Debridement of simulated subgingival deposits on molars using Gracey curettes. (A) Gracey 11/12 adaptation on a mesial surface. (B) Gracey 11/12 activation on a facial or lingual surface. (C) Gracey 11/12 transition across the line angle with continuous adaptation. (D) Gracey 13/14 adaptation on a distal surface. (E) Gracey 13/14 activation with short vertical or oblique pull strokes. (F) Gracey 13/14 distal surface debridement with maintained toe-third adaptation.

Figure 7: Use of a sickle scaler for supragingival debridement of anterior teeth. (A) Modified pen grasp, intraoral fulcrum, and midline starting position. (B) Short vertical or oblique pull strokes from the midline toward the proximal. (C) Handle roll at the line angle to maintain adaptation into the proximal. (D) Controlled pull stroke from the contact toward the incisal edge to remove contact deposits.

Figure 8: Visual thematic summary of student feedback on the new periodontal instrumentation videos. The schematic summarizes five recurring themes identified from 27 open-ended comments: clarity, zoom, technique, realism, and accessibility. Clarity and zoom were the themes most frequently represented in positive feedback, whereas technique, realism, and accessibility reflected requests for further refinement.

Table 1: The survey results comparing the legacy and newly developed instructional videos on periodontal instrumentation. Percentages indicate the proportion of participants selecting each option. Multiple responses were permitted for "Reasons for new videos"; percentages reflect the share of respondents selecting each option and may sum to >100%. Participant groups include third-year Doctor of Dental Surgery students (DS3) and first-year students in the Advanced Standing International Student Program (ISP1).

Table 2: The participants' responses to open-ended survey questions about the legacy instructional videos. Comments have been lightly edited for grammar and clarity only; the substance of the comments has not been changed.

Table 3: The participants' responses to open-ended survey questions about the new instructional videos. Comments are grouped by questions asking which features participants (1) liked, (2) did not like, and (3) suggested for future improvements. Comments have been lightly edited for grammar and clarity only; the substance of the comments has not been changed.

Supplemental Table 1: Troubleshooting for Protocol Sections 5–10. Common issues and corrective actions are organized by protocol section and step number. Columns A, B, and C list the protocol section, step number, and corresponding imperative troubleshooting action, respectively, that map directly to the numbered Protocol. Abbreviations: HVE, high‑volume evacuation; LED, light‑emitting diode; CEJ, cementoenamel junction; After‑Five/Mini‑Five, extended‑shank curette variants.

DISCUSSION:

The present protocol provides a peer‑reviewed, high‑resolution framework for teaching periodontal instrumentation with explicit steps, QC endpoints, and troubleshooting. The instructional videos were designed to support self-directed learning and repeated viewing. Each video module focused on a distinct technique or instrument type, could be viewed repeatedly, and was structured to demonstrate (1) Proper instrument selection and grasp, (2) Fulcrum placement and ergonomics, (3) Adaptation and angulation techniques, (4) Activation of exploratory and working strokes, and (5) Sharpening procedures (where applicable).

The visual clarity, realistic simulation, and modular structure of the videos were intended to address common limitations in existing instructional resources, such as lower resolution, lack of calculus simulation, and absence of sharpening demonstrations. All videos were reviewed by the authors to ensure accuracy and educational effectiveness.

At the group level, the new videos were perceived as more useful than the legacy videos, with students most frequently emphasizing clarity and zoom for visualization of fine motor techniques. These findings align with prior reports of video‑assisted instruction benefiting dental learners1–5. Given that publicly accessible dental videos vary in accuracy and that school‑hosted educational content is limited, students frequently turn to YouTube while expressing mixed confidence in quality7–10. A peer-reviewed, methods‑focused resource may help address this gap by offering institutional oversight and method fidelity. As AI‑generated educational media expands, validation and professional standards remain essential11. Future work should quantify objective performance outcomes (e.g., competency assessments), add natural‑tooth demonstrations, and integrate accessibility features (captions, multilingual options) to broaden utility across diverse learners.

Open-access periodontal instrumentation resources with clear methodological detail appear more limited than those available for other dental topics. This gap supports broader dissemination of these modules as enduring, freely accessible resources.

Future directions should focus on evaluating the impact of the instructional videos on the clinical performance of a larger number of dental students. These evaluations can include objective assessments of skill acquisition, such as performance at clinical competencies and dental licensing examinations. The educational value of these resources can be further enhanced by addressing the participants' interest in expanding the video library to include instrumentation on natural teeth. In addition, incorporating accessibility features such as closed captions and multilingual support may further contribute to inclusivity and comprehension, particularly for international students or those living abroad with limited access to in-person instruction. Furthermore, evaluating feedback from DH students can be another interesting objective, since their training and scope of practice differ from those of dental students. DH curricula place greater emphasis on preventive care and nonsurgical periodontal therapy, making instrumentation videos highly relevant to their clinical education. Therefore, comparing perceptions and learning outcomes between DH and dental students could provide valuable insights into how these resources meet the distinct educational needs of these learners and develop strategies for tailoring content accordingly.

This study has several limitations. First, the survey was voluntary and had a modest response rate, particularly among DS3 students, introducing potential voluntary response and nonresponse bias. Students with stronger opinions or greater interest in instructional videos may have been more likely to participate. Second, because responses were self-reported, the findings are also susceptible to social desirability bias and should be interpreted as perception-based rather than objective educational outcomes. Third, the study was conducted at a single institution, which may limit generalizability to other dental programs. Fourth, comparisons between the legacy and newly developed videos were descriptive and based on small respondent groups, limiting strong inference. Fifth, qualitative themes were derived inductively without formal inter-rater reliability assessment. Sixth, because responses to the legacy and new video surveys could not be linked at the individual level, comparisons between the two video sets should be interpreted at the group level only. Seventh and finally, the cross-sectional design does not permit evaluation of changes in performance over time or causal conclusions regarding educational effectiveness12.

Within these limitations, this study suggests that the new instructional videos were well received by students and had higher perceived educational value at the group level than the legacy videos. These videos may serve as a useful component of modern dental education by providing scalable, repeatable, and pedagogically sound support for clinical skill development. Furthermore, their modular design and clarity support long-term learning and integration into continuing education programs.

ACKNOWLEDGMENTS:

The authors would like to thank all students who participated in the study. The authors are also grateful to all authors of the referenced literature whose work laid the foundation for the current study. This work was funded by the CU Open Educational Resources (OER) Creation Stipends and the CU Anschutz SDM Dean's Innovation Grant.

DISCLOSURES:

The authors declare that neither they nor their immediate family members have financial, commercial, or other relationships with commercial entities whose products or platforms were used in this study. All tools and resources were solely for educational and research purposes. The funders of the study had no role in the study design, data collection, data analysis, data interpretation, or manuscript writing.

REFERENCES:

- Fakhry A, Cooper S, Slach N, Krenz S. Video-assisted clinical instruction in dentistry: overview and applications. Eur J Dent Educ. 2007;11(4):230-237.

- Wong G, Apthorpe HC, Ruiz K, Nanayakkara S. An innovative educational approach in using instructional videos to teach dental local anaesthetic skills. Eur J Dent Educ. 2019;23(1):28-34.

- Lockwood SN, Compton SM, Green JL, Rasmussen K. Dental hygiene students' clinical skill acquisition: activity theory and the use of videos. J Dent Hyg. 2018;92(2):15-21.

- Aragon CE, Zibrowski EM. Does exposure to a procedural video enhance preclinical dental student performance in fixed prosthodontics? J Dent Educ. 2008;72(1):67-71.

- Kenny KP, Alkazme AM, Day PF. The effect of viewing video clips of paediatric local anaesthetic administration on the confidence of undergraduate dental students. Eur J Dent Educ. 2018;22(1):e57-e62.

- World Medical Association. Declaration of Helsinki: ethical principles for medical research involving human subjects. JAMA. 2013;310(20):2191-2194.

- Dias da Silva MA, et al. Online videos: the hidden curriculum. Eur J Dent Educ. 2022;26(4):830-837.

- Dias da Silva MA, Pereira AC, Walmsley AD. The availability of open-access videos offered by dental schools. Eur J Dent Educ. 2019;23(4):522-526.

- Burns LE, et al. YouTube use among dental students for learning clinical procedures: a multi-institutional study. J Dent Educ. 2020;84(10):1151-1158.

- Alraqiq HM, Zhou G, Gorglio H, Edelstein BL. Analysis of 100 most-viewed YouTube toothbrushing videos. J Dent Hyg. 2021;95(5):32-40.

- Shahrul AI, Syed Mohamed AMF. AI-generated orthodontic patient education videos: content and quality assessment. J Orthod. 2026;53(1):20-33.

- Wang X, Cheng Z. Cross-sectional studies: strengths, weaknesses, and recommendations. Chest. 2020;158(1S):S65-S71.