# Submission ID #: 70452

# Scriptwriter Name: Sri Lakshmi Priya

# Project Page Link: https://review.jove.com/account/file-uploader?src=21487908

# Title: Optimized Preparation of Whole Murine Tumor-Bearing Lung Tissue for Flow Cytometry and Single-Cell RNA-Sequencing

# Authors and Affiliations:

Sicong Wang, Anastasiia Ivanova, Helen P. Makarenkova, Katja A. Lamia

The Scripps Research Institute, Department of Molecular and Cellular Biology, La Jolla

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Katja A. Lamia			(klamia@scripps.edu)

# Email Addresses for All Authors:

Sicong Wang			(siwang@scripps.edu)

Anastasiia Ivanova		(aivanova@scripps.edu)

Helen P. Makarenkova	(hmakarenk@scripps.edu)

Katja A. Lamia			(klamia@scripps.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  30

Number of Shots:  55

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Ethics Title Card

This research has been approved by the Scripps Research Institutional Animal Care and Use Committee at (insert Institutional Name)

Authors: Please provide the name of the institute that approved this research.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Preparation of Buffers

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, gather the required reagents [1]. Prepare Dulbecco's Modified Eagle Medium or Ham's F 12 (F-12) medium by adding 2% volume per volume heat inactivated fetal bovine serum to the medium [2].

    - WIDE: Talent walking into the room with a tray containing required reagents.

    - Talent adding heat-inactivated FBS to the DMEM or F-12 medium. Authors: Confirm which medium will be used for demonstration during the shoot.

  - Prepare the cell wash buffer by adding heat inactivated fetal bovine serum to calcium and magnesium free phosphate buffered saline [1].
2.2.1. Talent adding heat-inactivated FBS to Ca+/Mg+ free PBS.

  - Pre-chill calcium and magnesium free phosphate buffered saline to use as the perfusion buffer [1].

    - Talent placing the Ca+/Mg+ free PBS on ice. Authors: Confirm how it is pre-chilled.

  - Prepare the enzyme stock solutions and digestion medium [1] by adding the solutions [2] and mixing thoroughly [3].

    - Talent holding a bottle and pipette.

    - TEXT ON PLAIN BACKGOUND:

Enzyme stock solutions:

Collagenase IV stock: 10 mg (1600 U/mg) in 1 mL DMEM/F-12

Dispase II stock: 42 mg (1.19 U/mg) in 1 mL DMEM/F-12

DNase I stock: 5 mg in 1 mL DMEM/F-12

Digestion medium:

Collagenase IV stock solution - 250 µl

Dispase II stock solution - 200 µl

DNase I stock solution - 100 µl

DMEM/F12 medium - 5 mL

    - Talent holding the bottle and manually swirling it in a circular motion to mix the solution thoroughly.

  - Prepare the resuspension buffer by adding 1 microliter of 0.5 molar ethylenediaminetetraacetic acid [1] and 1 milliliter of heat-inactivated fetal bovine serum to the bottle containing 50 milliliters of calcium and magnesium-free phosphate-buffered saline [2].

    - Talent adding EDTA to the bottle containing Ca+/Mg+ free PBS.

    - Talent adding heat inactivated FBS to the bottle containing Ca+/Mg+ free PBS.

  - Prepare bovine serum albumin stock solution by dissolving 0.5 grams of bovine serum albumin in 100 milliliters of calcium and magnesium free phosphate buffered saline [1].

    - Talent adding BSA into the bottle containing 100 mL of Ca+/Mg+ free PBS.

  - Prepare the fluorescence activated cell sorting buffer by adding 2.5 milliliters of 1 molar 4-2-hydroxyethyl-1-piperazineethanesulfonic acid [1] and 200 microliters of 0.5 molar ethylenediaminetetraacetic acid to the bottle containing 100 milliliters of the bovine serum albumin stock solution [2].

    - Talent adding 2.5 mL HEPES to the bottle containing 100 mL of BSA stock solution.

    - Talent adding 200µL of EDTA to the bottle containing 100 mL of BSA stock solution.

- Collection of Murine Lung Tissue

Demonstrator: Click here to enter name of demonstrator(s)

  - After placing the euthanized mouse on its back on a dissection pad, pin the feet [1]. Spray the mouse liberally with 70% ethanol [2].

    - Talent pinning the feet of the mouse positioning on its back on the dissection pad.

    - Talent spraying the mouse with 70% ethanol.

  - Using disinfected surgical instruments, make a 2 to 3 centimeter wide midline incision through the skin and muscles of the lower abdomen [1]. Carefully open the thorax without cutting the lungs or the heart [2].

    - Talent making a midline incision through the lower abdomen.

    - Talent opening the thorax.

  - Attach a safety multifly 21 gauge needle to a 50 milliliter syringe [1]. Aspirate 30 milliliters of perfusion buffer into the syringe [2].

    - Talent attaching the safety multifly 21 G needle to the 50 mL syringe.

    - Talent aspirating perfusion buffer into the syringe.

  - Insert the needle into the left ventricle [1]. Using the sharp, straight scissors, make a small incision in the right atrium [2].

    - Talent inserting the needle into the left ventricle.

    - Talent making a small incision in the right atrium with the sharp, straight scissors.

  - Perfuse the whole body with 15 milliliters of perfusion buffer [1] until the liver is whitened [2].

    - Talent perfusing the whole body with the perfusion buffer.

    - CU: Shot of the liver whitening after perfusion.

  - Remove the lungs from the thorax and maintain the lung tissue on ice between each step throughout the experiment [1]. Using scissors, cut away the excess tissue attached to the lungs [2]. Place the lungs in 10 milliliters of pre cooled calcium and magnesium free phosphate buffered saline to wash away excess blood [3].

    - Talent removing the lungs from the thorax. Authors: From which step, the samples are placed on ice?

    - Talent trimming away excess tissue attached to the lungs.

    - Talent placing the lungs into pre-cooled Ca+/Mg+ free PBS.

  - Transfer the lungs into a 1.5 milliliter tube containing 500 microliters of ice-cold Dulbecco's Modified Eagle Medium or Ham's F 12 medium [1].

    - Talent transferring the lungs into a 1.5 mL tube containing ice-cold medium.

- Preparation of the lung single-cell suspension

Demonstrator: Click here to enter name of demonstrator(s)

  - Using an extra-narrow straight scissors, cut the lung tissue into small pieces of 1 to 2 cubic millimeters for 2 to 3 minutes [1].

    - Talent cutting the lung tissue into small pieces with the extra-narrow straight scissors.

  - Transfer the minced lung tissue to a 6 centimeter dish containing 5 milliliters of digestion medium [1].

    - Talent transferring the minced lung tissue into the 6 centimeter dish with digestion medium.

  - Place the 6 centimeter dish on a thermostatic shaker set to 50 revolutions per minute for 25 minutes at 37 degrees Celsius [1]. Using a 1 milliliter pipette, mix the suspension every 8 minutes [2].

    - Talent placing the 6 cm dish on the thermostatic shaker.

    - Talent mixing the suspension in the dish with a 1 mL pipette.

  - Wet the 100 micrometer mesh strainer with 1 milliliter of Dulbecco's Modified Eagle Medium or Ham's F 12 medium [1] and place it in a 10 centimeter dish [2].

    - Talent wetting the mesh strainer with medium.

    - Talent placing the mesh strainer in the 10 cm dish.

  - Transfer the digested suspension into the strainer [1]. Using the rubber end of a sterile syringe plunger, push the tissue through the strainer [2].

    - Talent transferring the digested suspension into the strainer.

    - Talent pushing the tissue through the strainer with the rubber end of the sterile syringe plunger.

  - Place a pre-wetted 70 micrometer mesh strainer over a 50 milliliter centrifuge tube [1].

    - Talent placing the 70 µm mesh strainer over the 50 mL centrifuge tube.

  - Filter the cell suspension through the strainer [1]. Rinse the strainer with 5 milliliters of Dulbecco's Modified Eagle Medium or Ham's F 12 medium [2].

    - Talent filtering the cell suspension through the strainer.

    - Talent rinsing the strainer with medium.

  - Centrifuge the filtered cell suspension at 400 times relative centrifugal force for 10 minutes at 4 degrees Celsius [1]. After removing the supernatant, resuspend the cell pellet in 1 milliliter of red blood cell lysing buffer for 2 minutes at room temperature [2].

    - Talent placing the filtered cell suspension in the centrifuge.

    - Talent resuspending the cell pellet in red blood cell lysing buffer.

  - Add 14 milliliters of cell wash buffer to the suspension [1]. After centrifuging as previously demonstrated, discard the supernatant [2].

    - Talent adding cell wash buffer to the suspension.

    - Talent discarding the supernatant.

  - Once the pellet appears clear, resuspend the cells in 20 milliliters of resuspension buffer [1].

    - Talent resuspending the cells in resuspension buffer.

  - Mix 10 microliters of the single-cell suspension with an equal volume of trypan blue [1]. Add 10 microliters of the mixture to the cell counting chamber slide [2]. Check live cell viability, cell number, and single-cell status using a cell counter [3].

    - Talent mixing the single-cell suspension with trypan blue.

    - Talent loading the mixture onto the cell counting chamber slide.

    - Talent placing the slide into the cell counter and starting the measurement.

- Flow Cytometry Analysis

Demonstrator: Click here to enter name of demonstrator(s)

  - Resuspend the cells in ice cold fluorescence activated cell sorting buffer [1]. Transfer 100 microliters of the cell suspension into 1.5 milliliter tubes containing 1 microliter of Fc (F-C) block antibody [2]. Incubate the samples for 15 minutes on ice [3]. Centrifuge the samples at 500 times relative centrifugal force for 5 minutes [4].

    - Talent resuspending the cells in ice-cold fluorescence-activated cell sorting buffer.

    - Talent transferring the cell suspension into 1.5 mL tubes containing Fc block antibody.

    - Talent placing the samples on ice.

    - Talent placing the samples in the centrifuge.

  - After discarding the supernatant, resuspend the cells in 200 microliters of CD326 (C-D-326) allophycocyanin antibody [1]. Incubate the samples for 45 minutes in the dark at 4 degrees Celsius [2]. After centrifuging at 500 times relative centrifugal force for 5 minutes, discard the supernatant [3].

    - Talent resuspending the cells in the CD326-allophycocyanin antibody solution.

    - Talent placing the wrapped samples at refrigerator. Authors: What method was used to keep the samples in the dark during incubation?

    - Talent discarding the supernatant.

  - Resuspend the cells in 500 microliters of fluorescence activated cell sorting buffer containing 4′,6 diamidino 2 phenylindole stain [1].

    - Talent resuspending the cells in FACS buffer containing DAPI stain.

  - Transfer all samples to fluorescence-activated cell sorting tubes and protect them from light [1].

    - Talent transferring all samples to fluorescence-activated cell sorting tubes. Authors: What method was used to protect the samples from light?

  - Using a flow cytometer, analyze the samples with the fluorophores, 4′,6 diamidino 2 phenylindole V450, Tdtomato YG585, and CD326 allophycocyanin [1].

    - Talent loading the samples into the flow cytometer.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 96.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Cell viability was below 80% before optimization [1] and increased to above 85% after optimization [2].

    - LAB MEDIA: Table 1. Video editor: Highlight the values in the row “Percentage of live cells” under Repeat 1 and Repeat 2 in “Before optimization”.

    - LAB MEDIA: Table 1. Video editor: Highlight the values in the row “Percentage of live cells” under Repeat 1 and Repeat 2 in “After optimization”.

  - Cell Ranger quality assessment identified 23,488 estimated cells in sample 1 and 21,436 in sample 2 [1].

    - LAB MEDIA: Table 2. Video editor: Highlight the values in the row “Estimated Number of Cells” under Sample 1 and Sample 2.

  - The barcode rank plot indicated minimal ambient ribonucleic acid contamination [1].

    - LAB MEDIA: Figure 2A, B. Video editor: Emphasize the grey line labelled as “Background”.

  - Principal component analysis and uniform manifold approximation and projection revealed well-defined clusters with all major lung cell types represented [1].

    - LAB MEDIA: Figure 3A. Video editor: Highlight all the clusters in the UMAP plot. Authors: Should all the clusters be highlighted here?

  - Dot plots of representative marker genes showed that canonical biomarkers were highly expressed in their corresponding cell types [1].

    - LAB MEDIA: Figure 3B. Authors: Which are the canonical markers? Video editor: Show the dot plot.

  - TdTomato positive cells were enriched in epithelial-related clusters [1].

    - LAB MEDIA: Figure 3A. Authors: Confirm the figure number for this shot. Which are the epithelial-related clusters? AT1 cells and AT2 cells? Video editor: Highlight the cluster regions corresponding to epithelial cell groups.

  - By flow cytometry [1], TdTomato positive and epithelial cell adhesion molecule positive cells were successfully isolated [2].

    - LAB MEDIA: Figure 1. Video editor: Show the plot with FSC-A in X-axis and TdTomato-A in Y-axis.

    - LAB MEDIA: Figure 1. Video editor: Show the same plot used in 6.7.1 and highlight the rectangle box inside that plot. Authors: Are the narrated results based only on the plot with FSC-A on the X-axis and TdTomato-A on the Y-axis?