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2.10.1  Show the image analysis software opening. Show clicking File > Open in the image analysis software.   00:06-00:16
2.10.2   Show the 0-hour plantar image being opened for the same animal and examination day. Show the matched 24-hour image being opened.  00:16-00:25
2.11.1   Show the Oval selection tool being selected. Show navigation through Edit > Selection > Specify.    00:25-00:35
2.11.2  Show the Width and Height values being set to 30, the Oval option selected, and OK clicked.    00:35-00:40
2.12.1   Show the circular selection placed over a background area of the image. 00:40-00:43
2.12.2  Show navigation through Analyze > Measure. Show the Mean value in the Results window recorded as fluorescence intensity at 0 hours background.  00:43-00:53
2.13.1   Show the circular selection placed over the target observation site. 00:53-00:56
2.14.1   Show the corrected fluorescence intensity at 0 hours calculation. TXT: Corrected FI0h = FI0h − FI0hbg  00:56-1:23
2.15.1   Show fluorescence intensity measurement and corrected fluorescence intensity calculation for the 24-hour image.  1:23-2:18
[bookmark: _GoBack]2.16.1   TEXT ON A PALIN BACKGROUND
Clearance rate = [(FI0h − FI0hbg) − (FI24h − FI24hbg)] / (FI0h − FI0hbg) × 100%   2:18-2.27
