TITLE:

Visualization and Quantitative Analysis of Genotoxin-induced PARP1/PARP2 Activation in Cells using a Fluorescent Fusion Protein-based Reporter

AUTHORS AND AFFILIATIONS:

Wynand P. Roos1, Rasha Q. Al-Rahahleh1, Christopher A. Koczor2, Libby A. Beers1, Louis Boyang1, Robert W. Sobol1#

1Department of Pathology and Laboratory Medicine, Warren Alpert Medical School & Legorreta Cancer Center, Brown University, Providence, RI 02912, USA

2Department of Pharmacology & Mitchell Cancer Institute, University of South Alabama, Mobile, AL, USA

Email addresses of the co-authors:

Wynand P. Roos				wynand_roos@brown.edu

Rasha Q. Al-Rahahleh				rasha_al-rahahleh@alumni.brown.edu

Christopher A. Koczor				cakoczor@southalabama.edu

Libby A. Beers					libby.a.beers@gmail.com

Louis Boyang					louis_boyang@brown.edu

Corresponding author:

Robert W. Sobol				robert_sobol@brown.edu

SUMMARY:

Here, we describe a method for cell-based visualization, subcellular localization, and quantitative analysis of poly(ADP-ribose) (PAR) enriched foci in fixed mammalian cells. This assay enables the quantification of sites of DNA damage-induced PARP activation, including that associated with base excision repair or single-strand break repair, in the nuclei of genotoxin-exposed cells.

ABSTRACT:

Poly(ADP-ribose) (PAR) is a polymer of ADP-ribose synthesized by four members of the ADP-ribose polymerase family of enzymes—PARP1, PARP2, PARP5a, and PARP5b. However, only PARP1 and PARP2 synthesize PAR in response to DNA breaks. PAR is defined as a protein post-translational modification, but it is also shown to exist as a DNA or RNA modification. Levels of PAR are further regulated by PARG, a PAR glycohydrolase that, together with PARP1 and PARP2, modulates the cellular level of DNA damage-induced PAR. The dynamic synthesis and degradation of PAR is critical to its regulatory role in DNA repair, and the DNA damage response, which in turn affects chromatin reorganization, replication, transcription, and cell death. PARP1/PARP2 activation and the accumulation of PAR can be considered sites of ongoing base excision repair or DNA single-strand break repair; however, numerous PARP1/PARP2 activators are also associated with replication stress and other DNA metabolic processes. Once formed, PAR chains facilitate the recruitment of DNA repair and DNA damage response (DDR) factors to sites of DNA damage or genomic insult via their PAR-binding domains (PBDs). Ten different PBDs recognize various regions of the PAR molecule, including the PAR binding motif, PAR binding Zinc finger, the WWE domain, and the macrodomain, among other PBDs. To facilitate cellular analysis of PAR dynamics, we used PBDs fused to enhanced green fluorescent protein (EGFP) to optimize cell-based quantitation of PAR foci. We describe an assay that uses a fragment of RNF146 encoding the PBD/WWE domain, linked to EGFP, to visualize and quantify PAR accumulation at sites of genomic insult and ongoing BER or SSBR. We describe experimental steps, including the production of lentiviral particles, transduction of the target cell line, treatment of mammalian cells to induce genomic DNA damage, acquisition of confocal fluorescence micrographs, and semi-automated quantification of the data.

INTRODUCTION:

This protocol describes the LivePAR assay, which allows visualization and quantitative analysis of poly(ADP-ribose) (PAR) at sites of genomic insult, primarily associated with base excision repair (BER) or single-strand break repair (SSBR), in mammalian cells1-3. BER is a crucial DNA repair pathway that removes damaged or modified bases from DNA (for reviews on BER and PARylation, see4-7). BER begins with DNA glycosylases that recognize and excise modified bases4, leaving an apurinic/apyrimidinic (AP) site, for example, methyl purine glycosylase (MPG), which excises methylated bases8,9, or 8-oxoguanine glycosylase (OGG1), which excises 8-oxoG9,10. AP sites are then cleaved by AP endonuclease 1 (APE1)11-13, creating a nick in the DNA backbone. A polymerase, namely DNA polymerase  (Pol)14,15, tailors and fills the gap using the undamaged strand as a template, and finally, DNA ligases seal the repaired strand16,17, for example, DNA ligase I or DNA ligase III.

Key players in BER and SSBR are poly(ADP-ribose) polymerases 1 and 2 (PARP1/PARP2)18-20, enzymes that rapidly detect DNA strand breaks during BER or SSBR. Upon detecting these breaks, PARP1/PARP2 catalyzes the addition of ADP-ribose polymers to itself and other proteins—a process called PARylation (for review, see6)—by hydrolyzing NAD+. This creates a dynamic protein scaffold (PAR) that recruits other DNA repair factors to the site of damage, enhancing the fidelity of DNA repair. To manage this dynamic PAR scaffold, several proteins contribute to the hydrolysis and removal of PAR chains, including ADP-ribose-acceptor hydrolase 3 (ARH3), terminal ADP-ribose glycosyl hydrolase 1 (TARG1), mono-ADP-ribosyl hydrolase 1/2 (MacroD1/2), and poly(ADP-ribose) glycohydrolase (PARG)6,21-26. However, PARG is primarily responsible for this process21,27 and plays a crucial role in the DNA damage response (DDR)28,29.

PARG is therefore critically linked to the function of PARP1 and PARP2. While PARP1 and PARP2 create the PAR polymers, PARG acts as a "clean-up" enzyme, hydrolyzing these polymers and effectively reversing PARylation30,31. This process is essential for completing both BER and SSBR and for allowing PARP1/PARP2 to be recycled to respond to new DNA damage. Consequently, PARP1, PARP2, PARylation, and PARG work in a coordinated manner, ensuring efficient and reversible DNA repair through BER and SSBR4,6.

The extent of PARylation can be influenced by various factors and plays an essential role in the overall DNA damage response32. These factors include exposure to genotoxins that add adducts to DNA bases, such as N-methyl-N'-nitro-N-nitrosoguanidine (MNNG), methyl methanesulfonate (MMS), hydrogen peroxide (H2O2), or tert-butyl hydroperoxide (tBuOOH). Further, the extent of PARylation can be influenced by molecules that modulate the PARylation process, such as dihydronicotinamide riboside (NRH), a precursor to NAD+, which enhances PARP-activation by increasing NAD+ levels33, or FK866, an inhibitor of NAMPT, which can decrease NAD+ levels and negatively regulate PARP-activation3. Finally, genetic mutations or small-molecule inhibition of enzymes such as PARP1/PARP2, PARG, or other DNA repair proteins (e.g., defects in BER or homologous recombination factors such as BRCA1/BRCA2) can alter PARP activation33-36.

The LivePAR assay makes use of a fragment of the ring finger protein 146 (RNF146) that encodes a WWE domain (amino acids 100–182), linked to an enhanced green fluorescence protein (EGFP)3. The WWE domain is a globular domain named after the conserved residues tryptophan (W) and glutamate (E) in its binding site37. WWE domains bind to iso-ADP-ribose, the smallest internal structural unit within PAR chains38,39. RNF146 is an E3 ubiquitin ligase that recognizes iso-ADP-ribose38,40 and is reported to target proteins involved in BER (XRCC1, DNA ligase III, and PARP1) for proteasomal degradation41. Linking this WWE domain to EGFP enables visualization and detection of genotoxin-induced PARylation sites in mammalian cells. In this protocol, we describe the generation of stable cell lines expressing the LivePAR reporter (Figure 1A), the induction of DNA damage to activate PARP1/PARP2, the production of PAR, and the acquisition and analysis of confocal fluorescence microscopy data (Figure 1).

The pMD2.g(VSVG) plasmid provides the viral envelope glycoprotein (VSVG), which expands the range of cells the virus can infect compared to the native lentivirus envelope protein. The pRSV-REV plasmid provides the regulatory element (REV) protein, which is a crucial transactivator that binds to the viral RNA and activates the transcription of the viral genes; it is essential for efficient viral replication. The pMDLg/pRRE plasmid provides several key internal packaging components, namely gag, which encodes the matrix (MA), capsid (CA), and nucleocapsid (NC) proteins, pol, which encodes the enzymes needed for viral replication and integration into the host cell genome, and the RNA regulatory element (RRE), which is an RNA element that enhances the efficiency of viral RNA translation and genomic RNA packaging. The pLV-EF1A-LivePAR-Hygro plasmid (Figure 1A) contains cDNA coding for the enhanced green fluorescence protein (EGFP) that is fused to the C-terminus of the WWE domain of RNF146 (amino acids 100–182), a protein domain that binds to poly(ADP-ribose) chains, and the vector also encodes a hygromycin resistance cassette. The virus is isolated from the cell culture supernatant and can be stored at -80 ˚C or used immediately for transduction (Figure 1B).

PROTOCOL:

1. Lentivirus production

NOTE: This protocol employs a third-generation lentiviral packaging system42,43 to generate cells expressing a genetically encoded PAR reporter. Lentiviral particles are produced in 293FT cells using a four-plasmid system comprising envelope, regulatory, and packaging components, together with the pLV-EF1A-LivePAR-Hygro construct encoding an EGFP-tagged WWE domain of RNF146, which binds poly(ADP-ribose) chains. The resulting virus is used to generate stable cell lines for visualization and quantification of PAR accumulation.

  - Culture low passage 293FT cells in DMEM containing 10% FBS and 1% Pen/Strep in a humidified atmosphere at 37 ˚C and 5% CO2. Ensure that the 293FT cells have not been in culture for more than 3 weeks.

NOTE: We routinely use 293FT cells ranging in passage numbers between 3 and 10. 293FT cells were transformed and immortalized by the SV40 large T antigen. These cells have a high transfection efficiency, which is essential for recombinant protein production and gene expression studies. They respond well to both lipid-based and viral transfection methods.

  - Plate 1.7 × 105 293FT cells onto a 60 mm tissue culture dish in a final volume of 5.5 mL of culture media on day 1. Return cells to the incubator for 24 h.

  - On day 2 (the day of transfection), add 375 µL of FBS- and Pen/Strep-free DMEM medium to a 1.5 mL sterile microcentrifugation tube. Then, add 10 µL of a lipid-based transfection reagent, 4 µg of the pLV-EF1A-LivePAR-Hygro plasmid, 2 µg of the pMD2.g(VSVG) plasmid, 2 µg of the pRSV-REV plasmid, and 2 µg of the pMDLg/pRRE plasmid. Tap the microcentrifugation tube gently to mix the media, transfection reagent, and plasmid DNA (avoid vortexing). Incubate for 15–30 min at room temperature to allow for DNA/transfection reagent complex formation.

  - Add the plasmid/transfection reagent mix to the 60 mm dish containing the 293FT cells to be transfected without removing the media, dropwise. Return the cells to the incubator for 48 h.

NOTE: This period allows for the production and release of the lentiviral particles into the growth media.

  - On day 4, collect the culture media from the transfected 293FT cells to isolate the lentivirus particles. Filter through a sterile 0.45 µm filter to separate cell debris from the lentiviral particles.

  - Determine the lentivirus titer with available reagents (optional).

NOTE: This method generally yields 105 to 106 infectious units per mL (IFU/mL), which correlates to an approximate multiplicity of infection (MOI) of ~5 when used as outlined in the transduction step below.

  - Aliquot the media containing the lentivirus particles into four sterile cryovials (1.0 mL per tube) and store at -80 ˚C.

2. Transduction

NOTE: This section outlines the lentiviral transduction protocol used to introduce a transgene into cell lines (Figure 1B). It has been consistently effective in our lab1,3,33,37,44,45.

  - Culture a cell line of choice (low passage number) in the appropriate media in a humidified atmosphere at 37 ˚C and 5% CO2.

NOTE: Start with an early passage of the cell type needed. A new vial of cells must be thawed and passaged at least once before seeding for transduction.

  - On day 1, seed 1 × 105–1.5 × 105 cells per well, onto each well of a 6-well plate in 2 mL of growth media. Return the cells to the incubator for 24 h.

  - On day 2 (the day of transduction), ensure that the cells are between 20% and 40% confluent. Add 1 mL of virus, 1 mL of growth media, and 2 µL of polybrene (2 mg/mL stock) to a 15 mL conical tube and mix gently by inversion (avoid vortexing).

NOTE: Polybrene is used during lentivirus transduction to prevent electrostatic repulsion between the virus particles and the cell membrane. As polybrene is positively charged, it interacts with the negatively charged viral glycoproteins, neutralizing their charge. Furthermore, polybrene binds to glycosaminoglycans in the cell culture medium, preventing their interaction with the virus. Polybrene, therefore, greatly enhances transduction efficiency.

  - Remove the growth media from the 6-well plate and add the virus/media/polybrene mix to each well. Place the cells with the transduction mix in an incubator containing a humidified atmosphere at 32 °C and 5% CO2 for 16–18 h.

NOTE: Incubating cells at 32 °C overnight during lentiviral transduction is a common, though not essential, practice that significantly increases viral infection efficacy. Lowering the temperature slows cellular metabolism, thereby reducing cellular defenses and increasing susceptibility to viral infection.

  - On day 3, replace the media of the virus-transduced cells with fresh media and move them to a 37 °C incubator. Incubate for 48 h.

NOTE: These 2 days are sufficient for the cells to produce the RNF146(100–182)-EGFP transgene and become resistant to hygromycin.

  - To develop the resulting polyclonal stable cell lines expressing the RNF146(100–182)-EGFP transgene, next start hygromycin selection after 2 days of incubation as indicated in step 2.5.

    - Alternatively, expand this population of transduced cells in the absence of hygromycin and use for PAR analysis over the course of the next 10–14 days (transient transduction), as described previously1.

  - Transfer the cells onto a 100 mm plate once they grow in the presence of hygromycin and expand as much as required.

  - Prepare cryo stocks of the transduced cells for future use.

  - Validate the expression of the RNF146(100–182)-EGFP transgene by confocal microscopy as outlined in section 3. The RNF146(100–182)-EGFP transgene will be expressed throughout the cell.

  - Validate the expression of the RNF146(100–182)-EGFP transgene by immunoblotting, as described elsewhere1,37.

3. Confocal microscopy and analysis

NOTE: This section of the protocol details the preparation of coverslips, the seeding of the LivePAR-expressing cells, exposure to treatments (tBuOOH, MNNG, PARGi, PARPi, and/or NRH), and preparation of fixed cells on microscope slides for confocal imaging and PAR foci analysis (Figure 1C). It also describes the use of ImageJ software and a custom macro for the semi-automated quantification of PAR foci. This protocol can be used to investigate the influence of various factors (e.g., small molecules, BER protein knockouts) on DNA damage-dependent PARylation and has been successfully employed in our lab34,37.

3.1. Coverslip preparation

    - Soak 20 × 20 mm coverslips for 20 min in diethyl ether in a glass container in a fume hood.

NOTE: Use a fume hood when working with diethyl ether due to its flammability and potential hazards.

    - Remove the diethyl ether and wash the coverslips in decreasing concentrations of ethanol [100%, 70%, 50%, then 0% (ddH2O)].

    - Remove the water and soak the coverslips for 20 min in 1 N HCl with gentle agitation.

    - Remove the HCl and wash the coverslips 3x with ddH20.

    - Store the coverslips in 70% ethanol at 4 °C until use.

  - Plating of cells

    - Place two 20 × 20 mm sterile coverslips in a 60 mm cell culture dish next to each other. Prepare as many dishes as required for the experiment. Ensure that all the ethanol has evaporated before adding any cells to the dish containing the coverslips. Wash away any residual ethanol by adding sterile PBS to the dish for 10–15 min; remove PBS before seeding the cells.

    - Seed 200,000 LivePAR-expressing cells per cell culture dish. Allow the cells 24–36 h to adhere to the coverslips, condition the medium, and start replicating (growing).

  - Induction of PAR foci

    - Expose the LivePAR-expressing cells to 100 µM NRH, 10 µM PARGi, and 10 µM MNNG or 40 µM tBuOOH. In addition, to test for PARP1/PARP2-dependent PAR formation, inhibit PARP1/PARP2 by adding 10 µM PARPi. Add compounds directly to the media containing the cells on the coverslips and gently swirl the media in the cell culture dishes to distribute the compounds. Incubate the 60 mm dishes at 37 ˚C for 60–90 min.

NOTE: NRH is used to ensure that sufficient levels of cellular NAD+ is available for optimal PARP1/PARP2-mediated PARylation33,46,47. PARGi is used to prevent the PAR chains synthesized by PARP1/PARP2 from being broken down by PARG. MNNG or tBuOOH is used to induce the DNA base modifications to initiate BER, which leads to the activation of PARP1/PARP2. PARPi is used to confirm that the signal (foci) results from PARP1/PARP2 activation.

  - Fixation of cells and mounting of the coverslips

    - Remove the medium and wash with PBS.

NOTE: Washing once or twice with PBS is important, as the medium used to culture cells contains a high concentration of serum proteins. Washing with PBS also removes any residual MNNG or tBuOOH still in the media.

    - Prefix in 4% formaldehyde in PBS for 15 min at room temperature. Wash cells 3x with PBS.

    - Fix by adding 3 mL of cold (-20 °C) methanol: acetone (7:3) to the cells. Place dishes at -20 °C for 9 min.

    - Remove methanol: acetone. Wash 3x with PBS.

    - Pipette 15 µL of anti-fade medium containing DAPI on the glass slides. Gently mount the coverslips onto the spot of mounting medium with the cells facing inward, minimizing bubbles.

    - Center, secure, and seal the sides of the coverslip to the glass slide by applying a small amount of clear topcoat nail enamel to the sides of the coverslip. Place the slides in the dark to let the topcoat nail enamel dry (~10 min). Store slides in the dark at 4 ˚C until ready to image.

  - Imaging cells

    - Image all slides at least 10x at 63× magnification, using a confocal microscope. Detect PAR foci using the 488 nm laser and nuclear staining (DAPI) using the 405 nm laser (for example, see Figure 2).

  - Analyzing confocal images

    - Create a text file containing the following text and name it “LivePAR_Macro”. This macro facilitates the “automatic” quantification of PAR foci in the nuclei of the LivePAR-expressing cells:

macro "DAPI positive staining [1]" {

tit=getTitle();

run("Duplicate...", "title=DAPI duplicate");

selectWindow("DAPI")

run("8-bit");

run("Split Channels")

selectWindow("C2-"+"DAPI");

close();

selectWindow("C1-"+"DAPI");

run("Gaussian Blur...", "Sigma=3");

setAutoThreshold("Default");

run("Make Binary");

run("Invert")

run("Fill Holes")

run("Watershed")

run("Analyze Particles...", "size=50.00-Infinity circularity=0.00-1.00 show=Outlines add exclude include in_situ");

rename("DAPI_"+tit);

selectWindow("DAPI_"+tit);

close();

}

macro "PAR [2]" {

setBatchMode(true);

run("8-bit");

t=getTitle();

run("Duplicate...", "title=GB1 duplicate");

run("Duplicate...", "title=GB20 duplicate");

selectWindow("GB20")

run("Gaussian Blur...", "radius=20 stack");

selectWindow("GB1");

run("Gaussian Blur...", "radius=1 stack");

imageCalculator("Subtract create stack", "GB1","GB20");

selectWindow("GB1");

close();

selectWindow("GB20");

close();

selectWindow("Result of GB1");

rename("Blank_GB1-GB20_"+t);

title = getTitle();

run("Split Channels")

selectWindow("C1-"+title);

close();

selectWindow("C2-"+title);

setThreshold(90,255) //the 90 value can be changed to account for experimental variability

run("Analyze Particles...", "size=0.00-200 circularity=0.00-1.00 show=Masks summarize");

close ("C2-"+title);

selectWindow("Mask of C2-"+title);

close ();

setBatchMode(false);

}

    - Download and install ImageJ onto the computer (https://imagej.net/ij/download.html).

    - Open ImageJ and install the macro (text file: LivePAR_Macro) by clicking on Plugins | Macros | Install.

    - Open all confocal files in ImageJ and save them as *.tif files to preserve the original files.

    - Open a spreadsheet document and save it as [date]_[Cell Line]_Foci Analysis.

    - Analyze one *.tif file at a time. Press 1 to find the nuclei; when a window titled ROI Manager opens, select all entries in the window and press add to overlay the nuclei area over the original image. Delete incorrectly identified nuclei. Draw the nucleus using the freehand selection tool and press 2 to quantify PAR foci.

NOTE: Do not include nuclei that are not fully within the frame.

    - Select each nucleus in the ROI manager one by one and press 2. A count will appear indicating the number of foci within the nucleus selected. Once the foci in all the nuclei of the file have been scored, copy and paste the information into the open spreadsheet document.

    - Repeat steps 3.6.6 and 3.6.7 with all *.tif files.

    - Plot PAR foci per nucleus in the software of choice (e.g., see Figure 3).

REPRESENTATIVE RESULTS:

Cells expressing the LivePAR probe can be generated by producing a lentivirus encoding the RNF146(100-182)-EGFP fusion protein (Figure 1A). Cells can be evaluated after transient expression for up to two weeks after transduction or as stable cell lines following selection in hygromycin (Figure 1B)1. Following genotoxin treatment, DNA damage-induced PAR foci can be visualized within the nucleus and, once fixed, imaged by confocal fluorescence microscopy (Figure 1C). The images reveal pan-cellular EGFP staining in vehicle control cells (Figure 2, top). However, genotoxin-treated cells show accumulation of nuclear foci, representing localization of RNF146(100-182)-EGFP bound to PAR (Figure 2, bottom). PARP1/PARP2 dependence is also demonstrated by pre-treatment with the PARP1/PARP2 inhibitor Veliparib, which results in the loss of PAR foci (Figure 3A). As outlined above, the number of PAR foci per nucleus can be quantified as a function of time, genotoxin, and PARP inhibitor and/or PARG inhibitor treatment (Figure 3B).

FIGURE LEGENDS:

Figure 1: Generation and use of LivePAR-expressing cell lines. (A) Graphical representation of the LivePAR reporter, encoded by the pLV-EF1A-LivePAR-Hygro lentivirus plasmid, available from Addgene (see the Table of Materials). Expression of the reporter is driven by the EF1A promoter, resulting in the expression of the WWE domain of RNF146 (amino acids 100–182). This WWE domain is linked to EGFP via a short linker. A hygromycin resistance gene, driven by the mPGK promoter, is also included on the plasmid to facilitate selection of LivePAR-expressing cells. (B) Four plasmids [LivePAR, pMD2.g (VSVG), pRSV-REV, and pMDLg/pRRE], are transfected into 293FT cells. Two days later, the virus particle-containing media is collected and filtered. These virus particles can then be used to transduce your cell line of choice. (C) LivePAR-transduced cells are plated in cell culture dishes containing treated microscope cover slips. PARP1/PARP2 is then optimally activated by providing the NAD+ precursor NRH and BER substrates in the form of methylated- or oxidized-bases (via genotoxin exposure of the cells). Simultaneously, PARP1/PARP2-dependent poly(ADP-ribose) chains are prevented from degradation by the addition of a PARGi. Microscope slides are prepared, and PAR-foci are analyzed by confocal fluorescence microscopy.

Figure 2: Micrographs of U2OS/LivePAR, RPE-1/LivePAR, ES-2/LivePAR, and LN428/LivePAR cells. Cell lines modified to express the LivePAR reporter (U2OS, human osteosarcoma; RPE-1, human retinal pigment epithelial; ES-2, human ovarian carcinoma; and LN428, human glioblastoma). The top panel shows vehicle control cells, and the bottom panel shows PAR-foci containing cells. Nuclear staining is indicated in blue (DAPI), and PAR foci are indicated in green (EGFP). Cells were exposed to NRH (100 µM), PARGi (PDD00017273, 10 µM), and MNNG (10 µM) for 60 min.

Figure 3: Induction of PAR foci in a PARP1/PARP2-dependent manner. (A) Micrographs of U2OS/LivePAR cells exposed to NRH (100 µM), PARGi (PDD00017273, 10 µM), MNNG (10 µM), and PARPi (Veliparib, 10 µM), as indicated in the figure, for 30, 60, 90, or 120 min. Nuclear staining (DAPI, blue) and EGFP PAR foci (green) are shown. (B) Quantification of PAR nuclear foci in U2OS/LivePAR cells following exposure to NRH (100 µM), PARGi (PDD00017273, 10 µM), MNNG (10 µM), and PARPi (Veliparib, 10 µM), as indicated on the graph, for 30, 60, 90, or 120 min. The graph is the result of three independent experiments, in which at least 50 nuclei per condition were analyzed. Error bars depict the standard deviation. P-value determined by Mann-Whitney two-tailed test (p < 0.0001 = ****).

DISCUSSION:

The LivePAR assay was developed to detect sites of nuclear genomic DNA damage where PARP1/PARP2 is actively synthesizing PAR chains. To accomplish this, a fragment of RNF146 encoding the WWE domain (amino acids 100–182) was fused to EGFP1-3,37. Additional PAR probes we have described encode EGFP fused to amino acid residues 1 to 166 of DTX4, amino acid residues 22 to 112 of PARP11, and amino acids 1–178 of DTX2, each encoding an expanded WWE domain37 that recognizes the iso-ADP-ribose moiety of PAR. In addition, we have recently described a similar PAR probe in which EGFP is fused to an engineered macrodomain from Af152137, the latter originally developed by Nowak et al. as a fusion protein with the Fc domain of IgG2a that showed enhanced detection of PARylation in cells by immunofluorescence, as compared to the WT Af125148. These new lentiviral probes can also be used for PAR analysis in mammalian cells, as we have described37 and do not appear to complete with endogenous factors for PAR binding3,37. However, elevated expression of the RNF146(100–182) domain did appear to stabilize PAR chains37, but this was not seen following over-expression of the WWE domains of DTX4, DTX2, or PARP1137.

The LivePAR or RNF146(100–182)-EGFP probe we describe here was originally developed after an analysis of at least one example from each of the ten PAR-binding domains (PBDs)3, including the PAR binding motif (PBM), the BRCA1 C-terminal domain (BRCT), the PAR binding Zinc finger (PBZ), a macrodomain, the RNA recognition module (RRM), the OB-fold, arginine-rich and glycine-rich motif (RGG), the PIN domain, the phosphopeptide-binding Fork head-associated domain (FHA), SR repeats and KR-rich motif, and the WWE domain49-54. Of these PBDs, the first to be used to detect PAR in vitro was the PBZ domain of the APLF protein55, which was later used as a bimolecular fluorescent complementation biosensor for the identification of PARylated proteins56. Other highly effective cell-based PAR probes include a FRET-based sensor of PARylation57, a split protein, and a dimerization-dependent PAR tracking tool, each also based on the WWE domain of RNF14658.

Exposure to genotoxins, which induce DNA single-strand breaks and/or DNA base modifications rapidly activate PARP1 and PARP2. This triggers the initiation of the BER pathway, which repairs the lesion and seals the resulting nick. Once BER is complete, PARP1/PARP2 activity ceases, and PARG removes the resulting PAR chains. This repair pathway is both fast and energy-dependent. For example, following micro-irradiation, a process that induces DNA lesions requiring BER, cells expressing the LivePAR reporter exhibit PAR foci formation within 15 s1,37. These foci then disappear over the subsequent 20 min as BER concludes3,37.

To facilitate the analysis and quantification of PAR foci in fixed cells, and to enhance the assay’s utility, we ensure sufficient NAD+ availability for PARP1/PARP2 activation by including an NAD+ precursor, namely NRH3,33. While not strictly essential for PARP1/PARP2 activation, NRH counteracts NAD+ depletion during PARP1/PARP2 activity, ensuring full enzyme activation7,45. Furthermore, a PARGi is included to prevent PAR chain removal. The selection of PARGi should consider its potency (IC50) and compatibility with the cell line being used. The PARGi used in this protocol demonstrated effectiveness across multiple cell lines (Figure 2), although this remains a potential area for troubleshooting.

The addition of NRH and a PARGi promotes the efficient formation and persistence of PAR chains, which are then recognized by the LivePAR probe [RNF146(100–182)-EGFP]. Accumulation of EGFP at sites of PARylation can be visualized using confocal fluorescent microscopy (Figure 2). These visible “PAR foci” are PARP1/PARP2-dependent; inhibiting these enzymes prior to genotoxin exposure prevents PAR formation and accumulation (Figure 3).

The fixation method described in section 3.4 streamlines the analysis of confocal micrographs. While formaldehyde fixation alone enables PAR foci detection, combining it with a subsequent methanol: acetone fixation significantly enhances the sharpness of the foci in acquired images. This improved clarity facilitates analysis using the ImageJ macro, making foci identification easier. While manual scoring of PAR foci is an available option, utilizing the ImageJ macro provides a rapid and reproducible alternative. The macro’s sensitivity can be adjusted by modifying the “90” value within the line “setThreshold(90,255)”; decreasing this value increases sensitivity, and increasing it decreases sensitivity. This allows researchers to calibrate the macro’s detection threshold to match that of a manual count. Once calibrated for a representative cell, subsequent macro-based scoring for the remaining cells will yield results consistent with manual counting. In addition to increasing data acquisition speed, this automated scoring method minimizes inter- and intra-investigator variability, thereby enhancing the reproducibility of the results.

Critical aspects of this protocol include sufficient lentiviral titer and effective transduction of the target cell. Further, it is worth the extra time to validate the expression of the RNF146(100–182)-EGFP transgene by immunoblot to ensure the full-length protein is being expressed and by confocal microscopy to ensure pancellular EGFP-fluorescence from the RNF146(100–182)-EGFP transgene. If a cell line proves difficult to transduce, or if the expression of the RNF146(100–182)-EGFP transgene shows high variability among transduced cells, researchers may consider sorting for positive cells, or cells with similar expression levels, using fluorescence-activated cell sorting (FACS).

It is also critical to determine if the long-term expression of the RNF146(100–182)-EGFP transgene impacts the growth of your target cells. In some cases, we have found that certain target cells do not tolerate the expression of transgenes fused to EGFP. In this case, transient expression is recommended, as indicated in protocol step 2.9 and elsewhere1. While PAR foci can also be quantified using the 10H Ab, as we and others have shown3,59, we find the approach outlined here will allow rapid visualization of foci to more effectively define the dynamics of PAR accumulation34 and is amenable to live-cell analysis, as needed2,3. Importantly, we are now actively employing this protocol to evaluate the cell-based efficacy of newly developed PARG inhibitors in a high-throughput format.

Overall, this assay can be used for (i) genotoxicity testing, (ii) analysis of PARP, PARG, and related DNA damage response inhibitors, (iii) identifying novel factors involved in BER, SSBR, or PARP1/PARP2, and (iv) by combining the LivePAR assay with traditional immunofluorescence techniques, colocalization studies with PAR can be performed.

ACKNOWLEDGMENTS:

Special thanks to Marie Migaud (University of South Alabama) for her constant support regarding the supply of NRH over the years and for her expert advice. Research in the Sobol lab on DNA repair, the analysis of DNA damage, and the impact of genotoxic exposure & replication stress was funded by grants from the NIH [ES029518, ES028949, CA238061, CA236911, AG069740, and ES032522], and from the NSF [NSF-1841811]. Support was also provided by the Legoretta Cancer Center Endowment Fund (to R.W.S.).

DISCLOSURES:

R.W.S. is the co-founder of Canal House Biosciences, LLC, is on the Scientific Advisory Board, and has an equity interest, but this company was not involved in nor was the consulting work related to this study. The authors state that there is no conflict of interest.

REFERENCES:

- Koczor CA, et al. Quantitative analysis of nuclear poly(ADP-ribose) dynamics in response to laser-induced DNA damage. Methods Mol Biol. 2023;2609:43-59.

- Koczor CA, et al. Live cell detection of poly(ADP-ribose) for use in genetic and genotoxic compound screens. Cancers (Basel). 2022;14(15):3676.

- Koczor CA, et al. Temporal dynamics of base excision/single-strand break repair protein complex assembly/disassembly are modulated by the PARP/NAD(+)/SIRT6 axis. Cell Rep. 2021;37(5):109917.

- Almeida KH, Sobol RW. A unified view of base excision repair: lesion-dependent protein complexes regulated by post-translational modification. DNA Repair (Amst). 2007;6(6):695-711.

- Krokan HE, Bjoras M. Base excision repair. Cold Spring Harb Perspect Biol. 2013;5(4):a012583.

- Al-Rahahleh RQ, Sobol RW. Poly-ADP-ribosylation dynamics, signaling, and analysis. Environ Mol Mutagen. 2024;65(9):315-37.

- Saville KM, et al. NAD(+)-mediated regulation of mammalian base excision repair. DNA Repair (Amst). 2020;93:102930.

- Ibeanu G, et al. Overexpression of human DNA repair protein N-methylpurine-DNA glycosylase results in the increased removal of N-methylpurines in DNA without a concomitant increase in resistance to alkylating agents in Chinese hamster ovary cells. Carcinogenesis. 1992;13(11):1989-95.

- Svilar D, Goellner EM, Almeida KH, Sobol RW. Base excision repair and lesion-dependent subpathways for repair of oxidative DNA damage. Antioxid Redox Signal. 2011;14(12):2491-507.

- Bjoras M, et al. Opposite base-dependent reactions of a human base excision repair enzyme on DNA containing 7,8-dihydro-8-oxoguanine and abasic sites. EMBO J. 1997;16(20):6314-22.

- Chen DS, Herman T, Demple B. Two distinct human DNA diesterases that hydrolyze 3'-blocking deoxyribose fragments from oxidized DNA. Nucleic Acids Res. 1991;19(21):5907-14.

- Demple B, Herman T, Chen DS. Cloning and expression of APE, the cDNA encoding the major human apurinic endonuclease: definition of a family of DNA repair enzymes. Proc Natl Acad Sci U S A. 1991;88(24):11450-4.

- Almeida KH, Andrews ME, Sobol RW. AP endonuclease 1: biological updates and advances in activity analysis. Methods Enzymol. 2024;705:347-76.

- Dianov G, Price A, Lindahl T. Generation of single-nucleotide repair patches following excision of uracil residues from DNA. Mol Cell Biol. 1992;12(4):1605-12.

- Sobol RW, et al. Requirement of mammalian DNA polymerase-beta in base-excision repair. Nature. 1996;379(6561):183-6.

- Kubota Y, et al. Reconstitution of DNA base excision-repair with purified human proteins: interaction between DNA polymerase beta and the XRCC1 protein. EMBO J. 1996;15(23):6662-70.

- Prasad R, et al. Specific interaction of DNA polymerase beta and DNA ligase I in a multiprotein base excision repair complex from bovine testis. J Biol Chem. 1996;271(27):16000-7.

- Alkhatib HM, et al. Cloning and expression of cDNA for human poly(ADP-ribose) polymerase. Proc Natl Acad Sci U S A. 1987;84(5):1224-8.

- Cherney BW, et al. cDNA sequence, protein structure, and chromosomal location of the human gene for poly(ADP-ribose) polymerase. Proc Natl Acad Sci U S A. 1987;84(23):8370-4.

- Ame JC, et al. PARP-2, a novel mammalian DNA damage-dependent poly(ADP-ribose) polymerase. J Biol Chem. 1999;274(25):17860-8.

- Fisher AE, Hochegger H, Takeda S, Caldecott KW. Poly(ADP-ribose) polymerase 1 accelerates single-strand break repair in concert with poly(ADP-ribose) glycohydrolase. Mol Cell Biol. 2007;27(15):5597-605.

- Jankevicius G, et al. A family of macrodomain proteins reverses cellular mono-ADP-ribosylation. Nat Struct Mol Biol. 2013;20(4):508-14.

- Zaja R, et al. Comparative analysis of MACROD1, MACROD2 and TARG1 expression, localisation and interactome. Sci Rep. 2020;10(1):8286.

- Ishiwata-Endo H, et al. ARH family of ADP-ribose-acceptor hydrolases. Cells. 2022;11(23):3853.

- Prokhorova E, et al. Unrestrained poly-ADP-ribosylation provides insights into chromatin regulation and human disease. Mol Cell. 2021;81(12):2640-55.e8.

- Groslambert J, et al. The interplay of TARG1 and PARG protects against genomic instability. Cell Rep. 2023;42(9):113113.

- Min W, Wang ZQ. Poly(ADP-ribose) glycohydrolase (PARG) and its therapeutic potential. Front Biosci (Landmark Ed). 2009;14(5):1619-26.

- Gagne JP, Hendzel MJ, Droit A, Poirier GG. The expanding role of poly(ADP-ribose) metabolism: current challenges and new perspectives. Curr Opin Cell Biol. 2006;18(2):145-51.

- Bonicalzi ME, Haince JF, Droit A, Poirier GG. Regulation of poly(ADP-ribose) metabolism by poly(ADP-ribose) glycohydrolase: where and when? Cell Mol Life Sci. 2005;62(7-8):739-50.

- Brochu G, et al. Mode of action of poly(ADP-ribose) glycohydrolase. Biochim Biophys Acta. 1994;1219(2):342-50.

- Thomassin H, Menard L, Hengartner C, Kirkland JB, Poirier GG. Poly(ADP-ribosyl)ation of chromatin in an in-vitro poly(ADP-ribose)-turnover system. Biochim Biophys Acta. 1992;1137(2):171-81.

- Kratz A, et al. A multi-scale map of protein assemblies in the DNA damage response. Cell Syst. 2023;14(6):447-63.e8.

- Li J, et al. NAD(+) bioavailability mediates PARG inhibition-induced replication arrest, intra S-phase checkpoint and apoptosis in glioma stem cells. NAR Cancer. 2021;3(4):zcab044.

- Khan MM, et al. DNA polymerase beta expression in head and neck cancer modulates the poly(ADP-ribose)-mediated replication checkpoint. DNA Repair (Amst). 2025;150:103853.

- Ibrahim M, et al. Replication-associated base excision repair/single-strand break repair regulates PARG inhibitor response via the PRMT1/PRMT5/ATR axis. NAR Cancer. 2025;7(4):zcaf057.

- Acharya G, et al. CHK1 inhibitor induced PARylation by targeting PARG causes excessive replication and metabolic stress and overcomes chemoresistance in ovarian cancer. Cell Death Discov. 2024;10(1):278.

- Al-Rahahleh RQ, et al. Overexpression of the WWE domain of RNF146 modulates poly-(ADP)-ribose dynamics at sites of DNA damage. DNA Repair (Amst). 2025;150:103845.

- He F, et al. Structural insight into the interaction of ADP-ribose with the PARP WWE domains. FEBS Lett. 2012;586(21):3858-64.

- Wang Z, et al. Recognition of the iso-ADP-ribose moiety in poly(ADP-ribose) by WWE domains suggests a general mechanism for poly(ADP-ribosyl)ation-dependent ubiquitination. Genes Dev. 2012;26(3):235-40.

- DaRosa PA, et al. Allosteric activation of the RNF146 ubiquitin ligase by a poly(ADP-ribosyl)ation signal. Nature. 2015;517(7533):223-6.

- Kang HC, et al. Iduna is a poly(ADP-ribose) (PAR)-dependent E3 ubiquitin ligase that regulates DNA damage. Proc Natl Acad Sci U S A. 2011;108(34):14103-8.

- Dull T, et al. A third-generation lentivirus vector with a conditional packaging system. J Virol. 1998;72(11):8463-71.

- Rubinson DA, et al. A lentivirus-based system to functionally silence genes in primary mammalian cells, stem cells and transgenic mice by RNA interference. Nat Genet. 2003;33(3):401-6.

- Inanc B, et al. TRIP12's role in the governance of DNA polymerase beta involvement in DNA damage response and repair. Nucleic Acids Res. 2025;53(12):gkaf574.

- Li J, et al. Overcoming temozolomide resistance in glioblastoma via enhanced NAD(+) bioavailability and inhibition of poly-ADP-ribose glycohydrolase. Cancers (Basel). 2022;14(15):3572.

- Yang Y, Zhang N, Zhang G, Sauve AA. NRH salvage and conversion to NAD(+) requires NRH kinase activity by adenosine kinase. Nat Metab. 2020;2(4):364-79.

- Yang Y, Mohammed FS, Zhang N, Sauve AA. Dihydronicotinamide riboside is a potent NAD(+) concentration enhancer in vitro and in vivo. J Biol Chem. 2019;294(23):9295-307.

- Nowak K, et al. Engineering Af1521 improves ADP-ribose binding and identification of ADP-ribosylated proteins. Nat Commun. 2020;11(1):5199.

- Kalisch T, Ame JC, Dantzer F, Schreiber V. New readers and interpretations of poly(ADP-ribosyl)ation. Trends Biochem Sci. 2012;37(9):381-90.

- Barkauskaite E, et al. The recognition and removal of cellular poly(ADP-ribose) signals. FEBS J. 2013;280(15):3491-507.

- Karlberg T, Langelier MF, Pascal JM, Schuler H. Structural biology of the writers, readers, and erasers in mono- and poly(ADP-ribose) mediated signaling. Mol Aspects Med. 2013;34(6):1088-108.

- Krietsch J, et al. Reprogramming cellular events by poly(ADP-ribose)-binding proteins. Mol Aspects Med. 2013;34(6):1066-87.

- Li M, Lu LY, Yang CY, Wang S, Yu X. The FHA and BRCT domains recognize ADP-ribosylation during DNA damage response. Genes Dev. 2013;27(16):1752-68.

- Teloni F, Altmeyer M. Readers of poly(ADP-ribose): designed to be fit for purpose. Nucleic Acids Res. 2016;44(3):993-1006.

- Furman JL, Mok PW, Shen S, Stains CI, Ghosh I. A turn-on split-luciferase sensor for the direct detection of poly(ADP-ribose) as a marker for DNA repair and cell death. Chem Commun (Camb). 2011;47(1):397-9.

- Krastev DB, et al. Coupling bimolecular PARylation biosensors with genetic screens to identify PARylation targets. Nat Commun. 2018;9(1):2016.

- Serebrovskaya EO, et al. Genetically encoded fluorescent sensor for poly-ADP-ribose. Int J Mol Sci. 2020;21(14):5004.

- Challa S, et al. Development and characterization of new tools for detecting poly(ADP-ribose) in vitro and in vivo. Elife. 2022;11:e72464.

- Hanzlikova H, et al. The importance of poly(ADP-ribose) polymerase as a sensor of unligated Okazaki fragments during DNA replication. Mol Cell. 2018;71(2):319-31.e3.