# Submission ID #: 70517

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/files_upload.php?src=21507733

Title: Evaluation of 3D Spheroids for AAV Transduction Studies

# Authors and Affiliations:

Susana S. Najera1 and Ronit Mazor2

1Office of Gene Therapy, Office of Therapeutic Products, Center for Biologics Evaluation and Research, U.S. Food and Drug Administration

2Office of Gene Therapy, Office of Therapeutic Products, Center for Biologics Evaluation and Research, U.S. Food and Drug Administration

# Corresponding Authors:

# Ronit Mazor              (ronit.mazor@fda.hhs.gov)

# Email Addresses for All Authors:

Susana S. Najera      (Susana.najera@fda.hhs.gov)

# Ronit Mazor              (ronit.mazor@fda.hhs.gov)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?    No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?   Yes’

3. Filming location: Will the filming need to take place in multiple locations?   Yes

3 minutes away from each other

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Yes

Current Protocol Length

Number of Steps:  26

Number of Shots:  45

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Ronit Mazor: We developed a sensitive, physiologically relevant 3D spheroid platform to evaluate AAV transduction activity and improve the prediction of vector performance for gene therapy.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Describe the research contexts or systems in which this protocol can be applied.

  - Ronit Mazor: This protocol is applicable for evaluating AAV activity in vector potency testing, serotype screening, transgene optimization, neutralization studies, and preclinical gene therapy.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

CONCLUSION:

Describe the most important consideration or challenge when performing this protocol.

  - Susana Nagera: The key challenge when performing this protocol is maintaining high cell viability, producing uniform compact spheroids, and optimizing AAV dose for each cell type and serotype.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Are there any additional methods or analyses that can be performed following this procedure?

  - Susana Nagera: This protocol can assess transgene expression and functionality using RT-qPCR, western blotting, ELISA, enzymatic activity assays, and onset-time kinetics analyses.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Susana Nagera: Future studies can incorporate co-cultures, organoids, microfluidics, immune cells, or vasculature to better recapitulate in vivo AAV transduction environments.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer: Please capture all testimonial shots in a wide-angle format with sufficient headspace, as the final videos will be rendered in a 1:1 aspect ratio. Testimonial statements will be presented live by the authors, sharing their spontaneous perspectives.

What is the key takeaway you hope viewers remember after watching your video article?

  - Susana S Najera, FDA/ORISE Fellow : (authors will present their testimonial statements live)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

How does the video format of your article help you to share your work with the broader scientific community?

  - Susana S Najera, FDA/ORISE Fellow : (authors will present their testimonial statements live)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Seeding and Size Optimization of Spheroid

Demonstrator: Susana S Najera

  - To start, grow the cells in a T75 (T-Seventy-Five) cell culture flask until they reach 70% confluency under standard conditions [1-TXT]. After trypsinizing the cells, perpare a 1 to 10 dilution for routine cell passaging [2]. Incubate the cells again until they reach 70% confluency, then harvest them. [3].

    - Talent placing the cells in the incubator. TXT: Cells used: HEK293T, Huh7, HEP3B, A375, and HEPG2 Videographer: Please obtain CU shot as well for this shot.

    - Talent adding cells to cells to the culture flask

    - Talent placing the cells in the incubator.

  - After assessing cell viability, thoroughly pipette the cell suspension to ensure it is well mixed [1].

    - Talent pipetting the cell suspension up and down.

  - Seed 1 × 10⁴ cells in 200 microliters in an ultra-low attachment 96-well plate, using varying cell densities for different cell lines [1].

    - Talent seeding the cells into the ultra-low attachment 96-well round-bottom plate.

  - Add 1 volume of complete medium to all rows, except the top row [1]. Then, add 2 volumes of 1 × 10⁴ cells per well in the top row [1]. Serially dilute row 1A by adding 1 volume of row 1A into row 1B and continue in the same manner [1].

    - Talent adding complete medium to rows 1B through 1H.

    - Talent adding cells to row 1A.

    - Talent transferring 1 volume from row 1A into row 1B to continue the serial dilution.

  - Centrifuge the ultra-low attachment plate at 350 g for 5 minutes to pull the cells to the center and promote cell-to-cell contact [1]. Incubate at 37 degrees Celsius undisturbed for 24 to 48 hours for spheroid formation. Allow 3 days for the diameter to reach about 400 micrometers. [2].

    - Talent placing the ultra-low attachment plate in the centrifuge.

    - Talent places the plates at 37 oC.

  - Check spheroid size uniformity, ensuring cells are resuspended evenly and plates are flat [1].

    - SCREEN: 3-plate.mp4: 00:01-00:05.

  - Monitor spheroid morphology. Select mature spheroids that exhibit tight cell-to-cell adhesion rather than loose cell aggregates [1].

    - SCREEN: 3-plate.mp4:  00:08-00:13

- Live-Cell Real-Time Spheroid Monitoring

  - Once the cell suspensions are spun down, transfer the plate to a 37 degrees Celsius incubator equipped with a live-cell imaging instrument [1].

    - WIDE: Talent transferring the plate into the incubator containing the live-cell imaging instrument.

  - Log into the acquisition software [1]. Select  Schedule To Acquire and Scan On Schedule. Then, select Create Vessel to New [3].

    - SCREEN: 4.mp4: 00:04-00:08

    - SCREEN: 4.mp4: 00:11-00:20

  - Then, choose Scan Type and select Spheroid [1]. Pick the channels of interest, select Phase + Brightfield (Phase-with-Brightfield), then choose Green or Red. Set the desired magnification to 10× (Ten-X) [2].

    - SCREEN: 4.mp4:  00:21-00:23

    - SCREEN: 4.mp4: 00:24-00:28

  - Pick the plate model and its position in the drawer [1]. Select the wells to image, specify the number of images to acquire per well [2], and enter the experiment name [3].

    - SCREEN: 4.mp4: 00:29-00:32

    - SCREEN: 4.mp4: 00:33-00:36

    - SCREEN: 4.mp4: 00:38-00:47

  - For the analysis setup, select Defer Analysis Until Later [1].

    - SCREEN: 4.mp4: 00:47-00:48

  - Right-click on the timeline and click Set Selected Scan Group Interval [1].

    - SCREEN: A right-click is being performed on the timeline, and set Selected Scan Group Interval is being selected.  NOTE: Not filmed

  - Set scans to be added every 6 hours and scan indefinitely. Check daily for spheroid growth by logging into the imaging software [1]. Set the desired starting time at least 1 hour after the start of incubation in the automated imaging apparatus [2].

    - SCREEN: 4.mp4: 01:07-01:10

    - SCREEN: A start time at least 1 hour after incubation is being set in the automated imaging apparatus. NOTE: Not filmed

  - Check daily for spheroid growth by logging into the imaging software [1]. NOTE: Merged with the previous shot

    - SCREEN: The experiment dashboard displaying spheroid growth is being shown.

  - Select View Recent Scans and double-click on the desired experiment [1]. After selecting Brightfield in the image channels panel, use the Measure Image feature to measure the diameters of the spheroids [2].

    - SCREEN: 4.mp4:  00:00-00:06

    - SCREEN: 4.mp4: 00:06-00:21

  - Remove the plate on the day of optimized spheroid formation and use it for Adeno-associated virus or AAV (A-A-V) transduction [1].

    - Talent removing the plate from the imaging apparatus.

- AAV Transduction and Live-Cell Imaging in 3D Spheroids

  - Prepare a 96-well round plate containing 2% FBS supplemented DMEM without antibiotics [1]. Mix 33 microliters of AAV stock with 297 microliters of medium to obtain a starting multiplicity of infection or MOI (M-O-I) of 1 × 106 [2].

    - Talent adding a 96-well round plate containing 2% fetal bovine serum supplemented DMEM without antibiotics.

    - Talent mixing 33 microliters of AAV stock with 297 microliters of medium.

  - Perform 10-fold serial dilutions, starting with a MOI of 1 × 10⁶, by adding 33 microliters to 297 microliters of 2% FBS-supplemented DMEM [1].

    - Talent transferring 33 microliters of the previous dilution into 297 microliters of fresh medium.

  - Aspirate all medium from the previously prepared spheroid plate using a multichannel pipette [1].

    - WIDE: Talent aspirating medium from the spheroid plate with a multichannel pipette.

  - Transfer 100 microliters of the desired MOI of AAV from the dilution plate to the treatment plate using a multichannel pipette. [1].

    - Talent transferring 100 microliters from the dilution plate to the treatment plate with a multichannel pipette.

  - Place the plates back into the imaging instrument [1]. Start monitoring transduction by tracking green fluorescent intensity over 72 hours [2].

    - Talent placing the plates into the imaging instrument.

    - SCREEN: : 5.5-and-5.7.mp4 00:02-00:12

  - Add 100 microliters of complete DMEM per well every 3 days to replenish nutrients [1].

    - Talent adding complete DMEM to each well using a multichannel pipette.

  - Place the plate back in the imaging instrument [1] and start recording transduction efficiency every 6 hours

    - Talent placing the treatment plate into the imaging instrument.

    - SCREEN: 5.5-and-5.7.mp4: 00:20-00:25

  - Analyze the data by creating an analysis definition specific to the cells and reporter genes of interest [1].  Perform endpoint analysis using fluorescence readouts [1]

    - SCREEN: 5.8.1.mp4: 00:12-00:28, 00:47-00:52

    - Talent in front of the computer with selected wells showing fluorescence.

  - Similarly, perform AAV transduction in 3D spheroids with luminescent reporters [1], followed by transduction analysis using bioluminescent imaging [2].

    - Talent adding cells to the 96-well plate.

    - Talent placing the plate in the live cell imaging system.

# Results

- Results

  - Each cell line exhibited distinct morphological features and varying levels of compaction after 3 days of seeding [1].

    - LAB MEDIA: Figure 2.

  - Hepatic cell lines formed more compact, denser spheroids than other cell lines [1]. HEK293T (H-E-K-Two-Nine-Three-T) formed a very round spherical appearance with a distinct necrotic core [2]. A375 (A-Three-seventy-Five) formed an irregularly shaped cell aggregate [3].

    - LAB MEDIA: Figure 2. Video editor: Highlight the spheroids labeled Huh7, HEPG2, and HEP3B.

    - LAB MEDIA: Figure 2. Video editor: Highlight the spheroid labeled HEK293T

    - LAB MEDIA: Figure 2. Video editor: Highlight spheroid labeled A375

  - Spheroids were highly susceptible to AAV transduction, with strong transduction detected at very low AAV titers across different cell lines for self-complementary GFP [1].

    - LAB MEDIA: Figure 3. Video editor: Show the blue curves in panels A–D  and highlight the point on the x-axis at which the curve shows an upward trend

  - Spheroid transduction of single-stranded GFP was observed at lower levels than self-complementary GFP [1].

    - LAB MEDIA: Figure 3. Video editor: Compare the red and blue curves in panels A–D and emphasize that the red curves remain lower.

  - A 100-fold difference in relative fluorescence was observed between the self-complementary and single-stranded transgenes at a MOI of 10⁶ in HEK293T cells [1].

    - LAB MEDIA: Figure 3A. Video editor: Highlight HEK293T panel.

  - A 3-fold difference in relative fluorescence was observed between the self-complementary and single-stranded transgenes in HEP3B (HEP-Three-B) cells [1].

    - LAB MEDIA: Figure 3C. Video editor: Highlight the HEP3B

  - All 4 AAV serotypes were successfully detected using both the fluorescent plate reader and the live-cell imaging system [1]. AAV2 showed the highest transduction efficacy, followed by AAV1, in both cell lines [2].

    - LAB MEDIA: Figure 4.

    - LAB MEDIA: Figure 4A–D. Video editor: Highlight the red and blue curve .

  - All AAV serotypes showed efficient transduction using the luminescence system, enabling precise differentiation of transduction efficacy [1].

    - LAB MEDIA: Figure 5.

  - AAV2 was the most effective serotype in HeLa spheroids, while AAV9 had the lowest transduction efficacy [1].

    - LAB MEDIA: Figure 5A. Video editor: Highlight the red (AAV2) and yellow (AAV9)   curve .

  - AAV2 self-complementary GFP transduction was detectable at infection rates as low as 10¹, with a noticeable increase in signal after about 34 hours compared to untreated cells [1].

    - LAB MEDIA: Figure 6C. Video editor: Highlight the blue curve

  - The AAV2 single-stranded GFP signal was weaker and slower than the self-complementary GFP signal [1].

    - LAB MEDIA: Figure 6D–G. Video editor: Highlight the red curves.

- Confluency
Pronunciation link: https://www.merriam-webster.com/dictionary/confluency
IPA: /kənˈfluː.ən.si/
Phonetic Spelling: kuhn·floo·uhn·see

- Trypsinizing
Pronunciation link: https://www.merriam-webster.com/dictionary/trypsinize
IPA: /ˈtrɪp.səˌnaɪz/
Phonetic Spelling: trip·suh·nyze

- Passaging
Pronunciation link: https://www.merriam-webster.com/dictionary/passage
IPA: /ˈpæs.ɪ.dʒɪŋ/
Phonetic Spelling: pass·ih·jing

- Viability
Pronunciation link: https://www.merriam-webster.com/dictionary/viability
IPA: /ˌvaɪ.əˈbɪl.ə.ti/
Phonetic Spelling: vy·uh·bil·uh·tee

- Ultra-low attachment
Pronunciation link: No confirmed link found
IPA: /ˈʌl.trə loʊ əˈtætʃ.mənt/
Phonetic Spelling: uhl·truh loh uh·tach·muhnt

- Serial dilution
Pronunciation link: https://www.merriam-webster.com/dictionary/serial
IPA: /ˈsɪr.i.əl daɪˈluː.ʃən/
Phonetic Spelling: seer·ee·uhl dye·loo·shuhn

- Spheroid
Pronunciation link: https://www.merriam-webster.com/dictionary/spheroid
IPA: /ˈsfɪr.ɔɪd/
Phonetic Spelling: sfeer·oyd

- Morphology
Pronunciation link: https://www.merriam-webster.com/dictionary/morphology
IPA: /mɔːrˈfɑː.lə.dʒi/
Phonetic Spelling: mor·fol·uh·jee

- Automated
Pronunciation link: https://www.merriam-webster.com/dictionary/automated
IPA: /ˈɔː.təˌmeɪ.t̬ɪd/
Phonetic Spelling: aw·tuh·may·tid

- Brightfield
Pronunciation link: No confirmed link found
IPA: /ˈbraɪtˌfiːld/
Phonetic Spelling: bryte·feeld

- Magnification
Pronunciation link: https://www.merriam-webster.com/dictionary/magnification
IPA: /ˌmæɡ.nə.fəˈkeɪ.ʃən/
Phonetic Spelling: mag·nuh·fuh·kay·shuhn

- Adeno-associated virus
Pronunciation link: https://www.merriam-webster.com/dictionary/adeno-associated
IPA: /əˌdiː.noʊ əˈsoʊ.si.eɪ.t̬ɪd ˈvaɪ.rəs/
Phonetic Spelling: uh·dee·noh uh·soh·see·ay·tid vy·ruhs

- Transduction
Pronunciation link: https://www.merriam-webster.com/dictionary/transduction
IPA: /trænzˈdʌk.ʃən/
Phonetic Spelling: tranz·duk·shuhn

- Multiplicity of infection
Pronunciation link: No confirmed link found
IPA: /ˌmʌl.təˈplɪs.ə.ti əv ɪnˈfek.ʃən/
Phonetic Spelling: mul·tuh·pliss·uh·tee uhv in·fek·shuhn

- Fetal bovine serum
Pronunciation link: No confirmed link found
IPA: /ˈfiː.t̬əl ˈboʊ.vaɪn ˈsɪr.əm/
Phonetic Spelling: fee·tuhl boh·vyne seer·uhm

- Fluorescent
Pronunciation link: https://www.merriam-webster.com/dictionary/fluorescent
IPA: /flɔːˈres.ənt/
Phonetic Spelling: flor·ess·uhnt

- Bioluminescent
Pronunciation link: https://www.merriam-webster.com/dictionary/bioluminescence
IPA: /ˌbaɪ.oʊˌluː.məˈnes.ənt/
Phonetic Spelling: bye·oh·loo·muh·ness·uhnt

- Compaction
Pronunciation link: https://www.merriam-webster.com/dictionary/compaction
IPA: /kəmˈpæk.ʃən/
Phonetic Spelling: kuhm·pak·shuhn

- Hepatic
Pronunciation link: https://www.merriam-webster.com/dictionary/hepatic
IPA: /həˈpæt̬.ɪk/
Phonetic Spelling: huh·pat·ik

- Necrotic
Pronunciation link: https://www.merriam-webster.com/dictionary/necrotic
IPA: /nəˈkrɑː.t̬ɪk/
Phonetic Spelling: nuh·krot·ik

- Aggregate
Pronunciation link: https://www.merriam-webster.com/dictionary/aggregate
IPA: /ˈæɡ.rə.ɡət/ (noun), /ˈæɡ.rəˌɡeɪt/ (verb)
Phonetic Spelling: ag·ruh·guht; ag·ruh·gayt

- Susceptible
Pronunciation link: https://www.merriam-webster.com/dictionary/susceptible
IPA: /səˈsep.tə.bəl/
Phonetic Spelling: suh·sep·tuh·buhl

- Serotype
Pronunciation link: https://www.merriam-webster.com/dictionary/serotype
IPA: /ˈsɪr.oʊˌtaɪp/
Phonetic Spelling: seer·oh·type

- Efficacy
Pronunciation link: https://www.merriam-webster.com/dictionary/efficacy
IPA: /ˈef.ə.kə.si/
Phonetic Spelling: ef·uh·kuh·see

- HeLa
Pronunciation link: https://www.merriam-webster.com/dictionary/HeLa
IPA: /ˈhiː.lɑː/
Phonetic Spelling: hee·lah

- Luminescence
Pronunciation link: https://www.merriam-webster.com/dictionary/luminescence
IPA: /ˌluː.məˈnes.əns/
Phonetic Spelling: loo·muh·ness·uhns

- HEK293T
Pronunciation link: No confirmed link found
IPA: No verified IPA available
Phonetic Spelling: H-E-K two·nine·three·T

- Huh7
Pronunciation link: No confirmed link found
IPA: No verified IPA available
Phonetic Spelling: huh·seven

- HEP3B
Pronunciation link: No confirmed link found
IPA: No verified IPA available
Phonetic Spelling: hep·three·B

- HEPG2
Pronunciation link: No confirmed link found
IPA: No verified IPA available
Phonetic Spelling: H-E-P-G two

- A375
Pronunciation link: No confirmed link found
IPA: No verified IPA available
Phonetic Spelling: A three·seventy·five