TITLE:

Isolation and Characterization of Small Extracellular Vesicles from Infrapatellar Fat Pads of Osteoarthritis Patients

AUTHORS AND AFFILIATIONS:

Tengfei Sun¹*, Youbin Yang¹*, Sen Liu¹, Songlin Xie¹, Sidong Yang², Guobin Liu¹

¹ Department of Orthopedic Surgery, the First Hospital of Hebei Medical University, Shijiazhuang, Hebei, People’s Republic of China.

² Department of Orthopedic Surgery, Hebei Medical University Third Hospital, Shijiazhuang, Hebei, People’s Republic of China.

* These authors contributed equally.

Email addresses of co-authors:

Tengfei Sun		(24033100414@stu.hebmu.edu.cn)

Youbin Yang		(yybin116@foxmail.com)

Sen Liu			(liusenycp@163.com)

Songlin Xie		(25033100369@stu.hebmu.edu.cn)

# Corresponding author:

Sidong Yang		(sidongyang@hebmu.edu.cn)

Guobin Liu		(liuguobin@hebmu.edu.cn)

SUMMARY:

This protocol presents a reproducible and practical workflow for isolating and characterizing small extracellular vesicles (sEVs) from infrapatellar fat pad tissues of osteoarthritis patients.

ABSTRACT:

Extracellular vesicles (EVs), particularly small extracellular vesicles (sEVs) defined as vesicles smaller than 200 nm, serve as essential mediators of intercellular communication and released by nearly all cell types into various biological fluids. The infrapatellar fat pad (IPFP) is closely associated with the development and progression of knee osteoarthritis (OA). However, standardized methods for isolating sEVs directly from IPFP explants remain limited. We present a reproducible protocol for the isolation and characterization of sEVs derived from IPFP tissues obtained from OA patients. Conditioned medium collected from IPFP tissue cultures is sequentially cleared of cells and debris by low-speed centrifugation, followed by ultracentrifugation to enrich vesicles within the sEV size range. The resulting vesicles are characterized according to minimal information for studies of extracellular vesicles (MISEV2023) recommendations using a set of representative protein markers across distinct functional categories: CD63 as a membrane-associated tetraspanin, ALIX and TSG101 as cytosolic proteins involved in biogenesis mediated by the Endosomal Sorting Complex Required for Transport (ESCRT) machinery, and Calnexin as an endoplasmic reticulum-resident protein to monitor potential non-vesicular contamination. This workflow yields well-defined sEV preparations suitable for downstream applications such as functional assays or proteomic profiling in osteoarthritis research.

INTRODUCTION:

Small extracellular vesicles (sEVs) are a heterogeneous subtype of extracellular vesicles that, according to the operational classification proposed by the International Society for Extracellular Vesicles (ISEV) in the minimal information for studies of extracellular vesicles (MISEV2023) guidelines, are defined as vesicles typically smaller than 200 nm in diameter1. sEVs are released by virtually all cell types into biological fluids and have attracted increasing attention due to their essential role as mediators of intercellular communication in both physiological and pathological contexts2,3.

The membrane of sEVs is enriched with multiple functional proteins. Among them, tetraspanins such as CD63 are associated with vesicle membrane organization and fusion4. Furthermore, cytosolic proteins associated with the endosomal sorting complex required for transport (ESCRT), such as ALIX and TSG101, are integral to sEV biogenesis and secretion. Consequently, they serve as reliable markers for confirming the endosomal origin of the isolated vesicles5,6.

The infrapatellar fat pad (IPFP) has been recognized as an active joint-associated tissue closely linked to the initiation and progression of osteoarthritis (OA)7,8. Under inflammatory and degenerative conditions, sEVs derived from IPFP are hypothesized to carry inflammatory mediators and pathogenic signals, thereby contributing to synovial inflammation and cartilage degradation9. Characterizing sEVs released by IPFP tissues from OA patients may therefore provide critical insights into disease-associated intercellular communication networks.

Given the increasing interest in sEVs as molecular mediators and potential therapeutic agents, the establishment of a high-yield, high-purity, and reproducible isolation approach is essential. Although differential ultracentrifugation remains one of the most widely used purification strategies10, protocols optimized for cell culture supernatants or biofluids may not be directly applicable to solid adipose-derived tissues such as the IPFP. The high lipid content, dense extracellular matrix, and variable enzymatic digestion conditions can influence vesicle recovery and purity.

Tissue explant culture provides a physiologically relevant approach that preserves native cellular architecture and cell–cell interactions while minimizing excessive enzymatic disruption, thereby enabling the collection of sEVs released under near-native conditions. However, a standardized workflow specifically tailored for isolating sEVs from IPFP explant cultures is currently lacking.

Here, we describe a step-by-step protocol for isolating and characterizing small extracellular vesicles from infrapatellar fat pad explant cultures of osteoarthritis patients using differential ultracentrifugation, providing a reproducible methodological framework for downstream functional and translational studies.

PROTOCOL:

The use of IPFP tissues from osteoarthritis patients in this study was approved by the Ethics Committee of the First Hospital of Hebei Medical University (Approval No. [2024] 018). Sample collection was performed within the approved period, and written informed consent was obtained from all participants prior to tissue acquisition.

- Preparation of medium and solutions

1.1 Prepare 500 mL of exosome-depleted complete DMEM/F12 medium by mixing 445 mL of basal DMEM/F12 medium, 50 mL of exosome-free fetal bovine serum (10%), and 5 mL of Penicillin/Streptomycin/Amphotericin B (100 U/mL, 100 μg/mL, and 0.25 μg/mL, respectively). Filter-sterilize through a 0.22 μm filter.

1.2 Prepare western blot running buffer by mixing 950 mL of distilled water (dH2O) with 50 mL of 20x running buffer (Tris/MOPS/SDS).

1.3 Prepare western blot transfer buffer by mixing 800 mL of dH2O with 100 mL of 10x transfer buffer and 100 mL of absolute ethanol.

NOTE: This rapid transfer buffer has been specifically optimized for high-current wet transfer (400 mA) at room temperature. Due to its low heat generation, an ice bath is not required for transfer durations under 45 min, which has been shown to maintain high transfer efficiency for proteins within the 10–250 kDa range.

CAUTION: Absolute ethanol is flammable. Handle in a well-ventilated area and keep away from heat sources.

1.4 Prepare washing buffer by mixing 50 mL of 20 x TBS (200 mM Tris and 3 M NaCl at pH 7.5–7.6) and 2 mL Tween-20 with 950 mL of dH2O.

1.5 Prepare chemiluminescent working solution by mixing equal volumes of luminol/enhancer solution and peroxide buffer (approximately 0.1 mL of working solution is needed per square centimeter of membrane).

CAUTION: Chemiluminescent substrates can be irritating. Wear gloves and eye protection. Dispose of chemical waste according to local institutional regulations.

- Preparation of IPFP tissue and collection of conditioned medium

2.1 Wash freshly obtained IPFP tissue (approx. 10 g) three times with 50 mL of pre-cooled PBS per wash by gentle manual agitation in the centrifuge tube to thoroughly remove residual blood.

2.2 Mince the IPFP tissue into pieces around 2mm x 2mm x 2mm using sterile scissors or a scalpel.

2.3 Transfer IPFP tissue pieces into T175 flasks. Add 50 mL of exosome-depleted DMEM/F12 complete medium. Incubate at 37 °C with 5% CO₂ for 48 h with gentle agitation.

2.4 Collect the DMEM/F12 complete medium (i.e., conditioned medium) in 50 mL tubes on ice. Filter through a 70 μm strainer to remove tissue debris.

- Isolation of sEVs using differential ultracentrifugation

NOTE: Perform all the following steps at 4 °C or on ice.

3.1 Initial low-speed centrifugation to remove tissue debris

3.1.1 Centrifuge the conditioned medium at 300 x g for 10 min at 4 °C. Carefully collect the supernatant and transfer it into new 50 mL centrifuge tubes.

3.1.2 Centrifuge the supernatant at 3,000 x g for 10 min at 4 °C. Collect the supernatant and transfer it into new tubes, ensuring the pellet is not disturbed.

3.2 Intermediate centrifugation and filtration.

3.2.1 Centrifuge the supernatant at 10,000 x g for 30 min at 4 °C.

3.2.2 Collect the supernatant and filter it through a 0.22 μm vacuum filter to remove larger vesicles and contaminants.

3.3 First ultracentrifugation: sEV pelleting.

3.3.1 Transfer the filtered supernatant into 40 mL polycarbonate centrifuge tubes.

3.3.2 Ultracentrifuge the samples at 110,000 x g for 70 min at 4 °C using a fixed angle rotor (k-factor = 70). Carefully remove the supernatant using a pipette.

3.3.3 Resuspend the pellet in 10 mL of pre-cooled, sterile PBS. Filter the resuspended solution through a 0.22 μm syringe filter to ensure the removal of

any remaining aggregates.

3.4 Second ultracentrifugation: sEV purification

3.4.1 Ultracentrifuge the suspension again at 110,000 x g for 70 min at 4 °C using the fixed angle

rotor (k-factor = 70).

3.4.2 Carefully discard the supernatant, leaving the sEV pellet at the bottom of the tube. Resuspend the final sEV pellet in 200 μL of sterile PBS.

3.4.3 Divide the sEV suspension into 20 μL aliquots to prevent damage from repeated freeze-thaw cycles. Store the aliquots at -80 °C for long-term use.

- Characterization of sEVs by western blot analysis

4.1 Prepare the sEV protein samples.

4.1.1 Mix the sEV pellet (from step 3.5.2) with 80–120 µL of RIPA lysis buffer supplemented with protease inhibitors.

NOTE: Aim for a ratio of approximately 1 µL of RIPA buffer per 0.5–1.0 µg of estimated protein. A final protein concentration of at least 1.0 µg/µL is recommended to ensure efficient electrophoretic separation and high-quality signal detection during western blot analysis.

CAUTION: RIPA buffer contains detergents and irritants. Use personal protective equipment.

4.1.2 Vortex the mixture briefly and incubate the samples on ice for 15–30 min with gentle rocking.

NOTE: Thorough mixing at this stage is critical for complete membrane disruption and optimal protein release. Insufficient vortexing may result in incomplete lysis and inconsistent protein concentrations across replicates.

4.1.3 Centrifuge the lysate at 12,000–14,000 x g for 10–15 min. Carefully collect the supernatant.

4.1.4 Determine the total protein concentration of the sEV lysate using a high-sensitivity bicinchoninic acid (BCA) protein assay.

NOTE: A high-sensitivity BCA assay is recommended over the standard BCA assay for extracellular vesicle samples due to its lower detection range (0.5–20 µg/mL), which enables accurate quantification of the typically low protein concentrations obtained from purified sEV preparations. Perform the assay according to the kit protocol.

4.2 Western Blot Analysis.

4.2.1 Mix the protein samples with 5 x SDS-PAGE sample loading buffer.

NOTE: For CD63 detection, prepare samples using a non-reducing 5x loading buffer (without β-mercaptoethanol) and incubate at 70 °C for 10 min. These conditions preserve conformational epitopes and prevent heat-induced aggregation of this tetraspanin protein. For other markers, including ALIX (ALG-2-interacting protein X), TSG101 (tumor susceptibility gene 101), and Calnexin, prepare samples using reducing 5x loading buffer containing 10% β-mercaptoethanol and heat at 95 °C for 5 min to ensure complete protein denaturation.

4.2.2 Load the prepared samples (typically 20–40 µg of total protein) into a precast gradient gel

(4%–12%).

4.2.3 Load the protein molecular weight marker into the assigned well according to the manufacturer's recommendations.

4.2.4 Run the gel in running buffer at a constant voltage of 100 V.

4.2.5 Continue the run for 1–1.5 h, or until the loading dye reaches the bottom of the gel.

NOTE: The running time may differ depending on the electrophoresis system and the percentage

of the gel.

4.2.6 Transfer the proteins from the gel to PVDF membranes using a wet transfer system at 400 mA for 30 min.

NOTE: The transfer duration may vary depending on the brand of transfer buffer used.

4.2.7 Block the membranes in a protein-free blocking buffer prepared in tris-buffered saline containing 0.2% Tween-20 (TBS-T) for 30 min at room temperature with gentle agitation. The blocking buffer is formulated without serum proteins, biotin, or phosphorylated proteins to minimize nonspecific binding and background interference.

4.2.8 Incubate the membrane with specific primary antibodies diluted in a serum-free antibody dilution buffer containing protein-based stabilizers and antibody-preserving additives at 4 °C overnight (12–16 h) with gentle agitation.

4.2.9 Wash the membranes in washing buffer (TBST containing 0.2% Tween-20) under gentle agitation on a shaker.

4.2.10 Incubate the membranes with the appropriate secondary antibodies at room temperature

for 1 h with gentle agitation.

4.2.11 Wash the membranes again in washing buffer under gentle agitation on a shaker.

4.2.12 Visualize the protein bands using chemiluminescent substrate.

CAUTION: Chemiluminescent substrates can be irritating to the skin and eyes. Wear appropriate gloves and safety glasses. Dispose of the substrate according to institutional hazardous waste guidelines.

- Characterization of sEVs by Nanoparticle Tracking Analysis (NTA)

5.1 Turn on the nanoparticle tracking analyzer and the syringe pump module according to the manufacturer's instructions, and allow the system to equilibrate for at least 30 min before measurement.

5.2 Gently thaw the EV samples on ice and dilute the samples in sterile, particle-free phosphate-buffered saline (PBS) to achieve an optimal particle concentration within the recommended measurement range (approximately 1 x 108 to 1 x 109 particles/mL).

5.3 Load 1 mL of the diluted sample into a sterile syringe and slowly inject the sample into the measurement chamber, ensuring no air bubbles are introduced.

5.4 Adjust the camera level and focus to clearly visualize individual particles exhibiting Brownian motion.

5.5 Record three videos of 60 s duration for each sample under constant flow conditions using the syringe pump to ensure consistent particle distribution.

5.6 Analyze the recorded videos using NTA software with a detection threshold set to 12, blur size set to Auto, and maximum jump distance set to Auto.

5.7 Generate particle size distribution and concentration profiles using the software’s automated analysis function.

5.8 Export the raw data, particle size distribution graphs, and concentration measurements for further statistical analysis.

5.9 Clean the measurement chamber thoroughly with sterile particle-free water followed by 70% ethanol, and flush again with sterile particle-free water to prevent cross-contamination between samples.

- Characterization of sEVs by Transmission Electron Microscopy (TEM)

6.1 Use carbon-coated 200-mesh copper grids. Perform glow discharge on the grids for 30 s using

a glow discharge system, if available.

6.2 Apply 10 µL of the sEV suspension (resuspended in sterile, filtered PBS) onto the grid and incubate for 2–5 min at room temperature.

6.3 Remove excess liquid by gently touching the edge of the grid with filter paper.

6.4 Wash the grid by sequentially placing the sample-loaded surface onto three separate drops of ultrapure water.

6.5 Apply 10 µL of 2% phosphotungstic acid solution (pH 7.0) onto the grid and incubate for 1–2 min at room temperature.

CAUTION: Phosphotungstic acid is a corrosive acidic reagent that may cause irritation to the skin, eyes, and respiratory tract. Handle in accordance with institutional safety guidelines while wearing appropriate personal protective equipment, including gloves and eye protection. Dispose of staining waste and contaminated materials following approved hazardous chemical waste procedures.

6.6 Remove excess stain using filter paper and allow the grid to air-dry completely at room temperature for at least 10 min.

6.7 Examine the grids using a transmission electron microscope operated at an accelerating

voltage of 80 kV.

6.8 Acquire representative images at appropriate magnifications to assess vesicle morphology.

REPRESENTATIVE RESULTS:

Successful isolation of small extracellular vesicles (sEVs) from human infrapatellar fat pad (IPFP) tissues was confirmed through multimodal characterization.

Transmission electron microscopy (TEM) revealed that the isolated vesicles exhibited the characteristic cup-shaped morphology with clearly defined lipid bilayer membranes, consistent with the structural features of sEVs (Figure 1)11.

[Place Figure 1 here]

Nanoparticle tracking analysis (NTA) demonstrated that the isolated particles had a dilution-corrected concentration of 3.88 x 1010 particles/mL. The mean particle diameter was 151.4 ± 5.0 nm, and the mode size was 123.8 ± 4.7 nm, indicating a size distribution consistent with sEVs populations (Figure 2).

[Place Figure 2 here]

Western blot analysis confirmed the presence of established sEV markers, including CD63, TSG101, and Alix. In contrast, the endoplasmic reticulum marker Calnexin was not detected. The absence of Calnexin indicates minimal contamination from intracellular organelles, whereas its presence would suggest contamination from cellular fragments or non-vesicular material, consistent with current extracellular vesicle characterization guidelines (Figure 3)12.

[Place Figure 3 here]

Together, these results demonstrate that the described protocol enables reliable isolation of structurally intact and molecularly validated sEVs from human IPFP tissues.

FIGURE AND TABLE LEGENDS:

Figure 1: Transmission Electron Microscopy (TEM) of small extracellular vesicles (sEVs). Representative TEM images showing the typical cup-shaped morphology and intact lipid bilayer of sEVs isolated from infrapatellar fat pad (IPFP) tissue. Red arrows indicate representative sEV particles.

Figure 2: Nanoparticle Tracking Analysis of small extracellular vesicles (sEVs). Size distribution and concentration profile of sEVs, showing most particles within the 30–200 nm range.

Figure 3: Western blot analysis of small extracellular vesicles (sEVs). Canonical sEV markers ALIX (98 kDa), TSG101 (50 kDa), and CD63 (49 kDa) were detected in IPFP-sEVs, while non-EV control marker Calnexin (90 kDa) was absent in sEV samples but present in IPFP lysate.

DISCUSSION:

This protocol provides a reproducible and practical workflow for isolating small extracellular vesicles (sEVs) from human infrapatellar fat pad (IPFP) tissues using explant culture followed by differential ultracentrifugation. The isolated vesicles were validated through complementary characterization methods, including transmission electron microscopy (TEM), nanoparticle tracking analysis (NTA), and Western blot detection of established EV markers1. TEM confirmed the presence of membrane-bound vesicles with characteristic morphology, NTA demonstrated a size distribution consistent with sEV populations, and Western blot analysis verified the presence of CD63, Alix, and TSG101 while confirming the absence of Calnexin, indicating minimal contamination from intracellular organelles. These findings collectively demonstrate the effectiveness and reliability of this protocol for isolating structurally intact and molecularly validated sEVs from IPFP tissues.

A key methodological feature of this protocol is the use of tissue explant culture rather than enzymatic digestion for EV collection. Enzymatic dissociation methods, such as collagenase digestion, can disrupt cell membranes and induce artificial proteolytic cleavage of EV-associated surface proteins, potentially altering vesicle composition and introducing non-vesicular contaminants13. In contrast, explant culture preserves tissue integrity and allows viable cells to secrete vesicles under physiologically relevant conditions, resulting in EV populations that more accurately reflect the native secretory profile of the tissue microenvironment14. This approach is particularly important for studying tissue-specific vesicle signaling and avoids artifacts associated with enzymatic processing, thereby improving the biological relevance and reproducibility of the isolated vesicles.

Despite its biological advantages, tissue explant culture is inherently subject to diffusion-dependent release dynamics. The efficiency of vesicle recovery depends on factors such as tissue fragment size, medium volume-to-tissue ratio, agitation conditions, and collection frequency. In this protocol, IPFP tissues were finely minced to increase surface area and facilitate vesicle diffusion into the culture medium. Explants were maintained under gentle agitation to promote uniform diffusion and prevent local accumulation of vesicles at the tissue surface. A consistent medium volume relative to tissue mass was used across samples to minimize variability in vesicle concentration. Conditioned medium was collected at defined intervals to reduce prolonged exposure and potential degradation, thereby improving recovery efficiency and reproducibility. Although diffusion constraints cannot be eliminated in explant-based systems, these parameters help ensure consistent vesicle yield.

Differential ultracentrifugation was selected as the primary isolation method due to its accessibility, scalability, and compatibility with tissue-derived samples15. This method enables efficient recovery of vesicles in sufficient quantities for downstream structural and molecular analyses. Sequential centrifugation and filtration steps were incorporated to remove cells, debris, and larger particles before ultracentrifugation, thereby improving sample purity. Although differential ultracentrifugation may co-isolate similarly sized protein aggregates or lipoproteins, the absence of the endoplasmic reticulum marker Calnexin in Western blot analysis indicates minimal contamination from intracellular membrane components. These results are consistent with current extracellular vesicle isolation recommendations, which emphasize the importance of combining physical isolation methods with multimodal validation1.

Alternative isolation methods, including size exclusion chromatography and density gradient ultracentrifugation, can provide higher purity by improving separation from soluble proteins and lipoproteins1,15. However, these approaches typically involve longer processing times, lower recovery yields, and increased technical complexity. Size exclusion chromatography often produces diluted samples requiring additional concentration steps, while density gradient ultracentrifugation is labor-intensive and less practical for routine clinical sample processing15. In contrast, differential ultracentrifugation provides a practical balance between recovery efficiency, processing time, and reproducibility, making it well-suited for studies requiring consistent isolation of vesicles from human tissue specimens.

In this protocol, isolated vesicles were resuspended in sterile phosphate-buffered saline, which is widely used due to its physiological osmolarity and compatibility with downstream analyses. However, previous studies have reported that prolonged storage in phosphate-buffered saline may affect vesicle stability and promote aggregation or gradual functional changes, particularly during repeated freeze-thaw cycles16. To minimize these effects, vesicle samples should be stored at -80 °C in aliquots to avoid repeated freezing and thawing. Under these conditions, vesicle morphology and marker expression remain stable and suitable for structural and molecular characterization.

Some limitations of this protocol should be considered. While traditional negative-staining TEM was employed here for morphological validation, it is worth noting that this technique may induce minor structural artifacts during dehydration, and cryo-electron microscopy remains the gold standard for preserving the native state of vesicles11. High centrifugal forces may contribute to vesicle aggregation or co-precipitation of non-vesicular components, and variability between donor tissues may influence vesicle yield. Nevertheless, the combination of explant culture, sequential centrifugation, filtration, and marker validation ensures consistent isolation of vesicles with appropriate structural and molecular characteristics. Future studies may incorporate additional purification steps, such as size exclusion chromatography, to further improve vesicle purity when required for highly sensitive downstream applications.

Overall, this protocol provides a reliable and reproducible approach for isolating small extracellular vesicles from human IPFP tissues. By preserving physiological vesicle secretion and applying standardized isolation and validation procedures, this method enables consistent recovery of vesicles suitable for structural, molecular, and functional analyses. This approach will facilitate future investigations into the role of adipose tissue-derived extracellular vesicles in joint biology and disease mechanisms.

ACKNOWLEDGMENTS:

This research was funded by the National Key Research and Development Program (grant numbers 2023YFC3604905), the Department of Finance of Hebei (Grants number: ZF2024132 and ZF2024143), the Innovation and Development Medical Cooperation Program of Hengrui-Hebei-HR2002048

DISCLOSURES:

None of the authors have any conflicts of interest to declare.

REFERENCES:

- Welsh, J. A. et al. Minimal information for studies of extracellular vesicles (MISEV2023): from basic to advanced approaches. Journal of Extracellular Vesicles. 13 (2), e12404 (2024).

- van Niel, G., D’Angelo, G., Raposo, G. Shedding light on the cell biology of extracellular vesicles. Nature Reviews Molecular Cell Biology. 19 (4), 213–228 (2018).

- Zhao, R. et al. Adipose tissue-derived exosome maintains metabolic balance of extracellular matrix in rat nucleus pulposus cells. International Journal of Nanomedicine. 20, 2411–2425 (2025).

- Mathieu, M. et al. Specificities of exosome versus small ectosome secretion revealed by live intracellular tracking of CD63 and CD9. Nature Communications. 12 (1), 4389 (2021).

- Larios, J., Mercier, V., Roux, A., Gruenberg, J. ALIX- and ESCRT-III-dependent sorting of tetraspanins to exosomes. Journal of Cell Biology. 219 (3), e201904113 (2020).

- Ferreira, J. V. et al. LAMP2A regulates the loading of proteins into exosomes. Science Advances. 8 (12), eabm1140 (2022).

- Tang, S. et al. Single-cell atlas of human infrapatellar fat pad and synovium implicates APOE signaling in osteoarthritis pathology. Science Translational Medicine. 16 (731), eadf4590 (2024).

- Peters, H. et al. Cell and transcriptomic diversity of infrapatellar fat pad during knee osteoarthritis. Annals of the Rheumatic Diseases. 84 (2), 351–367 (2025).

- Cao, Y. et al. Extracellular vesicles in infrapatellar fat pad from osteoarthritis patients impair cartilage metabolism and induce senescence. Advanced Science. 11 (3), e2303614 (2024).

- Lobb, R. J. et al. Optimized exosome isolation protocol for cell culture supernatant and human plasma. Journal of Extracellular Vesicles. 4 (1), 27031 (2015).

- Pascucci, L., Scattini, G. Imaging extracellular vesicles by transmission electron microscopy: coping with technical hurdles and morphological interpretation. Biochimica et Biophysica Acta General Subjects. 1865 (4), 129648 (2021).

- Kowal, E. J. K., Ter-Ovanesyan, D., Regev, A., Church, G.M. Extracellular vesicle isolation and analysis by western blotting. Methods in Molecular Biology. 1660, 143–152 (2017).

- Han, Y., Ye, M., Ye, S., Liu, B. Comparison of lung tissue-derived extracellular vesicles using multiple dissociation methods for profiling protein biomarkers. Biotechnology Journal. 19 (9), e202400329 (2024).

- Xue, J., Huang, D., Zhou, H., Qin, T., Liu, Y., Chen, J. Tissue-derived extracellular vesicles: comparing Ts-EVs and Te-EVs in extraction, characteristics and research trends. Cancer Cell International. 26 (1), 82 (2026).

- Brennan, K. et al. A comparison of methods for the isolation and separation of extracellular vesicles from protein and lipid particles in human serum. Scientific Reports. 10 (1), 1039 (2020).

- Görgens, A. et al. Identification of storage conditions stabilizing extracellular vesicles preparations. Journal of Extracellular Vesicles. 11 (6), e12238 (2022).