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Author Questionnaire
1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.  
If Yes, can you record movies/images using your own microscope camera?
Enter Yes or No.  
If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit. 
If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.
Enter make and model of microscope.
If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).
Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.
If Yes, we will need you to record using screen recording software.
We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k
As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.
If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.
Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length
Number of Steps:  42
Number of Shots:  17 

Introduction
Videographer: Obtain headshots for all authors available at the filming location. 

Answers to these questions will become interview statements that you will deliver on camera.
· Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.
· Enter the full name of the author who will deliver the statement.
· Speak naturally and avoid reading the lines.
· Limit the length of each statement to 20 words or fewer.
· Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.
1.1. Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.
1.2. Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.
Describe the research contexts or systems in which this protocol can be applied.
1.3. Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.
CONCLUSION:
What does this protocol allow researchers to study or measure?
1.4. Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.
1.5. Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?
1.6. Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.
1.7. Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.


Videographer: Obtain headshots for all authors available at the filming location.




Protocol  
[bookmark: _Hlk188263998]Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.
· The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.
· Red italics are pronunciation guides indicating how the word will be spoken. 
· Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.
· The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture. 
Videographer: Please always record an audio slate while filming each shot mentioned in the shot list.

2. Biphasic Sample Preparation for REDIFINE Experiments and its Recording
Demonstrator: Click here to enter name of demonstrator(s) 

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

2.1. To prepare the final biphasic sample stabilized by agarose hydrogel [1], mix the protein stocks, RNA stocks, or both with the respective warm agarose buffer in a 1.5-milliliter microcentrifuge tube [2-TXT]. 
2.1.1. WIDE: Talent at the working bench with all the required reagents placed in front.
2.1.2.  Talent mixing the protein stocks, RNA stocks with the warm agarose buffer in a 1.5 milliliter microcentrifuge tube.  TXT: Final protein/RNA concentration: 50-500 µM 

2.2. Immediately transfer the mixture into a 3-millimeter NMR tube with a long glass pipette [1] and allow the agarose to solidify shortly after transfer [2].
2.2.1. Talent transferring the mixture into a 3 millimeter NMR tube with a long glass pipette.
2.2.2. Shot of the solidified agarose in the NMR tube.

2.3. Then, lock, shim, match, and tune the proton channel as usual [1]. Calibrate the 90 degree pulse length on the proton channel using the general calibration procedure [2].
2.3.1. Talent operating the NMR spectrometer console while preparing the instrument for proton channel lock, shim, match, and tune.
2.3.2. SCREEN: Show the spectrometer software interface while calibrating the 90 degree proton pulse length.
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21511698

2.4. Now, record a one-dimensional water-suppressed spectrum [1] and observe a strong biomolecular signal in the spectrum [2-TXT].
2.4.1. SCREEN: Show the spectrometer software interface while starting acquisition of the one dimensional water suppressed spectrum.
2.4.2. SCREEN: Display the acquired spectrum showing strong biomolecular peaks. TXT: If no or very little signal is observed, do not proceed with REDIFINE 

2.5. Now, record a diffusion ordered spectroscopy experiment to array the diffusion gradient strength from 2 to 95 percent in 16 linear steps [1_TXT]. Observe the initial decay of the signal from the dilute phase [2]. Then, observe the condensed phase signal plateau during the decay [3].
2.5.1. SCREEN: Talent starting the diffusion ordered spectroscopy experiment from the NMR spectrometer software. TXT: Command Used: xau dosy 2 95 16 l y y’
2.5.2. SCREEN: Display the signal decay from the dilute phase in the acquired diffusion ordered spectroscopy data.
2.5.3. SCREEN: Display the condensed phase signal plateau in the acquired diffusion ordered spectroscopy data.

2.6. To continue acquiring data for the full REDIFINE set, create 9 new stebpgp1s19 (Step-P-P-G-P-One-s-Nineteen) experiments by copying the parameters from the initial experiment that was just run [1]. In each consecutive experiment, change only the d20 (D-Twenty) diffusion delay in variable steps to span the range from 100 to 1000 milliseconds [2].
2.6.1. SCREEN: Show the initial stebpgp1s19 experiment parameters being copied to create 9 new experiments.
2.6.2. SCREEN: Show the d20 diffusion delay being edited across the consecutive experiments to the listed millisecond values.

2.7. Run each of these experiments with the suitable command [1]. Use the last n to preserve the receiver gain throughout the 10 experiments [2].
2.7.1. SCREEN: Show one of the stebpgp1s19 experiments being started with the specified command. Command Used: xau dosy 2 95 16 l y n 
2.7.2. SCREEN: Show the command entry with the last n included so the receiver gain is preserved across the 10 experiments.

3. Processing REDIFINE Datasets and Visualizing the Results
3.1. Set qsine (Q-Sine) with SSB 2 (S-S-B-Two) as the window function [1]. Then, extract the fifth slice using the appropriate command [2]. Phase the one-dimensional spectrum [3] and save the phasing parameters to the two-dimensional dataset [4].
3.1.1. SCREEN: Show the spectrum processing interface while setting qsine with SSB 2 as the window function.
3.1.2. SCREEN: Show the command line executing qsin;fp to extract the fifth slice.
3.1.3. SCREEN: Display manual phasing of the one dimensional spectrum.
3.1.4. SCREEN: Show saving the phasing parameters to the two dimensional dataset.

3.2. Now, process the two-dimensional dataset with the xf2 (X-F-Two) [1] and perform baseline correction with abs2 (A-B-S-Two) [2]. After that, extract the 16 slices with split2D (Split-Two-D) [3-TXT].
3.2.1. SCREEN: Show the command line executing xf2 to process the two dimensional dataset.
3.2.2. SCREEN: Display baseline correction being applied using abs2.
3.2.3. SCREEN: Show the split2D pop up window with inputs r, 16, and 11 entered to extract 16 spectra. TXT: Repeat for the remaining 9 experiments 

3.3. Check at least the first 4 to 5 slices to ensure correct phasing and baseline correction. If needed, correct the phasing and baseline manually [1].
3.3.1. SCREEN: Display several extracted slices being inspected for phasing and baseline quality. Show manual adjustment of phasing or baseline on a slice if required
3.4. Then, use the suitable Matlab code for the analysis [1-TXT]. In the code, modify the diffusion times and assign experiments 1 through 10 based on the total number of experiments [2]. Then set P.g (P-G) according to the probe gradient strengths [3].
3.4.1. SCREEN: Show the Matlab script LLPS_REDIFINE_fit opened for analysis. TXT: LLPS_REDIFINE_fit 
3.4.2. SCREEN: Highlight editing of the parameters Delta, P.d, and exp(1,:) to exp(10,:) in the Matlab code.
3.4.3. SCREEN: Show the difflist file in the TopSpin experiment folder and the gradient strengths being entered into P.g in the Matlab script.

4. Recording CONDENSE-MT Experiments
4.1. Determine the R1 rate of water by T1 inversion recovery for quantitative CONDENSE-MT (Condense-M-T) analysis [1]. Copy the provided pulse sequence, Bruker parameter set, and vd (V-D) list to the respective folders [2]. Load the parameter set T1_inversion_recovery (T-One_Undersore_Inversion_Underscore_ recovery) and adjust the powers and frequencies to the NMR spectrometer [3].
4.1.1. SCREEN: Talent preparing the T1 inversion recovery setup for determination of the water R1 rate.
4.1.2. SCREEN: Show the provided pulse sequence, Bruker parameter set, and vd list being copied into the respective folders.
4.1.3. SCREEN: Show the parameter set T1_inversion_recovery being loaded and the powers and frequencies being adjusted .

4.2. Now, calibrate the proton 90-degree pulse [1]. Set NS (N-S) to 2, DS (D-S) to 0, d1 to 20 seconds, SW (S-W) to 10 parts per million, TD2 (T-D-Two) to 16k, and TD1 (T-D-One) to 24 [2]. Enable a weak gradient along Z to avoid radiation damping effects [3].
4.2.1. SCREEN: Show calibration of the proton 90 degree pulse p1.
4.2.2. SCREEN: Show NS, DS, d1, SW, TD2, and TD1 being entered in the acquisition parameters.
4.2.3. SCREEN: Gradient is being enabled along Z.

4.3. For the CONDENSE-MT experiment, copy the provided Bruker parameter set, sequence, and frequency list to the Bruker-specific folders [1]. Load the parameter set CONDENSE-MT [2]. Then, adjust the frequencies and powers according to the spectrometer [3].
4.3.1. SCREEN: Show the provided Bruker parameter set, sequence, and frequency list being copied into the Bruker specific folders.
4.3.2. SCREEN: Show the parameter set CONDENSE-MT being loaded.
4.3.3. SCREEN: Show the frequencies and powers being adjusted for the spectrometer.

4.4. Set P1 to the calibrated 90-degree pulse length and P4 to 1 millisecond for the excitation pulse to avoid radiation damping [1]. Set NS to 2, DS to 16, d1 to 4 seconds, SW2 (S-W-Two) to 20 parts per million, TD2 to 8k, and TD1 to the length of the frequency list [2]. Set SPNAM10 to Squa100.1000 and set p10 to 5 seconds [3].	Comment by Pallavi  Sharma: Authros: Please provide a pronunciation guide for SPNAM10 to Squa100.1000 
4.4.1. SCREEN: Show P1 being set to the calibrated 90 degree pulse length and P4 being set to 1 millisecond.
4.4.2. SCREEN: Show NS, DS, d1, SW2, TD2, and TD1 being entered in the acquisition parameters.
4.4.3. SCREEN: Show SPNAM10 being set to Squa100.1000 and p10 being set to 5 seconds.
4.5. Find the SP10 power that yields 100 hertz irradiations [1]. Adjust the SP10 power of the irradiation pulse accordingly [2]. Run the pseudo two-dimensional experiment with the appropriate command [3].
4.5.1. SCREEN: Show the command line executing pulse 100 Hz and displaying the calculated power in watts and decibels.
4.5.2. SCREEN: Show the SP10 power being adjusted for the irradiation pulse.
4.5.3. SCREEN: Show the pseudo two dimensional experiment being started with the zg command.
4.6. For agarose data, use the normalized integrals directly for fitting with the appropriate script [1].
4.6.1. SCREEN: Show the normalized integrals being used for fitting in the CONDENSE_MT_referenceMTpool script that calls the function_1MT function.

4.6.2. 

Results
Please review this section to make sure that it accurately reflects your findings.
· This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA). 
· Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 120.
· Please note that the video cannot include voiceover without an accompanying visual.

5. Results 

5.1. The REDIFINE fit determined the diffusion coefficients in the dilute and condensed phases [1], the population of protein in the condensed phase [2], the average droplet size [3], and the interphase permeability for the FUS (F-U-S) N-terminal domain sample [4].
5.1.1. LAB MEDIA: Figure 3A. Video editor: Highlight the axis labeled “D_dil (m2/s)” and the axis labeled “D_cond (m2/s)” on the spider plot.
5.1.2. LAB MEDIA: Figure 3A. Video editor: Highlight the axis labeled “n_cond (%)” on the spider plot.
5.1.3. LAB MEDIA: Figure 3A. Video editor: Highlight the axis labeled “R_drop (µm)” on the spider plot.
5.1.4. LAB MEDIA: Figure 3A. Video editor: Highlight the axis labeled “p (µm/s)” on the spider plot.
5.2. The NMR signal of the FUS N-terminal domain remained detectable in the condensed phase [1].
5.2.1. LAB MEDIA: Figure 3C. Video editor: Show the spectra panel and focus on the visible signal peaks in the blue trace labeled “Biphasic FUS NTD in agarose”.
5.3. No difference in the magnetization transfer profile was observed between the agarose reference and the FUS N-terminal domain biphasic sample [1].
5.3.1. LAB MEDIA: Figure 3C. Video editor: Highlight the two curves labeled “Agarose reference” and “Biphasic FUS NTD in agarose” showing that the lines overlap across the graph.
5.4. The CONDENSE-MT experiment provided dynamic characterization of repeat-expansion RNA condensates [1].
5.4.1. LAB MEDIA: Figure 3D. 
5.5. The CONDENSE-MT analysis yielded the proton exchange kinetics between the condensate and bulk water [1]. The CONDENSE-MT analysis also yielded the transverse relaxation time of the condensate [2] and the apparent transverse relaxation rate of bulk water [3].
5.5.1. LAB MEDIA: Figure 3D. Video editor: Highlight the arrows labeled “k_condensate,H2O ~215 per second” and “k_H2O,condensate ~0.14 per second”.
5.5.2. LAB MEDIA: Figure 3D. Video editor: Highlight the label “T2,condensate ~7.9 microsecond”.
5.5.3. LAB MEDIA: Figure 3D. Video editor: Highlight the label “ΔR2,water ~1.4 per second”.
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