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Author Questionnaire
1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.  
If Yes, can you record movies/images using your own microscope camera?
Enter Yes or No.  
If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit. 
If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.
Enter make and model of microscope.
If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).
Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.
If Yes, we will need you to record using screen recording software.
We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k
As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.
If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.
Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length
Number of Steps:  13
Number of Shots:  43 

Introduction
Videographer: Obtain headshots for all authors available at the filming location. 

Answers to these questions will become interview statements that you will deliver on camera.
· Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.
· Enter the full name of the author who will deliver the statement.
· Speak naturally and avoid reading the lines.
· Limit the length of each statement to 20 words or fewer.
· Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.
1.1. Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.
1.2. Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.
Describe the research contexts or systems in which this protocol can be applied.
1.3. Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.
CONCLUSION:
What does this protocol allow researchers to study or measure?
1.4. Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.
1.5. Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?
1.6. Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.
1.7. Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.


Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee (IACUC) at Animal Experimental Center of Guang’anmen Hospital



Protocol  
[bookmark: _Hlk188263998]Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.
· The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.
· Red italics are pronunciation guides indicating how the word will be spoken. 
· Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.
· The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture. 
Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.
2. Preparation of Yiqi Qingjie (YQQJ) Extract Samples   
Demonstrator: Click here to enter name of demonstrator(s) 

2.1. To begin, obtain the prepared Yiqi Qingjie or YQQJ (Y-Q-Q-J) concentrated herbal extract and methanolic reference standard solutions [1]. Pipette 100 microliters of the YQQJ aqueous extract into a 1.5 milliliter centrifuge tube [2]. Add 300 microliters methanol to the tube [3] and vortex for 1 minute [4].
Authors: Please verify the pronunciation in [1].
2.1.1. WIDE: Talent arranging the prepared YQQJ concentrated herbal extract and methanolic reference standard solutions on the work bench.
2.1.2. Talent pipetting YQQJ aqueous extract into a 1.5 milliliter centrifuge tube.
2.1.3. Talent adding 300 μL methanol into the centrifuge tube.
2.1.4. Talent vortexing the tube.
2.2. Centrifuge the mixture at 1800 g, 4 degrees Celsius for 10 minutes [1]. Confirm that the resulting supernatant is clear and free of suspended particles [2]. Add 100 microliters of the supernatant to 100 microliters ultrapure water [3]. Vortex gently to mix [4] and transfer the solution into an autosampler vial [5].

2.2.1. Talent placing the tube into a centrifuge.
2.2.2. Shot of a clear supernatant without visible particles.
2.2.3. Talent adding 100 μL supernatant to 100 μL ultrapure water.
2.2.4. Talent gently vortexing the mixture.
2.2.5. Talent transferring the diluted solution into an autosampler vial.

3. Preparation of Drug-Containing Serum Samples
Demonstrator: Click here to enter name of demonstrator(s)

3.1. Obtain frozen, hemolysis-free serum samples collected from terminally anesthetized Sprague–Dawley rats after controlled dosing with YQQJ extract [1]. Pipette 100 microliters of serum into a 1.5 milliliter centrifuge tube [2]. Add 300 microliters methanol [3] and vortex for 10 minutes [4]. Centrifuge the mixture at 1800 g, 4 degrees Celsius for 10 minutes [5].

3.1.1. Talent bringing the frozen serum samples to the clean workbench.
3.1.2. Talent pipetting 100 μL serum into a 1.5 mL centrifuge tube.
3.1.3. Talent adding 300 μL methanol into the tube.
3.1.4. Shot of the talent vortexing the tube.
3.1.5. Talent placing the tube into a centrifuge.

3.2. Collect 270 microliters of the supernatant and transfer it to a clean tube [1]. Use a vacuum centrifugal concentrator set at 120 g, 37 degrees Celsius for 4 hours [2] to dry the supernatant completely [3].

3.2.1. Talent transferring supernatant into a clean tube.
3.2.2. Talent placing the tube into a vacuum centrifugal concentrator. 
Videographer: Please show the settings on the concentrator once it is set to 120 g, 37 °C for 4 h
3.2.3. CU: Shot of the solid residue after drying.

3.3. Add 90 microliters of 50 percent methanol aqueous solution to the residue [1]. Vortex for 1 minute to dissolve the residue completely [2] and centrifuge at 1800 g, 4 degrees Celsius for 10 minutes [3]. Collect 80 microliters of the supernatant and transfer it into an autosampler vial [4].

3.3.1. Talent adding 90 μL of 50% methanol aqueous solution to the residue.
3.3.2. Talent vortexing the tube.
3.3.3. Talent placing the tube into a centrifuge.
3.3.4. Talent collecting 80 μL of the supernatant and transferring it into an autosampler vial.

4. UHPLC-Orbitrap MS Setup and Acquisition Workflow
Demonstrator: Click here to enter name of demonstrator(s)

4.1. Switch on and initiate the ultra-high-performance liquid chromatography or UHPLC (U-H-P-L-C) system equipped with a chromatographic column [1]. Keep the binary mobile phase ready, with Phase A as water containing 0.1 percent formic acid and Phase B as acetonitrile [2]. Apply a gradient elution program at a flow rate of 0.3 milliliters per minute [3]. Set the column temperature to 40 degrees Celsius and the injection volume to 6.0 microliters [4].

4.1.1. WIDE: Shot of the talent initiating the UHPLC system.
4.1.2. Shot of the bottles with the detailed labels clearly visible. 
4.1.3. SCREEN: The gradient and flow rate is being set 
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21396103
4.1.4. SCREEN: The temperature is being set to 40 °C, and injection volume is being set to 6.0 μL.

4.2. Next, switch on and initiate a quadrupole orbitrap mass spectrometer equipped with a heated electrospray ionization spray probe [1]. Set the ionization voltage to 3.7 kilovolts in positive mode or 3.5 kilovolts in negative mode, capillary temperature to 320 degrees Celsius, sheath gas pressure to 30 pounds per square inch, auxiliary gas pressure to 10 pounds per square inch, desolvation temperature to 300 degrees Celsius, and use nitrogen as sheath, auxiliary, and collision gas at 1.5 millitorr [2].
Authors: Please confirm whether both ionization voltages in [2] will be demonstrated.

4.2.1. WIDE: Shot of the talent switching on and initiating the mass spectrometer.
4.2.2. SCREEN: The parameters are being set in this sequence: Ionization voltage: 3.7 kV (positive mode) / 3.5 kV (negative mode), capillary temperature: 320 °C, sheath gas pressure: 30 psi, auxiliary gas pressure: 10 psi, desolvation temperature: 300 °C, sheath gas and the auxiliary gas: nitrogen, collision gas: nitrogen, 1.5 mTorr. 
 
4.3. Set full scan parameters with resolution 70000, auto gain control target 1 multiplied by 10 to the power of 6, maximum isolation time 50 milliseconds, and mass to charge scan range 100 to 1500 [1]. Acquire data in Full scan/dd-MS² (full scan data dependent tandem mass spectrometry) mode [2]. 
Authors: The shots have been reordered to align with the sequence of actions. Please confirm if this is accurate.

4.3.1. SCREEN: Display full scan parameter settings in this sequence: resolution 70000, auto gain control target 1 × 106, maximum isolation time 50 ms, and m/z scan range 100 – 1500.  
4.3.2. SCREEN: Show the selection of data acquisition mode.

4.4. Now, set the resolution to 17500, auto gain control target as 1 multiplied by 10 to the power of 5, maximum isolation time 50 milliseconds and select up to 10 most intense parent ions with dynamic exclusion, isolation window of mass to charge 2, collision energy of 10 volts, 30 volts, and 60 volts, and intensity threshold 1 multiplied by 10 to the power of 5 [1]. Collect tandem mass spectrometry data [2].

4.4.1. SCREEN: Display tandem mass spectrometry parameter configuration.
4.4.2. SCREEN: Tandem mass spectrometry data is being collected.

5. Mass Spectrometry-Based Compound Identification 
Demonstrator: Click here to enter name of demonstrator(s)

5.1. Use specialized data processing software to process the acquired mass spectrometry data [1]. Navigate to the Import Data module and upload raw data files [2]. Execute the peak picking module and perform peak deconvolution to group adduct ions and generate compound features [3]. Search reference compound databases, target prediction databases, and relevant literature for candidate identification [4].

5.1.1. SCREEN: The specialized data processing software is being opened.
5.1.2. SCREEN: Import data module is being clicked, and raw data files are being uploaded. 
5.1.3. SCREEN: Peak picking module is being executed and peak deconvolution is being performed to group adduct ions and generate compound features.
5.1.4. SCREEN: The query is executed to search reference compound databases, target prediction databases, and relevant literature for candidate identification.  

5.2. Compare experimental data with reference standards to confirm matches [1]. Accept compound identification only when mass accuracy is within plus or minus 5 parts per million, spectral similarity is at least 0.85, isotopic matching is at least 90 percent, and retention time deviation is less than 0.2 minutes [2]. Annotate the identified compounds as MSI Level 1 [3].

5.2.1. SCREEN: Experimental and reference spectra are being compared.
5.2.2. SCREEN: Results are being checked against the validation criteria. 
5.2.3. SCREEN: The identified compounds meeting all the necessary criteria are being annotated as MSI Level 1.

5.3. Use accurate mass measurements and computational spectral prediction to perform putative identification for compounds without reference standards [1]. Accept identifications when precursor ion mass error is within plus or minus 5 parts per million, fragment ion mass error within plus or minus 10 parts per million, spectral similarity is at least 0.60, isotopic matching is at least 90 percent, and retention time deviation is less than 1.0 minute [2]. Annotate the putatively identified compounds as MSI Level 2 [3].

5.3.1. SCREEN: Accurate mass measurements and computational spectral prediction are being used for putative identification of compounds without reference standards.
5.3.2. SCREEN: Results are being checked against the validation criteria.
5.3.3. SCREEN: The identified compounds meeting all the necessary criteria are being annotated as MSI Level 2.

5.4. The identified compounds are further investigated using network pharmacology [1] and molecular docking to support downstream interpretation and results [2].
Authors: These shots have been added to improve continuity and help viewers interpret the Results section. Could you please include one representative shot for each? Please advise if any changes to the narration or shots are needed.

5.4.1. SCREEN: The identified compound is being investigated using network pharmacology.
5.4.2. SCREEN: Molecular docking studies being performed using the identified compound.



Results
Please review this section to make sure that it accurately reflects your findings.
· This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA). 
· Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 92
· Please note that the video cannot include voiceover without an accompanying visual.

6. Results 
6.1. The Base Peak Ion chromatogram of the YQQJ aqueous extract was obtained in positive ion mode [1] and in negative ion mode [2].

6.1.1. LAB MEDIA: Figure 1. Video editor: Highlight panel A 
6.1.2. LAB MEDIA: Figure 1. Video editor: Highlight panel B 

6.2. In the PPI (P-P-I) network, node size and color varied with parameter values [1]. TP53 (T-P-53), SRC (S-R-C), AKT1(A-K-T-1), ESR1(E-S-R-1), and STAT3 (stat-3) ranked among the top five core targets [2].

6.2.1. LAB MEDIA: Figure 5. Video editor: Show the network and emphasize that some circles are larger and darker while others are smaller and lighter 
6.2.2. LAB MEDIA: Figure 5. Video editor: Highlight the node labeled TP53, SRC, AKT1, ESR1, STAT3
6.3. The molecular docking binding energy heatmap presented the binding energies between core targets and key blood-absorbed compounds [1] with ligands represented along the vertical axis [2] and receptor proteins along the horizontal axis [3].

6.3.1. LAB MEDIA: Figure 9. Video editor: Show the full heatmap including the color scale and all rows and columns.
6.3.2. LAB MEDIA: Figure 9. Video editor: Sequentially highlight the rows labeled Deacetylasperulosidic Acid, Dioscin, and Geniposidic Acid, quickly highlighting each row one at a time.
6.3.3. LAB MEDIA: Figure 9. Video editor: Sequentially highlight the column labeled CASP3, IGF1R, JUN, STAT3, PRKCB, and PIK3CA, quickly highlighting each column one at a time.
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