# Submission ID #: 70574

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21525118

# Title: The Isolated Large Mammal Heart: A Blood-perfused Langendorff Platform for Arrhythmia Inducibility Testing

# Authors and Affiliations:

# Arne van Hunnik1, Marion Kuiper1, Veronique M Meijborg2, Peter Hanna3, Sander Verheule1, Bastiaan J. Boukens1,4

# 1Department of Physiology, Cardiovascular Research Institute Maastricht, Maastricht University Medical Center

# 2Department of Experimental Cardiology, University Medical Center Utrecht

# 3David Geffen School of Medicine, University of California Los Angeles

# 4Laboratory of Experimental Cardiology, Department of Cardiology, Leiden University Medical Center

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Email Addresses for All Authors:

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Interview statements: Which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

3. Proposed interview filming date: Please indicate the proposed date that your group will self-film interviews: MM/DD/YYYY

DO NOT use this draft script for filming Interviews. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  15

Number of Shots:  30

# Interviews

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter full author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee (IACUC) or equivalent body at (insert Institutional Name)

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

- Langendorff Cannulation and Perfusion Setup

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin, collect whole blood from the donor animal and mix it with modified Tyrode's solution to prepare the recirculating perfusate [1]. Continuously oxygenate the perfusate with carbogen and warm it to the physiological temperature of the donor mammal [2].

    - WIDE: Talent shows the blood collected in a tube. Authors: You need not show the animal, just blood or red solution can be shown.

    - Talent oxygenating the perfusate with carbogen.

  - Prepare a bath containing ice-cold modified Tyrode's solution for the procedure to immerse the excised mammalian heart in it [1]

    - Talent showing the prepared bath (if you have any footage of dipping the excised heart in the solution, please provide).

  - Select a cannula that matches the relaxed aortic diameter and does not exceed the aorta's physiological expansion of approximately 10 to 20% [1]. Cannulate the aorta approximately 4 centimeters above the coronary ostia with an appropriately sized cannula and secure it with a suture to prevent leakage [2].

    - Talent showing the cannula.

    - LAB MEDIA: Movie 1 00:05-00:17

  - Perform the Coronel test to make sure that the cannula is properly fixed in the aorta. [1]

    - LAB MEDIA: Movie 2

  - Ensure that the left ventricular cavity can be vented either by making a small incision at the left ventricular apex or by inserting a catheter through the left atrium and traversing the mitral valve [1].

    - LAB MEDIA: Supplemental Figure S1 and Supplemental Figure S2 . Authors: Is this correct?

  - Connect the aortic cannula to the retrograde perfusion apparatus. [1]

    - LAB MEDIA: Movie 3 00:08-00:22

  - To advance the Langendorff system by direct coronary perfusion, carefully isolate approximately 3 to 5 millimeters of the proximal segments of the right and left main coronary arteries. [1]

    - LAB MEDIA: Movie 4 Authors: Please provide 20-second timestamps to show the exact time when segments were isolated?

  - Place 0 (zero) silk sutures beneath each vessel to allow the later fixation of the coronary cannulas. [1] Authors: Would you pronounce it zero or oh silk sutures?

    - LAB MEDIA: Movie 5 00:40-00:56

  - Determine the optimal aortic entry site through the aortic wall into the coronary ostia based on the cannula shape. Place two purse-string sutures around each entry site to prevent leakage and reduce the risk of aortic wall rupture [1].

    - LAB MEDIA: Movie 6 00:04-00:12 and 02:42-02:50

  - Using a scalpel with blade 11, create an incision of sufficient size to introduce the cannula [1]. Insert the cannula into the coronary artery, positioning it as proximally as possible, [2] and secure it with the previously placed sutures [3].

    - LAB MEDIA: Movie 7 00:06-00:08 and 00:16-00:20

    - LAB MEDIA: Movie 7 00:44-00:55

    - LAB MEDIA: Movie 7 00:58-01:10

  - Ensure the complete filling of both the aorta and the cannula with Tyrode's solution to prevent air embolism [1] Close the purse-string sutures securely. [2] The perfusate effluent will primarily drain via the coronary sinus. [3] Direct it either to the reservoir or via right ventricular pumping. [4]

    - LAB MEDIA:

    - LAB MEDIA:

    - LAB MEDIA:

    - LAB MEDIA:

Authors: Can you please indicate the filename and timestamps for these steps? Is it between 01:35-01:40 and 02:40-02:40 for closing the purse-string sutures.

  - Cannulate the ascending aorta with an appropriately sized cannula and secure it with sutures to prevent leakage. [1] Perform the "Coronel test" to make sure that the cannula is properly fixed in the aorta. [2] Alternatively, attach a hemostatic valve at the brachiocephalic artery to allow for subsequent catheter placement. [3]

    - LAB MEDIA: Movie 8 00:07-00:12 and 00:32-00:40

    - LAB MEDIA: Movie 8 00:42-00:48

    - LAB MEDIA: Movie 9 00:00-00:20

  - For experiments under loading conditions, left atrial cannulation is required to provide a blood supply and to control preload. [1] Anatomical variations in the left atrial posterior wall among species may influence cannula size and vessel choice for ligation. [2] The left pulmonary vein is the preferred site due to its relatively large ostium. [3]

    - LAB MEDIA: Movie 10

    - LAB MEDIA: Movie 10

    - LAB MEDIA: Movie 10

  - Finally, connect the aortic cannula to the perfusion apparatus to complete the setup. [1].

    - LAB MEDIA: Movie 12 Authors: Please check if this is correct

  - Finally, begin coronary perfusion and allow an equilibration period of 10 to 15 minutes to enable the heart to transition from a quiescent state to a spontaneously beating state. Allow the heart to equilibrate until spontaneous electrical activity resumes, while monitoring perfusion pressure, flow, temperature, pH, oxygenation, and electrolytes [1]. Then position the recording and stimulation electrodes, perform the electrophysiological protocols, and analyze the electrograms and activation maps [2].

    - LAB MEDIA: Movie 11

    - Talent looking at the ECG reads on the monitor. Authors: Can you shoot this scene?

# Results

Please review this section to make sure that it accurately reflects your findings.

- You/Your videographer does not have to record this section. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: XXX.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Immediately after connection, the heart remained hypothermic and in ventricular fibrillation [1], while stable coronary pressure [2], left coronary flow [3], and right coronary flow [4] were already established.

    - LAB MEDIA: Figure 4B. Video editor: Highlight the black ventricular electrogram labelled “VF”.

    - LAB MEDIA: Figure 4B. Video editor: Highlight the green coronary pressure trace before the blue shaded section.

    - LAB MEDIA: Figure 4B. Video editor: Highlight the red line labelled “Left coronary flow” before the blue shaded section.

    - LAB MEDIA: Figure 4B. Video editor: Highlight the blue line labelled “Right coronary flow” before the blue shaded section.

  - During hypothermia, increased coronary resistance produced higher coronary pressure [1], while the coronary-flow signals mainly reflected roller-pump pulsations [2].

    - LAB MEDIA: Figure 4B. Video editor: Highlight the higher green coronary pressure trace before the blue shaded section.

    - LAB MEDIA: Figure 4B. Video editor: Highlight the repeating red and blue peaks above the label “Roller pump pulsations”.

  - After a direct current shock, a regular rhythm was restored [1].

    - LAB MEDIA: Figure 4B. Video editor: Highlight the blue shaded section labelled “DC shock” and the regular black ventricular electrogram immediately to its right.

  - Ventricular contractions then resumed [1], and rhythmic pulsations emerged in the left coronary flow [2] and right coronary flow [3] in synchrony with ventricular activity.

    - LAB MEDIA: Figure 4B. Video editor: Highlight the black dots identified by the label “Ventricular activations”.

    - LAB MEDIA: Figure 4B. Video editor: Highlight the rhythmic peaks in the red line labelled “Left coronary flow” after the blue shaded section.

    - LAB MEDIA: Figure 4B. Video editor: Highlight the rhythmic peaks in the blue line labelled “Right coronary flow” after the blue shaded section.

  - After rewarming and stabilization, the cardiac rhythm was stable [1], and the coronary pressure [2], left coronary flow [3], and right coronary flow [4] had normalized.

    - LAB MEDIA: Figure 4C. Video editor: Highlight the black electrogram labelled “Sinus rhythm” in the right panel.

    - LAB MEDIA: Figure 4C. Video editor: Highlight the green coronary pressure trace in the right panel.

    - LAB MEDIA: Figure 4C. Video editor: Highlight the red line labelled “Left coronary flow” in the right panel.

    - LAB MEDIA: Figure 4C. Video editor: Highlight the blue line labelled “Right coronary flow” in the right panel.

  - The reduced coronary vascular resistance allowed adequate perfusion to be maintained at lower coronary pressures [1].

    - LAB MEDIA: Figure 4C. Video editor: Highlight the green coronary pressure trace around the horizontal line labelled “Mean coronary pressure” in the right panel.