# Submission ID #: 70582

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/account/file-uploader?src=21527558

Title: A Dual-Color Fiber Photometry Method for Recording Astrocyte–Neuron Activity Across Multiple Brain Regions During Learning and Memory Behaviors

# Authors and Affiliations:

Jihua Fan1,2, Fengjuan Wu2, Haoyu Wang2, Ying Liu2, Zhiqi Yang2,3, Jin Li2, Xiaowei Chen2, Ruijie Li2*, Kuan Zhang2*

1Guangxi Key Laboratory of Special Biomedicine/Advanced Institute for Brain and Intelligence, School of Medicine, Guangxi University

2Brain Research Center and State Key Laboratory of Trauma and Chemical Poisoning, Third Military Medical University

3Department of Neurology, Gansu Provincial Central Hospital

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Ruijie Li 		(ruijie_li@tmmu.edu.cn)

Kuan Zhang 		(zhangkuan@tmmu.edu.cn)

# Email Addresses for All Authors:

Jihua Fan 		(fanjihua32@163.com)

Fengjuan Wu 		(wfj5678@outlook.com)

Haoyu Wang 		(hyu_wang@126.com)

Ying Liu 		(yingliuuuuu@126.com)

Zhiqi Yang 		(yangzhq0526@126.com)

Jin Li 			(lijinwyx@tmmu.edu.cn)

Xiaowei Chen 		(xiaowei_chen@tmmu.edu.cn)

Ruijie Li 		(ruijie_li@tmmu.edu.cn)

Kuan Zhang 		(zhangkuan@tmmu.edu.cn)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  27

Number of Shots:  49

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Ethics Title Card

This research has been approved by the Animal Care and Use Committee of the Third Military Medical University

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Stereotaxic Viral Injection and Multi-site Fiber Photometry Probe Implantation

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To perform the first surgery for astrocyte injection, take an anesthetized mouse [1] and maintain body temperature at 37 to 38 degrees Celsius with a heating pad [2]. Apply ophthalmic ointment to prevent corneal desiccation [3].

    - WIDE: Talent at the working area with the anesthetized placed on the surgical platform TXT: Anesthesia: 3% isoflurane; Plasmid injected: AAV5-GfaABC1D-GCaMP6f

    - Talent placing the animal on the heating pad.

    - Talent applying ophthalmic ointment to the eyes.

  - Then, remove the scalp hair [1] and disinfect the skin thoroughly [2]. Make a midline incision to reveal the skull surface [3].

    - Talent removing the scalp hair.

    - Talent disinfecting the skin.

    - Talent making a midline incision to reveal the skull surface.

  - Now, place the head in the stereotaxic instrument [1]. Adjust the bregma and lambda sutures to the same horizontal plane [2] and adjust the frame further to ensure that points 2 millimeters lateral to the bregma on both sides are level [3].

    - Talent positioning the head in the stereotaxic instrument.

    - Talent adjusting the bregma and lambda sutures to the same horizontal plane.

    - Talent adjusting the frame to level the points 2 millimeters lateral to the bregma on both sides.

  - Identify the stereotaxic coordinates with a mouse brain atlas using the bregma as the reference point [1].

    - TEXT ON A PLAIN BACKGROUND

mPFC: AP +1.8 mm, ML +0.3 mm, DV −3.0 mm

CA1: AP −2.1 mm, ML +1.6 mm, DV −1.2 mm

MEC: AP −4.5 mm, ML −2.9 mm, DV −2.0 mm

  - Drill a 0.6-millimeter diameter circular craniotomy above each site [1-TXT].

    - Talent drilling a 0.6 millimeter diameter circular craniotomy above each site. TXT: Keep the dura mater moist and intact after opening the skull

  - Now, load the GCaMP6f (G-Camp-Six-F) virus into the syringe at 5 nanoliters per second [1] and install the syringe in the stereotaxic arm [2].

    - Talent loading the GCaMP6f virus into the syringe.

    - Talent installing the syringe in the stereotaxic arm.

  - Lower the pipette slowly into the target region [1] and inject 150 nanoliters at 0.6 nanoliters per second, hold for 8 minutes, and withdraw at 0.1 millimeters per second [2-TXT]. Then, seal the incision with tissue adhesive and allow 2 weeks for viral expression [3].

    - Talent lowering the pipette slowly into the target region.

    - Talent placing the sample in position during injection. TXT: Repeat this procedure for all regions

    - Talent applying tissue adhesive to seal the incision.

  - To perform the secondary surgery for neuronal injection with AAV9-hSyn-jRGECO1a (A-A-V-H-Syn-J-R-Geko-One-A), prepare the mouse as demonstrated earlier [1].

    - Shot of the animal prepared for injection.

  - Reopen the scalp along the midline and level the skull [1]. Clear tissue debris at the same locations as the craniotomy windows from the first surgery to expose the dura mater intact [2].

    - Talent reopening the scalp along the midline and adjusting the skull to a level position.

    - Talent clearing tissue debris at the craniotomy sites to expose the intact dura mater.

  - Adjust coordinates using the bregma as the reference point. Then, perform injections at the same coordinates and depths as described previously [1].

    - Talent adjusting stereotaxic coordinates using the bregma as the reference point.

  - Load the jRGECO1a (J-R-Geko-One-A) virus into the syringe at 5 nanoliters per second [1]. Install the syringe in the stereotaxic arm [2].

    - Talent loading the jRGECO1a virus into the syringe.

    - Talent installing the syringe in the stereotaxic arm.

  - Inject 150 nanoliters at 0.6 nanoliters per second, hold for 8 minutes, and withdraw slowly [1-TXT].

    - Talent placing the sample in position during injection. TXT: Repeat for all regions; Allow 3 weeks for viral expression

  - Next, install the optical fiber ferrule in the stereotaxic holder [1].

    - WIDE: Talent installing the optical fiber ferrule in the stereotaxic holder.

  - Using the presented coordinates [1], position the fiber at 100 to 150 micrometers above the viral injection depth [2-TXT]. Lower the fiber slowly to minimize tissue damage [1].

    - TEXT ON A PLAIN BACKGROUND
mPFC: AP +1.8 mm, ML +0.3 mm, DV −2.9 mm

CA1: AP −2.1 mm, ML +1.6 mm, DV −1.1 mm

MEC: AP −4.5 mm, ML −2.9 mm, DV −1.9 mm

    - Talent positioning the optical fiber above the viral injection depth

    - Talent lowering the optical fiber slowly into position.

  - Seal the craniotomy with tissue adhesive [1] and secure the ferrule with dental cement [2].

    - Talent applying tissue adhesive to seal the craniotomy.

    - Talent securing the ferrule with dental cement.

- Multi-channel Fiber Photometry Recording

Demonstrator: Click here to enter name of demonstrator(s)

  - Perform multi-channel fiber photometry recording three weeks after the second virus injection to ensure stable and full expression of both calcium indicators [1].

    - WIDE: Talent preparing the setup for multi-channel fiber photometry recording.

  - To habituate the mice to the fiber system and arena, first connect one end of the bundled optical fiber to the fiber photometry acquisition system [1].

    - Talent connecting the bundled optical fiber to the fiber photometry acquisition system.

  - Connect the three branches at the other end of the bundled fiber to the three brain regions, connect Channel 1 to the medial prefrontal cortex [1], Channel 2 to CA1 [2], and Channel 3 to the medial entorhinal cortex [3].

    - Talent connecting Channel 1 to the medial prefrontal cortex.

    - Talent connecting Channel 2 to CA1.

    - Talent connecting Channel 3 to the medial entorhinal cortex.

  - After briefly anesthetizing the mouse, place it in an open area with a side length of 50 centimeters and allow free exploration [1].

    - Talent placing the mouse in the open arena.

  - After 10 minutes, disconnect the fiber [1] and return the mouse to the home cage [2-TXT].

    - Talent disconnecting the fiber from the mouse.

    - Talent placing the mouse back into the home cage. TXT: Repeat once per day for three days

  - For Fiber photometry recording during the Novel Object Recognition Task, place two identical objects in diagonally opposite quadrants [1]. Connect the fiber bundle in a lightly anesthetized state [2].

    - Talent positioning two identical objects in opposite quadrants of the arena.

    - Talent connecting the fiber bundle while the mouse is lightly anesthetized.

  - Allow the mouse to explore the objects for 10 minutes [1]. Return the mouse to the home cage without removing the fiber [2].

    - Shot of the mouse exploring the objects in the arena.

    - Talent placing the mouse back into the home cage with the fiber attached.

  - Adjust the stimulation parameters of the lasers. Set 470 nanometers for GCaMP6f and 560 nanometers for jRGECO1a [1].

    - SCREEN: Display the laser control interface and adjust stimulation parameters., Set the wavelength to 470 nanometers for GCaMP6f and 560 nanometers for jRGECO1a.

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21527558

  - Record calcium signals at 30 hertz synchronized with video tracking at 30 hertz [1]. Position a laser diode within the video frame outside the mouse's visual field at the start of fiber photometry acquisition to serve as a temporal marker [2].

    - SCREEN: Show calcium signal recording synchronized with video tracking at 30 hertz.

    - Talent positioning a laser diode within the video frame outside the mouse visual field.

  - After 10 minutes from the learning phase, replace one object with a novel object [1]. Place the mouse back into the arena for 10 minutes of exploration while recording [2].

    - Talent replacing one object with a novel object in the arena.

    - Talent placing the mouse back into the arena for exploration during recording.

  - Disconnect the fiber from the ceramic ferrule [1] and return the mouse to the home cage [2].

    - Talent disconnecting the fiber with the ceramic ferrule.

    - Talent placing the mouse back into the home cage.

  - After imaging, quantify the calcium responses during novel vs. familiar object exploration using the appropriate analysis software [1].

    - Shot of the computer screen with the images opened in the software.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 170.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Confocal imaging revealed strong overlap between GCaMP6f fluorescence and the astrocyte marker S100β (S-Hundred-Beta), and [1] robust co-localization of jRGECO1a with the neuronal marker NeuN (Neu-N) in the mPFC (M-P-F-C), CA1 (C-A-One), and MEC (M-E-C) [2].

    - LAB MEDIA: Figure 2A–C. Video editor: In each region panel, highlight the green and orange signals in the lower images.

    - LAB MEDIA: Figure 2A–C. Video editor: In each region panel, highlight the red and yellow signals in the upper images.

  - These results confirmed stable and specific expression of GCaMP6f in astrocytes and [1] jRGECO1a in neurons within the targeted memory-related brain regions [2].

    - LAB MEDIA: Figure 2D–E. Video editor: Highlight the bar graphs for GCaMP6f in the mPFC, CA1, and MEC.

    - LAB MEDIA: Figure 2F–G. Video editor: Highlight the bar graphs for jRGECO1a in the mPFC, CA1, and MEC.

  - Statistical analyses of event frequency [1], duration [2], and cross-regional distribution demonstrated that this method reliably and stably measured dual cell-type-specific calcium signals across multiple brain regions [3].

    - LAB MEDIA: Figure 4C.

    - LAB MEDIA: Figure 4D.

    - LAB MEDIA: Figure 4E

  - The cross-correlation coefficients between astrocytes and neurons across multiple brain regions during the stationary state [1] were significantly lower than during the freely moving state [2].

    - LAB MEDIA: Figure 4F,G. Video editor: Highlight the stationary condition in the comparison panels for the mPFC, CA1, and MEC.

    - LAB MEDIA: Figure 4F,G. Video editor: Highlight the movement condition in the comparison panels for the mPFC, CA1, and MEC.

  - Astrocytic calcium signals exhibited lower peak amplitudes during exploration of the novel object compared to the familiar object [1].

    - LAB MEDIA: Figure 5B. Video editor: Highlight the blue and orange traces after time 0 in the mPFC, CA1, and MEC, and emphasize that the blue peaks stay lower than the orange peaks.

  - Neuronal calcium signals showed a similar decreasing trend during exploration of the novel object compared to the familiar object [1].

    - LAB MEDIA: Figure 5C. Video editor: Highlight the blue and orange traces after time 0 in the mPFC, CA1, and MEC, and emphasize that the blue traces remain lower than the orange traces.

  - Quantitative analysis of the area under the curve further confirmed that calcium responses in astrocytes and neurons were significantly attenuated during novel object exploration [1].

    - LAB MEDIA: Figure 5D. Video editor: Highlight the bars for Novel and Familiar in the astrocyte panel for the mPFC, CA1, and MEC.

    - LAB MEDIA: Figure 5E. Video editor: Highlight the bars for Novel and Familiar in the neuron panel for the mPFC, CA1, and MEC.