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Author Questionnaire
1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No  

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes
Authors: Please reupload screen capture videos for shots labelled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible:
https://review.jove.com/account/file-uploader?src=21529388

3. Filming location: Will the filming need to take place in multiple locations?   No

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Yes


Current Protocol Length
Number of Steps: 16
Number of Shots:  49

Introduction
Videographer: Obtain headshots for all authors available at the filming location. 

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context
Note: The statements have been edited for length and clarity

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.
1.1. Leo Westerberg: We study adipocyte senescence across different fat depots and metabolic conditions like obesity and hyperinsulinemia.
1.1.1. INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the research gap or limitation in existing methods and how this protocol addresses them.
1.2. Leo Westerberg: Traditional brightfield-based SABG assays are subjective and limit multiplexing; our new protocol ensures objectivity and allows multiplexing.
1.2.1. INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.
CONCLUSION:
What does this protocol allow researchers to study or measure?
1.3. Leo Westerberg: This protocol enables sensitive, quantitative detection of SA-beta-gal activity while allowing simultaneous imaging of other senescence or cellular markers.
1.3.1. INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the most important consideration or challenge when performing this protocol.
1.4. Leo Westerberg: The main challenge is the initial microscope setup, however once optimized, the same acquisition settings can be reused across experiments.
1.4.1. INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.


How can future studies build on this work? Describe the questions or research directions that can be investigated next.
1.5. Leo Westerberg: Future studies can combine this method with subcellular markers to investigate how SA-beta-gal activity relates to different cellular processes.
1.5.1. INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.


Videographer: Obtain headshots for all authors available at the filming location.


`Testimonial Questions (OPTIONAL): 

Videographer: Please capture all testimonial shots in a wide-angle format with sufficient headspace, as the final videos will be rendered in a 1:1 aspect ratio. Testimonial statements will be presented live by the authors, sharing their spontaneous perspectives.

· Testimonial statements will not appear in the video but may be featured in the journal’s promotional materials.
· Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial. 
· Please answer the testimonial question live during the shoot, speaking naturally and in your own words in complete sentences.

What is the key takeaway you hope viewers remember after watching your video article?
1.6. Leo Westerberg, PhD Student: (authors will present their testimonial statements live)
What value do you expect this video article to have for other researchers working in your field?
1.7. Leo Westerberg, PhD Student: (authors will present their testimonial statements live)
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Protocol  
Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.
2.  X-gal Staining of Human Adipose-Derived Stromal Vascular Cells
Demonstrator: Leo Westerberg 
2.1. To begin, retrieve the tube containing the human adipose tissue [1]. Homogenize ten grams of adipose tissue [2] and add 0.05% (zero-point zero five percent) type one collagenase enzyme to isolate 1.0 × 10⁶ (one million) stromal vascular fraction or SVF (S-V-F) cells [3]. 
2.1.1. WIDE: Talent taking out a tube containing human adipose tissue. 
2.1.2. Talent homogenizing the tissue to disrupt it. 
2.1.3. Talent adding collagenase solution to the tube containing the tissue.  
2.2. Aliquot five hundred thousand cells into each of three individual one point five-milliliter microcentrifuge tubes [1]. Add one milliliter of two percent paraformaldehyde to each tube for cell fixation [2] and incubate on a rocker for twenty minutes at room temperature [3]. Centrifuge at 600 g for ten minutes [4] and remove the supernatant [5]. 
2.2.1. Talent adding 0.5 x 106 cells into each 1.5 mL tubes.
2.2.2. Talent adding 2% PFA in 1.5 ml tube containing cell suspension. 
2.2.3. Talent placing the tube on a rocker.
2.2.4. Talent placing the tube in a centrifuge. Videographer: Please capture the digital meter on the centrifuge showing the centrifuge speed and time.
2.2.5. Talent discarding the supernatant from the tube.
2.3. Prepare six milliliters of X-gal (X-gal) staining solution using the senescence β (beta) -galactosidase staining kit according to manufacturer’s instructions [1]. Add one milliliter of the staining solution each into three fresh tubes [2] and adjust the pH (P-H) to five, six and eight using one molar hydrochloric acid and one molar sodium hydroxide solutions [3]. Use a calibrated pH meter to verify the pH [4].
2.3.1. Talent preparing the X-gal staining solution using the senescence β-gal kit. 
2.3.2. Talent adding 2mL staining solution to each of the 3 tubes.
2.3.3. Talent adjusting the pH using 1M HCl and 1M NaOH.
2.3.4. Talent verifying the pH using pH meter.
2.4. Add the pH-adjusted X-gal staining solution to each of the labelled tubes containing five hundred thousand cells [1]. Incubate at thirty-seven degrees Celsius for twenty-four hours without carbon dioxide [2].	Comment by Kathyayani  Sridharan: Authors: Please specify the exact volume of pH-adjusted staining solution added to the tubes during filming. 
2.4.1. Talent adding the pH-adjusted X-gal solutions to each of the labelled tubes with 0.5 x 106 cells.
 
2.4.2. Talent placing the tubes in a 37 °C incubator.
2.5. Centrifuge the cells at 600 g for ten minutes [1]. After removing the supernatant, wash the cells with PBS [2] and centrifuge again at 600 g for 10 minutes [3]. 
2.5.1. Talent placing the tubes with staining solutions in the centrifuge.
2.5.2. Talent adding PBS to the cells 
2.5.3. Talent placing the tubes in the centrifuge and closing the lid 

2.6. Once supernatant is removed, incubate the cells with CD31 (C-D-thirty-one) or IgG (I-G-G) control primary antibody at four degrees Celsius overnight [1-TXT]. Wash the cells thrice using zero-point one percent PBST (P-B-S-T) for ten minutes at room temperature on a rocker to remove unbound primary antibody [2] and centrifuge at 600 g for ten minutes [3]. 
2.6.1. Talent incubating the three tubes with primary antibody overnight at 4 °C. TXT: Primary Ab: CD31 (1:200) or IgG control (1:333) in 5% NDS 
2.6.2.  Talent placing the cell containing tube on a rocker after adding PBST. Videographer: Obtain multiple reusable takes of 2.6.2 as these will be used later in the protocol 
2.6.3. Talent placing the tubes in a centrifuge.  
2.7. After discarding the supernatant, incubate the cells with a secondary antibody for one hour at room temperature on a rocker [1-TXT]. Centrifuge at 600 g for ten minutes to remove secondary antibody staining solution [2]. Wash the cells thrice using PBST and then centrifuge as demonstrated earlier [3]. 
2.7.1. Talent adding secondary antibody to the tubes. TXT: Secondary Ab: Anti-mouse Alexa Fluor 555 (1:500) and Wheat Germ Agglutinin (1:200) in 5% NDS
2.7.2. Talent placing the tubes in a centrifuge.
2.7.3. Reuse 2.6.2 and 2.6.3
2.8. Resuspend cells in the antifade mountant [1]. Pipette the cell suspension onto microscope slides and cure overnight at room temperature to immobilize the cells [2]. 
2.8.1. Talent resuspending the cells in mountant.
2.8.2. Talent pipetting the cell suspension onto glass slides and setting them aside.
2.9. The next day, add hundred microliters of hundred percent glycerol [1], place a coverslip on top [2], and seal it with nail polish [3].
2.9.1. Talent adding 100 µL of 100% glycerol.
2.9.2. Talent carefully placing a coverslip on top of the glycerol drop.
2.9.3. Talent sealing the cover slip on slide using nail polish. 

3. Microscopy and SA-β-gal scoring
Demonstrator: Leo Westerberg and Laurent Barbe 
3.1.  Place the prepared slide on the stage of confocal microscope [1].
3.1.1. Talent placing the prepared slide on the confocal microscope stage.
3.2. In the microscope software, select the T90/R10 (T-ninety-R-ten) beam splitter setting [1]. Set the excitation wavelength to 633 (six hundred and thirty-three) nanometers [2] and collect the reflected light signal between 635 (six hundred and thirty-five) and 645 (six hundred and forty-five) nanometers [3]. Acquire the Hoechst signal using 405 (four hundred and five) nanometer excitation [4]
3.2.1. SCREEN: Show the microscope software interface and select the T90/R10 beam splitter setting.
3.2.2. SCREEN: Show the excitation settings and the value “633” nm as the excitation wavelength.
3.2.3. SCREEN: Show the detection range settings and the value “635 to 645” nm.
3.2.4. SCREEN: Show the laser settings for Hoechst signal and the value ”405” nm.
Authors: Could you please re-upload the screen captures for the sections labeled SCREEN and highlighted in yellow? The current versions do not highlight the exact wavelengths specified in the shots. Kindly ensure the specific wavelength values match with the narration and are clearly emphasized to demonstrate the filter selection.
Videographer: Please capture all the shots labeled as SCREEN and highlighted in yellow to serve as a backup.
3.3. Acquire the wheat germ agglutinin signal using 488 nanometer excitation [1]. Acquire the CD31 signal using 555 nanometer excitation [2]. Set the Z (zee) step size to the system optimum of 0.74 (zero-point seven four) micrometer and define a Z stack based on the membrane signal to capture the full cell volume [3]. After image acquisition using identical settings for all samples, save the files in the native microscope format, such as. oir (dot-o-i-r), without compression [4]. 
3.3.1. SCREEN: Show the laser settings for wheat germ agglutinin signal and the value “488” nanometers.
3.3.2. SCREEN: Show the laser settings for CD31 signal and the value “555” nanometers.
3.3.3. SCREEN: Show the Z-stack settings and enter 0.74 micrometer as the Z step size.
3.3.4. SCREEN: Show the file being saved in .oir format.
3.4. Upload the .oir file to ImageJ (Image-J) [1]. In the Bio-Formats Import options pop-up window, click OK [2]. Click on Image menu to open the file [3] and from the drop-down options, select Color, then Split Channels option to open the different channels in separate windows [4]. Adjust the brightness and LUT (lut) values using the Adjust option under the Image menu for enhanced visualization of the image [5]. 
3.4.1. SCREEN: 70588_screenshot_05. 00:00:01– 00:00:03
3.4.2. SCREEN: 70588_screenshot_05. 00:00:04– 00:00:06
3.4.3. SCREEN: 70588_screenshot_05. 00:00:07– 00:00:13
3.4.4. SCREEN: 70588_screenshot_05. 00:00:14– 00:00:22
3.4.5. SCREEN: 70588_screenshot_05. 00:00:23– 00:00:42
3.5. Use the Z Project function under Image menu and Stack option to generate summed intensity projections of the three-dimensional confocal image [1]. Next, select ‘Type’ option under Image menu to adjust the image type to 16-bit (sixteen-bit) [2] and export the images as 16-bit TIFF (tiff) files [3]. 
3.5.1. SCREEN: 70588_screenshot_06. 00:00:00– 00:00:07
3.5.2. SCREEN: 70588_screenshot_07. 00:00:00– 00:00:04
3.5.3. SCREEN: 70588_screenshot_07. 00:00:05– 00:00:19
3.6. Import the images into CellProfiler version 4.2.8 (four-point two point eight) for automated cell segmentation and quantification of the reflected light intensity for each cell [1]. 
3.6.1. SCREEN: 70588_screenshot_08. 00:00:00– 00:00:09
3.7. Export the intensity measurements to a spreadsheet for downstream analysis and define the threshold for senescence-associated beta-galactosidase positivity as the mean reflected light intensity of the pH eight condition [2] plus three standard deviations [3]. Classify the cells in the pH six condition as senescence-associated beta-galactosidase positive, if their intensity values exceed the established threshold [4].
3.7.1. SCREEN: 70588_screenshot_09. 00:00:00– 00:00:07.
3.7.2. SCREEN: 70588_screenshot_09. 00:00:08– 00:00:16.
3.7.3. SCREEN: 70588_screenshot_09. 00:00:00– 00:00:15


Results
4. Results 
4.1. Reflected light senescence-associated beta galactosidase staining of human SVF cells produced clear and reproducible patterns across three pH levels [1]. At pH 5, most cells showed a strong signal due to high endogenous enzyme activity [2]. 
4.1.1. LAB MEDIA: Figure 1: Video Editor: Please emphasize the columns labelled Ac, Bc, Cc corresponding to pH 5, pH 6 and pH 8.
4.1.2. LAB MEDIA: Figure 1: Video Editor: Please emphasize the panels in the row labelled pH 5.
4.2. At the assay standard value of pH 6, the signal intensity and frequency decreased, allowing for the specific identification of senescence-associated beta-galactosidase cells [1]. At pH 8, the signal was minimal [2] and this served as a baseline to define the threshold for positivity [3].
4.2.1. LAB MEDIA: Figure 1: Video Editor: Please emphasize the panels in the row labelled pH 6.
4.2.2. LAB MEDIA: Figure 1: Video Editor: Please emphasize the panels in the row labelled pH 8.
4.2.3. LAB MEDIA: Figure 1: Video Editor: Please emphasize the red dotted line in the panel labelled Cc.
4.3. Detection sensitivity testing showed that the reflected light imaging outperformed brightfield across all pH conditions [1]. At pH 5, reflected light showed strong X-gal precipitates [2], whereas brightfield only caught the largest deposits [3]. 
4.3.1. LAB MEDIA: Figure 2: Video Editor: Please emphasize the columns labelled Reflected and Bright field corresponding to pH 5, pH 6 and pH 8 sequentially.
4.3.2. LAB MEDIA: Figure 2: Video Editor: Please emphasize the column labelled “Reflected” in the pH 5 row.
4.3.3. LAB MEDIA: Figure 2: Video Editor: Please emphasize the column labelled “Bright field” in the pH 5 row.
4.4. At pH 6, reflected light [1] identified positive cells that were too weak or diffuse to see in brightfield [2]. At pH 8, reflected light imaging detected minimal signal consistent with low enzymatic activity [3], outperforming brightfield in identifying X-gal precipitates at intermediate and lower activity levels [4].
4.4.1. LAB MEDIA: Figure 2: Video Editor: Please emphasize the column labelled “Reflected” in the pH 6 row. 
4.4.2. LAB MEDIA: Figure 2: Video Editor: Please emphasize the column labelled “Bright field” in the pH 6 row.
4.4.3. LAB MEDIA: Figure 2: Video Editor: Please emphasize the column labelled “Reflected” in the pH 8 row.
4.4.4. LAB MEDIA: Figure 2: Video Editor: Please emphasize the column labelled “Bright field” in the pH 8 row.
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