# Submission ID #: 70595

# Scriptwriter Name: Sri Lakshmi Priya

# Project Page Link: https://review.jove.com/account/file-uploader?src=21531523

# Title: A Standardized Protocol for Inducing Stress-Induced Premature Senescence in Primary Human Melanocytes Using tBHP

# Authors and Affiliations:

Amina Hassan1,2, Lena Guerrero-Navarro1,2, Ines Martic1,2, Lieve Declercq3, Maria Cavinato1,2,

1Institute for Biomedical Aging Research, Universität Innsbruck

2Center for Molecular Biosciences Innsbruck (CMBI), Innsbruck

3European Innovation Center, Proya Europe

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Maria Cavinato 		maria.cavinato-nascimento@uibk.ac.at

# Email Addresses for All Authors:

Amina Hassan 			amina-gharib.hassan@uibk.ac.at

Lena Guerrero-Navarro 	lena.guerrero-navarro@uibk.ac.at

Ines Martic 			ines.martic@uibk.ac.at

Lieve Declercq 		lievedeclercq@proya.com

Maria Cavinato 		maria.cavinato-nascimento@uibk.ac.at

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  27

Number of Shots:  41

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Ethics Title Card

This study utilized commercially obtained de-identified primary human neonatal melanocytes collected with informed donor consent in compliance with established ethical guidelines

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Cell Seeding

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, gather the required reagents [1]. After thawing the melanocytes for 3 days, ensure that the cells reach 80 to 90 percent confluency on the seeding day [2].

    - WIDE: Talent waking into the room with a tray of reagents. Videographer: Please obtain CU shot as well for this shot.

    - SCOPE: Show adherent melanocytes at 80 to 90 percent confluency

  - Aspirate the medium from the flask [1]. Wash the cells twice with Dulbecco’s Phosphate-Buffered Saline or DPBS (D-P-B-S) [2].

    - Talent aspirating the medium from the culture flask.

    - Talent adding DPBS to the flask.

  - Add 2 milliliters of Trypsin-Ethylenediaminetetraacetic acid or EDTA (E-D-T-A) solution to detach the cells [1]. Place the flask in the incubator for 5 minutes at 37 degrees Celsius with 5 percent carbon dioxide [2].

    - Talent adding Trypsin-EDTA solution into the culture flask.

    - Talent placing the flask into the incubator.

  - Gently tap the flask [1] and under the microscope observe the cells to confirm complete detachment [2].

    - Talent gently tapping the culture flask.

    - SCOPE: Show detached cells lifting from the flask surface under the microscope.

  - Add 1.5 times the volume of trypsin inhibitor to stop the reaction [1].

    - Talent adding trypsin inhibitor into the flask containing detached cells.

  - Transfer the cell suspension to a 15 milliliter conical tube [1]. Dilute the suspension with DPBS to a final volume of 10 milliliters [2].

    - Talent transferring the cell suspension into a 15 milliliter conical tube.

    - Talent adding DPBS into the conical tube containing cell suspension.

  - Centrifuge the cell suspension at a relative centrifugal force of 100 for 5 minutes [1].

    - Talent placing the conical tube into the centrifuge.

  - Aspirate the supernatant [1] and resuspend the cell pellet in medium to the desired volume [2].

    - Talent aspirating the supernatant from the conical tube.

    - Talent resuspending the cell pellet in fresh medium.

  - Seed 6 lakh cells per 10 centimeter dish for tert-butyl hydroperoxide or tBHP (T-B-H-P) treated plates [1]. Seed 4 lakh cells per plate for the control plates [2].

    - Talent seeding cells into a 10 centimeter dish labeled tBHP.

    - Talent seeding cells into a plate labeled control.

- tBHP treatment

Demonstrator: Click here to enter name of demonstrator(s)

  - Prepare a 10 millimolar working solution from the tBHP stock using DPBS or media [1].

    - Talent adding tBHP solution in a tube containing DPBS or media.

  - Add 100 micromolar tBHP to the cells for 1 hour per treatment [1].

    - Talent adding tBHP solution into the culture plate.

  - Move the plate back and forth to distribute the tBHP evenly throughout the medium [1].

    - Talent gently moving the plate back and forth.

  - Place the cells in the incubator for precisely 1 hour at 37 degrees Celsius with 5 percent carbon dioxide [1].

    - Talent placing the culture plate into the incubator.

  - Aspirate the medium to terminate the tBHP treatment [1].

    - Talent aspirating the treatment medium from the culture plate.

  - Wash the plates twice with pre-heated DPBS at 37 degrees Celsius [1].

    - Talent adding pre-heated DPBS to the plates.

  - Add the appropriate volume of fresh medium to the plates [1].

    - Talent adding fresh medium into the culture plates.

  - Place the plates in the incubator and allow the cells to recover for at least 4 hours before the next treatment [1].

    - Talent placing the culture plates back into the incubator.

  - Repeat the treatment procedure later on the same day for the second treatment [1]. Continue the treatment regimen and maintain the cells in culture until Day 9 to assess senescence markers [2].

    - Talent adding t-BHP to the previously treated culture plates.

    - Shot of labeled culture plates in the incubator.

- Growth Curve Analysis and Senescence Assessment

Demonstrator: Click here to enter name of demonstrator(s)

  - Count the tBHP-treated cells and control cells [1].

    - SCOPE: Show melanocytes in the counting chamber.

  - Reseed the cells at the same initial density or if fewer than 6 lakh cells are obtained from the tBHP-treated plates, reseed all collected cells [1].

    - Talent reseeding cells into fresh culture plates.

  - Count the cells on Days 4, 9, and 15 of culture [1].

    - SCOPE: Show melanocytes in the counting chamber.

  - On Day 9, wash the cells twice with PBS [1]. Fix the cells using 2 percent formaldehyde and 0.4 percent glutaraldehyde [2].

    - Talent adding PBS to the culture plate.

    - Talent adding the fixation solution onto the cells.

  - Wash the fixed cells twice with PBS [1].

    - Talent adding PBS to the cells.

  - Incubate the fixed cells in a staining solution at pH 6 [1] for 18 hours at 37 degrees Celsius in the absence of carbon dioxide [2].

    - Talent adding the staining solution onto the fixed cells.

    - Talent placing the stained culture plate into the incubator.

  - Wash the cells twice with PBS [1].

    - Talent washing the stained cells with PBS.

  - Using light microscopy, image and count the number of blue-stained cells [1]. Divide it by the total number of cells within the same field [2]. Express the results as the percentage of positive cells [3].

    - SCOPE: Show blue stained cells under light microscopy.

    - SCOPE: Show the total cell population within the microscopic field.

    - Show a printed data sheet showing the final percentage of positive cells.

  - Perform immunofluorescence staining [1], RT-qPCR [2], and Western blotting to further assess senescence markers in tBHP-treated melanocytes [3].

    - Shot sequence showing immunofluorescence imaging being performed in the laboratory.

    - Shot of RT-qPCR running.

    - Shot of Western blot membrane imaging.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 200.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Following oxidative stress induction, tBHP treatment significantly reduced melanocyte proliferation [1] compared to controls [2].

    - LAB MEDIA: Figure 2A. Video editor: Emphasize the entire tBHP curve in the line graph.

    - LAB MEDIA: Figure 2A. Video editor: Emphasize the entire Ctrl curve in the line graph.

  - The treated cells reached only 1.4 cumulative population doublings or cPDL (C-P-D-L) by day 9 [1], whereas controls reached 3.1 cPDL [2]. By day 15, treated cells plateaued at 1.9 cPDL [3] while control cells expanded to 5.1 cPDL [4].

    - LAB MEDIA: Figure 2A. Video editor: Emphasize the tBHP line at the d9 point around 1.4 cPDL.

    - LAB MEDIA: Figure 2A. Video editor: Emphasize the Ctrl line at the d9 point around 3.1 cPDL.

    - LAB MEDIA: Figure 2A. Video editor: Emphasize the tBHP line at the d15 point around 1.9 cPDL.

    - LAB MEDIA: Figure 2A. Video editor: Emphasize the Ctrl line at the d15 point around 5.1 cPDL.

  - Melanocytes treated with tBHP showed increased cell surface area [1] compared to controls at all measured time points [2] with enlargement progressing until day 15 [3] consistent with the enlarged and flattened morphology of senescent cells [4].

    - LAB MEDIA: Figure 2B. Video editor: Emphasize all dark teal tBHP bars at day 4, day 9, and day 15.

    - LAB MEDIA: Figure 2B. Video editor: Emphasize all light teal Ctrl bars at day 4, day 9, and day 15.

    - LAB MEDIA: Figure 2B. Video editor: Emphasize the dark teal tBHP bar at day 15.

    - LAB MEDIA: Figure 2C. Video editor: Emphasize the bottom image.

  - tBHP-treated melanocytes showed an increase in senescence-associated beta-galactosidase or SA-β-gal (S-A-beta-galactosidase) activity with 32% cells positive cells [1] compared 3% in controls [2]. The rise in SA-β-gal positivity was consistent with a senescent phenotype [3].

    - LAB MEDIA: Figure 2D. Video editor: Emphasize the dark teal bar labelled as tBHP.

    - LAB MEDIA: Figure 2D. Video editor: Emphasize the light teal bar labelled as Ctrl.

    - LAB MEDIA: Figure 2E: Video editor: Emphasize the bottom image.

  - Immunofluorescence analysis showed increased gamma-H2AX (H-two-A-X) levels in tBHP-treated melanocytes [1] compared with controls [2].

    - LAB MEDIA: Figure 2G. Video editor: Emphasize the dark teal bar labelled as tBHP.

    - LAB MEDIA: Figure 2G. Video editor: Emphasize the light teal bar labelled as Ctrl.

  - The treated cells showed stronger gamma-H2AX signal [1], than controls [2].

    - LAB MEDIA: Figure 2F. Video editor: In the tBHP row, emphasize the bright green spots under γH2AX and merged.

    - LAB MEDIA: Figure 2F. Video editor: In the Ctrl row, emphasize the bright green spots under γH2AX and merged.

  - Real Time-quantitative polymerase chain reaction analysis demonstrated increased senescence-associated secretory phenotype factor expression [1], with interleukin-8 showing the largest increase [2]. While interleukin-6 and matrix metalloproteinase-1 showed moderate increases [3].

    - LAB MEDIA: Figure 2H. Video editor: Emphasize all the dark teal coloured bars labelled as tBHP.

    - LAB MEDIA: Figure 2H. Video editor: Emphasize the dark teal tBHP bar under IL-8.

    - LAB MEDIA: Figure 2H. Video editor: Emphasize the dark teal tBHP bar under IL-6 and MMP-1.

  - Western blot analysis confirmed senescence induction [1]. LaminB1 showed a significant reduction in tBHP-treated melanocytes [2] compared to controls [3].

    - LAB MEDIA: Figure 2I.

    - LAB MEDIA: Figure 2J. Video editor: Emphasize the dark teal coloured bar labeled as tBHP.

    - LAB MEDIA: Figure 2J. Video editor: Emphasize the light teal coloured bar labeled as Ctrl.

  - Phosphorylated retinoblastoma protein levels were reduced in tBHP-treated melanocytes [1] compared to controls [2].

    - LAB MEDIA: Figure 2K. Video editor: Emphasize the dark teal coloured bar labeled as tBHP.

    - LAB MEDIA: Figure 2K. Video editor: Emphasize the light teal coloured bar labeled as Ctrl.

  - tBHP treatment increased transcriptional expression of p16 [1] and p21 in melanocytes [2].

    - LAB MEDIA: Figure 2L. Video editor: Emphasize the dark teal coloured bar labeled as tBHP under p16.

    - LAB MEDIA: Figure 2L. Video editor: Emphasize the dark teal coloured bar labeled as tBHP under p21.