# Submission ID #: 70652

# Scriptwriter Name: Sri Lakshmi Priya

# Project Page Link: https://review.jove.com/account/file-uploader?src=21548908

# Title: A Continuous Culture Millifluidic Device for the Study of Escherichia Coli Under Low and Fluctuating Nutrient Conditions

# Authors and Affiliations:

Juanita Lara-Gutiérrez1, Kang Soo Lee1,2, Jen Nguyen1, Zachary Landry1, Uria Alcolombri1,3, Johannes Keegstra1, Joaquín Jiménez-Martínez1,4, Roman Stocker1

1Department of Civil, Environmental and Geomatic Engineering, Institute of Environmental Engineering, ETH Zurich

2Department of Mechanical Engineering, Ulsan National Institute of Science and Technology (UNIST)

3 Department of Plant and Environmental Sciences, Institute of Life Sciences, The Hebrew University of Jerusalem

4Department of Water Resources and Drinking Water, Swiss Federal Institute of Aquatic Science and Technology (Eawag)

# Corresponding Authors:

Roman Stocker			(romanstocker@ethz.ch)

# Email Addresses for All Authors:

Juanita Lara-Gutiérrez			(gutierrez@ifu.baug.ethz.ch)

Kang Soo Lee				(kangsoolee@unist.ac.kr)

Jen Nguyen				(j.kimthu.nguyen@gmail.com)

Zachary Landry			(zlandry@usc.edu)

Uria Alcolombri			(uria.alcolombri@mail.huji.ac.il)

Johannes Keegstra			(keegstra@ifu.baug.ethz.ch)

Joaquín Jiménez-Martínez		(joaquin.jimenez@eawag.ch; jjimenez@ethz.ch)

Roman Stocker			(romanstocker@ethz.ch)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes, all done

3. Filming location: Will the filming need to take place in multiple locations?   No

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Yes

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Juanita Lara-Gutierrez, Postdoc at ETH Zürich

Current Protocol Length

Number of Steps:  12

Number of Shots:  35

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Juanita Lara-Gutierrez: My research focuses on examining how bacteria adapt physiologically to the low and fluctuating nutrient conditions typical of natural environments.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Juanita Lara-Gutierrez: Conventional cultivation methods poorly replicate low, dynamic nutrient conditions; whereas our system enables cultivation under these environmentally relevant conditions.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

Describe the most important consideration or challenge when performing this protocol.

  - Juanita Lara Gutierrez: The main challenge during low-nutrient cultivation is maintaining adequate cell densities to prevent clogging, pressure buildup, and nutrient depletion.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Are there any additional methods or analyses that can be performed following this procedure?

  - Juanita Lara-Gutierrez: Following this procedure, cells can be harvested for downstream analyses, including proteomics, metabolomics, and other omics approaches.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Juanita Lara-Gutierrez: Future studies can investigate microbial adaptation to nutrient limitation and fluctuations using integrated quantitative omics analyses.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

# ``Testimonial Questions (OPTIONAL):

# Videographer: Please capture all testimonial shots in a wide-angle format with sufficient headspace, as the final videos will be rendered in a 1:1 aspect ratio. Testimonial statements will be presented live by the authors, sharing their spontaneous perspectives.

What value do you expect this video article to have for other researchers working in your field?

  - Juanita Lara-Gutierrez, Postdoc at ETH Zürich: (authors will present their testimonial statements live)

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

How does the video format of your article help you to share your work with the broader scientific community?

  - Juanita Lara-Gutierrez, Postdoc at ETH Zürich: (authors will present their testimonial statements live)

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

NOTE: SCREEN timestamps for protocol were added at the postshoot stage. Please contact the postshoot note integrator (Sri Lakshmi Priya) for queries regarding lab media.

- Preparation of Bacterial Pre-culture and Medium

Demonstrator: Juanita Lara-Gutierrez

  - Prepare the overnight or ON (ON) culture the day before the experiment [1-TXT]. Prepare a pre-culture by adding 6 microliters of ON culture to a tube containing 6 milliliters of full rich-defined media or RDM (R-D-M) [2]. Divide the mixture equally into two 15-milliliter culture tubes and label them as A and B [3]. Incubate both tubes at 37 degrees Celsius with shaking at 200 rpm [4].

    - WIDE: Talent sitting next to the prepared ON culture tube kept on the workbench. TXT: Strain: E. coli NCM3722 Videographer: Please obtain CU shot as well for this shot.

    - Talent adding ON culture into a tube containing full RDM.

    - Talent dividing the culture into two tubes and labeling them A and B.

    - Talent placing the tubes into an incubator shaker.

  - Monitor the optical density at 600 nanometers using tube B and do not proceed until the optical density reaches approximately 0.5 [1].

    - SCREEN: 70652_2.2_t2.mp4: 00:00-00:10

  - During incubation, prepare the low RDM medium [1] by mixing the required reagents and allocating the total volume across bottles for different time points [2]. Then, seal each bottle with caps fitted with three tubes [3].

    - Talent arranging the reagents on the workbench.

    - TEXT ON A PLAIN BACKGROUND:

Low RDM Medium:

10x MOPS modified rich buffer - 620 mL

0.132 M potassium phosphate dibasic solution - 62 mL

Autoclaved milliQ water - 5518 mL

5x EZ supplement - 0.124 mL

10x ACGU solution  - 0.248 mL

Medium allocation:

~900 milliliters: 1 liter bottle (time points 1 and 2)

~2100 milliliters: 2.5 liter bottle (time points 3 and 4)

~3200 milliliters: 4 liter bottle (time points 5 and 6)

    - Talent sealing bottles with 3 tubed caps.

- Setting up the Millifluidic Continuous Culture Device System

  - Connect the third-widest silicone tube to a 0.2 micrometer vent filter for sterile air exchange [1]. Attach one end of each peristaltic tube with free Male Luer lock fittings to the smaller diameter silicone tubes [2] while keeping the aluminum foil cover on the free fitting [3].

    - Talent connecting a vent filter to the third silicone tube.

    - Talent attaching peristaltic tubing to the smaller diameter silicone tubes.

    - Shot of aluminum foil cover on the free fitting.

  - Place the bottles and peristaltic pump into an incubator set to 37 degrees Celsius [1]. Secure all peristaltic tubing into the channels of the same pump head, ensuring identical flow rates across all filters [2].

    - Talent placing bottles and pump into the incubator.

    - Talent fixing tubing into the pump head channels.

  - Dilute the pre-culture at a ratio of 1 to 10 by adding 600 microliters of culture into a tube containing 5.4 milliliters of low RDM [1]. Using a 1-milliliter pipette, introduce 1-milliliter of diluted culture into each of six 0.45-micrometer polyvinylidene fluoride or PVDF (P-V-D-F) filters [2].

    - Talent pipetting pre-culture into a tube containing low RDM.

    - Talent loading diluted culture into PVDF filters.

  - After rinsing one-way check valves with autoclaved ultrapure water, attach them to each end of the filters [1]. Remove the aluminum foil covers from tubing fittings [2]. Connect each filter to the peristaltic tubing fittings [3].

    - Talent rinsing check valves and attaching them to filters.

    - Talent removing foil covers from tubing.

    - Talent connecting filters to tubing fittings.

  - Set the flow rate to 2 milliliters per minute on the peristaltic pump and start the flow [1-TXT]. Place a waste receptacle below the filters to collect outflow and start the flow [2]. NOTE: VO is edited as per the revised shot

    - SCREEN: 70652_3.5.1_t3.mp4: 00:02-00:10 TXT: Time 0

    - Talent positioning a waste container beneath the filters and starting the pump.

- Sample Collection and Analysis

  - After 2 hours, unplug one of the filters connected to the 1-liter bottle [1]. Unscrew the one-way check valves [2] and place the filter into a 50-milliliter centrifuge tube with the inlet facing downward [3].

    - Talent disconnecting a filter from the setup.

    - Talent unscrewing the check valve.

    - Talent placing the filter into a centrifuge tube with the inlet facing downward.

  - Centrifuge at 2000 g for 2 minutes [1]. Using a sterilized pipe cutter, apply gentle pressure at the outlet end of the plastic casing to open the filter [2]. Release the inner cylinder and discard the membrane-containing section [3].

    - Talent placing the tube into a centrifuge.

    - Talent pressing the outlet end of the plastic casing with pipe cutter and opening the filter.

    - Talent removing and discarding the membrane section.

  - Rinse the inner walls of the filter casing with the collected culture medium [1]. Measure the total collected volume using a 5-milliliter serological pipette [2].

    - Talent rinsing the inner casing walls with collected medium.

    - Talent measuring liquid volume with a pipette.

  - Take three 100 microliter aliquots from the sample [1] and fix them with glutaraldehyde to a final concentration of 1.5 percent [2].

    - Talent pipetting aliquot into a tube.

    - Talent adding glutaraldehyde into the tube.

  - Unplug the corresponding filters [1] at subsequent time points and repeat the collection procedure [2]. Label the collected samples according to their respective time points [3]. Label the samples with the fluorescent DNA dye [4] and count the cells using flow cytometry [5].

    - Talent unplugging the filters.

    - TEXT ON A PLAIN BACKGROUND:

4 hours: 1-liter bottle

6 hours and 8 hours: 2.5-liter bottle

10 hours and 12 hours: 4-liter bottle

    - Close-up shot of labeled centrifuge tubes arranged in order of collection time points while the talent writes or applies labels to each sample tube.

    - Close-up shot of the talent adding the fluorescent DNA dye into the collected sample tube using a pipette.

    - Shot of the labeled sample tube being loaded into the flow cytometer sample holder for cell counting.

# Results

- Results

  - Over time, the log10-transformed (log-ten-transformed) cell counts followed linear trajectories [1], indicating exponential growth in all conditions [2].

    - LAB MEDIA: Figure 4A–C. Video editor: Show the straight fitted lines across the data points.

    - LAB MEDIA: Figure 4A–C. Video editor: Highlight the data points aligning closely along the straight lines.

  - The growth rates were 0.88 plus or minus 0.03 per hour for the 0.5 percent RDM condition [1], 0.64 plus or minus 0.06 per hour for the 0.25 percent condition [2], and 0.18 plus or minus 0.002 per hour for the 0.01 percent condition [3].

    - LAB MEDIA: Figure 4A. Video editor: Highlight the label “μ = 0.88” in the 0.5% RDM panel.

    - LAB MEDIA: Figure 4B. Video editor: Highlight the label “μ = 0.64” in the 0.25% RDM panel.

    - LAB MEDIA: Figure 4C. Video editor: Highlight the label “μ = 0.18” in the 0.01% RDM panel.

  - The cell counts reached up to 1 billion cells per sample [1], demonstrating that the millifluidic continuous culture device or MCCD (M-C-C-D) supports both exponential growth and high biomass yield at nanomolar to micromolar nutrient concentrations [2].

    - LAB MEDIA: Figure 4A–C. Video editor: Highlight the dots just below the “9” mark on the y-axis at the right end of each graph.

    - LAB MEDIA: Figure 4A–C.

  - Cells grown in 0.5 percent RDM had a mean length of 1.8 plus or minus 0.3 micrometers [1], whereas cells grown in 0.01 percent rich-defined medium had a mean length of 1.1 plus or minus 0.28 micrometers [2].

    - LAB MEDIA: Figure 4D. Video editor: Highlight the inset image showing a single larger rod-shaped cell.

    - LAB MEDIA: Figure 4E. Video editor: Highlight the inset image showing a single smaller rod-shaped cell.

# Pronunciation guides:

- Millifluidic
Pronunciation link: No confirmed link found
IPA: /ˌmɪlifluˈɪdɪk/
Phonetic Spelling: mil·ee·floo·id·ik

- Silicone
Pronunciation link: https://www.merriam-webster.com/dictionary/silicone
IPA: /ˈsɪlɪˌkoʊn/
Phonetic Spelling: sil·ih·kohn

- Peristaltic
Pronunciation link: https://www.merriam-webster.com/dictionary/peristaltic
IPA: /ˌperəˈstɔːltɪk/
Phonetic Spelling: peh·ruh·stawl·tik

- Luer
Pronunciation link: https://www.merriam-webster.com/dictionary/Luer
IPA: /ˈluːər/
Phonetic Spelling: loo·er

- Aluminum
Pronunciation link: https://www.merriam-webster.com/dictionary/aluminum
IPA: /əˈluːmənəm/
Phonetic Spelling: uh·loo·muh·nuhm

- Polyvinylidene

Pronunciation link: https://www.merriam-webster.com/medical/polyvinylidene
IPA: /ˌpɑːliˌvaɪnəˈlɪdiːn/
Phonetic Spelling: pol·ee·vy·nuh·lid·een

- Fluoride

Pronunciation link: https://www.merriam-webster.com/dictionary/fluoride
IPA: /ˈflʊr.aɪd/
Phonetic Spelling: floor·ide

- Receptacle
Pronunciation link: https://www.merriam-webster.com/dictionary/receptacle
IPA: /rɪˈseptɪkəl/
Phonetic Spelling: rih·sep·ti·kuhl

- Centrifuge
Pronunciation link: https://www.merriam-webster.com/dictionary/centrifuge
IPA: /ˈsentrəˌfjuːdʒ/
Phonetic Spelling: sen·truh·fyooj

- Sterilized
Pronunciation link: https://www.merriam-webster.com/dictionary/sterilize
IPA: /ˈsterəˌlaɪz/
Phonetic Spelling: stair·uh·lyze

- Serological
Pronunciation link: https://www.merriam-webster.com/dictionary/serological
IPA: /ˌsɪrəˈlɑːdʒɪkəl/
Phonetic Spelling: seer·uh·laa·ji·kuhl

- Aliquots
Pronunciation link: https://www.merriam-webster.com/dictionary/aliquot
IPA: /ˈælɪˌkwɑːt/
Phonetic Spelling: al·ih·kwaat

- Glutaraldehyde
Pronunciation link: https://www.merriam-webster.com/dictionary/glutaraldehyde
IPA: /ˌɡluːtərˈældəˌhaɪd/
Phonetic Spelling: gloo·ter·al·duh·hyde

- Fluorescent
Pronunciation link: https://www.merriam-webster.com/dictionary/fluorescent
IPA: /flʊˈresənt/
Phonetic Spelling: floo·res·uhnt

- Cytometry
Pronunciation link: https://www.merriam-webster.com/dictionary/cytometry
IPA: /saɪˈtɑːmətri/
Phonetic Spelling: sy·taa·muh·tree

- Trajectories
Pronunciation link: https://www.merriam-webster.com/dictionary/trajectory
IPA: /trəˈdʒektəri/
Phonetic Spelling: truh·jek·tuh·ree

- Exponential
Pronunciation link: https://www.merriam-webster.com/dictionary/exponential
IPA: /ˌekspəˈnenʃəl/
Phonetic Spelling: ek·spuh·nen·shuhl

- Biomass
Pronunciation link: https://www.merriam-webster.com/dictionary/biomass
IPA: /ˈbaɪoʊˌmæs/
Phonetic Spelling: by·oh·mas

- Nanomolar
Pronunciation link: No confirmed link found
IPA: /ˌneɪnoʊˈmoʊlər/
Phonetic Spelling: nay·noh·moh·ler

- Micromolar
Pronunciation link: No confirmed link found
IPA: /ˌmaɪkroʊˈmoʊlər/
Phonetic Spelling: my·kroh·moh·ler

- Rod-shaped
Pronunciation link: https://www.merriam-webster.com/dictionary/rod-shaped
IPA: /ˈrɑːdˌʃeɪpt/
Phonetic Spelling: raad·shaypt

# Top of Form

# Bottom of Form