# Submission ID #: 70686

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21559278

# Title: Echocardiography Assessment of Cardiac Function and Pulmonary Hypertension in Lambs

# Authors and Affiliations:

# Yasmine N White*, Matthew Douglass*, Reagan Cathcart, Jakob Van Boerum, Andrew Rebentisch, Kurt H Albertine, MarJanna Dahl

# Division of Neonatology, Department of Pediatrics, University of Utah

# *These authors contributed equally

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Yasmine N White 		yasmine.white@hsc.utah.edu

# Email Addresses for All Authors:

# Matthew Douglass 		matt.douglass@hsc.utah.edu

# Reagan Cathcart 		reagan.cathcart@hsc.utah.edu

# Jakob Van Boerum 		jakob.vanboerum@hsc.utah.edu

# Andrew Rebentisch 		andrew.rebentisch@hsc.utah.edu

# Kurt H Albertine 		kurt.albertine@hsc.utah.edu

# MarJanna Dahl 		marjanna.dahl@hsc.utah.edu

# Yasmine N White 		yasmine.white@hsc.utah.edu

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

DO NOT use this draft script for filming. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  24

Number of Shots:  60 (47 SC)

# Interviews

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter full author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Ethics Title Card

This research has been approved by the University of Utah’s Institutional Animal Care and Use Committee

Authors: Is the approving body’s name correct?

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

- Obtaining Standard Ultrasound Apical Views in Lamb

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin, position the lamb in a sling and configure the ultrasound system while continuously monitoring vital signs to ensure safe echocardiographic imaging [1]. Adjust the lamb and transducer positions as needed to obtain optimal transthoracic echocardiographic views [2]. Position the transducer in the 5th to 6th intercostal space [3].

    - WIDE: Talent positioning the lamb in a sling and configuring the ultrasound system.

    - Talent adjusting the transducer position on the lamb.

    - Talent positioning the transducer in the 5th to 6th intercostal space.

  - Point the transducer toward the right shoulder [1] and dorsally toward the lamb’s left ear [2].

    - Talent angling the transducer toward the right shoulder.

    - Talent orienting the transducer indicator dorsally toward the lamb’s left ear.

  - To obtain the standard apical four-chamber view, fan the transducer tail caudally [1] and rotate the transducer clockwise or counterclockwise as needed [2]. Continue adjusting until the maximal outer margins of the right and left ventricles are visible [3] and the right and left atria are visualized without foreshortening [4]. Confirm that the tricuspid and mitral valves are visible and that the left ventricular outflow tract is not visible [5].

    - Talent fanning the transducer tail caudally.

    - Talent rotating the transducer clockwise or counterclockwise as needed.

    - SCREEN: Show the maximal outer margins of the right and left ventricles.

    - SCREEN: Show the right and left atria visualized without foreshortening.

    - SCREEN: Show the tricuspid and mitral valves visible without the left ventricular outflow tract.

Authors: Please create screen capture videos of the shots labeled as SCREEN, write a screenshot summary, and upload the files to your project page as soon as possible:

Watch this video and apply the settings while capturing the screen to obtain high-quality videos: https://www.youtube.com/watch?v=Y67dM1kKcTE

Please let me know if screen recording is not possible on your system

  - Once the apical four-chamber view is obtained, record a cine loop of at least 3 cardiac cycles, with 5 to 7 cycles preferred [1]. Use the cine loop to measure the right atrial and left atrial dimensions, the right ventricular dimensions, the right ventricular fractional area change, the subjective septal position, and the left ventricular ejection fraction [2].

    - SCREEN: Record a cine loop of at least 3 cardiac cycles, with 5 to 7 cycles preferred.

    - SCREEN: Show the cine loop used to measure the right atrial and left atrial dimensions, the right ventricular dimensions, the right ventricular fractional area change, the subjective septal position, and the left ventricular ejection fraction.

  - Measure the tricuspid annular plane systolic excursion by aligning the cursor with the lateral tricuspid annulus [1] and recording an M-mode tracing [2]. Measure the mitral annular plane systolic excursion by aligning the cursor with the lateral mitral annulus [3] and recording an M-mode tracing [4].

    - SCREEN: Align the cursor with the lateral tricuspid annulus.

    - SCREEN: Record the M-mode tracing for the tricuspid annular plane systolic excursion.

    - SCREEN: Align the cursor with the lateral mitral annulus.

    - SCREEN: Record the M-mode tracing for the mitral annular plane systolic excursion.

  - While maintaining the apical four-chamber view, add color Doppler [1]. Position the cursor as parallel to the Doppler flow as possible, ideally with an angle of insonation of less than 20 degrees [2].

    - SCREEN: Add color Doppler while maintaining the apical four-chamber view.

    - SCREEN: Position the cursor as parallel to the Doppler flow as possible, ideally with an angle of insonation of less than 20 degrees.

  - Assess the tricuspid regurgitation presence and the peak velocity by placing the region-of-interest box over the tricuspid valve [1]. Align the cursor parallel with the color signal through the tricuspid valve [2] and record a continuous-wave Doppler tracing [3].

    - SCREEN: Place the region-of-interest box over the tricuspid valve.

    - SCREEN: Align the cursor parallel with the color signal through the tricuspid valve.

    - SCREEN: Record a continuous-wave Doppler tracing.

  - Assess the mitral regurgitation presence and the peak velocity by placing the region-of-interest box over the mitral valve [1]. Align the cursor parallel with the color signal through the mitral valve [2] and record a continuous-wave Doppler tracing [3].

    - SCREEN: Place the region-of-interest box over the mitral valve.

    - SCREEN: Align the cursor parallel with the color signal through the mitral valve.

    - SCREEN: Record a continuous-wave Doppler tracing.

  - Measure the mitral valve inflow E and A waves and the E-to-A ratio by placing the region-of-interest box over the mitral valve [1]. Align the cursor parallel with the color signal through the mitral valve inflow [2]. Position the sample gate at the tips of the open mitral valve leaflets during diastole [3] and record a pulsed-wave Doppler tracing [4].

    - SCREEN: Place the region-of-interest box over the mitral valve.

    - SCREEN: Align the cursor parallel with the color signal through the mitral valve inflow.

    - SCREEN: Position the sample gate at the tips of the open mitral valve leaflets during diastole.

    - SCREEN: Record a pulsed-wave Doppler tracing.

  - While maintaining the apical four-chamber view and the apical position of the transducer, rotate the transducer counterclockwise around the left ventricular axis approximately 45 degrees to 90 degrees [1]. Continue rotating until the right atrium and right ventricle drop out [2] and the left ventricular-focused apical two-chamber view showing the left ventricle and left atrium becomes visible [3].

    - Talent rotating the transducer counterclockwise around the left ventricular axis.

    - SCREEN: Show the right atrium and right ventricle dropping out.

    - SCREEN: Show the left ventricular-focused apical two-chamber view with the left ventricle and left atrium visible.

  - Record a cine loop of at least 3 cardiac cycles, with 5 to 7 cycles preferred, in the left ventricular-focused apical two-chamber view [1]. Use the cine loop for the left ventricular ejection fraction by Simpson’s method [2].

    - SCREEN: Record a cine loop of at least 3 cardiac cycles, with 5 to 7 cycles preferred, in the left ventricular-focused apical two-chamber view.

    - SCREEN: Show the cine loop used for the left ventricular ejection fraction by Simpson’s method.

  - Return to the standard apical four-chamber view [1]. Tilt the transducer anteriorly with slight rotational adjustments until the left ventricular outflow tract becomes visible [2].

    - SCREEN: Show the standard apical four-chamber view.

    - Talent tilting the transducer anteriorly with slight rotational adjustments.

  - Measure the left ventricular outflow tract velocity time integral by aligning the cursor parallel with the left ventricular outflow [1]. Place the gate just proximal to the aortic valve annulus [2] and obtain a pulsed-wave Doppler tracing to determine the left ventricular outflow tract velocity time integral [3].

    - SCREEN: Align the cursor parallel with the left ventricular outflow.

    - SCREEN: Place the gate just proximal to the aortic valve annulus.

    - SCREEN: Obtain a pulsed-wave Doppler tracing to determine the left ventricular outflow tract velocity time integral.

- Obtaining Parasternal Short- and Long-Axis Views

Demonstrator: Click here to enter name of demonstrator(s)

  - Place the transducer between the 4th and 5th intercostal spaces near the sternum with the indicator oriented dorsally and slightly caudally [1].

    - WIDE: Talent placing the transducer between the 4th and 5th intercostal spaces near the sternum with the indicator oriented dorsally and slightly caudally.

  - Fine-tune the parasternal short-axis view by sliding the transducer away from the sternum [1]. Apply a slight rotation in either direction [2] and fan the transducer tail cranially or caudally until a parasternal short-axis view of the aortic valve en face is visible [3].

    - Talent sliding the transducer away from the sternum.

    - Talent slightly rotating the transducer in either direction.

    - SCREEN: Show the parasternal short-axis view of the aortic valve en face becoming visible.

  - With the aortic valve en face centered in the view, fan the transducer tail until the right ventricular outflow tract and the pulmonary artery become visible [1].

    - SCREEN: Show the right ventricular outflow tract and the pulmonary artery becoming visible as the transducer tail is fanned.

  - Return to the parasternal short-axis view of the aortic valve en face [1] and fan the transducer tail toward the head to obtain the parasternal short-axis view at the level of the mitral valve [2]. Continue fanning until reaching the level of the mid-papillary muscles [3].

    - SCREEN: Show the parasternal short-axis view of the aortic valve en face.

    - SCREEN: Show the parasternal short-axis view at the level of the mitral valve.

    - SCREEN: Show the parasternal short-axis view at the level of the mid-papillary muscles.

  - Return to the parasternal short-axis view of the right ventricular outflow tract and the pulmonary artery [1]. Add color Doppler [2].

    - SCREEN: Show the parasternal short-axis view of the right ventricular outflow tract and the pulmonary artery.

    - SCREEN: Show color Doppler being added to the parasternal short-axis view.

  - Measure the pulmonary artery acceleration time by using color Doppler to assess the direction of flow and the image quality [1]. Align the cursor parallel to the flow [2], place the gate just distal to the pulmonary valve [3], and obtain a pulsed-wave Doppler tracing [4].

    - SCREEN: Show color Doppler assessing the direction of flow and the image quality.

    - SCREEN: Show the cursor aligned parallel to the flow.

    - SCREEN: Show the gate placed just distal to the pulmonary valve.

    - SCREEN: Show the pulsed-wave Doppler tracing.

  - Assess the patent ductus arteriosus by evaluating its presence and the direction of flow using color Doppler [1] and pulsed-wave Doppler [2].

    - SCREEN: Show color Doppler being used to evaluate the presence and the direction of flow for the patent ductus arteriosus.

    - SCREEN: Show pulsed-wave Doppler being used to evaluate the presence and the direction of flow for the patent ductus arteriosus.

  - Record a cine loop of at least 3 cardiac cycles, with 5 to 7 cycles preferred, to assess the intraventricular septum position and thickness and to measure the left ventricular end-systolic eccentricity index and the right ventricular-to-left ventricular end-systolic diameter ratio [1].

    - SCREEN: Show recording of a cine loop of at least 3 cardiac cycles for the assessment of the intraventricular septum position and thickness and the measurement of the left ventricular end-systolic eccentricity index and the right ventricular-to-left ventricular end-systolic diameter ratio.

  - For obtaining the long-axis views, fan the transducer back to the parasternal short-axis view of the aortic valve en face [1] and rotate the transducer approximately 90 degrees so that the indicator is positioned cranially to obtain a parasternal long-axis view [2].

    - WIDE: Talent fanning the transducer back to the parasternal short-axis view of the aortic valve en face.

    - Talent rotating the transducer approximately 90 degrees with the indicator positioned cranially.

  - In the parasternal long-axis view, obtain the following parameters [1].

    - SCREEN: Show the parasternal long-axis view ready for parameter acquisition.

  - Measure the aortic valve annulus diameter by optimizing the parasternal long-axis view to visualize the left ventricular outflow tract and the aortic valve [1]. Record a cine loop of at least 1 cardiac cycle to measure the diameter of the aortic valve annulus at the valve hinge point at end-systole [2]. Use this value along with the velocity time integral to estimate the cardiac output, as described earlier [3].

    - SCREEN: Show the parasternal long-axis view optimized to visualize the left ventricular outflow tract and the aortic valve.

    - SCREEN: Show recording of a cine loop of at least 1 cardiac cycle for measuring the aortic valve annulus diameter at the valve hinge point at end-systole.

    - SCREEN: Show the aortic valve annulus diameter value used with the velocity time integral to estimate the cardiac output.

# Results

Please review this section to make sure that it accurately reflects your findings.

- You/Your videographer does not have to record this section. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: XXX.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Pulmonary artery acceleration time significantly and inversely correlated with the invasive mean pulmonary artery pressure in neonatal lambs [1].

    - LAB MEDIA: Figure 4. Video editor: Highlight the downward-sloping line between the black dots on the graph.

  - Some preterm lambs showed right ventricle dilation with septal bowing into the left ventricle 2 hours after delivery [1].

    - LAB MEDIA: Figure 5A. Video editor: Highlight the left image labeled A, focusing on the areas labeled RV and LV.

  - By day of life 8, the right ventricle dilation resolved and the septal position normalized in the same lamb [1].

    - LAB MEDIA: Figure 5B. Video editor: Highlight the right image labeled B, focusing on the areas labeled RV and LV.

NOTE to the Authors:

You have two options for filming and submitting the SCREEN footage:

Option 1: Uploading Separate Clips (Highly Recommended)

Please upload a separate video file for each SCREEN shot (tagged as SCREEN), naming the file according to the shot number (e.g., 2.4.3, 1.5.1, 3.2.1, 3.1.3, etc.).

- Each clip must be a maximum of 20 to 25 seconds to match the voice narration.

- If an action takes longer, provide only the best, most representative 20-25 second segment.

- Please do not provide longer clips as we won’t be able to use them.

Option 2: Uploading a Single Continuous Video

If you prefer to record all steps together and upload a single video file, that is acceptable. In this case, you must write the precise timestamp for each shot within the script.

For example, if the action described in shot 2.13.1 is present in the file xxx.mp4 and occurs between timestamps 00:30 and 00:45 , then write the following in the script after each shot description or as a comment bubble.

(write the file name and timestamp after each shot): [File name] [Start Time]-[End Time]

- Example 	2.13.1  SCREEN: performing ...........action. xxx.mp4 00:30-00:45

2.13.2, SCREEN: cutting the…..........action. xxx.mp4 01:10-01:20

- The duration between the start and end times for each shot must be limited to 20 to 25 seconds.

- If a shot is longer than 25 seconds, choose two short segments (one at the beginning and one at the end) that collectively do not exceed 25 seconds.

- Example: 3.1.1 SCREEN: inserting a needle... xxx.mp4 00:00-00:10 and 02:30-02:40