# Submission ID #: 70867

# Scriptwriter Name: Kathyayani Sridharan

# Project Page Link: https://review.jove.com/account/file-uploader?src=21614483

# Title: Current Operating Procedure (COP) for the Treatment of Slow-Flow Vascular Malformations with Bleomycin Electrosclerotherapy (BEST)

# Authors and Affiliations:

Miha Stabuc1, Rok Dezman2, Tobian Muir3, Walter A. Wohlgemuth4, Tine Arnez5, Orijana Velikonja6, Masa Omerzel2, Barbara Lisec2, Dimitrij Kuhelj1, Maja Cemazar2,7, Gregor Sersa2,8

1Institute of Radiology, University Medical Center Ljubljana

2Department of Experimental Oncology, Institute of Oncology Ljubljana 
3James Cook University Hospital

4Martin-Luther University Halle-Wittenberg

5Division of Surgery, University Medical Center Ljubljana

6Pediatric Clinics, University Medical Center Ljubljana

# 7University of Primorska
8University of Ljubljana

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Gregor Sersa 			gsersa@onko-i.si

# Email Addresses for All Authors:

Miha Stabuc 			miha.stabuc@kclj.si

Rok Dezman 			rdezman@onko-i.si,

Tobian Muir 			tobian.muir@nhs.net

Walter A. Wohlgemuth 	walter.wohlgemuth@uk-halle.de

Tine Arnez 			tine.arnez@kclj.si

Orjana Velikonja 		orjana.velikonja@kclj.si

Masa Omerzel 		momerzel@onko-i.si

Barbara Lisec 			blisec@onko-i.si

Dimitrij Kuhelj 		dimitrij.kuhelj@kclj.si

Maja Cemazar 		mcemazar@onko-i.si

Gregor Sersa 			gsersa@onko-i.si

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

DO NOT use this draft script for filming. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 09

Number of Shots: 21

# Interviews

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter full author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Ethics Title Card

This research has been approved by the National Medical Ethics Committee at (insert Institutional Name)

(Authors: Please specify the full name of the institute responsible for ethical oversight of this study.)

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

- Patient Preparation and Bleomycin Reconstitution

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, administer general anesthesia to prevent the discomfort caused by the electrical pulses [1]. Apply electrocardiography, or ECG (E-C-G) stickers to the axillae and the foot using minimal surgical tape to reduce adhesive irritation and minimize the risk of bleomycin-induced hyperpigmentation [2].

    - WIDE: Talent preparing the patient under general anesthesia. (Authors: Could you please provide the positioning details prior to anesthesia of the patient for context?)

    - Talent applying electrocardiography stickers to the axillae and the foot with a low amount of surgical tape.

  - Reduce the fraction of inspired oxygen, or FiO2 (F-I-O-two), to less than 30 percent after bleomycin administration, following the anesthesiologist's guidelines [1]. Use ECG synchronization on the device when treating near the left chest wall, taking care to avoid skin rubbing that promotes localized hyperpigmentation [2].

    - Talent adjusting the fraction of inspired oxygen after bleomycin administration.

    - Talent using electrocardiography synchronization on the device. (Authors: Please specify if ECG synchronization is better visualized as screen-capture shot. If yes, we will remove the talent shot and modify this to SCREEN shot.)

  - Reconstitute bleomycin to 1000 international units per milliliter in 0.9 percent sodium chloride [1]. For fluoroscopy-guided delivery, dilute 1 part bleomycin with 3 parts contrast medium to achieve a final bleomycin concentration of 250 international units per milliliter [2]. Determine the dose [3] based on lesion diameter [4].

    - Talent reconstituting bleomycin in 0.9 percent sodium chloride.

    - Talent diluting bleomycin with contrast medium.

    - Talent calculating the dose.

    - TEXT ON A PLAIN BACKGROUND

Optimal Bleomycin Dose Based on Lesion Diameter

Dose							Lesion Diameter

Upto 500 IU							<1 cm

500–1000 IU							1–3 cm

1000–2000 IU						3–5 cm

2000–10000 IU						>5 cm

- Do not exceed 10,000 IU/session for adults or 200 IU/kg for children.

- Lifetime dose: ≤100,000 IU for adults ≤1300 IU/kg for children.

- Intralesional Injection, Electroporation and Post-operative Care

Demonstrator: Click here to enter name of demonstrator(s)

  - To establish access, insert needles 1 to 3 centimeters deep into all malformation compartments using a linear row or hexagonal configuration depending on lesion size [1].

    - Talent determining the bleomycin dose based on the longest lesion diameter.

    - Talent inserting needles into the compartments of the malformation.

  - Confirm the intralesional position by contrast opacification to visualize with ultrasound imaging [1]. Evaluate the needle position, outflow, and compartments of the lesion, and estimate the overall volume [2]. Slowly inject the diluted bleomycin manually, ensuring filling of all compartments [3].

    - Talent confirming the intralesional needle position with contrast. (Authors: Could you please specify if these 3 shots will be visualized on SCREEN or can be filmed by the camera? If yes, we will modify these shots to SCREEN capture shots. Additionally, please help us identify such SCREEN shots wherever applicable.)

    - Talent evaluating the lesion compartments and needle position with ultrasound contrast imaging.

    - Talent manually injecting the diluted bleomycin.

  - For macrocystic lymphatic lesions, aspirate cysts with a syringe before injection [1]. For electroporation, select an electrode [2] based on lesion size and depth [3].

    - Talent aspirating cysts with a syringe. (Authors: Please specify if this is an optional step or can be shown? If it is optional, we can omit it.)

    - Talent selecting a specific electrode.

    - TEXT ON A PLAIN BACKGROUND

For Superficial Lesions

Electrode Geometry			Recommended Voltage

- Finger, Linear 				400 V

- Hexagonal				730 V

For Deeper and Larger Lesions

- Long needle electrodes arranged in triangular or quadratic geometry with a spacing of ≤3 cm and field of ≤1000 V/cm

- Single bipolar electrode with a recommended voltage of ≤1000 V

  - Start delivering pulses immediately within 1 to 3 minutes after the intralesional bleomycin injection, avoiding overlapping treatment zones to prevent irreversible electroporation, necrosis, and hyperpigmentation [1].

    - Talent delivering pulses after the intralesional bleomycin injection. (Authors: Please specify the number of pulse applications tahts hall be demonstrated.)

  - In venous malformations, begin puncturing from the drainage zone and progress away from it [1]. After pulse delivery, apply pressure to reduce bleeding, if needed [2]. Place sterile gauze or cotton directly over the area [3].

    - Talent puncturing a venous malformation from the drainage zone.

    - Talent applying pressure after pulse delivery.

    - Talent placing sterile gauze or cotton directly over the area.

  - Monitor for airway compromise, swelling, and pain for 24 hours post-procedure, with follow-up magnetic resonance imaging, or MRI (M-R-I) scheduled at 3–6 months [1].

    - Talent monitoring the patient after treatment.

# Results

Please review this section to make sure that it accurately reflects your findings.

- You/Your videographer does not have to record this section. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 050.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - The pre-treatment MRI of a vascular malformation in the lower part of the triceps muscle of the left arm of a 22-year-old woman showed an extensive lesion [1].

    - LAB MEDIA: Figure 2. Video Editor:  Please emphasize the size of white contrast region in both images on the left side.

  - The follow-up MRI at 3 months after treatment with Bleomycin Electrosclerotherapy, or BEST (B-E-S-T) showed upto 70 percent reduction in lesion volume [1].

    - LAB MEDIA: Figure 2. Video Editor:  Please emphasize the size of white contrast region in both images on the right side.