# Submission ID #: 70868

# Scriptwriter Name: Sri Lakshmi Priya

# Project Page Link: https://review.jove.com/account/file-uploader?src=21614788

# Title: Universal Pressure-Loading Device for Live-Cell Imaging under Sustained Physiological Mechanical Stress

# Authors and Affiliations:

Wei Yan1, Yixi Zhang1, Lu Yang1, Yuqin Jiang1, Qin Yang1, Lingyi Jiang1, Haocheng Bian1, Xiang Qin1, Tingting Li1, Yiyao Liu1,2,3,4, Shun Li1

1Department of Biophysics, School of Life Science and Technology, University of Electronic Science and Technology of China

2Department of Otorhinolaryngology, Hospital of Chengdu University of Traditional Chinese Medicine

3Traditional Chinese Medicine (TCM) Prevention and Treatment of Metabolic and Chronic Diseases Key Laboratory of Sichuan Province, Hospital of Chengdu University of Traditional Chinese Medicine

4Department of Urology, Deyang People's Hospital

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Shun Li				shunli@uestc.edu.cn

# Email Addresses for All Authors:

Wei Yan 			994380760@qq.com

Yixi Zhang 			1255003493@qq.com

Lu Yang 			1224889764@qq.com

Yuqin Jiang 			1126577381@qq.com

Qin Yang 			1297224064@qq.com

Lingyi Jiang 			894749756@qq.com

Haocheng Bian 		335309147@qq.com

Xiang Qin 			qinxiang@uestc.edu.cn

Tingting Li 			litingting@uestc.edu.cn

Yiyao Liu 			liuyiyao@uestc.edu.cn

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

DO NOT use this draft script for filming. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  20

Number of Shots:  39

# Interviews

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter full author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

- Device Preparation and Cell Processing

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, prepare the device components [1] by customizing and sterilizing them [2]. Obtain the required cells and reagents [3].

    - WIDE: Talent arranging the base, cover, silicone gasket, gas port, and pressure regulator on the work surface.

    - TEXT ON A PLAIN BACKGROUND:

Device Components and Sterilization Conditions

Base: Aluminum
Ø 56 mm
Height: 15 mm
Central window Ø 40 mm
Sterilization: Autoclave at 121 °C for 20 mins

Cover: PMMA
Ø 56 mm
6 × M3 threaded holes
Luer-lock gas port
Sterilization: Wipe with 75% ethanol, followed by UV sterilization for 30 mins

Silicone Gasket:
Inside Ø 25 mm
Outside Ø 32 mm
Thickness: 0.8 mm
Sterilization: Autoclave at 121 °C for 20 mins

Pressure Regulator: 0–200 kPa range

    - Shot of cells and reagents on the workbench.

  - Seed the MDA-MB-231 (M-D-A M-B-two-thirty-one) and HeLa (Hee-la) cells in 35 millimeter dishes at 30 to 70 percent confluency [1]. Culture the cells for 24 hours in RPMI-1640 (R-P-M-I-one-six-four-zero) or L15 (L-fifteen) medium supplemented with 10 percent newborn calf serum or NCS (N-C-S) in a carbon dioxide incubator at 37 degrees Celsius with 5 percent carbon dioxide [2].

    - Talent seeding cells into 35mm dishes.

    - Talent placing the culture dishes into the carbon dioxide incubator.

  - Using 0.25 percent trypsin, dissociate the cells for passaging [1]. Terminate the digestion with complete medium [2]. Reseed the cells once they reach 70 to 80 percent confluency [3].

    - Talent adding trypsin to the cultured cells.

    - Talent adding complete medium into 35mm dishes.

    - Talent reseeding the cells into culture dishes.

  - Remove the medium from the cultured cells [1]. In a biosafety cabinet, wash the cells twice with pre-warmed Hank's Balanced Salt Solution or HBSS (H-B-S-S) [2].

    - Talent aspirating the culture medium from the dish.

    - Talent adding Hank's Balanced Salt Solution to the cells inside the biosafety cabinet.

  - Stain the intracellular calcium with a 5 micromolar calcium imaging probe in serum-free medium [1]. Incubate the cells in a light-protected environment at 37 degrees Celsius for 20 minutes [2].

    - Talent adding the calcium imaging probe solution to the cells.

    - Talent placing the wrapped culture dish into an incubator.

  - Remove the dye from the cells [1]. Wash the cells three times with HBSS [2]. De-esterify the cells for 30 minutes in serum-free medium [3].

    - Talent aspirating the dye solution from the culture dish.

    - Talent adding HBSS into the culture dish.

    - Talent adding serum-free medium into the culture dish.

- Assembly of the Pressure Chamber and Medium Loading

Demonstrator: Click here to enter name of demonstrator(s)

  - Transfer the culture dish to the central window of the pressure chamber [1]. Remove the culture medium from the dish [2].

    - Talent placing the culture dish into the central window of the pressure chamber.

    - Talent aspirating the culture medium from the culture dish.

  - Place the sterilized gasket in the culture dish [1]. Align the cover over the dish-gasket assembly [2].

    - Talent positioning the sterilized gasket inside the culture dish.

    - Talent aligning the cover over the culture dish and gasket.

  - Tighten the screws diagonally by hand until resistance is felt [1]. Using a torque-controlled driver, add 1.5 additional turns to the screws [2].

    - Talent hand-tightening the screws diagonally on the chamber cover.

    - Talent tightening the screws further using a torque-controlled driver.

  - Connect the silicone gas tube to the Luer-lock port [1]. Inject mixed gas into the device to check for leakages [2].

    - Talent connecting the silicone gas tube to the Luer-lock port.

    - Talent injecting mixed gas into the device.

  - Disconnect the silicone gas tube from the Luer-lock port [1]. Using a 5 milliliter sterile syringe, inject fresh medium into the culture dish through the Luer-lock port [2].

    - Talent disconnecting the silicone gas tube from the device.

    - Talent injecting fresh medium into the culture dish using a sterile syringe through the Luer-lock port.

- Pressure Loading and Imaging

Demonstrator: Click here to enter name of demonstrator(s)

  - Connect the silicone gas tubing from the Luer-lock port to the digital pressure gauge and the gas tank [1].

    - Talent connecting the silicone gas tubing between the pressure chamber, digital pressure gauge, and gas tank.

  - Mount the assembled device on the microscope stage [1].

    - Talent positioning the assembled pressure chamber on the microscope stage.

  - Calibrate the pressure system [1]. Using the digital pressure gauge, validate the stability of the 0 to 200 kilopascal range [2].

    - Talent adjusting the pressure calibration controls.

    - Close-up shot of the digital pressure gauge displaying pressure readings.

  - Select the objective lens according to the culture dish bottom thickness and the working distance of the objective [1]. Adjust the exposure time to monitor calcium signal oscillations while minimizing photobleaching and photodamage [2].

    - Talent selecting and adjusting the microscope objective lens.

    - SCREEN: Imaging settings being adjusted to optimize calcium signal acquisition

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21614788

  - Using the digital pressure regulator, set the target pressure [1]. Open the gas valve to apply pressure to the system [2].

    - Talent adjusting the target pressure on the digital pressure regulator.

    - Talent opening the gas valve connected to the pressure chamber.

  - Once the target pressure is reached, adjust the stage of the inverted fluorescence microscope equipped with a 20× (twenty-X) objective microscope stage and focus on the cells [1].

    - SCOPE: Cells appearing sharply focused under the microscope.

  - Acquire fluorescence images of stained cells using a 400 millisecond exposure time, 5 second time-lapse intervals, and a total imaging duration of 10 minutes [1] under non-pressurized conditions to confirm proper system operation and obtain baseline signal data [2].

    - SCREEN: Show the fluorescence imaging software displaying the acquisition settings, including 400 ms exposure time, 5 s intervals, and 10 min imaging duration.

    - SCREEN: Show baseline fluorescence imaging under non-pressurized conditions.

  - Readjust the microscope stage height to maintain cell focus [1]. After adjusting the imaging parameters according to the probe type and experimental requirements, start imaging the dynamic calcium signals [2].

    - Talent adjusting the microscope stage height.

    - SCREEN: Display dynamic calcium imaging signals.

  - Once troubleshooting is done, perform statistical analysis [1].

    - Talent performing analysis on the computer.

# Results

Please review this section to make sure that it accurately reflects your findings.

- You/Your videographer does not have to record this section. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 67.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - After 10 minutes of 40 kilopascal hydrostatic pressure loading, the total calcium level in cancer cells increased [1].

    - LAB MEDIA: Figures 3A,B. Video editor: In figure 3A, under MDA-MB-231 and HeLa, emphasize the images labelled as 40kPa. In figure 3B, emphasize the blue bars above 40kPa in both graphs MDA-MB-231 and HeLa.

  - Hydrostatic pressure of 40 kilopascal enhanced calcium oscillation in MDA-MB-231 [1] and HeLa cells, with a higher proportion of oscillating cells [2].

    - LAB MEDIA: Figure 3C. Video editor: In the left graph labelled MDA-MB-231, emphasize the blue bar above 40 kPa.

    - LAB MEDIA: Figure 3C. Video editor: In the right graph labelled HeLa, emphasize the blue bar above 40 kPa.

  - The heat map showed enhanced calcium oscillations in single cells following hydrostatic pressure loading [1].

    - LAB MEDIA: Figures 4A,4B. Video editor: In figure 4A, emphasize the images in the row 40kPa under both MDA-MB-231 and HeLa. In figure 4B, emphasize the blue lines in the graph labeled as representative 40kPa cells under both MDA-MB-231 and HeLa.

  - Hydrostatic pressure increased the frequency of calcium oscillations [1].

    - LAB MEDIA: Figure 4C. Video editor: Emphasize the blue bar above 40 kPa under both MDA-MB-231 and HeLa.

  - Hydrostatic pressure increased the amplitude of calcium oscillations [1].

    - LAB MEDIA: Figure 4D. Video editor: Emphasize the blue bar above 40 kPa under both MDA-MB-231 and HeLa.