# Submission ID #: 70954

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21641018

# Title: A Battery of Quantitative Binocular Vision Tests for Adults: Testing Protocols

# Authors and Affiliations:

# AUTHORS AND AFFILIATIONS:

# Xiaoxin Chen1, Andrew Silva2,3, Fermin Retnavarathan4, Ewa Niechwiej-Szwedo1, Xiaoqing Gao6, Daphne Maurer4, David I. Shore4,5, Benjamin Thompson2,7,8

# 1Department of Kinesiology and Health Sciences, University of Waterloo

# 2School of Optometry & Vision Science, University of Waterloo

# 3Department of Psychology, Idaho State University

# 4Department of Psychology, Neuroscience & Behavior, McMaster University

# 5The Multisensory Mind Inc.

# 6Center for Psychological Sciences, Zhejiang University

# 7 Center for Eye and Vision Research

# 8Liggins Institute, University of Auckland

# Corresponding Authors:

# Xiaoxin Chen 			 xiaoxin.chen@uwaterloo.ca

# Benjamin Thompson		ben.thompson@uwaterloo.ca

# Email Addresses for All Authors:

# Andrew Silva			 andysilva@isu.edu

# Fermin Retnavarathan	 retnavf@mcmaster.ca

# Ewa Niechwiej-Szwedo	 eniechwiej@uwaterloo.ca

# Xiaoqing Gao			 xiaoqinggao@zju.edu.cn

# Daphne Maurer		daphne@maurer.ca

# David I. Shore			dshore@mcmaster.ca

# Xiaoxin Chen 			 xiaoxin.chen@uwaterloo.ca

# Benjamin Thompson		ben.thompson@uwaterloo.ca

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

3. Filming location: Will the filming need to take place in multiple locations?   No

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. No

Current Protocol Length

Number of Steps:  27

Number of Shots:  55 (41 SC)

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Xiaoxin Chen: This protocol presents a battery of eight tests that aims to provide a comprehensive assessment of binocular vision.

    - Please hold off on assigning this to VO until we receive confirmation from the authors.

Describe the research contexts or systems in which this protocol can be applied.

  - Xiaoxin Chen: These tests are designed to reveal hidden binocularity in patients who show no stereo vision in current clinical tests.

    - Please hold off on assigning this to VO until we receive confirmation from the authors.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Fermin Retnavarathan: The eight tests in our battery provide valuable insights into sensory fusion, peripheral stereopsis and motion-in-depth perception.

    - Please hold off on assigning this to VO until we receive confirmation from the authors.

Describe the most important consideration or challenge when performing this protocol.

  - Fermin Retnavarathan: The most important consideration is to provide clear instruction to ensure participants understand each task correctly.

    - Please hold off on assigning this to VO until we receive confirmation from the authors.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Fermin Retnavarathan: We aim to better understand how binocular vision develops to guide future rehabilitation in amblyopia.

    - Please hold off on assigning this to VO until we receive confirmation from the authors.

Videographer: Obtain headshots for all authors available at the filming location.

# Ethics Title Card

This research has been approved by the University of Waterloo Office of Research Ethics and the McMaster Research Ethics Board

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Mirror Stereoscope Alignment and Main Menu Steup

Demonstrator: Xiaoxin Chen

  - To begin, set up and calibrate the mirror stereoscope and monitor [1] and open the BinocularBattery.py (binocular battery pie) script in PsychoPy (psycho-pie) Coder [2].

    - WIDE: Talent standing beside the mirror stereoscope and monitor and turning the system on.

    - SCREEN: PsychoPy Coder interface with the BinocularBattery.py script being opened.

Authors: Please create high resolution screen capture videos of the shots labeled as SCREEN, write a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21641018

  - Modify the monitor information in PsychoPy Monitor Center and in the script, including the monitor’s name, viewing distance, gamma calibration, screen size, refresh rate, and resolution according to the monitor being used [1]. Click the Run experiment button at the top [2].

    - SCREEN: Editing fields in PsychoPy Mionitor Center and in the script to update monitor name, refresh rate, and resolution.

    - SCREEN: Cursor clicking the Run experiment button in PsychoPy Coder.

  - Next, instruct a participant to look through the mirror stereoscope [1].

    - Talent guiding the participant to position their eyes at the mirror stereoscope.

  - Ask the participant if a cross is visible in the middle, comprised of a vertical line and a horizontal line [1]. If not, ask whether the vertical line should move to the left or right [2].

    - Talent speaking to the participant while the participant looks through the stereoscope.

    - Talent asking for directional feedback from the participant while moving their hands left or right to describe the action.

  - Use the left and right arrow keys to move the vertical line in the indicated direction until it aligns at the center of the horizontal line [1].

    - SCREEN: Adjusting the vertical line position using the keyboard arrow keys.

  - Assign and input a participant identification in the program [1]. At the Main Menu screen, use the numeric pad to select among the eight available tasks [2].

    - SCREEN: Entering a participant identification into the program interface.

    - SCREEN: Display of the Main Menu, waiting for a task selection.

- Fine Peripheral Stereopsis Testing

  - Select the Fine Peripheral Stereopsis task from the Main Menu [1].

    - SCREEN: Selecting the Fine Peripheral Stereopsis task.

  - Start by running a practice test [1]. Among the two practice types for the Fine Peripheral Stereopsis task, use the Stationary task to familiarize the participant and provide the required instructions [2].

    - SCREEN: Selecting the practice test option from the Main Menu.

    - SCREEN: Selecting the Stationary task in the program.

  - Instruct the participant to fixate the cross, wherever it is presented on the screen [1]. Ask the participant whether the black square appears behind or in front of the white frame or on the same plane [2]. Press 1 if the participant reports depth and 2 if no depth is perceived. Complete the practice test and evaluate the results [3].

    - Talent instructing the participant while the fixation cross appears on screen.

    - Talent questioning the participant as the stimulus is displayed on the screen beside.

    - SCREEN: Displaying the task stimulus and participant responses.

  - If the practice results are below 80 percent correct [1], press Enter and select the test to restart the practice [2].

    - SCREEN: Display of practice test results being reviewed and show accuracy below 80%.

    - SCREEN: Re-entering the screen where Stationary and Regular practice options are displayed.

  - Next, proceed to run the Regular practice when the participants results are above 80 percent correct for the Stationary practice [1]. Inform the participant that the stimulus will flash twice and the depth will appear in one of the two flashes. Instruct the participant to report in which of the two flashes the depth is observed [2].

    - SCREEN: Selecting the Regular task in the program.

    - SCREEN: Displaying the task stimulus and participant responses.

  - Then, run a formal test when practice results are above 80 percent correct [1]. Once the task is completed, press Enter to return to the Main Menu [2].

    - SCREEN: Display of practice test results being reviewed.

    - SCREEN: Pausing at the screen where the practice and actual task options are displayed.

- Dynamic Local Stereopsis Testing

  - Select the Dynamic Local Stereopsis task from the Main Menu [1].

    - SCREEN: Selecting the Dynamic Local Stereopsis task.

  - Start by running a practice test [1]. Among the four practice types that allow step-by-step familiarization, run the practice Task 1 for a single location and single interval [2].

    - SCREEN: Selecting the practice test option from the Main Menu.

    - SCREEN: Selecting practice Task 1 in the program.

  - Instruct the participant to look at the center while paying attention to the specified target location [1]. Ask the participant whether the square moved closer or farther away. If the participant can perceive the stimulus using peripheral vision, instruct them to use it to attend to the target location [2]. Press 1 if motion in depth is observed, or 2 if not [3].

    - Talent instructing the participant while the stimulus is displayed.

and SCREEN: Zooming in on the right side of the display to show the target.

    - Talent questioning the participant during stimulus presentation.

    - SCREEN: Displaying the task stimulus and entering the responses.

  - Proceed to the next practice task if motion in depth is observed. Run practice Task 2 for a single location with a two-interval forced-choice task [1].

    - SCREEN: Advancing to practice Task 2 in the program and running it.

  - Inform the participant that the stimulus will flash twice [1]. Ask the participant which of the two flashes contains motion in depth at the specified target location [2]. Press 1 or 2 based on the participant’s choice [3]. If motion in depth is not reliably observed, reinstruct the participant and allow direct viewing of the target location [4].

    - SCREEN: Show the left side where stimulus is flashing.

    - Talent questioning the participant during the task.

    - SCREEN: Displaying the participant responses being entered.

    - Talent reinstructing the participant and pointing to the target location.

  - If motion in depth is observed correctly, run practice Task 3 for two locations with a two-interval forced-choice task [1]. Provide the same instructions as in the previous task, except that the target may appear at either of two locations [2].

    - SCREEN: Advancing to practice Task 3 in the program

    - SCREEN: Display of test stimulus.

  - Next, run the practice Task 4 for full practice. Provide the same instructions as in the previous task, except that the target may appear at any of the four peripheral locations [1].

    - SCREEN: Selecting practice Task 4 in the program, and display of test stimulus and participant responses.

  - If the practice results are below 80 percent correct, press Enter and select the test to restart the practice [1].

    - SCREEN: Display of practice test results being reviewed and show <80% accuracy.

  - When ready, run the Dynamic Periphery and Dynamic Center for the formal test [1]. Once the task is completed, press Enter to return to the Main Menu [2].

    - SCREEN: Selecting Dynamic Periphery and Dynamic Center tasks for the formal test.

    - SCREEN: Show that the task is completed and press Enter.

- Pulfrich Task and Response Box Depth Matching

  - Select the Pulfrich task from the Main Menu [1].

    - SCREEN: Selecting the Pulfrich task.

  - Start by running a practice test [1]. Ask the participant whether depth is visible and whether the moving moons appear in front of or behind the stars [2].

    - SCREEN: Running the practice test and display of the Pulfrich task stimulus.

    - Talent asking the participant about perceived depth and relative motion of moons and stars.

  - Ask the participant to use the slash or asterisk key to move the stationary moon at the bottom of the screen forward or backward until it appears at the same depth as the moving moons [1]. Optionally, ask the participant to indicate the perceived depth using the response box [2].

    - SCREEN: Adjusting the stationary moon position using the / and * keys.

    - Talent introducing the response box to the participant.

  - Present the response box facing the participant with the center positioned approximately 40 centimeters from the eyes [1]. Ask the participant to move the sliders on both sides of the box until the moons inside the box appear at the same depth as the moving moons on the screen [2].

    - Talent positioning the response box in front of the participant.

    - Participant adjusting sliders on the response box while observing alignment.

  - Type the reading from the slider onto the computer screen [1]. Press the plus button to continue and complete the rest of the trials [2].

    - SCREEN: Entering the slider reading into the program interface.

    - SCREEN: Pressing the + button and continuing the test.

  - For a participant with normal vision, the practice results should show a linear response pattern [1]. If the results do not appear linear, press Enter and select the test to restart the practice. Proceed to a formal test if practice results appear normal, or consistent for the last two practice tests [2].

    - SCREEN: Display of practice test results being reviewed and show linear results.

    - SCREEN: Display-non linear results and press enter and restart the test.

    - SCREEN: Selecting the format test and proceeding.

# Results

- Results

  - Results showed fine stereopsis thresholds at central and four peripheral locations at 10 degrees eccentricity [1], with lower thresholds at the center compared to the periphery [2].

    - LAB MEDIA: Figure 4C. Video editor: Show the five small plots labeled Left, Central, Right, Upper, and Lower.

    - LAB MEDIA: Figure 4C. Video editor: Highlight the Central plot.

  - In the dynamic local stereopsis test, the thresholds for crossed and uncrossed disparities at central and four peripheral locations were identified [1], with slightly lower thresholds observed at the center compared to the periphery [2].

    - LAB MEDIA: Figure 6C. Video editor: Show all five plots labeled Upper, Left, Central, Right, and Lower.

    - LAB MEDIA: Figure 6C. Video editor: Highlight the Central plot.

  - Pulfrich task results showed a linear relationship between filter strength and perceived depth in both the disparity-matching and the physical depth-matching tasks [1], with intercepts close to zero, indicating no spontaneous Pulfrich effect [2].

    - LAB MEDIA: Figure 7C,D. Video editor: Highlight the four dots falling on or very close to the fitted blue straight lines running diagonally across both plots.

    - LAB MEDIA: Figure 7C,D. Video editor: Highlight the “intercept” values shown in the blue boxes and circle the central part of the blue line that intercepts with the vertical x-axis=0 grid

NOTE to the Authors:

You have two options for filming and submitting the SCREEN footage:

Option 1: Uploading Separate Clips (Highly Recommended)

Please upload a separate video file for each SCREEN shot (tagged as SCREEN), naming the file according to the shot number (e.g., 2.4.3, 1.5.1, 3.2.1, 3.1.3, etc.).

- Each clip must be a maximum of 20 to 25 seconds to match the voice narration.

- If an action takes longer, provide only the best, most representative 20-25 second segment.

- Please do not provide longer clips as we won’t be able to use them.

Option 2: Uploading a Single Continuous Video

If you prefer to record all steps together and upload a single video file, that is acceptable. In this case, you must write the precise timestamp for each shot within the script.

For example, if the action described in shot 2.13.1 is present in the file xxx.mp4 and occurs between timestamps 00:30 and 00:45 , then write the following in the script after each shot description or as a comment bubble.

(write the file name and timestamp after each shot): [File name] [Start Time]-[End Time]

- Example 	2.13.1 SCREEN: performing ...........action. xxx.mp4 00:30-00:45

2.13.2, SCREEN: cutting the…..........action. xxx.mp4 01:10-01:20

- The duration between the start and end times for each shot must be limited to 20 to 25 seconds.

- If a shot is longer than 25 seconds, choose two short segments (one at the beginning and one at the end) that collectively do not exceed 25 seconds.

- Example: 3.1.1 SCREEN: inserting a needle... xxx.mp4 00:00-00:10 and 02:30-02:40