# Submission ID #: 70971

# Scriptwriter Name: Kathyayani Sridharan

# Project Page Link: https://review.jove.com/account/file-uploader?src=21646203

# Title: Robust Isolation and Multiplexed Identification of Circulating Rare Cells via Continuous Centrifugal Microfluidics and Hydrogel Immunocytochemistry

# Authors and Affiliations:

Hyeong Jung Woo1, Hyun Gyu Kang1, Sohae Yang1, Hyejin Song1, Seoyoung Lee2, Sun Min Lee3, Jungmin Lee4, Sun-Young Kong5, Jae Young Joung6, Hye Ryun Kim7, Minseok S. Kim1,3*

1Department of New Biology, Daegu Gyeongbuk Institute of Science & Technology

2Department of Internal Medicine, Yonsei University College of Medicine, Gangnam Severance Hospital

3Department of Laboratory Medicine, Pusan National University School of Medicine

4CTCELLS Inc.

5Department of Laboratory Medicine, Research Institute, National Cancer Center Korea

6Center for Urologic Cancer, National Cancer Center Korea

# 7Division of Medical Oncology, Department of Internal Medicine, Yonsei Cancer Center, Yonsei University College of Medicine

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Minseok S. Kim			kms@dgist.ac.kr

# Email Addresses for All Authors:

Hyeong Jung Woo			jjwoo96@dgist.ac.kr

Hyun Gyu Kang			hyun-gyu_2152@dgist.ac.kr

Sohae Yang				ysh@dgist.ac.kr

Hyejin Song				s_hyejin@dgist.ac.kr

Seoyoung Lee				sylee88@yuhs.ac

Sun Min Lee				yaong97@hanmail.net

Jungmin Lee				jungmin98@ctcells.com

Sun-Young Kong			ksy@ncc.re.kr

Jae Young Joung			urojy@ncc.re.kr

Hye Ryun Kim				nobelg@yuhs.ac

Minseok S. Kim			kms@dgist.ac.kr

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

DO NOT use this draft script for filming. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 22

Number of Shots: 60 (5 SC)

# Interviews

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter full author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Ethics Title Card
This research has been approved by the Institutional Review Board (IRB) at Severance Hospital

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

- Device Preparation and Cartridge Priming Prior to Cell Isolation

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, open the software interface on the computer [1]. Select Device Operation and choose the preset protocol for standard EDTA whole blood samples [2].

    - WIDE: Talent opening the software on the computer. (Authors: We have introduced this step for a proper introductory shot of talent, as required by our journal guidelines. Please specify if this is acceptable.)

    - SCREEN: Show Device Operation being selected from the main software interface and selecting the preset protocol for standard EDTA whole blood samples.

  - Next, turn on the instrument after engaging the laser interlock switch [1]. Launch the operating software, ensuring normal system initialization [2].

    - Talent turning on the instrument.

    - SCREEN: Operating software being initialized normally.

  - Add 2 milliliters of Reagent A, or density gradient media from inlet 6 to the initial chamber [1] and 875 microliters from inlet 8 to the depletion chamber [2]. Load the cartridge onto the disc rack, ensuring proper balance for centrifugation [3].

    - Talent adding 2 milliliters of Reagent A density gradient media through inlet 6 into the initial chamber.

    - Talent adding 875 microliters of Reagent A through inlet 8 into the depletion chamber.

    - Talent mounting the cartridge onto the disc rack.

  - Press the Door button on the CTCeptor to open the mount [1]. Place the disc rack and use the fixing screws to secure it [2]. Next, close the mount by pressing the Door button [3]. Run the Spin Down step using the respective software [4].

    - Talent pressing the Door button on the CTCeptor. (Authors: Please specify how the word CTCeptor is pronounced? Also, please specify if this step will be filmed or visualized on computer screen? If visualized on screen, we will modify this to a SCREEN shot.)

    - Talent mounting the disc rack onto the CTCeptor and securing it with the fixing screws.

    - Talent pressing the Door button to close the mount.

    - SCREEN: Spin Down step being started in the CTCeptor software.

  - After confirming that Reagent A has been transferred to the lower part of the initial chamber [1], release the fixing screws to remove the disc rack from the instrument while keeping the cartridge mounted [2].

    - Close-up shot of the Reagent A transferred to the lower part of the initial chamber.

    - Talent releasing the fixing screws and removing the disc rack from the instrument while keeping the cartridge mounted.

- RBC and WBC Removal from Blood Sample

Demonstrator: Click here to enter name of demonstrator(s)

  - Remove the cartridge from the instrument [1] and inject 3 milliliters of blood into the initial chamber through inlet 6 [2]. After mounting and securing the disc rack onto the CTCeptor, run the RBCs Removal step for approximately 40 minutes on the software [3] to separate the plasma, red blood cells, and peripheral blood mononuclear cells within the cartridge by centrifugation [4]. For subsequent leukocyte depletion, the peripheral blood mononuclear cell-containing fraction is transferred to the next chamber [5].

    - Talent removing the cartridge from the instrument.

    - Talent injecting 3 milliliters of blood through inlet 6 into the initial chamber.

    - SCREEN: RBCs Removal step being started in the CTCeptor software.

    - Shot of separated plasma, red blood cells, and peripheral blood mononuclear cells within the cartridge. (Authors: Please specify if these two steps involving RBC separation and PBMC depletion can be visualized on screen by any indication on the software. If yes, we will modify this to SCREEN shot. Also, please specify if these can be filmed. If not, we can omit these shots.)

    - Shot of the peripheral blood mononuclear cell-containing fraction transferring to the next chamber.

  - After completion of the RBCs Removal step, remove the disc rack from the instrument [1]. Carefully disinfect the working area to maintain sterility [2]. Vortex Reagent B, or leukocyte isolation beads, to obtain a homogeneous suspension [3].

    - Talent removing the disc rack from the instrument.

    - Talent disinfecting the working area.

    - Talent vortexing Reagent B leukocyte isolation beads.

  - Prepare the washing buffer by mixing calcium- and magnesium-free Dulbecco's phosphate-buffered saline, or DPBS (D-P-B-S) with 0.1 percent bovine serum albumin, or BSA (B-S-A) and 2 millimolar EDTA at pH 7.4 [1]. Transfer the desired volume of Reagent B into a 1.5-milliliter tube, using 50 microliters per cartridge [2].

    - Talent preparing the washing buffer by mixing the specified reagents.

    - Talent transferring the desired volume of Reagent B into a 1.5-milliliter tube.

  - Add the washing buffer at 5 times the Reagent B volume [1]. After gentle mixing, place the tube on a magnetic stand for 1 minute to allow the beads to collect [2].

    - Talent adding the washing buffer to the tube containing Reagent B.

    - Talent placing the tube on a magnetic stand.

  - Post discarding the supernatant, resuspend the beads in the washing buffer at a volume equal to the initial bead volume and store at 4 degrees Celsius until use [1]. Immediately before use, mix 50 microliters of the prepared beads with 50 microliters of DPBS [2] and load 100 microliters of the mixture into inlet 7 [3].

    - Talent resuspending the beads in the washing buffer.

    - Talent mixing 50 microliters of the prepared beads with 50 microliters of DPBS.

    - Talent loading 100 microliters of the mixture into inlet 7.

  - After securing the disc rack onto the CTCeptor, run the WBCs Removal step for approximately 50 minutes [2] for bead–white blood cell binding by shaking and mixing the loaded leukocyte isolation beads with the peripheral blood mononuclear cell-containing fraction [3], then centrifugation-based removal of the bead-bound white blood cell fraction [4]. After completion of the WBCs Removal step, remove the disc rack from the instrument [5].

    - Talent mounting the disc rack onto the CTCeptor and securing it with the fixing screws.

    - SCREEN: WBCs Removal step being started in the CTCeptor software.

    - Shot of leukocyte isolation beads mixing with the peripheral blood mononuclear cell-containing fraction. (Authors: Please specify if these two steps involving bead-WBC mixing and removal can be visualized on screen by any indication on the software. If yes, we will modify this to SCREEN shot. Also, please specify if these can be filmed. If not, we can omit these shots.)

    - Shot of the bead-bound white blood cell fraction being removed.

    - Talent removing the disc rack from the instrument.

- Sample Recovery and Circulating Rare Cells Identification

Demonstrator: Click here to enter name of demonstrator(s)

  - For sample recovery, insert a pipette tip into outlet 9 of the final chamber and resuspend the contents [1]. Transfer the collected sample to a 15-milliliter tube [2]. Rinse outlet 9 twice with 2 milliliters of DPBS per wash [3] and pool all fractions into the same tube [4].

    - Talent inserting a pipette tip into outlet 9 and resuspending the contents of the final chamber.

    - Talent transferring the collected sample to a 15-milliliter tube.

    - Talent injecting 2 milliliters of DPBS into outlet 9.

    - Talent rinsing the chamber by pipetting and transferring the wash to the same 15-milliliter tube.

  - Adjust the volume of the collected fluid in the tube to 14 milliliters with DPBS [1]. Following gentle mixing, centrifuge the tube at 380 g for 4 minutes at room temperature [2]. Carefully remove the supernatant, leaving approximately 1 milliliter, and use it for downstream analysis [3].

    - Talent adjusting the volume in the 15-milliliter tube to 14 milliliters with Dulbecco's phosphate-buffered saline.

    - Talent placing the 15-milliliter tube in the centrifuge.

    - Talent removing the supernatant while leaving approximately 1 milliliter in the tube.

  - For hydrogel-based immobilization of circulating rare cells, or CRC (C-R-C), prepare the pre-hydrogel polymer [1] by mixing the components [2]. Next, mix 870 microliters of CRC suspension with 270 microliters of pre-hydrogel polymer [3].

    - Talent mixing the pre-hydrogel polymer components (Authors: Please specify if this step is carried out in a cell culture dish or in the same sample tube from the above steps? Additionally, please specify the volume of pre-hydrogel polymer prepared for 870 µL of cell suspension.)

    - TEXT ON A PLAIN BACKGROUND

Pre-hydrogel Polymer (Ratios)

Calcium and Magnesium-free DPBS					80

Hydrogel pellicle immunocytochemistry solution A prepolymer 	20

Photoinitiator 								1

    - Talent mixing 870 microliters of CRC suspension with 270 microliters of pre-hydrogel polymer.

  - Transfer the mixture to the hydrogel pellicle immunocytochemistry, or HyPICC (Hip-I-C-C) chamber [1] and centrifuge at 1700 g for 3 minutes to allow the cells to settle in the platform [2]. (Authors: Please specify if the pronunciation guide provided for HyPICC is appropriate? If not, kindly provide the appropriate pronunciation guide)

    - Talent transferring the mixture to the hydrogel pellicle immunocytochemistry chamber.

    - Talent placing the hydrogel pellicle immunocytochemistry chamber into the centrifuge.

  - Insert the thickness controller into the HyPICC chamber to set the hydrogel thickness [1]. Irradiate the sample with ultraviolet light at 365 nanometers for 20 to 30 seconds from the bottom to cross-link the hydrogel layer [2]. After removing the thickness controller, wash the hydrogel-encapsulated cells 3 times with DPBS [3]. (Authors: Could you please let us know if the UV irradiation doesn’t cause any changes to the cells here?)

    - Talent inserting the thickness controller into the hydrogel pellicle immunocytochemistry chamber.

    - Talent irradiating the sample with ultraviolet light from the bottom of the chamber.

    - Talent washing the hydrogel-encapsulated cells with Dulbecco's phosphate-buffered saline. (Authors: Please specify the volume of DPBS used for washing?)

  - For CRC identification by immunostaining, fix the cells with 4 percent paraformaldehyde for 10 minutes at room temperature [1]. After washing 3 times with DPBS for 10 minutes each, permeabilize the cells with 0.05 percent Triton X-100 for 10 minutes at room temperature [2]. (Authors: Please specify the volumes of 4% PFA, DPBS, and Triton X-100?)

    - Talent adding 4 percent paraformaldehyde to the hydrogel-encapsulated cells.

    - Talent adding 0.05 percent Triton X-100 to the samples.

  - Following DPBS wash, block the samples with 2 percent bovine serum albumin for 1 hour at room temperature [1]. Next, incubate with primary antibodies overnight at 4 degrees Celsius [2]. (Authors: Please specify the volumes of BSA and primary antibody. If possible, please specify the name and dilution factor of the antibodies that will be used for demonstration?)

    - Talent adding 2 percent bovine serum albumin to the samples.

    - Talent placing the samples into storage for primary antibody incubation.

  - Following 5 washes with DPBS for 20 minutes each, stain the nuclei with Hoechst for 10 minutes at room temperature [1]. Again, wash thrice with DPBS for 10 minutes each [2].

    - Talent adding Hoechst stain to the samples.

    - Talent washing the samples with Dulbecco's phosphate-buffered saline.

  - After secondary antibody incubation overnight at 4 degrees Celsius, perform fluorescence microscopy imaging to identify CRCs [1].

    - Talent placing the sample on the fluorescence microscope for imaging.

  - For multiplex immunostaining, prepare a quenching solution containing 4.5 percent hydrogen peroxide and 24 millimolar sodium hydroxide in PBS [1] and add it to the HypICC chamber after removing the DPBS [2]. Incubate for 1 hour at room temperature under white light with shaking [3]. (Authors: Please specify the volume of quenching solution to be prepared.)

    - Talent preparing the quenching solution.

    - Talent adding the quenching solution to the chamber.

    - Talent placing the chamber under white light for incubation.

  - Replace the quenching solution and incubate for an additional 1 hour under the same conditions [1]. Wash the samples 4 times with DPBS for 10 minutes per wash, followed by repetition of the immunostaining procedure [2].

    - Talent replacing the quenching solution in the chamber.

    - Talent washing the samples with DPBS.

# Results

Please review this section to make sure that it accurately reflects your findings.

- You/Your videographer does not have to record this section. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 137.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Recovery and WBC depletion performance of spiked cancer and fibroblast cell lines using the rare cell isolation disc demonstrated 90 percent recovery rate for cancer cells [1] and 86 percent for fibroblast cells [2].

    - LAB MEDIA: Figure 2A. Video Editor: Please emphasize the bar labelled “Cancer cell”

    - LAB MEDIA: Figure 2A. Video Editor: Please emphasize the bar labelled “Fibroblast”

  - Comparison of cell morphology and size distribution of recovered cells stained with green CMFDA (C-M-F-D-A) and DAPI (dah-pee) showed that the fibroblast cells exhibited greater size heterogeneity [1] than the cancer cells [2].

    - LAB MEDIA: Figure 2E. Video Editor: Please emphasize the cells with values 56.8 µm and 13.0 µm.

    - LAB MEDIA: Figure 2D. Video Editor: Please emphasize the cells with uniform size.

  - Representative fluorescence images of isolated cells stained with DAPI, keratin, and beta actin after conventional smear-based- and hydrogel-based immunocytochemistries demonstrated a more intact cellular morphology [1] and clear visualization of DAPI with hydrogel-based method [2].

    - LAB MEDIA: Figure 3B. Video Editor: Please emphasize the “Merge” channel in the HyPICC and Smear rows sequentially.

    - LAB MEDIA: Figure 3B. Video Editor: Please emphasize the brightness of the “DAPI” channel in HypICC row compared to Smear row.

  - Representative immunocytochemistry images of CRC from lung cancer patients show that circulating tumor cells were identified as keratin-positive [1] and CD45 (C-D-forty-five)-negative [2], whereas circulating cancer-associated fibroblasts were identified as cells expressing alpha smooth muscle actin [3] and fibroblast activation protein [4].

    - LAB MEDIA: Figure 4A. Video Editor: Please emphasize the green fluorescence in the panCK panel.

    - LAB MEDIA: Figure 4A. Video Editor: Please emphasize the absence of red fluorescence in the CD45 panel.

    - LAB MEDIA: Figure 4C. Video Editor: Please emphasize the red fluorescence in the SMA panel in the top row.

    - LAB MEDIA: Figure 4C. Video Editor: Please emphasize the green fluorescence in the FAP panel in the bottom row.