# Submission ID #: 71046

# Scriptwriter Name: Kathyayani Sridharan

# Project Page Link: https://review.jove.com/account/file-uploader?src=21669078

# Title: Spatially Resolved, Integrated Single-Cell Multiomic Profiling of the Transcriptome and Epigenomic Targets in Frozen Tissue Sections

# Authors and Affiliations:

# Ting Zhang1,2, Fatemeh S. Farassati1,2, Alejandro Stark-Quiroz1,2, Yuanhang Liu3, Nick M. Huynh1,2, Yujiro Hayashi1,2, Tamas Ordog1,2*, Jeong-Heon Lee1,2,4*

# 1Enteric Neuroscience Program and Department of Physiology and Biomedical Engineering, Mayo Clinic College of Medicine and Science, Rochester.

# 2Gastroenterology Research Unit, Division of Gastroenterology and Hepatology, Department of Medicine, Mayo Clinic College of Medicine and Science, Rochester

# 3Division of Computational Biology, Department of Quantitative Health Sciences, Mayo Clinic College of Medicine and Science, Rochester

# 4Division of Experimental Pathology and Laboratory Medicine, Department of Laboratory Medicine and Pathology, Mayo Clinic College of Medicine and Science, Rochester

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Tamas Ordog 					ordog.tamas@mayo.edu

Jeong-Heon Lee 				lee.jeongheon@mayo.edu

# Email Addresses for All Authors:

Ting Zhang 					zhang.ting@mayo.edu

Fatemeh S. Farassati 				farassati.fatemeh@mayo.edu

Alejandro Stark-Quiroz 			starkquiroz.alejandro@mayo.edu

Yuanhang Liu 					liu.yuanhang@mayo.edu

Nick M. Huynh 				huynh.nick@mayo.edu

Yujiro Hayashi 					hayashi.yujiro@mayo.edu

Tamas Ordog 					ordog.tamas@mayo.edu

# Jeong-Heon Lee 				lee.jeongheon@mayo.edu

# Tamas Ordog 					ordog.tamas@mayo.edu

# Jeong-Heon Lee 				lee.jeongheon@mayo.edu

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

DO NOT use this draft script for filming. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 19

Number of Shots:  54

# Introduction

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter full author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee (IACUC) at (insert Institutional Name)

Authors: Please state the full name of specific institution responsible for the ethical oversight of the study.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

- Dissociation of Mouse Frozen Brain Tissue and Nuclei Isolation

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, examine the blue-stained coronal tissue section of fresh frozen mouse brain on the trekker tile [1]. Use tweezers to carefully place the Trekker tile on top of a Trekker O-ring (oh-ring) in a well of a twelve-well plate placed on ice [2]. (Authors: This step was included to establish a clear introductory context for the video. Please let us know if this meets your requirements or if you would recommend an alternative approach.)

    - WIDE: Talent examining the Trekker tile containing blue colored tissue section.

    - Talent placing the Trekker tile on a Trekker O-ring in the well of a 12-well plate placed on ice.

  - To detach the tissue from the tile, dispense one hundred and seventy-five microliters of Invent Minute buffer A aiming at the tissue [1]. Repeat three more times to dispense a total of seven hundred microliters of buffer, while aiming at different parts of the tile and avoiding bead contamination [2]. Aspirate the buffer from the side of the well and gently rinse the regions of the tile covered by tissue, until the tissue is completely detached [3].

    - Talent dispensing 175 µL Invent Minute buffer A onto the tissue.

    - Talent repeating the dispensing of buffer at different parts of the tile.

    - Talent aspirating the buffer from sides of the well onto the tissue until it gets detached.

  - After transferring the tile to an empty well, use a P1000 (P-thousand) pipette to mechanically dissociate the nuclei from the tissue with repeated trituration until a uniform suspension is obtained [1]. Carefully transfer the nuclei suspension to a filter cartridge with a collection tube [2].

    - Talent mechanically dissociating the nuclei by repeated trituration using P1000 pipette.

    - Talent carefully transferring the nuclei suspension to a filter cartridge with collection tube.

  - Incubate the tube with the cap open at minus twenty degrees Celsius for ten minutes [1]. After capping the filter cartridge, immediately centrifuge at 13000 g for thirty seconds in a refrigerated microcentrifuge [2].

    - Talent placing the tube in –20 °C refrigerator for 10 minutes.

    - Talent placing the cartridge tube in a microcentrifuge.

  - Resuspend the pellet by gently pipetting ten to twenty times after discarding the filter cartridge [1]. Spin the tube in the prechilled centrifuge with swing buckets at 600 g for five minutes [2]. Carefully remove the supernatant [3] and resuspend the pellet in two hundred microliters of Trekker buffer C [4].

    - Talent resuspending the pellet by gentle pipetting for 10-20 times.

    - Talent placing the tube in prechilled centrifuge with swing buckets.

    - Talent carefully removing the supernatant.

    - Talent resuspending the pellet in 200 µL of Trekker buffer C.

  - To a 1.5-milliliter low-binding Eppendorf tube, add one milliliter of cold Invent Minute buffer B [1]. Carefully overlay two hundred microliters of nuclei suspension by slowly expelling against the tube wall to avoid mixing of the layers [2].

    - Talent adding 1 mL of cold Invent Minute buffer B to a 1.5 mL Eppendorf tube.

    - Talent carefully overlaying 200 µL of nuclei suspension by slowly expelling against the tube wall.

  - Spin the tube in the prechilled centrifuge with swing buckets at 500 g for ten minutes [1], then remove the milky layer and supernatant [2]. Gently resuspend the nuclei with twenty-four microliters of Trekker buffer C [3].

    - Talent placing the tube in prechilled centrifuge with swing buckets at 500 g.

    - Talent carefully removing the milky layer and supernatant.

    - Talent resuspending the nuclei with 24 µL of Trekker buffer C.

  - To count the nuclei, add two microliters of nuclei suspension to eight microliters of Trekker buffer C [1]. Mix ten microliters of the diluted nuclei suspension with equal volume of acridine-orange and propidium iodide staining solution [2]. Count the nuclei according to the manufacturer’s instructions [3].

    - Talent adding 2 µL of the nuclei suspension into 8 µL of Trekker buffer C.

    - Talent mixing 10 µL of the diluted nuclei suspension with 10 µL of AO/PI staining solution.

    - Talent counting the nuclei according to the manufacturer’s instructions.

  - Next to assess the quality of isolated nuclei, add two microliters of nuclei suspension to eight microliters of four-percent trypan blue solution [1]. Examine the nuclei under the fluorescence microscope at 40X magnification, checking for intact morphology of nuclear membrane and non-nuclear debris content [2].

    - Talent adding 2 µL of the nuclei suspension to 8 µL of 4% trypan blue solution.

    - LAB MEDIA: Figure 2. Video Editor: Please emphasize the left panel to show high-quality, intact nuclei.

- CUT&Tag Tagmentation on Isolated Nuclei

Demonstrator: Click here to enter name of demonstrator(s)

  - Prepare CUT&Tag (Cut and tag) incubation buffer I (one) according to the manufacturer’s protocol and place it on ice [1]. (Authors: Please specify the total volume of Cut&Tag incubation buffer I to be prepared? Additionally, please specify if “I” in the buffer name is pronounced as “one”?)

    - Talent preparing CUT&Tag incubation buffer I

  - To a PCR tube on ice, add 46.23 (forty-six point two three) microliters of CUT&Tag incubation buffer I and 1.33 (one point three three) microliters of transposase activated by guidance, or TAG (T-A-G) conjugated enzyme [1]. Then, add 2.43 (two point four three) microliters of anti-H3K27ac (H-three-K-twenty-seven-A-C) primary antibody [2] and mix gently by pipetting ten times [3]. Spin briefly and incubate the tube on an eighteen rpm (R-P-M) rotator at room temperature for one hour [4]. (Authors: Please specify if we can round off the decimal values of volumes of buffer, TAG enzyme and primary antibody as 47 µL, 1.4 µL and 2.5 µL for ease of narration?)

    - Talent adding 46.23 µL of CUT&Tag incubation buffer I and 1.33 µL of TAG enzyme.

    - Talent adding 2.43 µL of anti-H3K27ac primary antibody to the tube.

    - Talent mixing the solution gently by pipetting 10 times.

    - Talent placing the tube on an 18 rpm rotator at room temperature for 1 hour.

  - To incubate the isolated nuclei with antibody-TAG enzyme conjugate, spin the tube of isolated nuclei in the prechilled centrifuge with swing buckets at 500 g for ten minutes [1]. Carefully aspirate the supernatant, leaving approximately five microliters to avoid disturbing the pellet [2]. Add twenty-five microliters of CUT&Tag incubation buffer I [3]. Resuspend the nuclei pellet by gently pipetting ten times [4].

    - Talent placing the tube containing isolated nuclei in the prechilled centrifuge.

    - Talent carefully aspirating the supernatant without disturbing the pellet.

    - Talent adding 25 µL of CUT&Tag incubation buffer I.

    - Talent gently pipetting ten times to resuspend the nuclear pellet.

  - Transfer the nuclei-buffer mixture to the tube containing antibody-TAG conjugate using the same pipette tip [1]. Mix gently by pipetting ten times [2] and incubate the tube on a gentle rotator overnight at four degrees Celsius [3]. (Authors: We have merged the steps placing on gentle rotator and incubation at 4 ˚C overnight. Please suggest if this is fine).

    - Talent transferring the nuclei-buffer mixture to tube containing antibody mixture.

    - Talent gently pipetting ten times to mix the two solutions.

    - Talent placing the tube on gentle roatator for overnight incubation.

  - On the next day, to perform CUT&Tag tagmentation, prepare 1X (one-X) CUT&Tag nuclei buffer and place on ice [1]. After retrieving the nuclei-antibody mixture, add five microliters of CUT&Tag activator [2]. Transfer the mixture into a fresh one-point five milliliters tube [3] and incubate for one hour at thirty-seven degrees Celsius on the ThermoMixer at five hundred and fifty rpm [4].

    - Talent preparing 1X CUT&Tag nuclei buffer on ice.

    - Talent adding 5 µL of CUT&Tag activator to the nuclei-antibody mixture.

    - Talent transferring the mixture into fresh 1.5 mL tube.

    - Talent placing the tubeon the thermomixer set at 550 rpm.

  - Next, add twenty microliters of CUT&Tag quench buffer [1], and gently mix the reaction by pipetting ten times [2]. Centrifuge the tube in the prechilled centrifuge with swing buckets at 500 g for ten minutes [3].

    - Talent adding 20 µL of CUT&Tag quench buffer.

    - Talent gently mixing the reaction by pipetting 10 times.

    - Talent placing the tube in prechilled centrifuge.

  - Remove the supernatant leaving approximately five microliters to avoid disturbing the pellet [1]. Add hundred microliters of 1X CUT&Tag nuclei buffer [2] and resuspend the nuclei by gently pipetting ten times [3]. Spin the tube in the prechilled centrifuge with swing buckets at 500 g for ten minutes [4].

    - Talent removing the supernatant without disturbing the pellet.

    - Talent adding 100 μL of 1X CUT&Tag nuclei buffer.

    - Talent gently pipetting 10 times to resuspend the pellet.

    - Talent placing the tube in prechilled centrifuge.

  - Remove eighty-five microliters of the supernatant, leaving behind approximately fifteen microliters [1]. Resuspend the nuclei gently by slowly pipetting ten times [2]. To count the number of tagmented nuclei and determine the targeting number, add one microliter of the tagmented nuclei suspension into nine microliters of phosphate-buffered saline [3].

    - Talent removing 85 μL of supernatant.

    - Talent gently pipetting 10 times to resuspend the nuclei.

    - Talent adding 1 μL of the tagmented nuclei suspension to 9 μL of phosphate-buffered saline.

  - Mix with ten microliters of acridine orange-propidium iodide staining solution [1] and count the tagmented nuclei as per manufacturer's instructions [2].

    - Talent mixing 10 µL of AO/PI staining solution.

    - Talent counting the tagmented nuclei.

  - For single-cell gel bead in emulsion, or GEM (gem) generation, calculate one-point six times the target number of nuclei to obtain the desired number of captured nuclei [1]. Spin the tube in the prechilled centrifuge with swing buckets at 500 g for ten minutes [2]. Carefully remove the supernatant, leaving a final volume of 8 µL to obtain expected number of targeting tagmented nuclei required for downstream steps ranging from single-cell library preparation to integrated data analysis for spatial multiomics [3]. (Authors: We have slightly modified the last step to provide context for the downstream steps. Please suggest if this is appropriate?)

    - Talent calculating the required number of tagmented nuclei for GEM generation.

    - Talent placing the tube in prechilled centrifuge.

    - Talent carefully removing the supernatant leaving a final volume of 8 µL of tagmented nuclei suspension.

# Results

Please review this section to make sure that it accurately reflects your findings.

- You/Your videographer does not have to record this section. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 118.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - The analysis of CUT&Tag library by quantitative polymerase chain reaction, or qPCR (Q-P-C-R) to assess the enrichment of an histone H-three lysine-twenty seven acetylation, or H3K27ac-positive genomic region such as beta actin or ACTB (A-C-T-B) locus over the H3K27ac-negative background signals such as T1 (T-one) transcription start site, or T1 and an intergenic locus showed good enrichment of the H3K27ac-positive ACTB locus [1] over H3K27ac-negative genomic loci [2].

    - LAB MEDIA: Figure 3B. Video editor: Highlight the number 67.80 in the first row corresponding to column labelled “ACTB/neg”.

    - LAB MEDIA: Figure 3B. Video editor: Highlight the number 0.49 in the first row corresponding to column labelled “mT1/neg”.

  - The generated spatial map of the individual nuclei assigned back to their spatial locations within the tissue showed close match with the brain’s anatomical features [1]. Joint analysis of spatial gene expression and H3K27ac profiles enabled identification of major brain cell types [2] and revealed anatomically organized patterns of cellular distribution across the tissue section [3].

    - LAB MEDIA: Figure 4B. Video editor: Please emphasize the spatial map of annotated nuclei within the graph.

    - LAB MEDIA: Figure 4B. Video editor: Highlight the labeled major brain cell types shown as legend on the right side of the graph.

    - LAB MEDIA: Figure 4B. Video editor: Highlight the grouped areas of colors spread across different regions within the graph.