# Submission ID #: 71053

# Scriptwriter Name: Kathyayani Sridharan

# Project Page Link: https://review.jove.com/account/file-uploader?src=21671213

# Title: Mouse Oocyte In Vitro Maturation, Fertilization, and Culture of Preimplantation Embryos

# Authors and Affiliations:

# Debao Wang, Xueting Li, Haoran Sun, Yong Zhang, Jingcheng Zhang

# Key Laboratory of Animal Biotechnology of the Ministry of Agriculture, Northwest A&F University

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Jingcheng Zhang				zhangjingcheng@nwafu.edu.cn

# Email Addresses for All Authors:

Debao Wang					wdb1993@nwafu.edu.cn

Xueting Li					lixuetinglxt@nwafu.edu.cn

Haoran Sun					shr1999@nwafu.edu.cn

Yong Zhang					zhangyong1956@nwafu.edu.cn

Jingcheng Zhang				zhangjingcheng@nwafu.edu.cn

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  24

Number of Shots:  52

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee (IACUC) at Northwest A&F University

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Ovary Collection for Cumulus–Oocyte Complexes Isolation and Culture

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, administer 10 international units of pregnant mare serum gonadotropin, or PMSG (P-M-S-G) intraperitoneally to 8- to 10-week-old female C57BL/6 (C-fifty-seven-B-L-six) mice [1].

    - WIDE: Talent administering the injection to the mouse. Videographer: Please obtain CU shot as well for this shot

  - To isolate the ovary after 48 hours of PMSG injection, place the euthanized mouse in a supine position [1]. Spray the abdomen with 70 percent ethanol to wet the fur and prevent it from entering the abdominal cavity [2].

    - Talent placing the euthanized mouse in a supine position. (Authors: Please note that the euthanasia step has been excluded from the filming to ensure compliance with journal guidelines)

    - Talent spraying the abdomen with 70 percent ethanol.

  - Use fine dissecting scissors to make a small lower abdominal skin incision [1] and gently open the skin with gloved hands to expose the peritoneal membrane [2].

    - Talent making a small lower abdominal skin incision with fine dissecting scissors.

    - Talent opening the skin with gloved hands to expose the peritoneal membrane.

  - After opening the peritoneal membrane and gently moving the intestines aside, locate the uterine horn and follow it toward the ovary [1]. Identify the ovary near the kidney, typically enclosed by a fat pad [2].

    - Talent locating the uterine horn and following toward the ovary.

    - CU: Shot of the ovary near the kidney within the fat pad.

  - Use fine dissecting scissors to separate the ovary from the uterine horn [1] and trim away excess connective tissue and fat [2].

    - CU: Shot of ovary being separated from the uterine horn.

    - CU: Shot of excess connective tissue and fat being removed from the ovary.

  - Immediately transfer the ovaries to pre-warmed M2 (M-two) medium supplemented with isobutylmethylxanthine, or IBMX (I-B-M-X) [1]. Also, collect the contralateral ovary and transfer it to the same dish [2].

    - Talent transferring the ovary to pre-warmed M2 medium supplemented with IBMX.

    - Talent transferring the contralateral ovary to the same dish.

  - Place the dish under a stereomicroscope [1] and proceed with follicle puncture and cumulus-oocyte complexes, or COCs (C-O-sees) collection [2].

    - Talent placing the dish under a stereomicroscope.

    - SCOPE: Show the ovary in the dish prepared for follicle puncture and COCs collection.

  - For COCs collection, gently puncture visible antral follicles with a sterile syringe needle [1] to release COCs in the M2 medium [2].

    - SCOPE: Show the sterile syringe needle puncturing visible antral follicles.

    - SCOPE: Show COCs being released into the M2 medium.

  - Use a finely pulled glass Pasteur pipette to collect the released COCs [1]. Transfer them to a clean 35-millimeter dish containing pre-warmed M2 medium supplemented with IBMX [2].

    - SCOPE: Show the finely pulled glass Pasteur pipette collecting released COCs.

    - SCOPE: Show transferring of COCs to a clean 35-millimeter dish containing pre-warmed M2 medium supplemented with IBMX. (Authors: Could you please specify the volume of M2 media present in the 35-mm dish?)

  - Wash the COCs by serial transfer to a clean area of the 35-millimeter dish as needed [1] to remove detached granulosa cells and tissue debris [2], leaving debris behind at each transfer [3].

    - SCOPE: Show COCs being serially transferred to a clean area of the 35-mm dish.

    - SCOPE: Show detached granulosa cells and tissue debris separating from the COCs.

    - SCOPE: Show tissue debris left behind after each transfer.

  - After debris removal, transfer the COCs to the in vitro maturation, or IVM (I-V-M) wash dish [1] and wash them by sequential transfer through five 100-microliter drops of IVM wash medium [2].

    - SCOPE: Show the transferring of COCs to the IVM wash dish.

    - SCOPE: Show COCs being sequentially transferred through five 100-microliter drops of IVM wash medium.

  - Transfer the washed COCs into 100-microliter drops of IVM medium, with 20 to 30 COCs per drop [1]. Culture them at 37 degrees Celsius in 5 percent carbon dioxide for 14 hours [2].

    - SCOPE: Show the transferring of washed COCs into 100 µL drops of IVM medium.

    - Talent placing the dish in the incubator.

- Sperm Collection and Preparation

Demonstrator: Click here to enter name of demonstrator(s)

  - Remove the cauda epididymides from a euthanized DBA/2 (D-B-A-two) male mouse at 10 to 16 weeks age, while avoiding as much fat, blood, and tissue fluid as possible [1]. Transfer both cauda epididymides into a 300-microliter drop of pre-equilibrated G-IVF (G-I-V-F) medium for sperm release and capacitation [2].

    - Talent removing the cauda epididymides while avoiding fat, blood, and tissue fluid.

    - Talent transferring both cauda epididymides into a 300-microliter drop of pre-equilibrated G-IVF medium.

  - Immobilize the cauda epididymis using a pair of forceps [1], make five to seven cuts in the cauda epididymis with a sterile syringe needle [2], and gently squeeze the tissue to release concentrated sperm [3]. Incubate the dish at 37 degrees Celsius in 5 percent carbon dioxide for 1 hour to allow sperm capacitation [4].

    - Talent immobilizing the cauda epididymis with a pair of forceps.

    - Talent making five to seven cuts in the cauda epididymis with a sterile syringe needle. (Authors: Could you please specify if these steps will be performed under a stereomicroscope? If yes, these shots will be converted to SCOPE shots. Similarly, please also identify if any other shot needs to be performed under a stereomicroscope)

    - Talent gently squeezing the tissue to release concentrated sperm.

    - Talent placing the dish in the incubator.

- In vitro Fertilization and Embryo Culture

Demonstrator: Click here to enter name of demonstrator(s)

  - After 14 hours of in vitro maturation, wash the COCs by sequential transfer through five 100-microliter drops of in vitro fertilization, or IVF (I-V-F) wash medium [1]. Transfer the washed COCs into the IVF insemination drops, with 20 to 30 COCs per 100-microliter drop [2].

    - SCOPE: Show COCs being sequentially transferred through five 100-microliter drops of IVF wash medium.

    - SCOPE: Show the washed COCs being transferred into IVF insemination drops.

  - Preincubate the fertilization dish containing COCs at 37 degrees Celsius in 5 percent carbon dioxide for 30 minutes before insemination [1]. After capacitation, determine the sperm concentration using a hemocytometer [2].

    - Talent placing the fertilization dish containing COCs in the incubator.

    - Talent placing the sperm suspension on a hemocytometer for counting the sperm cells.

  - Based on the sperm concentration, calculate the required inoculum volume [1]. Add capacitated sperm to each IVF drop to achieve a final concentration of 4 × 105 to 1 × 106 sperm cells per milliliter [2].

    - Talent calculating the required inoculum volume based on the sperm concentration.

    - Talent adding capacitated sperm to each in vitro fertilization drop.

  - Incubate the IVF dishes containing COCs and sperm at 37 degrees Celsius in a 5 percent carbon dioxide incubator for 4 to 6 hours [1]. After incubation, use a finely pulled glass Pasteur pipette with an inner diameter slightly larger than the oocyte to aspirate presumptive zygotes in minimal volume [2]. Transfer them into the IVF wash drops [3].

    - Talent placing the IVF dishes containing COCs and sperm in the incubator.

    - SCOPE: Show the finely pulled glass Pasteur pipette aspirating presumptive zygotes in minimal volume.

    - SCOPE: Show the transferring of presumptive zygotes into the IVF wash drops.

  - Wash the presumptive zygotes by sequential transfer through five IVF wash drops [1]. Gently pipette within each drop to remove excess sperm and debris [2].

    - SCOPE: Show presumptive zygotes being sequentially transferred through five IVF wash drops.

    - SCOPE: Show gentle pipetting within each drop to remove excess sperm and debris.

  - Transfer the washed presumptive zygotes to the in vitro culture, or IVC (I-V-C) wash dish [1] and wash them by sequential transfer through five pre-warmed embryo culture medium wash drops, minimizing carryover of IVF medium [2].

    - SCOPE: Show the transferring of washed presumptive zygotes to the IVC wash dish.

    - SCOPE: Show presumptive zygotes being sequentially transferred through five pre-warmed embryo culture medium wash drops.

  - Place the presumptive zygotes into embryo culture medium culture drops, with 20 to 30 embryos per 100-microliter drop [1]. Culture them at 37 degrees Celsius in 5 percent carbon dioxide [2].

    - SCOPE: Show the presumptive zygotes being placed into embryo culture medium culture drops.

    - Talent placing the dish in the incubator.

  - At 6 to 8 hours after insemination, assess fertilization under a stereomicroscope by scoring the presence of male and female pronuclei [1] and discard oocytes that retain only one polar body and show no visible pronuclei [2].

    - SCOPE: Show fertilized oocytes with visible male and female pronuclei.

    - SCOPE: Show oocytes with only 1 polar body and no visible pronuclei being discarded.

  - At 24 hours after insemination, count the number of two-cell embryos [1] and calculate the two-cell rate as the number of two-cell embryos divided by the number of inseminated oocytes [2].

    - SCOPE: Show two-cell embryos being counted.

    - SCREEN: Show the calculation of two cell rate from the counted embryos and inseminated oocytes.

  - At 24 hours after insemination, transfer two-cell embryos to fresh embryo culture medium drops in an IVC dish for continued culture [1]. Continue to culture the embryos under the same incubation conditions until 96 hours post-insemination [2]. Assess blastocyst formation at 96 hours post-insemination based on morphological criteria [3].

    - Talent transferring two-cell embryos to fresh embryo culture medium drops in an IVC dish.

    - Talent placing the embryo culture dish in the incubator.

    - SCOPE: Show blastocyst formation being assessed based on morphological criteria.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 127.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - After 14 hours of in vitro maturation, COCs typically exhibit cumulus expansion and intact morphology, allowing quantification of meiotic maturation by denuding a designated cohort and scoring first polar body, or PB1 (P-B-one) extrusion [1]. Following insemination, fertilization was assessed after 6–8 hours by scoring the formation of male and female pronuclei [2].

    - LAB MEDIA: Figure 6A. Video Editor: Please emphasize the cell with the label ‘First polar body’. (Authors: Could you please provide the data showing PB1 extrusion rates, two-cell rates and blastocyst formation rates in replicates as a graphical or table format LAB MEDIA, as the present figures given in the results section will be covered in the protocol and would not represent the actual result?)

    - LAB MEDIA: Figure 6B. Video Editor: Please emphasize the cell showing ‘Male pronucleus’, Female Pronucleus’ and ‘Secondary polar body’.

  - Cleavage was evaluated 24 hours after insemination using the two-cell rate [1]. The developmental competence was evaluated by further culturing of embryos in vitro and assessment of blastocyst formation at 96 hours post insemination [2].

    - LAB MEDIA: Figure 7A.

    - LAB MEDIA: Figure 7B. (Authors: Could you please please provide an image with arrows pointing at blastocyst formation for the ease of visualization?)

  - Poor-quality cleavage outcomes include embryos that fail to cleave, fragmented embryos, or embryos with unevenly sized blastomeres [1]. Suboptimal developmental outcomes during extended culture included arrest at the two-cell stage, poorly expanded blastocysts, or embryos with obvious fragmentation and abnormal morphology [2].

    - LAB MEDIA: Figure 8A. (Authors: Could you please provide an image with arrows pointed for uncleaved, fragmented embryos and unevenly sized blastomeres?)

    - LAB MEDIA: Figure 8B (Authors: Could you please provide an image with arrows pointed for arrest at the two-cell stage, poorly expanded blastocysts, or embryos with obvious fragmentation and abnormal morphology?)