# Submission ID #: 71122

# Scriptwriter Name: Sri Lakshmi Priya

# Project Page Link: https://review.jove.com/account/file-uploader?src=21692258

Title: Orthodontic Miniscrew Placement in Interradicular Regions using a Chairside Digital CAD-CAM Surgical Guide

# Authors and Affiliations:

Xinze Zhang1, Zhihui Wang2, Sizhe Fan3, Keqi Liu3, Zhanhao Zhang3, Yi Wang3, Xiaoyan Wang1

1Department of Stomatology, Beijing Tiantan Hospital, Capital Medical University

2Z Smile Orthodontics

3Beijing Stomatological Hospital, Capital Medical University

# Corresponding Authors:

Xiaoyan Wang 	wangxiaoyan@bjtth.org

# Email Addresses for All Authors:

Xinze Zhang 		zxzlxx2003@163.com

Zhihui Wang		wzhsherlock@gmail.com

Sizhe Fan 		lvyanly1808@163.com

Liu Keqi 		adam061620212021@163.com

Zhang Zhaohao 	904758379@qq.com

Yi Wang 		2558252118@qq.com

Xiaoyan Wang 	wangxiaoyan@bjtth.org

## Author Questionnaire

- Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   No

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. No

Current Protocol Length

Number of Steps:  19

Number of Shots:  36

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

Authors: Answers are slightly edited in accordance with journal guidelines. Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Xiaoyan Wang: Our study introduces a chairside digital technique for fabricating surgical guides assisting orthodontic micro-screw placement and preliminarily verifies individual stability.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Xiaoyan Wang: No clinical studies have described chairside digital fabrication of orthodontic anchorage guides. This protocol addresses this limitation using CEREC and CBCT.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Xiaoyan Wang: This protocol allows researchers to measure the accuracy and stability of surgical guide-assisted orthodontic micro-screw implantation.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Describe the most important consideration or challenge when performing this protocol.

  - Xiaoyan Wang: The most important consideration is maintaining guide retention during placement and ensuring stability throughout the micro-screw implantation process.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Xiaoyan Wang: Future studies can build on this work by expanding the sample size to further investigate implantation accuracy, stability, and safety.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Videographer: Obtain headshots for all authors available at the filming location.

# Ethics Title Card

This research has been approved by the Institutional Review Board (IRB) at Beijing Tiantan Hospital, Capital Medical University

# Title Card:

# The data presented in this protocol differ from the data reported in the Results section of the manuscript.

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Digital Data Acquisition and Virtual Miniscrew Planning

Demonstrator:  Xinze Zhang

  - To begin, use an intraoral scanner to obtain complete maxillary digital dental models [1]. Ensure full-arch coverage and accurate capture of the interradicular regions [2].

    - WIDE: Talent positioning the intraoral scanner into the patient’s mouth. Videographer: Please obtain CU shot as well for this shot.

    - SCREEN: Display the intraoral scanning software as the three-dimensional maxillary model is generated in real time, showing complete arch coverage and detailed interradicular anatomy.

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible:  https://review.jove.com/account/file-uploader?src=21692258

Videographer: Please film the computer screen as a back up

  - Using a cone beam computed tomography or CBCT (C-B-C-T) unit, acquire CBCT scans of the maxillofacial region [1]. Set the imaging parameters according to the manufacturer's recommendations by using a voxel size of 0.16 millimeters and a field of view of 8 by 8 centimeters to include the maxillary dentition and surrounding alveolar bone [2].

    - Talent positioning the subject in the CBCT unit and stabilizing the head before image acquisition.

    - SCREEN: Show the cone beam computed tomography acquisition settings with the voxel size set to 0.16 millimeters and the field of view set to 8 cm × 8 cm.

  - Ensure clear visualization of the alveolar bone and adjacent tooth roots [1].

    - SCREEN: Show multiplanar cone beam computed tomography images with clearly visible alveolar bone contours and adjacent tooth roots in the targeted region.

  - Import the digital dental models and CBCT data into the implant-planning software [1]. Generate a panoramic reconstruction from the CBCT dataset within the software [2].

    - SCREEN: Show the implant-planning software interface while the digital dental model and CBCT dataset are imported.

    - SCREEN: Show the panoramic reconstruction being generated in the software.

  - Perform initial registration by manually selecting 3 corresponding teeth on both the digital dental model and the CBCT panoramic view [1]. Place the selected teeth adjacent to the planned miniscrew insertion region [2] and include well-defined anatomical dental structures such as molar or premolar cusp tips and ridges [3].

    - SCREEN: Show the digital dental model and panoramic CBCT view displayed side by side while the 3 corresponding teeth are selected on both.

    - SCREEN: Show the selected teeth being placed adjacent to the planned miniscrew insertion region.

    - SCREEN: Show the molar or premolar cusp tips and ridges included.

  - After selecting the reference teeth, allow the software to automatically complete dataset superimposition and surface alignment [1]. Verify registration accuracy in axial, coronal, and sagittal views before virtual miniscrew planning, and repeat the registration process if any visible mismatches or alignment discrepancies are identified [2].

    - SCREEN: Show the software automatically performing the superimposition process and surface alignment.

    - SCREEN: Show axial, coronal, and sagittal views with accurate alignment between the dental model and cone beam computed tomography data.

  - Determine miniscrew insertion sites according to the anatomical relationship between the alveolar bone morphology and adjacent tooth roots [1].

    - SCREEN: Show the selected miniscrew insertion site positioned between adjacent tooth roots on the three-dimensional model. Authors: Try to point out the selected miniscrew insertion site

  - Plan miniscrew placement 5 to 7 millimeters apical to the alveolar crest [1]. Position each miniscrew to maximize cortical bone engagement and avoid root proximity [2].

    - SCREEN: Show a cross-sectional view with the virtual miniscrew insertion point located 5 to 7 millimeters apical to the alveolar crest.

    - SCREEN: Show the virtual miniscrew positioned between adjacent tooth roots with cortical bone contact.

  - Set the insertion angle at 30 degrees to 40 degrees relative to the long axis of the adjacent teeth according to established clinical guidelines [1].

    - SCREEN: Show the angle adjustment tool while the virtual miniscrew is angled at 30 degrees to 40 degrees relative to the long axis of the adjacent tooth.

- Fabrication of the Surgical Guide

  - Design a tooth-supported surgical guide using computer-aided design software [1]. Design the guide sleeves to match a 2-millimeter insertion tool diameter [2]. Incorporate retention arms and guide sleeves aligned with the planned insertion angulation [3].

    - SCREEN: Show the designing of the tooth-supported surgical guide in the computer-aided design software.

    - SCREEN: Show the guide sleeve dimensions being defined to match a 2-millimeter insertion tool diameter.

    - SCREEN: Show retention arms and guide sleeves being added and aligned with the planned miniscrew insertion angulation.

  - Define the guide dimensions, supporting tooth locations, guide thickness, and inspection windows within the software to ensure intraoral stability and visualization [1].

    - SCREEN: Show the guide dimensions, supporting tooth locations, guide thickness, and inspection windows being defined in the software.

  - Verify passive seating and adequate support from the selected abutment teeth [1].

    - SCREEN: Show the surgical guide seated on the digital dental model while support from the selected abutment teeth is evaluated.

  - Using an in-office milling unit, mill the surgical guide chairside from a transparent biocompatible resin block [1]. Follow the manufacturer's milling parameters [2] and complete post-processing per the resin instructions, including cleaning and light polymerization, if required [3].

    - Talent placing the transparent biocompatible resin block into the in-office milling unit.

    - SCREEN: Show the milling parameters being selected in the milling unit software.

    - Talent cleaning the milled surgical guide and performing light polymerization.

- Guided Orthodontic Miniscrew Placement

  - Instruct the patient to rinse with 0.2% chlorhexidine solution for 60 seconds to achieve oral antisepsis before surgery [1].

    - Talent rinsing the mouth with 0.2% chlorhexidine solution.

  - Administer adequate local anesthesia prior to miniscrew insertion [1-TXT].

    - Talent administering local anesthesia to the patient. TXT: 2% lidocaine with 1:100,000 epinephrine

  - Seat the surgical guide intraorally and verify complete seating and stability [1]. Confirm adaptation through the inspection windows [2]. Ensure that no visible gap greater than approximately 0.5 millimeters is present between the guide and the supporting tooth surface [3]. Apply gentle bilateral finger pressure to verify the absence of rocking or displacement before miniscrew insertion [4].

    - Talent seating the surgical guide on the supporting teeth.

    - Close-up of the inspection windows showing adaptation of the guide to the supporting teeth.

    - Close-up showing the interface between the guide and supporting tooth surfaces without visible gaps.

    - Talent applying bilateral finger pressure.

  - If incomplete seating or instability is detected, remove the guide and inspect for scanning inaccuracies, fabrication defects, or occlusal interferences before proceeding [1].

    - Talent removing the surgical guide and inspecting it for factors affecting proper seating.

  - Using an implant motor, insert self-drilling miniscrews, measuring 1.4 millimeters in diameter and 8.0 millimeters in length, while maintaining the preplanned insertion trajectory and angulation during placement [1]. Perform insertion at a rotational speed of approximately 20 to 35 rpm with continuous saline irrigation [2]. Maintain the manufacturer's recommended insertion torque to minimize excessive stress on the cortical bone [3].

    - Talent positioning the implant motor and aligning the self-drilling miniscrew with the guide sleeve while maintaining the preplanned insertion trajectory.

    - Show the self-drilling miniscrew positioned at the entrance of the guide sleeve as continuous saline irrigation is applied, without advancing the miniscrew.

    - SCREEN: Show the implant motor display with the insertion settings before the simulated implantation procedure.

  - Perform post-operative assessment of miniscrew placement using CBCT imaging [1].

    - Talent positioning the patient in the CBCT unit for postoperative image acquisition.

# Results

- Results

  - All 12 orthodontic miniscrews were successfully placed using the digitally fabricated chairside surgical guide, and representative clinical images showed stable guide positioning during the procedure [1].

    - LAB MEDIA: Figure 2A.

  - Representative clinical images demonstrated guided miniscrew insertion through the surgical guide [1].

    - LAB MEDIA: Figure 2B.

  - Postoperative CBCT data were superimposed with the preoperative virtual planning models to evaluate placement accuracy [1].

    - LAB MEDIA: Figure 2D.

  - The close spatial correspondence between the planned and placed miniscrews demonstrated accurate transfer of the virtual treatment plan to the clinical setting [1].

    - LAB MEDIA: Figure 2D. Video editor: Circle and highlight the area where the purple and blue miniscrew models closely overlap.

  - Quantitative accuracy measurements showed a mean entry-point deviation of approximately 2.4 millimeters [1], with a range of 1.2 to 3.4 millimeters [2].

    - LAB MEDIA: Table 1. Video editor: Emphasize the value in the row “Mean” under the column “Entry Point Deviation (mm).

    - LAB MEDIA: Table 1. Video editor: Emphasize the values in the row “Minimum” and “Maximum” under the column “Entry Point Deviation (mm).

  - The mean endpoint deviation was approximately 2.4 millimeters [1], with a range of 1.3 to 3.4 millimeters [2].

    - LAB MEDIA: Table 1. Video editor: Emphasize the value in the row “Mean” under the column “Endpoint Deviation (mm).

    - LAB MEDIA: Table 1. Video editor: Emphasize the values in the row “Minimum” and “Maximum” under the column “Endpoint Deviation (mm).

  - The mean angular deviation was approximately 3.8 degrees [1], with a range of 0.4 to 7.2 degrees [2].

    - LAB MEDIA: Table 1. Video editor: Emphasize the value in the row “Mean” under the column “Angular Deviation (°).

    - LAB MEDIA: Table 1. Video editor: Emphasize the values in the row “Minimum” and “Maximum” under the column “Angular Deviation (°).