# Submission ID #: 71208

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21718488

# Title: Standardized Protocol to Evaluate the Effect of Surface Treatments, Luting Cements, and Thermocycling on PEEK–Composite Bond Strength

# Authors and Affiliations:

# Kilinc Zeynep Cigdem1, Dikbas Idil2, Erkul Selen2

# 1Private practice, Istanbul

# 2Department of Prosthodontics, Faculty of Dentistry, Yeditepe University

# Corresponding Authors:

# Selen Erkul 				selen.mert@yeditepe.edu.tr

# Email Addresses for All Authors:

# Kilinc Zeynep Cigdem			zeynepklnc@gmail.com

# Dikbas Idil				idil.dikbas@yeditepe.edu.tr

# Selen Erkul 				selen.mert@yeditepe.edu.tr

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?    No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Filming location: Will the filming need to take place in multiple locations?   No

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. No

Current Protocol Length

Number of Steps:  19

Number of Shots:  29

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Selen Erkul: This study presents a standardized protocol to evaluate the effects of surface treatment, cement type, and thermocycling on PEEK–composite bond strength.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Selen Erkul: The protocol facilitates consistent evaluation of bonding approaches that may improve the long-term performance of PEEK restorations.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Selen Erkul: This protocol can be used to measure the durability of PEEK–composite adhesion under simulated clinical conditions.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Describe the most important consideration or challenge when performing this protocol.

  - Selen Erkul: Safe handling of sulfuric acid and laser equipment is essential to ensure operator safety and procedural consistency.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Selen Erkul: Future studies can evaluate additional surface treatments, different cements, composites, and thermocycling conditions to optimize PEEK bonding.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Cementing the Treated PEEK Surfaces

Demonstrator: Selen Erkul

  - To begin, obtain poly-ether-ether-ketone or PEEK (peak) disc specimens [1] and surface-treat them according to the designated protocols [2 and 3].

    - WIDE: Talent placing the PEEK discs on the work surface. Videographer: Please obtain CU shot as well for this shot.

    - Talent sandblasting the disc. Authors: This is a representative shot only

Video editor: Please show 2.1.2 and 2.1.3 using split screen

    - TEXT ON PLAIN BACKGROUND

Surface treatment groups:

Sandblasted

Sulfuric acid-etched

Erbium-doped Yttrium Aluminum Garnet laser-treated

Control: Untreated

  - Prepare standardized indirect composite resin discs for bonding to the treated PEEK surfaces using different luting cements [1]. Divide each surface treatment group into zinc oxide non-eugenol cement and self-adhesive resin cement groups [2].

    - Shot of the talent showing the prepared indirect composite resin discs.

    - Talent separating PEEK discs into 2 containers labelled as zinc oxide non-eugenol cement and self-adhesive resin cement.

  - For the zinc oxide non-eugenol cement, dispense equal lengths of the base and catalyst pastes onto a mixing pad [1]. Mix for approximately 20 seconds until a homogeneous consistency is achieved [2]. Using a spatula, apply the mixed cement to the treated PEEK surface with gentle pressure to minimize air entrapment [3].

    - Talent dispensing equal lengths of the base and catalyst pastes onto a mixing pad.

    - Talent mixing the cement pastes on the mixing pad.

    - Talent applying the mixed cement to the treated PEEK surface with a spatula.

Author’s NOTE: After Shot 2.3.3, we filmed Shots 2.5–2.8 for the first cement. We then filmed Shot 2.4, followed by Shots 2.5–2.8 again for the second cement.

Video editor: Let us show the footage for any 1 cement for steps 2.5 and 2.8 (zinc oxide non-eugenol cement). Then show step 2.9 is for the self-adhesive resin curing. Contact poornimag@jove.com if there is any confusion.

  - For the self-adhesive resin cement, attach an automix tip to the syringe [1-TXT] and dispense a small initial amount to ensure proper mixing [2]. Then, apply the cement directly to the treated PEEK surface while keeping the tip in contact to maintain continuous flow and reduce air entrapment [3]. Cover the entire bonding area with a uniform layer [4].

    - Talent attaching an automix tip to the syringe.

    - Talent dispensing a small initial amount of the self-adhesive resin cement to test.

    - Talent starting to apply the self-adhesive resin cement directly to the treated PEEK surface.

    - Talent continuing and covering the entire bonding area with a uniform layer. Authors: Show the fully covered sample at the end of this shot

NOTE: Treat this as a separate section

Composite Disc Placement and Cement Setting

  - Position the composite disc centrally onto the cement-covered PEEK surface [1].

    - Talent positioning the composite disc centrally on the cement-covered PEEK surface.

  - Next, apply a constant vertical load of 500 grams for 10 seconds to standardize cement thickness and ensure uniform adaptation [1-TXT].

    - Talent applying a constant vertical load to the specimen. TXT: Disc positioning and load application steps are identical for both cement types

  - Remove excess cement from the margins using a microbrush [1].

    - Talent removing excess cement from the margins with a microbrush.

  - For the zinc oxide non-eugenol cement, allow a setting time of 6 minutes under the applied load [1].

    - Talent keeping the zinc oxide non-eugenol cement specimen aside under the applied load.

  - For the self-adhesive resin cement, polymerize with a light-curing device from all directions for a total of 80 seconds at a distance of 5 millimeters [1].

    - Talent polymerizing the self-adhesive resin cement specimen with a light-curing device.

  - Thermocycle the designated specimens between 5 and 55 degrees Celsius for a total of 5,500 cycles under standardized conditions [1]. Then, mount the embedded specimen in a universal testing machine and perform the shear bond strength test [2-TXT].

    - LAB MEDIA: Figure 6B

    - LAB MEDIA: Figure 7 TXT: Shear force: 1 mm/min until failure

NOTE: Sections 3 and 4 were not filmed because the equipment was not available. Added 2 lines of summarised narration in step 2.10 as per the author’s request.

- Thermocycling PEEK–Composite Assemblies

Demonstrator: Click here to enter name of demonstrator(s)

  - Divide each cement subgroup into two additional subgroups and subject the samples from one of the groups to thermocycling [1].

    - Talent dividing each cement subgroup into thermocycling and non-thermocycling subgroups. Authors: Keep the containers labelled

  - Subject specimens in the thermocycling group to 5,500 cycles between 5 and 55 degrees Celsius using a thermocycling device [1].

    - Talent placing the thermocycling group specimens into the thermocycling device.

  - Set the dwell time in each bath to 30 seconds [1] and set the transfer time between baths to 2 seconds. Maintain identical cycling conditions for all specimens throughout the procedure [2].

    - Talent setting the dwell time on the thermocycling device.

    - Talent adjusting the transfer time on the thermocycling device.

- Shear Bond Strength Testing

Demonstrator: Click here to enter name of demonstrator(s)

  - Embed each cemented PEEK–cement–composite assembly in self-curing acrylic resin using stainless steel molds measuring 15 millimeters in diameter and in height [1].

    - Talent embedding the cemented polyetheretherketone–cement–composite assembly in self-curing acrylic resin using stainless steel molds.

  - Mount each specimen in the universal testing machine using a custom jig to ensure stable positioning [1].

    - Talent mounting the specimen in the universal testing machine with a custom jig.

  - Align the loading blade parallel to the bonding interface [1] and position it as close to the interface as possible [2].

    - Talent aligning the loading blade parallel to the bonding interface.

    - Talent adjusting the positioning such that the blade is close to the interface.

  - Apply shear force at a crosshead speed of 1 millimeter per minute until failure occurs [1].

    - Talent applying shear force to the specimen in the universal testing machine.

  - Record the maximum load at failure in newtons for each specimen [1].

    - Talent recording the maximum load at failure.

  - Finally, calculate shear bond strength in megapascals using the formula [1-TXT].

    - Talent calculating the shear bond strength values in the notebook or computer. TXT: SBS (MPa) = Load (N) / bonding area (mm²)

# Results

- Results

  - Self-adhesive resin cement showed higher shear bond strength values [1] than zinc oxide non-eugenol cement across all surface treatment groups [2].

    - LAB MEDIA: Table 2. Video editor: Highlight the columns for “RelyX U200”

    - LAB MEDIA: Table 2. Video editor: Highlight the columns for “TempBond NE”

  - The specimens luted with temporary cement after thermocycling showed the lowest shear bond strength values compared to other groups [1].

    - LAB MEDIA: Table 2. Video editor: Highlight the “TempBond NE+thermocycling” column

  - Thermocycling reduced the shear bond strength values for both cement types [1].

    - LAB MEDIA: Table 2. Video editor: Highlight the columns “TempBond NE+thermocycling” and RelyX U200 + thermocycling”

  - The sandblasted specimens luted with resin cement without thermocycling showed the highest shear bond strength values [1].

    - LAB MEDIA: Table 2. Video editor: Highlight the “Sandblasting” row under “RelyX U200 + no thermocycling” showing 25.134 value

  - The sulfuric acid–etched and laser-treated specimens demonstrated intermediate shear bond strength values [1].

    - LAB MEDIA: Table 2. Video editor: Highlight the rows labeled “Acid etching” and “Laser irradiation”

  - The untreated polyetheretherketone surfaces luted with temporary cement showed shear bond strength values comparable to or higher than the treated surfaces [1].

    - LAB MEDIA: Table 2. Video editor: Highlight the “Control” row under both the  “TempBond NE” columns

# 1. Poly-ether-ether-ketone

# Pronunciation link: No confirmed link found

# IPA: /ˌpɑːli ˈiːθər ˈiːθər ˈkiːtoʊn/

# Phonetic Spelling: paa·lee ee·ther ee·ther kee·tohn

# 2. PEEK

# Pronunciation link: [https://www.merriam-webster.com/dictionary/peek](https://www.merriam-webster.com/dictionary/peek)

# IPA: /ˈpiːk/

# Phonetic Spelling: peek

# 3. Specimens

# Pronunciation link: [https://www.merriam-webster.com/dictionary/specimen](https://www.merriam-webster.com/dictionary/specimen)

# IPA: /ˈspesəmən/

# Phonetic Spelling: speh·suh·mun

# 4. Sandblasting

# Pronunciation link: [https://www.merriam-webster.com/dictionary/sandblasting](https://www.merriam-webster.com/dictionary/sandblasting)

# IPA: /ˈsændˌblæstɪŋ/

# Phonetic Spelling: sand·blas·ting

# 5. Sulfuric

# Pronunciation link: [https://www.merriam-webster.com/dictionary/sulfuric](https://www.merriam-webster.com/dictionary/sulfuric)

# IPA: /səlˈfjʊrɪk/

# Phonetic Spelling: suhl·fyur·ik

# 6. Acid-etched

# Pronunciation link: No confirmed link found

# IPA: /ˈæsɪd ˌetʃt/

# Phonetic Spelling: as·id echt

# 7. Erbium-doped

# Pronunciation link: No confirmed link found

# IPA: /ˈɝːbiəm ˌdoʊpt/

# Phonetic Spelling: ur·bee·um dohpt

# 8. Yttrium

# Pronunciation link: [https://www.merriam-webster.com/dictionary/yttrium](https://www.merriam-webster.com/dictionary/yttrium)

# IPA: /ˈɪtriəm/

# Phonetic Spelling: it·ree·um

# 9. Aluminum

# Pronunciation link: [https://www.merriam-webster.com/dictionary/aluminum](https://www.merriam-webster.com/dictionary/aluminum)

# IPA: /əˈluːmənəm/

# Phonetic Spelling: uh·loo·muh·num

# 10. Garnet

# Pronunciation link: [https://www.merriam-webster.com/dictionary/garnet](https://www.merriam-webster.com/dictionary/garnet)

# IPA: /ˈɡɑːrnət/

# Phonetic Spelling: gaar·nut

# 11. Luting

# Pronunciation link: [https://www.merriam-webster.com/dictionary/luting](https://www.merriam-webster.com/dictionary/luting)

# IPA: /ˈluːtɪŋ/

# Phonetic Spelling: loo·ting

# 12. Zinc oxide

# Pronunciation link: [https://www.merriam-webster.com/dictionary/zinc%20oxide](https://www.merriam-webster.com/dictionary/zinc%20oxide)

# IPA: /ˈzɪŋk ˈɑːkˌsaɪd/

# Phonetic Spelling: zingk aak·side

# 13. Eugenol

# Pronunciation link: [https://www.merriam-webster.com/dictionary/eugenol](https://www.merriam-webster.com/dictionary/eugenol)

# IPA: /ˈjuːjəˌnɑːl/

# Phonetic Spelling: yoo·juh·naal

# 14. Self-adhesive

# Pronunciation link: [https://www.merriam-webster.com/dictionary/self-adhesive](https://www.merriam-webster.com/dictionary/self-adhesive)

# IPA: /ˌself ədˈhiːsɪv/

# Phonetic Spelling: self uhd·hee·siv

# 15. Catalyst

# Pronunciation link: [https://www.merriam-webster.com/dictionary/catalyst](https://www.merriam-webster.com/dictionary/catalyst)

# IPA: /ˈkætələst/

# Phonetic Spelling: kat·uh·list

# 16. Homogeneous

# Pronunciation link: [https://www.merriam-webster.com/dictionary/homogeneous](https://www.merriam-webster.com/dictionary/homogeneous)

# IPA: /ˌhoʊməˈdʒiːniəs, ˌhɑːməˈdʒiːniəs/

# Phonetic Spelling: hoh·muh·jee·nee·uhs, haa·muh·jee·nee·uhs

# 17. Spatula

# Pronunciation link: [https://www.merriam-webster.com/dictionary/spatula](https://www.merriam-webster.com/dictionary/spatula)

# IPA: /ˈspætʃələ/

# Phonetic Spelling: spach·uh·luh

# 18. Entrapment

# Pronunciation link: [https://www.merriam-webster.com/dictionary/entrapment](https://www.merriam-webster.com/dictionary/entrapment)

# IPA: /ɪnˈtræpmənt/

# Phonetic Spelling: in·trap·munt

# 19. Automix

# Pronunciation link: No confirmed link found

# IPA: /ˈɔːtoʊˌmɪks/

# Phonetic Spelling: aw·toh·miks

# 20. Syringe

# Pronunciation link: [https://www.merriam-webster.com/dictionary/syringe](https://www.merriam-webster.com/dictionary/syringe)

# IPA: /səˈrɪndʒ/

# Phonetic Spelling: suh·rinj

# 21. Adaptation

# Pronunciation link: [https://www.merriam-webster.com/dictionary/adaptation](https://www.merriam-webster.com/dictionary/adaptation)

# IPA: /ˌædæpˈteɪʃən/

# Phonetic Spelling: ad·ap·tay·shun

# 22. Microbrush

# Pronunciation link: No confirmed link found

# IPA: /ˈmaɪkroʊˌbrʌʃ/

# Phonetic Spelling: my·kroh·brush

# 23. Polymerize

# Pronunciation link: [https://www.merriam-webster.com/dictionary/polymerize](https://www.merriam-webster.com/dictionary/polymerize)

# IPA: /pəˈlɪməˌraɪz/

# Phonetic Spelling: puh·lim·uh·ryze

# 24. Light-curing

# Pronunciation link: No confirmed link found

# IPA: /ˈlaɪt ˌkjʊrɪŋ/

# Phonetic Spelling: lite·kyur·ing

# 25. Thermocycle

# Pronunciation link: No confirmed link found

# IPA: /ˈθɝːmoʊˌsaɪkəl/

# Phonetic Spelling: thur·moh·sy·kul

# 26. Universal testing machine

# Pronunciation link: No confirmed link found

# IPA: /ˌjuːnəˈvɝːsəl ˈtestɪŋ məˈʃiːn/

# Phonetic Spelling: yoo·nuh·vur·sul tes·ting muh·sheen

# 27. Shear

# Pronunciation link: [https://www.merriam-webster.com/dictionary/shear](https://www.merriam-webster.com/dictionary/shear)

# IPA: /ˈʃɪr/

# Phonetic Spelling: sheer